## 2007 FOUR CP CALCULATION
2007 Four Coincident Peak Load Calculation (MW)
Information based on Final Settlement Runs and Requested Recalculations Based Upon Updated Data
TDSP CODE | TDSP Name | TDSP DUNS Number | June 6/19/2007 16:45 | July 7/12/2007 16:30 | August 8/13/2007 15:30 | September 9/7/2007 16:00 | Average 4CP Load | Load Ratio Share
1 | CENTERPOINT ENERGY HOUSTON ELECTRIC LLC (TDSP) | 957877905 | 14786.282 | 14926.346 | 16587.4696 | 14781.6512 | 15270.4372 | 26.49%
2 | ONCOR ELECTRIC DELIVERY COMPANY | 1039940674000 | 20639.1784 | 20887.0448 | 23077.398 | 19989.5404 | 21148.2904 | 36.68%
4 | TEXAS-NEW MEXICO POWER CO (TDSP) | 007929441 | 1380.1372 | 1362.6496 | 1477.3888 | 1355.3936 | 1393.8923 | 2.418%
5 | AEP TEXAS CENTRAL COMPANY | 007924772 | 4228.8176 | 4268.764 | 4270.6148 | 4009.4016 | 4194.3995 | 7.276%
7 | AEP TEXAS NORTH COMPANY | 007923311 | 925.0688 | 886.8184 | 920.7724 | 866.5896 | 899.8123 | 1.561%
18 | BANDERA ELECTRIC CO OP INC (TDSP) | 0089451494000 | 104.928 | 104.0992 | 112.9928 | 97.8664 | 104.9716 | 0.1821%
19 | BARTLETT ELECTRIC CO OP INC | 002781813 | 34.67 | 34.1432 | 38.9424 | 32.0688 | 34.9561 | 0.06064%
20 | BELFALLS ELECTRIC CO OP INC (TDSP) | 004998399 | 15.7568 | 15.3072 | 16.8296 | 15.1836 | 15.7693 | 0.02735%
21 | BIG COUNTRY ELECTRIC CO OP INC (TDSP) | 0058630484000 | 21.484 | 20.5144 | 23.3532 | 19.0884 | 21.11 | 0.03662%
22 | BLUEBONNET ELECTRIC CO OP INC (TDSP) | 0524834354000 | 348.2916 | 340.4612 | 358.8376 | 327.356 | 343.7366 | 0.5962%
23 | BRAZOS ELECTRIC POWER CO OP INC(TDSP) | 0037722904000 | 0.1304 | 0.1144 | 0.392 | 0.2128 | 0.2124 | 0.0003684%
24 | CAP-ROCK ELECTRIC CO OP INC (MCCULLOCH DIVISION) (TDSP) | 0079370974000 | 14.988 | 16.5504 | 17.8824 | 16.8812 | 16.5755 | 0.02875%
25 | CENTRAL TEXAS ELECTRIC CO OP INC (TDSP) | 0079302744000 | 87.0976 | 87.9168 | 95.8396 | 82.8944 | 88.4371 | 0.1534%
26 | CITY OF BASTROP (TDSP) | 0851553724000 | 12.5056 | 12.268 | 13.3716 | 12.5488 | 12.6735 | 0.02198%
27 | CITY OF BELLVILLE (TDSP) | 0935648704000 | 13.214 | 13.2876 | 14.2596 | 13.5148 | 13.569 | 0.02354%
28 | CITY OF BOERNE (TDSP) | 0052470694000 | 24.5616 | 24.2696 | 26.2168 | 24.3592 | 24.8518 | 0.04311%
29 | CITY OF BRENHAM (TDSP) | 0741649224000 | 59.3692 | 59.956 | 64.494 | 61.832 | 61.4128 | 0.1065%
30 | CITY OF BRIDGEPORT MUN ELEC SYS (TDSP) | 0842801714000 | 11.5852 | 11.8704 | 13.3496 | 11.6972 | 12.1256 | 0.02103%
31 | CITY OF BURNET (TDSP) | 0746121514000 | 15.3956 | 15.096 | 16.63 | 15.2776 | 15.5998 | 0.02706%
32 | CITY OF CUERO (TDSP) | 0526842144000 | 24.6716 | 25.108 | 26.6316 | 25.8996 | 25.5777 | 0.04437%
33 | CITY OF FLATONIA (TDSP) | 0626890134000 | 4.2704 | 4.3812 | 5.0836 | 4.392 | 4.5318 | 0.007861%
34 | CITY OF FREDERICKSBURG (TDSP) | 0769243074000 | 27.7864 | 27.7832 | 30.0048 | 27.552 | 28.2816 | 0.04906%
35 | CITY OF GEORGETOWN (TDSP) | 0895923724000 | 94.6544 | 95.156 | 100.1636 | 98.5532 | 97.1318 | 0.1685%
36 | CITY OF GIDDINGS (TDSP) | 0096899514000 | 12.2612 | 12.1072 | 13.456 | 12.626 | 12.6126 | 0.02188%
37 | CITY OF GOLDTHWAITE (TDSP) | 1558252764000 | 4.5196 | 4.4436 | 5.3696 | 4.7756 | 4.7771 | 0.008286%
38 | CITY OF GONZALES (TDSP) | 0937385404000 | 16.1776 | 16.032 | 16.8448 | 16.364 | 16.3546 | 0.02837%
39 | CITY OF HALLETTSVILLE (TDSP) | 0090811834000 | 8.5124 | 8.4868 | 9.8628 | 8.6 | 8.8655 | 0.01538%
40 | CITY OF HEMPSTEAD (TDSP) | 1272175604000 | 11.702 | 11.8736 | 13.3016 | 12.2884 | 12.2914 | 0.02132%
41 | CITY OF LA GRANGE (TDSP) | 0607085184000 | 14.2588 | 13.7952 | 15.2948 | 14.1124 | 14.3653 | 0.02492%
42 | CITY OF LAMPASAS (TDSP) | 0203311204000 | 20.2112 | 20.3856 | 21.846 | 20.5608 | 20.7509 | 0.03599%
43 | CITY OF LEXINGTON (TDSP) | 0081817324000 | 2.3504 | 2.3032 | 2.6872 | 2.866 | 2.5517 | 0.004426%
44 | CITY OF LLANO (TDSP) | 0916952054000 | 9.0636 | 8.5388 | 9.9036 | 9.366 | 9.218 | 0.01599%
45 | CITY OF LOCKHART (TDSP) | 0746168634000 | 22.1316 | 22.1664 | 24.7804 | 21.5372 | 22.6539 | 0.0393%
46 | CITY OF LULING (TDSP) | 0105539984000 | 11.726 | 11.1096 | 12.5588 | 10.7616 | 11.539 | 0.02002%
47 | CITY OF MASON (TDSP) | 1561267084000 | 4.5012 | 4.4128 | 4.9272 | 4.5128 | 4.5885 | 0.007959%
48 | CITY OF MOULTON (TDSP) | 0091871544000 | 1.922 | 1.9856 | 2.1172 | 1.9828 | 2.0019 | 0.003473%
49 | CITY OF SAN MARCOS (TDSP) | 0694628694000 | 100.7712 | 93.6376 | 103.6756 | 96.0304 | 98.5287 | 0.1709%
50 | CITY OF SAN SABA (TDSP) | 0248592254000 | 7.6732 | 7.4392 | 8.3068 | 7.0324 | 7.6129 | 0.01321%
51 | CITY OF SANGER | 058956020 | 12.5236 | 12.1968 | 13.6352 | 12.2696 | 12.6563 | 0.02195%
52 | CITY OF SCHULENBURG (TDSP) | 0532950364000 | 11.2888 | 11.6364 | 12.3336 | 11.3368 | 11.6489 | 0.02021%
53 | CITY OF SEGUIN (TDSP) | 0862819794000 | 54.9404 | 54.1752 | 58.03 | 54.6416 | 55.4468 | 0.09618%
54 | CITY OF SEYMOUR | 166319145 | 7.1796 | 6.9348 | 7.634 | 5.6848 | 6.8583 | 0.0119%
55 | CITY OF SHINER (TDSP) | 1504533714000 | 9.5508 | 9.5932 | 9.7612 | 8.5364 | 9.3604 | 0.01624%
56 | CITY OF SMITHVILLE (TDSP) | 0916978134000 | 9.1092 | 8.9176 | 9.5348 | 8.8236 | 9.0963 | 0.01578%
57 | CITY OF WAELDER (TDSP) | 0541779694000 | 3.6084 | 3.7776 | 3.708 | 3.292 | 3.5965 | 0.006239%
58 | CITY OF WEIMAR (TDSP) | 0214974584000 | 7.0384 | 7.4652 | 8.1244 | 7.4192 | 7.5118 | 0.01303%
59 | CITY OF WHITESBORO | 134546522 | 7.302 | 7.7096 | 9.3896 | 7.7708 | 8.043 | 0.01395%
60 | CITY OF YOAKUM (TDSP) | 0694557724000 | 16.5196 | 16.85 | 17.1196 | 17.0132 | 16.8756 | 0.02927%
61 | COLEMAN COUNTY ELECTRIC CO OP INC (TDSP) | 0079246734000 | 18.702 | 17.7764 | 19.8012 | 16.7784 | 18.2645 | 0.03168%
62 | COMANCHE ELECTRIC CO OP ASSOCIATION | 002889210 | 36.5276 | 34.9808 | 38.0976 | 34.7416 | 36.0869 | 0.0626%
63 | CONCHO VALLEY ELECTRIC CO OP INC (TDSP) | 0038666624000 | 34.0504 | 31.582 | 38.5988 | 30.956 | 33.7968 | 0.05862%
64 | COOKE COUNTY ELECTRIC CO OP ASSOC INC | 008951808 | 56.172 | 57.8432 | 67.6052 | 58.6492 | 60.0674 | 0.1042%
66 | DEEP EAST TEXAS ELECTRIC CO OP INC | 047845623 | 13.2692 | 13.2184 | 14.5456 | 11.9564 | 13.2474 | 0.02298%
67 | DENTON COUNTY ELEC CO OP DBA COSERVE ELEC | 008947913 | 773.1876 | 806.694 | 977.5084 | 780.3428 | 834.4332 | 1.447%
69 | FANNIN COUNTY ELECTRIC CO OP INC | 0018220894000 | 24.3484 | 25.2024 | 32.182 | 24.6376 | 26.5926 | 0.04613%
70 | FARMERS ELECTRIC CO OP INC DBA FEC ELECTRIC | 0098442344000 | 169.3852 | 173.2384 | 194.8036 | 171.4184 | 177.2114 | 0.3074%
71 | FAYETTE ELECTRIC CO OP INC (TDSP) | 0593309774000 | 42.1868 | 43.5512 | 46.0488 | 41.8248 | 43.4029 | 0.07529%
72 | FORT BELKNAP ELECTRIC CO OP INC (TDSP) | 007935299 | 19.2024 | 18.7824 | 22.06 | 18.4752 | 19.63 | 0.03405%
73 | GRANBURY MUNICIPAL UTILITIES (TDSP) | 0952141694000 | 17.908 | 18.3564 | 21.2696 | 19.3044 | 19.2096 | 0.03332%
74 | GRAYSON COLLIN ELECTRIC CO OP INC | 008953812 | 142.9112 | 149.0372 | 185.7196 | 146.7056 | 156.0934 | 0.2708%
75 | GUADALUPE VALLEY ELECTRIC CO OP INC (TDSP) | 0079305894000 | 267.9132 | 262.59 | 286.4212 | 248.7556 | 266.42 | 0.4621%
76 | HAMILTON COUNTY ELECTRIC CO OP (BRAZOS) | 008949216 | 14.2776 | 14.114 | 16.3704 | 13.5784 | 14.5851 | 0.0253%
77 | HILCO ELECTRIC CO OP INC (TDSP) | 008950545 | 116.4232 | 103.7344 | 135.4148 | 114.6804 | 117.5632 | 0.2039%
78 | HOUSTON COUNTY ELEC COOP (TDSP) | 005777206 | 12.8012 | 12.5044 | 13.7552 | 12.5492 | 12.9025 | 0.02238%
79 | J A C ELECTRIC CO OP INC | 003890795 | 15.9096 | 16.3172 | 17.922 | 15.5008 | 16.4124 | 0.02847%
80 | JASPER NEWTON ELECTRIC CO OP INC | 007933518 | 1.8916 | 2.06 | 2.0692 | 1.8628 | 1.9709 | 0.003419%
81 | KERRVILLE PUBLIC UTILITY BOARD (TDSP) | 1248248064000 | 96.2344 | 97.1276 | 103.0688 | 94.004 | 97.6087 | 0.1693%
82 | LAMAR COUNTY ELEC COOP DBA LEC (TDSP) | 0048060974000 | 32.6916 | 29.1668 | 42.7628 | 33.1308 | 34.438 | 0.05974%
83 | LIGHTHOUSE ELECTRIC CO OP (TDSP) | 0028252894000 | 1.016 | 1.1428 | 2.4664 | 0.61 | 1.3088 | 0.00227%
85 | LYNTEGAR ELECTRIC CO OP INC (TDSP) | 0079371474000 | 12.6452 | 21.4472 | 29.9404 | 23.1636 | 21.7991 | 0.03781%
86 | MAGIC VALLEY ELECTRIC CO OP INC (TDSP) | 008951501 | 343.5784 | 337.5148 | 362.0312 | 327.9816 | 342.7765 | 0.5946%
87 | MCLENNAN COUNTY ELECTRIC CO OP INC | 007509698 | 53.9836 | 54.3092 | 61.414 | 51.2196 | 55.2316 | 0.09581%
88 | MID SOUTH ELECTRIC CO OP ASSOC | 061278594 | 21.26 | 21.3412 | 23.3992 | 21.3972 | 21.8494 | 0.0379%
89 | NAVARRO COUNTY ELECTRIC CO OP INC | 006770101 | 50.9864 | 49.4228 | 66.0364 | 56.0632 | 55.6272 | 0.09649%
90 | NAVASOTA VALLEY ELECTRIC CO OP INC | 046299913 | 65.608 | 66.1036 | 71.2656 | 70.4352 | 68.3531 | 0.1186%
91 | NEW BRAUNFELS UTILITIES (TDSP) | 0383461694000 | 187.9488 | 182.6376 | 185.4072 | 183.3924 | 184.8465 | 0.3206%
92 | PEDERNALES ELECTRIC CO OP INC (TDSP) | 0079241114000 | 953.5852 | 921.8456 | 1018.608 | 909.75 | 950.9472 | 1.65%
94 | SAM HOUSTON ELECTRIC CO OP INC (TDSP) | 056267867 | 4.626 | 4.5112 | 5.0732 | 4.3876 | 4.6495 | 0.008065%
95 | SAN BERNARD ELECTRIC CO OP (TDSP) | 0089453134000 | 97.8752 | 96.24 | 109.218 | 101.138 | 101.1178 | 0.1754%
96 | SOUTH PLAINS ELECTRIC CO OP INC (TDSP) | 007934185 | 73.9944 | 74.3436 | 73.9576 | 66.796 | 72.2729 | 0.1254%
97 | SOUTHWEST TEXAS ELECTRIC CO OP INC (TDSP) | 0084158954000 | 23.8056 | 24.5276 | 24.8332 | 23.7112 | 24.2194 | 0.04201%
98 | TAYLOR ELECTRIC CO OP INC (TDSP) | 0079344254000 | 5.5708 | 5.8036 | 5.7168 | 5.6184 | 5.6774 | 0.009848%
99 | TRI COUNTY ELECTRIC CO OP INC | 008945123 | 408.2928 | 423.84 | 489.8928 | 399.8264 | 430.463 | 0.7467%
100 | TRINITY VALLEY ELEC CO OP | 009844564 | 131.844 | 134.7164 | 152.386 | 127.132 | 136.5196 | 0.2368%
102 | UNITED ELECTRIC CO OP SERVICES INC | 008945826 | 323.9784 | 325.1708 | 394.5068 | 316.042 | 339.9245 | 0.5896%
103 | WISE ELECTRIC CO OP | 041405408 | 88.276 | 79.7896 | 90.5484 | 79.0984 | 84.4281 | 0.1464%
104 | BROWNSVILLE PUBLIC UTILITY BOARD (TDSP) | 6063470374000 | 242.6608 | 247.3024 | 260.4848 | 239.6468 | 247.5237 | 0.4294%
105 | BRYAN TEXAS UTILITIES (TDSP) | 0793907794000 | 285.9052 | 278.7544 | 301.882 | 290.4572 | 289.2497 | 0.5017%
106 | CAP-ROCK ELECTRIC CO OP INC (HUNT COLLIN DIVISION) (TDSP) | 0079370974100 | 21.5632 | 22.5824 | 29.0384 | 22.106 | 23.8225 | 0.04132%
107 | CHEROKEE COUNTY ELEC CO OP ASSOC | 008862625 | 47.9952 | 45.94 | 44.4452 | 44.9932 | 45.8434 | 0.07952%
108 | CITY OF AUSTIN DBA AUSTIN ENERGY (TDSP) | 8008717664000 | 2248.7216 | 2202.4076 | 2379.9588 | 2189.8848 | 2255.2432 | 3.912%
110 | CITY OF BOWIE (TDSP) | 8094182964000 | 12.6052 | 13.6652 | 14.9824 | 13.4148 | 13.6669 | 0.02371%
111 | CITY OF BRADY (TDSP) | 070804877 | 13.7496 | 13.3852 | 15.026 | 12.8116 | 13.7431 | 0.02384%
113 | CITY OF COLEMAN (TDSP) | 1024920064000 | 9.07 | 9.0312 | 10.2052 | 9.0272 | 9.3334 | 0.01619%
114 | CITY OF COLLEGE STATION (TDSP) | 0403303004000 | 164.598 | 160.5584 | 174.1488 | 171.7336 | 167.7597 | 0.291%
117 | CITY OF GARLAND (TDSP) | 6011012564000 | 415.7472 | 424.4 | 482.5188 | 416.4092 | 434.7688 | 0.7542%
118 | CITY OF GOLDSMITH (TDSP) | 0888946704000 | 0.484 | 0.4276 | 0.4572 | 0.4668 | 0.4589 | 0.000796%
119 | CITY OF HEARNE MUNICIPAL ELECTRIC SYSTEM (TDSP) | 0897458894000 | 10.0184 | 9.7012 | 11.1196 | 9.9032 | 10.1856 | 0.01767%
121 | CITY OF ROBSTOWN UTILITY SYSTEM (TDSP) | 9387911424000 | 20.4536 | 21.3548 | 22.282 | 20.3064 | 21.0992 | 0.0366%
122 | CITY OF SAN ANTONIO CITY PUBLIC SERVICE (TDSP) | 0079360734000 | 4092.5272 | 3996.9268 | 4286.8812 | 3920.7224 | 4074.2644 | 7.067%
123 | DENTON MUNICIPAL ELECTRIC (TDSP) | 0003540764000 | 267.3908 | 272.4316 | 307.4068 | 272.2412 | 279.8676 | 0.4855%
125 | GEUS (TDSP) | 8062449354000 | 97.7088 | 95.2876 | 110.7064 | 96.4892 | 100.048 | 0.1735%
126 | JACKSON ELECTRICAL CO OP INC | 078423555 | 35.8376 | 37.5968 | 40.8832 | 38.168 | 38.1214 | 0.06613%
127 | KARNES ELECTRIC CO OP INC | 006824106 | 49.4336 | 46.8684 | 52.0324 | 46.2084 | 48.6357 | 0.08436%
128 | MEDINA ELECTRIC CO OP INC (TDSP) STEC | 0081378124000 | 75.5864 | 75.2584 | 80.3772 | 70.2804 | 75.3756 | 0.1307%
131 | SAN MIGUEL ELECTRIC CO OP INC (TDSP) | 0884848524000 | 0 | 0 | 0 | 0 | 0 | 0%
132 | SAN PATRICIO ELECTRIC CO OP (TDSP) | 003864907 | 26.6524 | 27.7472 | 29.4928 | 26.8012 | 27.6734 | 0.048%
133 | SHARYLAND UTILITIES LP (TDSP) | 105262336 | 14.378 | 14.88 | 14.352 | 13.3024 | 14.2281 | 0.02468%
134 | SOUTH TEXAS ELECTRIC CO OP INC | 0038663324000 | 0 | 0.1588 | 0 | 0.1252 | 0.071 | 0.0001232%
136 | VICTORIA ELECTRIC CO OP INC | 008953861 | 65.0372 | 71.3792 | 72.4724 | 69.1648 | 69.5134 | 0.1206%
137 | WEATHERFORD MUNICIPAL UTILITY SYSTEM (TDSP) | 0817196274000 | 70.228 | 72.124 | 81.64 | 70.8424 | 73.7086 | 0.1279%
138 | WHARTON COUNTY ELECTRIC CO OP INC | 118487958 | 27.404 | 27.1556 | 29.9048 | 26.646 | 27.7776 | 0.04818%
139 | RUSK COUNTY ELECTRIC CO OP (TDSP) | 009844440 | 0 | 0 | 0 | 0 | 0 | 0%
141 | CITY OF GARLAND GBCREEK (TDSP) | 6011012564100 | 0 | 0 | 0 | 0 | 0 | 0%
142 | HAMILTON COUNTY ELECTRIC CO OP (LCRA) | 0089492164100 | 24.8276 | 24.24 | 27.7704 | 23.4052 | 25.0608 | 0.04347%
145 | PEDERNALES ELEC CO OP INC AEP (TDSP) | 0079241114100 | 3.9508 | 3.7372 | 3.9808 | 3.858 | 3.8817 | 0.006733%
146 | TAYLOR ELECTRIC CO OP INC ABILENE (TDSP) | 0079344254100 | 40.6104 | 43.6756 | 43.2424 | 37.77 | 41.3246 | 0.07168%
148 | RIO GRANDE ELECTRIC CO OP TXU (TDSP) | 0027819534100 | 26.7156 | 26.6372 | 28.0532 | 25.3056 | 26.6779 | 0.04628%
153 | WESTERN FARMERS ELECTRIC COOPERATIVE (TDSP) | 0728624074000 | 0.5928 | 0.4972 | 0.7664 | 0.4568 | 0.5783 | 0.001003%
155 | HOUSTON COUNTY ELEC COOP TXU (TDSP) | 0057772064100 | 5.9536 | 5.6536 | 3.6312 | 2.8404 | 4.5197 | 0.00784%
158 | NUECES ELECTRIC COOP INC PILOT TDSP | 0088288574800 | 60.2988 | 62.6748 | 61.6664 | 62.1808 | 61.7052 | 0.107%
166 | BIG COUNTRY ELECTRIC CO OP INC TXU (TDSP) | 0058630484100 | 0 | 0 | 0 | 0 | 0 | 0%
167 | CONCHO VALLEY ELECTRIC CO OP INC TXU (TDSP) | 0038666624100 | 0 | 0 | 0 | 0 | 0 | 0%
171 | CHEROKEE COUNTY ELEC CO OP ASSOC (CORAL POWER AS QSE) | 0088626254000 | 0.0368 | 2.2068 | 8.0872 | 6.364 | 4.1737 | 0.00724%
| Total |  | 56495.2976 | 56727.1112 | 62195.7436 | 55181.9072 | 57650.0149 | 100%
Note: DC Tie exports and Block Load Transfer exports are excluded from this report