10/28/97

Methodology Used for GSU Loss Calculation

The transformer test report gives the transformer's full load loss (LossTest) at a tested MVA (MVATest).  This full load loss needs to be scaled to the actual MVA that was going through the transformer (MVAActual).  This yields the equation:

LossActual=MVAActualMVATest∗LossTest

Furthermore, the actual MVA can be broken down into its MW and MVAR components as follows:

MVAActual=MWActual2+MVARActual2

Substituting, this gives a new equation:

LossActual=MWActual2+MVARActual2MVATest∗LossTest

LossActual=MWActual2+MVARActual2MVATest2∗LossTestIf you square the numerator and denominator of the fraction you get the equivalent equation:

And finally, to this equation for full load losses, you need to also add the no load losses from the transformer's test report.  This gives the final equation:

LossActual=MWActual2+MVARActual2MVATest2∗LossTest+LossNoLoad