## 2005 FOUR CP CALCULATION
Attachment A
2005 Four Coincident Peak Load Calculation
Information based on Final Settlement Runs and Requested Recalculations Based Upon Updated Data
TDSP CODE | Load Entity Name | DUNS Number | June Load at ERCOT Coincident Peak MW | July Load at ERCOT Coincident Peak MW | August Load at ERCOT Coincident Peak MW | September Load at ERCOT Coincident Peak MW | Average 4CP Load MW | Load Ratio Share
|  |  | 06/30/2005 at interval ending 16:45 | 07/06/2005 at interval ending 17:00 | 08/23/2005 at interval ending 16:30 | 09/28/2005 at interval ending 16:30
1 | CENTERPOINT ENERGY HOUSTON ELECTRIC LLC (TDSP) | 957877905 | 14260.058 | 14809.016 | 14802.5748 | 14266.1976 | 14534.4616 | 24.69%
2 | TXU ELECTRIC DELIVERY (TDSP) | 1039940674000 | 22517.6308 | 20977.9248 | 23369.8776 | 22798.6852 | 22416.0296 | 38.08%
4 | TEXAS-NEW MEXICO POWER CO (TDSP) | 007929441 | 1371.8528 | 1359.5428 | 1364.0032 | 1408.76 | 1376.0397 | 2.338%
5 | AEP TEXAS CENTRAL COMPANY | 007924772 | 4228.9612 | 4576.7216 | 4440.9732 | 4529.4728 | 4444.0322 | 7.55%
7 | AEP TEXAS NORTH COMPANY | 007923311 | 1044.1412 | 969.7996 | 1002.0092 | 1019.0116 | 1008.7404 | 1.714%
18 | BANDERA ELECTRIC CO OP INC (TDSP) | 0089451494000 | 115.684 | 121.4712 | 110.3896 | 118.1972 | 116.4355 | 0.1978%
19 | BARTLETT ELECTRIC CO OP INC | 002781813 | 36.298 | 38.3332 | 35.3856 | 37.5116 | 36.8821 | 0.06266%
20 | BELFALLS ELECTRIC CO OP INC (TDSP) | 004998399 | 16.2544 | 18.26 | 17.6092 | 17.4452 | 17.3922 | 0.02955%
21 | BIG COUNTRY ELECTRIC CO OP INC (TDSP) | 0058630484000 | 23.3784 | 19.298 | 19.8144 | 20.5736 | 20.7661 | 0.03528%
22 | BLUEBONNET ELECTRIC CO OP INC (TDSP) | 0524834354000 | 340.49 | 352.6728 | 343.7532 | 362.38 | 349.824 | 0.5943%
23 | BRAZOS ELECTRIC POWER CO OP INC(TDSP) | 0037722904000 | 2.3696 | 1.4036 | 8.4352 | 4.5376 | 4.1865 | 0.007113%
24 | CAP-ROCK ELECTRIC CO OP INC (MCCULLOCH DIVISION) (TDSP) | 0079370974000 | 19.436 | 19.0404 | 18.254 | 17.6248 | 18.5888 | 0.03158%
25 | CENTRAL TEXAS ELECTRIC CO OP INC (TDSP) | 0079302744000 | 101.9132 | 104.262 | 97.8668 | 103.3788 | 101.8552 | 0.1731%
26 | CITY OF BASTROP (TDSP) | 0851553724000 | 12.9012 | 13.506 | 14.3052 | 15.082 | 13.9486 | 0.0237%
27 | CITY OF BELLVILLE (TDSP) | 0935648704000 | 14.0704 | 14.4696 | 13.4336 | 15.3116 | 14.3213 | 0.02433%
28 | CITY OF BOERNE (TDSP) | 0052470694000 | 24.9892 | 26.6888 | 26.1636 | 27.9256 | 26.4418 | 0.04492%
29 | CITY OF BRENHAM (TDSP) | 0741649224000 | 64.1224 | 58.7596 | 64.4808 | 68.2292 | 63.898 | 0.1086%
30 | CITY OF BRIDGEPORT MUN ELEC SYS (TDSP) | 0842801714000 | 12.2768 | 10.4752 | 13.1376 | 13.416 | 12.3264 | 0.02094%
31 | CITY OF BURNET (TDSP) | 0746121514000 | 16.5548 | 16.5452 | 17.0076 | 17.4092 | 16.8792 | 0.02868%
32 | CITY OF CUERO (TDSP) | 0526842144000 | 26.0432 | 21.878 | 27.0436 | 27.5808 | 25.6364 | 0.04356%
33 | CITY OF FLATONIA (TDSP) | 0626890134000 | 4.7236 | 5.1096 | 5.1332 | 5.4864 | 5.1132 | 0.008687%
34 | CITY OF FREDERICKSBURG (TDSP) | 0769243074000 | 30.8612 | 32.14 | 31.4296 | 33.274 | 31.9262 | 0.05424%
35 | CITY OF GEORGETOWN (TDSP) | 0895923724000 | 94.586 | 98.0048 | 99.5432 | 105.5236 | 99.4144 | 0.1689%
36 | CITY OF GIDDINGS (TDSP) | 0096899514000 | 13.4852 | 13.4032 | 13.2924 | 14.1976 | 13.5946 | 0.0231%
37 | CITY OF GOLDTHWAITE (TDSP) | 1558252764000 | 5.4096 | 5.3296 | 5.5528 | 5.5468 | 5.4597 | 0.009276%
38 | CITY OF GONZALES (TDSP) | 0937385404000 | 17.698 | 18.108 | 18.5104 | 18.6028 | 18.2298 | 0.03097%
39 | CITY OF HALLETTSVILLE (TDSP) | 0090811834000 | 8.6324 | 9.684 | 9.908 | 10.4492 | 9.6684 | 0.01643%
40 | CITY OF HEMPSTEAD (TDSP) | 1272175604000 | 12.5236 | 13.3888 | 12.8288 | 13.3348 | 13.019 | 0.02212%
41 | CITY OF LA GRANGE (TDSP) | 0607085184000 | 15.9308 | 16.7304 | 15.7448 | 17.558 | 16.491 | 0.02802%
42 | CITY OF LAMPASAS (TDSP) | 0203311204000 | 21.826 | 21.056 | 22.5352 | 22.7644 | 22.0454 | 0.03746%
43 | CITY OF LEXINGTON (TDSP) | 0081817324000 | 2.5524 | 2.6872 | 2.8892 | 2.956 | 2.7712 | 0.004708%
44 | CITY OF LLANO (TDSP) | 0916952054000 | 9.912 | 9.9252 | 10.662 | 11.0528 | 10.388 | 0.01765%
45 | CITY OF LOCKHART (TDSP) | 0746168634000 | 23.3132 | 24.9624 | 25.1552 | 26.3024 | 24.9333 | 0.04236%
46 | CITY OF LULING (TDSP) | 0105539984000 | 11.588 | 12.2316 | 12.4812 | 13.402 | 12.4257 | 0.02111%
47 | CITY OF MASON (TDSP) | 1561267084000 | 5.1488 | 5.0564 | 5.3816 | 5.3948 | 5.2454 | 0.008912%
48 | CITY OF MOULTON (TDSP) | 0091871544000 | 2.1244 | 2.1292 | 2.13 | 2.4556 | 2.2098 | 0.003754%
49 | CITY OF SAN MARCOS (TDSP) | 0694628694000 | 96.4736 | 97.1536 | 104.3332 | 107.8032 | 101.4409 | 0.1723%
50 | CITY OF SAN SABA (TDSP) | 0248592254000 | 8.4228 | 8.3688 | 8.4128 | 8.9256 | 8.5325 | 0.0145%
51 | CITY OF SANGER | 058956020 | 13.3816 | 11.9892 | 14.2836 | 14.442 | 13.5241 | 0.02298%
52 | CITY OF SCHULENBURG (TDSP) | 0532950364000 | 12.1564 | 12.6928 | 12.0668 | 13.1712 | 12.5218 | 0.02127%
53 | CITY OF SEGUIN (TDSP) | 0862819794000 | 56.0228 | 56.9032 | 60.7504 | 62.2748 | 58.9878 | 0.1002%
54 | CITY OF SEYMOUR | 166319145 | 8.1436 | 6.9972 | 7.6532 | 7.3028 | 7.5242 | 0.01278%
55 | CITY OF SHINER (TDSP) | 1504533714000 | 9.2592 | 9.4136 | 9.4588 | 9.5728 | 9.4261 | 0.01601%
56 | CITY OF SMITHVILLE (TDSP) | 0916978134000 | 9.6 | 10.3292 | 10.2812 | 11.0492 | 10.3149 | 0.01752%
57 | CITY OF WAELDER (TDSP) | 0541779694000 | 3.6092 | 3.3136 | 3.5808 | 3.5428 | 3.5116 | 0.005966%
58 | CITY OF WEIMAR (TDSP) | 0214974584000 | 7.3108 | 7.7784 | 8.2444 | 8.5048 | 7.9596 | 0.01352%
59 | CITY OF WHITESBORO | 134546522 | 9.0028 | 7.7748 | 9.536 | 9.6004 | 8.9785 | 0.01525%
60 | CITY OF YOAKUM (TDSP) | 0694557724000 | 17.3676 | 17.5048 | 17.9204 | 18.5092 | 17.8255 | 0.03029%
61 | COLEMAN COUNTY ELECTRIC CO OP INC (TDSP) | 0079246734000 | 19.5224 | 20.3792 | 19.592 | 17.9944 | 19.372 | 0.03291%
62 | COMANCHE ELECTRIC CO OP ASSOCIATION | 002889210 | 37.7304 | 36.8776 | 35.9896 | 36.5392 | 36.7842 | 0.0625%
63 | CONCHO VALLEY ELECTRIC CO OP INC (TDSP) | 0038666624000 | 37.9452 | 39.4008 | 34.4908 | 34.7268 | 36.6409 | 0.06225%
64 | COOKE COUNTY ELECTRIC CO OP ASSOC INC | 008951808 | 62.1204 | 55.6096 | 62.782 | 61.952 | 60.616 | 0.103%
66 | DEEP EAST TEXAS ELECTRIC CO OP INC | 047845623 | 14.3144 | 13.5704 | 14.0464 | 5.9576 | 11.9722 | 0.02034%
67 | DENTON COUNTY ELEC CO OP DBA COSERVE ELEC | 008947913 | 766.1944 | 648.0324 | 830.8132 | 810.9068 | 763.9867 | 1.298%
69 | FANNIN COUNTY ELECTRIC CO OP INC | 0018220894000 | 32.4936 | 27.1236 | 33.3404 | 31.6208 | 31.1446 | 0.05291%
70 | FARMERS ELECTRIC CO OP INC DBA FEC ELECTRIC | 0098442344000 | 186.1984 | 160.8588 | 197.9728 | 183.3712 | 182.1003 | 0.3094%
71 | FAYETTE ELECTRIC CO OP INC (TDSP) | 0593309774000 | 46.6528 | 47.9976 | 43.7932 | 48.7052 | 46.7872 | 0.07949%
72 | FORT BELKNAP ELECTRIC CO OP INC (TDSP) | 007935299 | 20.3036 | 17.6948 | 19.974 | 20.4832 | 19.6139 | 0.03332%
73 | GRANBURY MUNICIPAL UTILITIES (TDSP) | 0952141694000 | 18.8972 | 17.3364 | 21.23 | 20.6412 | 19.5262 | 0.03317%
74 | GRAYSON COLLIN ELECTRIC CO OP INC | 008953812 | 155.6804 | 128.6252 | 163.314 | 157.2152 | 151.2087 | 0.2569%
75 | GUADALUPE VALLEY ELECTRIC CO OP INC (TDSP) | 0079305894000 | 262.7356 | 275.8668 | 264.5316 | 284.8804 | 272.0036 | 0.4621%
76 | HAMILTON COUNTY ELECTRIC CO OP (BRAZOS) | 008949216 | 15.5096 | 15.3448 | 15.798 | 16.37 | 15.7556 | 0.02677%
77 | HILCO ELECTRIC CO OP INC (TDSP) | 008950545 | 120.8848 | 117.316 | 122.2496 | 127.4332 | 121.9709 | 0.2072%
78 | HOUSTON COUNTY ELEC COOP (TDSP) | 005777206 | 13.9364 | 14.0436 | 13.49 | 13.8468 | 13.8292 | 0.0235%
79 | J A C ELECTRIC CO OP INC | 003890795 | 18.3332 | 15.754 | 17.312 | 17.1908 | 17.1475 | 0.02913%
80 | JASPER NEWTON ELECTRIC CO OP INC | 007933518 | 1.8356 | 2.1536 | 2.222 | 0 | 1.5528 | 0.002638%
81 | KERRVILLE PUBLIC UTILITY BOARD (TDSP) | 1248248064000 | 108.2688 | 111.34 | 108.0532 | 111.8768 | 109.8847 | 0.1867%
82 | LAMAR COUNTY ELEC COOP DBA LEC (TDSP) | 0048060974000 | 41.6496 | 35.1472 | 42.0588 | 37.314 | 39.0424 | 0.06633%
83 | LIGHTHOUSE ELECTRIC CO OP (TDSP) | 0028252894000 | 2.272 | 1.6884 | 1.29 | 1.0244 | 1.5687 | 0.002665%
85 | LYNTEGAR ELECTRIC CO OP INC (TDSP) | 0079371474000 | 29.936 | 31.396 | 27.1428 | 14.4584 | 25.7333 | 0.04372%
86 | MAGIC VALLEY ELECTRIC CO OP INC (TDSP) | 008951501 | 305.9508 | 324.948 | 318.8788 | 334.2088 | 320.9966 | 0.5454%
87 | MCLENNAN COUNTY ELECTRIC CO OP INC | 007509698 | 58.4444 | 58.1572 | 60.1772 | 60.8116 | 59.3976 | 0.1009%
88 | MID SOUTH ELECTRIC CO OP ASSOC | 061278594 | 22.8404 | 23.9856 | 21.0052 | 32.9516 | 25.1957 | 0.04281%
89 | NAVARRO COUNTY ELECTRIC CO OP INC | 006770101 | 69.07 | 62.9388 | 67.9964 | 66.1496 | 66.5387 | 0.113%
90 | NAVASOTA VALLEY ELECTRIC CO OP INC | 046299913 | 68.7852 | 74.0804 | 71.2008 | 68.72 | 70.6966 | 0.1201%
91 | NEW BRAUNFELS UTILITIES (TDSP) | 0383461694000 | 191.7412 | 195.7572 | 189.9236 | 189.3164 | 191.6846 | 0.3257%
92 | PEDERNALES ELECTRIC CO OP INC (TDSP) | 0079241114000 | 939.8876 | 987.8564 | 956.5448 | 979.1844 | 965.8683 | 1.641%
94 | SAM HOUSTON ELECTRIC CO OP INC (TDSP) | 056267867 | 5.1268 | 4.8172 | 4.9416 | 2.5656 | 4.3628 | 0.007412%
95 | SAN BERNARD ELECTRIC CO OP (TDSP) | 0089453134000 | 111.1556 | 112.8672 | 106.516 | 106.1016 | 109.1601 | 0.1855%
96 | SOUTH PLAINS ELECTRIC CO OP INC (TDSP) | 007934185 | 68.5204 | 65.148 | 67.6568 | 67.3928 | 67.1795 | 0.1141%
97 | SOUTHWEST TEXAS ELECTRIC CO OP INC (TDSP) | 0084158954000 | 24.2396 | 23.216 | 22.0684 | 22.636 | 23.04 | 0.03914%
98 | TAYLOR ELECTRIC CO OP INC (TDSP) | 0079344254000 | 5.8316 | 5.984 | 6.3524 | 7.6696 | 6.4594 | 0.01097%
99 | TRI COUNTY ELECTRIC CO OP INC | 008945123 | 402.0256 | 354.2712 | 424.6204 | 421.7116 | 400.6572 | 0.6807%
100 | TRINITY VALLEY ELEC CO OP | 009844564 | 148.5804 | 139.6484 | 158.7948 | 138.3064 | 146.3325 | 0.2486%
102 | UNITED ELECTRIC CO OP SERVICES INC | 008945826 | 329.7984 | 300.2676 | 334.0176 | 329.1104 | 323.2985 | 0.5493%
103 | WISE ELECTRIC CO OP | 041405408 | 78.7348 | 69.1536 | 84.1056 | 85.5024 | 79.3741 | 0.1349%
104 | BROWNSVILLE PUBLIC UTILITY BOARD (TDSP) | 6063470374000 | 223.8808 | 236.814 | 247.77 | 250.6752 | 239.785 | 0.4074%
105 | BRYAN TEXAS UTILITIES (TDSP) | 0793907794000 | 286.2012 | 290.7852 | 292.3876 | 313.726 | 295.775 | 0.5025%
106 | CAP-ROCK ELECTRIC CO OP INC (HUNT COLLIN DIVISION) (TDSP) | 0079370974100 | 25.4372 | 21.4256 | 27.7772 | 26.258 | 25.2245 | 0.04286%
107 | CHEROKEE COUNTY ELEC CO OP ASSOC | 008862625 | 52.732 | 48.9528 | 56.6548 | 48.7244 | 51.766 | 0.08795%
108 | CITY OF AUSTIN DBA AUSTIN ENERGY (TDSP) | 8008717664000 | 2250.1604 | 2314.984 | 2348.4992 | 2361.9596 | 2318.9008 | 3.94%
110 | CITY OF BOWIE (TDSP) | 8094182964000 | 15.0596 | 12.726 | 15.0204 | 15.1392 | 14.4863 | 0.02461%
111 | CITY OF BRADY (TDSP) | 070804877 | 15.2652 | 14.694 | 15.7072 | 14.7068 | 15.0933 | 0.02564%
113 | CITY OF COLEMAN (TDSP) | 1024920064000 | 10.2136 | 10.396 | 10.426 | 10.7076 | 10.4358 | 0.01773%
114 | CITY OF COLLEGE STATION (TDSP) | 0403303004000 | 168.2592 | 171.4712 | 175.3412 | 186.9784 | 175.5125 | 0.2982%
117 | CITY OF GARLAND (TDSP) | 6011012564000 | 462.5396 | 429.1692 | 487.4272 | 474.7152 | 463.4628 | 0.7874%
118 | CITY OF GOLDSMITH (TDSP) | 0888946704000 | 0.4668 | 0.4208 | 0.4584 | 0.434 | 0.445 | 0.0007561%
119 | CITY OF HEARNE MUNICIPAL ELECTRIC SYSTEM (TDSP) | 0897458894000 | 11.0316 | 11.4108 | 11.6868 | 12.2564 | 11.5964 | 0.0197%
121 | CITY OF ROBSTOWN UTILITY SYSTEM (TDSP) | 9387911424000 | 21.8812 | 23.32 | 21.814 | 24.1164 | 22.7829 | 0.03871%
122 | CITY OF SAN ANTONIO CITY PUBLIC SERVICE (TDSP) | 0079360734000 | 4073.6776 | 4250.036 | 4231.3908 | 4391.332 | 4236.6091 | 7.198%
123 | DENTON MUNICIPAL ELECTRIC (TDSP) | 0003540764000 | 291.1588 | 253.6244 | 303.2944 | 304.506 | 288.1459 | 0.4896%
125 | GEUS (TDSP) | 8062449354000 | 100.5152 | 88.62 | 109.7796 | 105.978 | 101.2232 | 0.172%
126 | JACKSON ELECTRICAL CO OP INC | 078423555 | 38.7528 | 41.6148 | 37.4328 | 38.1784 | 38.9947 | 0.06625%
127 | KARNES ELECTRIC CO OP INC | 006824106 | 53.2068 | 54.712 | 52.556 | 54.0248 | 53.6249 | 0.09111%
128 | MEDINA ELECTRIC CO OP INC (TDSP) STEC | 0081378124000 | 91.7536 | 94.4208 | 87.0816 | 90.6932 | 90.9873 | 0.1546%
129 | NUECES ELECTRIC CO OP INC | 008828857 | 46.5676 | 48.6944 | 42.9492 | 31.77 | 42.4953 | 0.0722%
131 | SAN MIGUEL ELECTRIC CO OP INC (TDSP) | 0884848524000 | 0 | 0 | 0 | 0 | 0 | 0%
132 | SAN PATRICIO ELECTRIC CO OP (TDSP) | 003864907 | 30.8376 | 32.538 | 29.9072 | 31.7092 | 31.248 | 0.05309%
133 | SHARYLAND UTILITIES LP (TDSP) | 105262336 | 12.4108 | 12.5908 | 12.7328 | 14.3192 | 13.0134 | 0.02211%
134 | SOUTH TEXAS ELECTRIC CO OP INC | 0038663324000 | 0 | 0 | 0.2376 | 0 | 0.0594 | 0.0001009%
136 | VICTORIA ELECTRIC CO OP INC | 008953861 | 70.5732 | 76.3216 | 72.676 | 73.0664 | 73.1593 | 0.1243%
137 | WEATHERFORD MUNICIPAL UTILITY SYSTEM (TDSP) | 0817196274000 | 73.2204 | 67.0848 | 78.8476 | 74.65 | 73.4507 | 0.1248%
138 | WHARTON COUNTY ELECTRIC CO OP INC | 118487958 | 29.114 | 32.5068 | 29.1484 | 31.3828 | 30.538 | 0.05188%
139 | RUSK COUNTY ELECTRIC CO OP (TDSP) | 009844440 | 0 | 0 | 0 | 0 | 0 | 0%
141 | CITY OF GARLAND GBCREEK (TDSP) | 6011012564100 | 0 | 0 | 0 | 0 | 0 | 0%
142 | HAMILTON COUNTY ELECTRIC CO OP (LCRA) | 0089492164100 | 27.4984 | 28.2808 | 27.4496 | 28.1972 | 27.8565 | 0.04733%
144 | NUECES ELECTRIC CO OP INC AEP (TDSP) | 0088288574100 | 0.4308 | 0.3228 | 0.6028 | 0.6204 | 0.4942 | 0.0008396%
145 | PEDERNALES ELEC CO OP INC AEP (TDSP) | 0079241114100 | 4.3588 | 4.3648 | 3.6244 | 3.9672 | 4.0788 | 0.00693%
146 | TAYLOR ELECTRIC CO OP INC ABILENE (TDSP) | 0079344254100 | 37.0832 | 35.5028 | 37.2928 | 33.6128 | 35.8729 | 0.06095%
147 | VICTORIA ELECTRIC CO OP INC AEP (TDSP) | 0089538614100 | 0.4736 | 0.4652 | 0.52 | 0.6388 | 0.5244 | 0.000891%
148 | RIO GRANDE ELECTRIC CO OP TXU (TDSP) | 0027819534100 | 28.6948 | 29.4544 | 25.4932 | 29.2216 | 28.216 | 0.04794%
153 | WESTERN FARMERS ELECTRIC COOPERATIVE (TDSP) | 0728624074000 | 0.7948 | 0.708 | 0.4848 | 0.4608 | 0.6121 | 0.00104%
155 | HOUSTON COUNTY ELEC COOP TXU (TDSP) | 0057772064100 | 3.7444 | 2.9052 | 4.7844 | 0.0616 | 2.8739 | 0.004883%
158 | NUECES ELECTRIC COOP INC PILOT TDSP | 0088288574800 | 1 | 1.0756 | 7.4468 | 23.6208 | 8.2858 | 0.01408%
| Total* |  | 58183.6344 | 57449.3012 | 60259.2068 | 59540.986 | 58858.2821 | 100%
*Note: Total does not include DC Tie Exports or Block Load Transfers

## June
Peak Demand on 06/30/2005 at interval ending 16:45 based on Channel 4 (FINAL) settlement run on 08/26/05
TDSP Code | Load Entity Name | DUNS | 2005 Load Responsibility MW | 2005 Load Responsibility MWh
1 | CENTERPOINT ENERGY HOUSTON ELECTRIC LLC (TDSP) | 957877905 | 14260.058 | 3565.0145
2 | TXU ELECTRIC DELIVERY (TDSP) | 1039940674000 | 22517.6308 | 5629.4077
4 | TEXAS-NEW MEXICO POWER CO (TDSP) | 007929441 | 1371.8528 | 342.9632
5 | AEP TEXAS CENTRAL COMPANY | 007924772 | 4228.9612 | 1057.2403
7 | AEP TEXAS NORTH COMPANY | 007923311 | 1044.1412 | 261.0353
18 | BANDERA ELECTRIC CO OP INC (TDSP) | 0089451494000 | 115.684 | 28.921
19 | BARTLETT ELECTRIC CO OP INC | 002781813 | 36.298 | 9.0745
20 | BELFALLS ELECTRIC CO OP INC (TDSP) | 004998399 | 16.2544 | 4.0636
21 | BIG COUNTRY ELECTRIC CO OP INC (TDSP) | 0058630484000 | 23.3784 | 5.8446
22 | BLUEBONNET ELECTRIC CO OP INC (TDSP) | 0524834354000 | 340.49 | 85.1225
23 | BRAZOS ELECTRIC POWER CO OP INC(TDSP) | 0037722904000 | 2.3696 | 0.5924
24 | CAP-ROCK ELECTRIC CO OP INC (MCCULLOCH DIVISION) (TDSP) | 0079370974000 | 19.436 | 4.859
25 | CENTRAL TEXAS ELECTRIC CO OP INC (TDSP) | 0079302744000 | 101.9132 | 25.4783
26 | CITY OF BASTROP (TDSP) | 0851553724000 | 12.9012 | 3.2253
27 | CITY OF BELLVILLE (TDSP) | 0935648704000 | 14.0704 | 3.5176
28 | CITY OF BOERNE (TDSP) | 0052470694000 | 24.9892 | 6.2473
29 | CITY OF BRENHAM (TDSP) | 0741649224000 | 64.1224 | 16.0306
30 | CITY OF BRIDGEPORT MUN ELEC SYS (TDSP) | 0842801714000 | 12.2768 | 3.0692
31 | CITY OF BURNET (TDSP) | 0746121514000 | 16.5548 | 4.1387
32 | CITY OF CUERO (TDSP) | 0526842144000 | 26.0432 | 6.5108
33 | CITY OF FLATONIA (TDSP) | 0626890134000 | 4.7236 | 1.1809
34 | CITY OF FREDERICKSBURG (TDSP) | 0769243074000 | 30.8612 | 7.7153
35 | CITY OF GEORGETOWN (TDSP) | 0895923724000 | 94.586 | 23.6465
36 | CITY OF GIDDINGS (TDSP) | 0096899514000 | 13.4852 | 3.3713
37 | CITY OF GOLDTHWAITE (TDSP) | 1558252764000 | 5.4096 | 1.3524
38 | CITY OF GONZALES (TDSP) | 0937385404000 | 17.698 | 4.4245
39 | CITY OF HALLETTSVILLE (TDSP) | 0090811834000 | 8.6324 | 2.1581
40 | CITY OF HEMPSTEAD (TDSP) | 1272175604000 | 12.5236 | 3.1309
41 | CITY OF LA GRANGE (TDSP) | 0607085184000 | 15.9308 | 3.9827
42 | CITY OF LAMPASAS (TDSP) | 0203311204000 | 21.826 | 5.4565
43 | CITY OF LEXINGTON (TDSP) | 0081817324000 | 2.5524 | 0.6381
44 | CITY OF LLANO (TDSP) | 0916952054000 | 9.912 | 2.478
45 | CITY OF LOCKHART (TDSP) | 0746168634000 | 23.3132 | 5.8283
46 | CITY OF LULING (TDSP) | 0105539984000 | 11.588 | 2.897
47 | CITY OF MASON (TDSP) | 1561267084000 | 5.1488 | 1.2872
48 | CITY OF MOULTON (TDSP) | 0091871544000 | 2.1244 | 0.4392
49 | CITY OF SAN MARCOS (TDSP) | 0694628694000 | 96.4736 | 24.1184
50 | CITY OF SAN SABA (TDSP) | 0248592254000 | 8.4228 | 2.1057
51 | CITY OF SANGER | 058956020 | 13.3816 | 3.3454
52 | CITY OF SCHULENBURG (TDSP) | 0532950364000 | 12.1564 | 3.0391
53 | CITY OF SEGUIN (TDSP) | 0862819794000 | 56.0228 | 14.0057
54 | CITY OF SEYMOUR | 166319145 | 8.1436 | 2.0359
55 | CITY OF SHINER (TDSP) | 1504533714000 | 9.2592 | 2.3148
56 | CITY OF SMITHVILLE (TDSP) | 0916978134000 | 9.6 | 2.4
57 | CITY OF WAELDER (TDSP) | 0541779694000 | 3.6092 | 0.9023
58 | CITY OF WEIMAR (TDSP) | 0214974584000 | 7.3108 | 1.8277
59 | CITY OF WHITESBORO | 134546522 | 9.0028 | 2.2507
60 | CITY OF YOAKUM (TDSP) | 0694557724000 | 17.3676 | 4.3419
61 | COLEMAN COUNTY ELECTRIC CO OP INC (TDSP) | 0079246734000 | 19.5224 | 4.8806
62 | COMANCHE ELECTRIC CO OP ASSOCIATION | 002889210 | 37.7304 | 9.4326
63 | CONCHO VALLEY ELECTRIC CO OP INC (TDSP) | 0038666624000 | 37.9452 | 9.4863
64 | COOKE COUNTY ELECTRIC CO OP ASSOC INC | 008951808 | 62.1204 | 15.5301
66 | DEEP EAST TEXAS ELECTRIC CO OP INC | 047845623 | 14.3144 | 3.5786
67 | DENTON COUNTY ELEC CO OP DBA COSERVE ELEC | 008947913 | 766.1944 | 191.5486
69 | FANNIN COUNTY ELECTRIC CO OP INC | 0018220894000 | 32.4936 | 8.1234
70 | FARMERS ELECTRIC CO OP INC DBA FEC ELECTRIC | 0098442344000 | 186.1984 | 47.6082
71 | FAYETTE ELECTRIC CO OP INC (TDSP) | 0593309774000 | 46.6528 | 11.6632
72 | FORT BELKNAP ELECTRIC CO OP INC (TDSP) | 007935299 | 20.3036 | 5.0759
73 | GRANBURY MUNICIPAL UTILITIES (TDSP) | 0952141694000 | 18.8972 | 4.7243
74 | GRAYSON COLLIN ELECTRIC CO OP INC | 008953812 | 155.6804 | 39.5273
75 | GUADALUPE VALLEY ELECTRIC CO OP INC (TDSP) | 0079305894000 | 262.7356 | 65.6839
76 | HAMILTON COUNTY ELECTRIC CO OP (BRAZOS) | 008949216 | 15.5096 | 3.8774
77 | HILCO ELECTRIC CO OP INC (TDSP) | 008950545 | 120.8848 | 30.2212
78 | HOUSTON COUNTY ELEC COOP (TDSP) | 005777206 | 13.9364 | 3.4841
79 | J A C ELECTRIC CO OP INC | 003890795 | 18.3332 | 4.5833
80 | JASPER NEWTON ELECTRIC CO OP INC | 007933518 | 1.8356 | 0.4589
81 | KERRVILLE PUBLIC UTILITY BOARD (TDSP) | 1248248064000 | 108.2688 | 27.0672
82 | LAMAR COUNTY ELEC COOP DBA LEC (TDSP) | 0048060974000 | 41.6496 | 10.4124
83 | LIGHTHOUSE ELECTRIC CO OP (TDSP) | 0028252894000 | 2.272 | 0.568
85 | LYNTEGAR ELECTRIC CO OP INC (TDSP) | 0079371474000 | 29.936 | 7.484
86 | MAGIC VALLEY ELECTRIC CO OP INC (TDSP) | 008951501 | 305.9508 | 76.4877
87 | MCLENNAN COUNTY ELECTRIC CO OP INC | 007509698 | 58.4444 | 14.6111
88 | MID SOUTH ELECTRIC CO OP ASSOC | 061278594 | 22.8404 | 5.7101
89 | NAVARRO COUNTY ELECTRIC CO OP INC | 006770101 | 69.07 | 17.2675
90 | NAVASOTA VALLEY ELECTRIC CO OP INC | 046299913 | 68.7852 | 17.1963
91 | NEW BRAUNFELS UTILITIES (TDSP) | 0383461694000 | 191.7412 | 47.9353
92 | PEDERNALES ELECTRIC CO OP INC (TDSP) | 0079241114000 | 939.8876 | 234.9719
94 | SAM HOUSTON ELECTRIC CO OP INC (TDSP) | 056267867 | 5.1268 | 1.2817
95 | SAN BERNARD ELECTRIC CO OP (TDSP) | 0089453134000 | 111.1556 | 27.7889
96 | SOUTH PLAINS ELECTRIC CO OP INC (TDSP) | 007934185 | 68.5204 | 17.1301
97 | SOUTHWEST TEXAS ELECTRIC CO OP INC (TDSP) | 0084158954000 | 24.2396 | 6.0599
98 | TAYLOR ELECTRIC CO OP INC (TDSP) | 0079344254000 | 5.8316 | 1.4579
99 | TRI COUNTY ELECTRIC CO OP INC | 008945123 | 402.0256 | 100.5064
100 | TRINITY VALLEY ELEC CO OP | 009844564 | 148.5804 | 36.0496
102 | UNITED ELECTRIC CO OP SERVICES INC | 008945826 | 329.7984 | 82.4496
103 | WISE ELECTRIC CO OP | 041405408 | 78.7348 | 19.6837
104 | BROWNSVILLE PUBLIC UTILITY BOARD (TDSP) | 6063470374000 | 223.8808 | 55.9702
105 | BRYAN TEXAS UTILITIES (TDSP) | 0793907794000 | 286.2012 | 71.5503
106 | CAP-ROCK ELECTRIC CO OP INC (HUNT COLLIN DIVISION) (TDSP) | 0079370974100 | 25.4372 | 6.3593
107 | CHEROKEE COUNTY ELEC CO OP ASSOC | 008862625 | 52.732 | 13.183
108 | CITY OF AUSTIN DBA AUSTIN ENERGY (TDSP) | 8008717664000 | 2250.1604 | 562.5401
110 | CITY OF BOWIE (TDSP) | 8094182964000 | 15.0596 | 3.7649
111 | CITY OF BRADY (TDSP) | 070804877 | 15.2652 | 3.8163
113 | CITY OF COLEMAN (TDSP) | 1024920064000 | 10.2136 | 2.5534
114 | CITY OF COLLEGE STATION (TDSP) | 0403303004000 | 168.2592 | 42.0648
117 | CITY OF GARLAND (TDSP) | 6011012564000 | 462.5396 | 115.6349
118 | CITY OF GOLDSMITH (TDSP) | 0888946704000 | 0.4668 | 0.1167
119 | CITY OF HEARNE MUNICIPAL ELECTRIC SYSTEM (TDSP) | 0897458894000 | 11.0316 | 2.7579
121 | CITY OF ROBSTOWN UTILITY SYSTEM (TDSP) | 9387911424000 | 21.8812 | 5.4703
122 | CITY OF SAN ANTONIO CITY PUBLIC SERVICE (TDSP) | 0079360734000 | 4073.6776 | 1018.4194
123 | DENTON MUNICIPAL ELECTRIC (TDSP) | 0003540764000 | 291.1588 | 72.7897
125 | GEUS (TDSP) | 8062449354000 | 100.5152 | 25.1288
126 | JACKSON ELECTRICAL CO OP INC | 078423555 | 38.7528 | 9.6882
127 | KARNES ELECTRIC CO OP INC | 006824106 | 53.2068 | 13.3017
128 | MEDINA ELECTRIC CO OP INC (TDSP) STEC | 0081378124000 | 91.7536 | 22.9384
129 | NUECES ELECTRIC CO OP INC | 008828857 | 46.5676 | 11.6419
131 | SAN MIGUEL ELECTRIC CO OP INC (TDSP) | 0884848524000 | 0 | 0
132 | SAN PATRICIO ELECTRIC CO OP (TDSP) | 003864907 | 30.8376 | 7.7094
133 | SHARYLAND UTILITIES LP (TDSP) | 105262336 | 12.4108 | 3.1027
134 | SOUTH TEXAS ELECTRIC CO OP INC | 0038663324000 | 0 | 0
136 | VICTORIA ELECTRIC CO OP INC | 008953861 | 70.5732 | 17.6433
137 | WEATHERFORD MUNICIPAL UTILITY SYSTEM (TDSP) | 0817196274000 | 73.2204 | 18.3051
138 | WHARTON COUNTY ELECTRIC CO OP INC | 118487958 | 29.114 | 7.2785
139 | RUSK COUNTY ELECTRIC CO OP (TDSP) | 009844440 | 0 | 0
141 | CITY OF GARLAND GBCREEK (TDSP) | 6011012564100 | 0 | 0
142 | HAMILTON COUNTY ELECTRIC CO OP (LCRA) | 0089492164100 | 27.4984 | 6.8746
144 | NUECES ELECTRIC CO OP INC AEP (TDSP) | 0088288574100 | 0.4308 | 0.1077
145 | PEDERNALES ELEC CO OP INC AEP (TDSP) | 0079241114100 | 4.3588 | 1.0897
146 | TAYLOR ELECTRIC CO OP INC ABILENE (TDSP) | 0079344254100 | 37.0832 | 9.2708
147 | VICTORIA ELECTRIC CO OP INC AEP (TDSP) | 0089538614100 | 0.4736 | 0.1184
148 | RIO GRANDE ELECTRIC CO OP TXU (TDSP) | 0027819534100 | 28.6948 | 7.1737
153 | WESTERN FARMERS ELECTRIC COOPERATIVE (TDSP) | 0728624074000 | 0.7948 | 0.1987
155 | HOUSTON COUNTY ELEC COOP TXU (TDSP) | 0057772064100 | 3.7444 | 0.9361
158 | NUECES ELECTRIC COOP INC PILOT TDSP | 0088288574800 | 1 | 0.25
Total |  |  | 58183.6344 | 14546.387

## July
Peak Demand on 07/06/2005 at interval ending 17:00 based on Channel 4 (FINAL) settlement run on 09/01/05
TDSP Code | Load Entity Name | DUNS | 2005 Load Responsibility MW | 2005 Load Responsibility MWh
1 | CENTERPOINT ENERGY HOUSTON ELECTRIC LLC (TDSP) | 957877905 | 14809.016 | 3702.254
2 | TXU ELECTRIC DELIVERY (TDSP) | 1039940674000 | 20977.9248 | 5244.4812
4 | TEXAS-NEW MEXICO POWER CO (TDSP) | 007929441 | 1359.5428 | 339.8857
5 | AEP TEXAS CENTRAL COMPANY | 007924772 | 4576.7216 | 1144.1804
7 | AEP TEXAS NORTH COMPANY | 007923311 | 969.7996 | 242.4499
18 | BANDERA ELECTRIC CO OP INC (TDSP) | 0089451494000 | 121.4712 | 30.3678
19 | BARTLETT ELECTRIC CO OP INC | 002781813 | 38.3332 | 9.5833
20 | BELFALLS ELECTRIC CO OP INC (TDSP) | 004998399 | 18.26 | 4.565
21 | BIG COUNTRY ELECTRIC CO OP INC (TDSP) | 0058630484000 | 19.298 | 4.8245
22 | BLUEBONNET ELECTRIC CO OP INC (TDSP) | 0524834354000 | 352.6728 | 88.1682
23 | BRAZOS ELECTRIC POWER CO OP INC(TDSP) | 0037722904000 | 1.4036 | 0.3509
24 | CAP-ROCK ELECTRIC CO OP INC (MCCULLOCH DIVISION) (TDSP) | 0079370974000 | 19.0404 | 4.7601
25 | CENTRAL TEXAS ELECTRIC CO OP INC (TDSP) | 0079302744000 | 104.262 | 26.0655
26 | CITY OF BASTROP (TDSP) | 0851553724000 | 13.506 | 3.3765
27 | CITY OF BELLVILLE (TDSP) | 0935648704000 | 14.4696 | 3.6174
28 | CITY OF BOERNE (TDSP) | 0052470694000 | 26.6888 | 6.6722
29 | CITY OF BRENHAM (TDSP) | 0741649224000 | 58.7596 | 14.6899
30 | CITY OF BRIDGEPORT MUN ELEC SYS (TDSP) | 0842801714000 | 10.4752 | 2.6188
31 | CITY OF BURNET (TDSP) | 0746121514000 | 16.5452 | 4.1363
32 | CITY OF CUERO (TDSP) | 0526842144000 | 21.878 | 5.4695
33 | CITY OF FLATONIA (TDSP) | 0626890134000 | 5.1096 | 1.2774
34 | CITY OF FREDERICKSBURG (TDSP) | 0769243074000 | 32.14 | 8.035
35 | CITY OF GEORGETOWN (TDSP) | 0895923724000 | 98.0048 | 24.5012
36 | CITY OF GIDDINGS (TDSP) | 0096899514000 | 13.4032 | 3.3508
37 | CITY OF GOLDTHWAITE (TDSP) | 1558252764000 | 5.3296 | 1.3324
38 | CITY OF GONZALES (TDSP) | 0937385404000 | 18.108 | 4.527
39 | CITY OF HALLETTSVILLE (TDSP) | 0090811834000 | 9.684 | 2.421
40 | CITY OF HEMPSTEAD (TDSP) | 1272175604000 | 13.3888 | 3.3472
41 | CITY OF LA GRANGE (TDSP) | 0607085184000 | 16.7304 | 4.1826
42 | CITY OF LAMPASAS (TDSP) | 0203311204000 | 21.056 | 5.264
43 | CITY OF LEXINGTON (TDSP) | 0081817324000 | 2.6872 | 0.6718
44 | CITY OF LLANO (TDSP) | 0916952054000 | 9.9252 | 2.4813
45 | CITY OF LOCKHART (TDSP) | 0746168634000 | 24.9624 | 6.2406
46 | CITY OF LULING (TDSP) | 0105539984000 | 12.2316 | 3.0579
47 | CITY OF MASON (TDSP) | 1561267084000 | 5.0564 | 1.2641
48 | CITY OF MOULTON (TDSP) | 0091871544000 | 2.1292 | 0.4405
49 | CITY OF SAN MARCOS (TDSP) | 0694628694000 | 97.1536 | 24.2884
50 | CITY OF SAN SABA (TDSP) | 0248592254000 | 8.3688 | 2.0922
51 | CITY OF SANGER | 058956020 | 11.9892 | 2.9973
52 | CITY OF SCHULENBURG (TDSP) | 0532950364000 | 12.6928 | 3.1732
53 | CITY OF SEGUIN (TDSP) | 0862819794000 | 56.9032 | 14.2258
54 | CITY OF SEYMOUR | 166319145 | 6.9972 | 1.7493
55 | CITY OF SHINER (TDSP) | 1504533714000 | 9.4136 | 2.3534
56 | CITY OF SMITHVILLE (TDSP) | 0916978134000 | 10.3292 | 2.5823
57 | CITY OF WAELDER (TDSP) | 0541779694000 | 3.3136 | 0.8284
58 | CITY OF WEIMAR (TDSP) | 0214974584000 | 7.7784 | 1.9446
59 | CITY OF WHITESBORO | 134546522 | 7.7748 | 1.9437
60 | CITY OF YOAKUM (TDSP) | 0694557724000 | 17.5048 | 4.3762
61 | COLEMAN COUNTY ELECTRIC CO OP INC (TDSP) | 0079246734000 | 20.3792 | 5.0948
62 | COMANCHE ELECTRIC CO OP ASSOCIATION | 002889210 | 36.8776 | 9.2194
63 | CONCHO VALLEY ELECTRIC CO OP INC (TDSP) | 0038666624000 | 39.4008 | 9.8502
64 | COOKE COUNTY ELECTRIC CO OP ASSOC INC | 008951808 | 55.6096 | 13.9024
66 | DEEP EAST TEXAS ELECTRIC CO OP INC | 047845623 | 13.5704 | 3.3926
67 | DENTON COUNTY ELEC CO OP DBA COSERVE ELEC | 008947913 | 648.0324 | 162.0081
69 | FANNIN COUNTY ELECTRIC CO OP INC | 0018220894000 | 27.1236 | 6.7809
70 | FARMERS ELECTRIC CO OP INC DBA FEC ELECTRIC | 0098442344000 | 160.8588 | 41.1578
71 | FAYETTE ELECTRIC CO OP INC (TDSP) | 0593309774000 | 47.9976 | 11.9994
72 | FORT BELKNAP ELECTRIC CO OP INC (TDSP) | 007935299 | 17.6948 | 4.4237
73 | GRANBURY MUNICIPAL UTILITIES (TDSP) | 0952141694000 | 17.3364 | 4.3341
74 | GRAYSON COLLIN ELECTRIC CO OP INC | 008953812 | 128.6252 | 35.1498
75 | GUADALUPE VALLEY ELECTRIC CO OP INC (TDSP) | 0079305894000 | 275.8668 | 68.9667
76 | HAMILTON COUNTY ELECTRIC CO OP (BRAZOS) | 008949216 | 15.3448 | 3.8362
77 | HILCO ELECTRIC CO OP INC (TDSP) | 008950545 | 117.316 | 29.329
78 | HOUSTON COUNTY ELEC COOP (TDSP) | 005777206 | 14.0436 | 3.5109
79 | J A C ELECTRIC CO OP INC | 003890795 | 15.754 | 3.9385
80 | JASPER NEWTON ELECTRIC CO OP INC | 007933518 | 2.1536 | 0.5384
81 | KERRVILLE PUBLIC UTILITY BOARD (TDSP) | 1248248064000 | 111.34 | 27.835
82 | LAMAR COUNTY ELEC COOP DBA LEC (TDSP) | 0048060974000 | 35.1472 | 8.7868
83 | LIGHTHOUSE ELECTRIC CO OP (TDSP) | 0028252894000 | 1.6884 | 0.4221
85 | LYNTEGAR ELECTRIC CO OP INC (TDSP) | 0079371474000 | 31.396 | 7.849
86 | MAGIC VALLEY ELECTRIC CO OP INC (TDSP) | 008951501 | 324.948 | 81.237
87 | MCLENNAN COUNTY ELECTRIC CO OP INC | 007509698 | 58.1572 | 14.5393
88 | MID SOUTH ELECTRIC CO OP ASSOC | 061278594 | 23.9856 | 5.9964
89 | NAVARRO COUNTY ELECTRIC CO OP INC | 006770101 | 62.9388 | 15.7347
90 | NAVASOTA VALLEY ELECTRIC CO OP INC | 046299913 | 74.0804 | 18.5201
91 | NEW BRAUNFELS UTILITIES (TDSP) | 0383461694000 | 195.7572 | 48.9393
92 | PEDERNALES ELECTRIC CO OP INC (TDSP) | 0079241114000 | 987.8564 | 246.9641
94 | SAM HOUSTON ELECTRIC CO OP INC (TDSP) | 056267867 | 4.8172 | 1.2043
95 | SAN BERNARD ELECTRIC CO OP (TDSP) | 0089453134000 | 112.8672 | 28.2168
96 | SOUTH PLAINS ELECTRIC CO OP INC (TDSP) | 007934185 | 65.148 | 16.287
97 | SOUTHWEST TEXAS ELECTRIC CO OP INC (TDSP) | 0084158954000 | 23.216 | 5.804
98 | TAYLOR ELECTRIC CO OP INC (TDSP) | 0079344254000 | 5.984 | 1.496
99 | TRI COUNTY ELECTRIC CO OP INC | 008945123 | 354.2712 | 88.5678
100 | TRINITY VALLEY ELEC CO OP | 009844564 | 139.6484 | 33.9343
102 | UNITED ELECTRIC CO OP SERVICES INC | 008945826 | 300.2676 | 75.0669
103 | WISE ELECTRIC CO OP | 041405408 | 69.1536 | 17.2884
104 | BROWNSVILLE PUBLIC UTILITY BOARD (TDSP) | 6063470374000 | 236.814 | 59.2035
105 | BRYAN TEXAS UTILITIES (TDSP) | 0793907794000 | 290.7852 | 72.6963
106 | CAP-ROCK ELECTRIC CO OP INC (HUNT COLLIN DIVISION) (TDSP) | 0079370974100 | 21.4256 | 5.3564
107 | CHEROKEE COUNTY ELEC CO OP ASSOC | 008862625 | 48.9528 | 12.2382
108 | CITY OF AUSTIN DBA AUSTIN ENERGY (TDSP) | 8008717664000 | 2314.984 | 578.746
110 | CITY OF BOWIE (TDSP) | 8094182964000 | 12.726 | 3.1815
111 | CITY OF BRADY (TDSP) | 070804877 | 14.694 | 3.6735
113 | CITY OF COLEMAN (TDSP) | 1024920064000 | 10.396 | 2.599
114 | CITY OF COLLEGE STATION (TDSP) | 0403303004000 | 171.4712 | 42.8678
117 | CITY OF GARLAND (TDSP) | 6011012564000 | 429.1692 | 107.2923
118 | CITY OF GOLDSMITH (TDSP) | 0888946704000 | 0.4208 | 0.1052
119 | CITY OF HEARNE MUNICIPAL ELECTRIC SYSTEM (TDSP) | 0897458894000 | 11.4108 | 2.8527
121 | CITY OF ROBSTOWN UTILITY SYSTEM (TDSP) | 9387911424000 | 23.32 | 5.83
122 | CITY OF SAN ANTONIO CITY PUBLIC SERVICE (TDSP) | 0079360734000 | 4250.036 | 1062.509
123 | DENTON MUNICIPAL ELECTRIC (TDSP) | 0003540764000 | 253.6244 | 63.4061
125 | GEUS (TDSP) | 8062449354000 | 88.62 | 22.155
126 | JACKSON ELECTRICAL CO OP INC | 078423555 | 41.6148 | 10.4037
127 | KARNES ELECTRIC CO OP INC | 006824106 | 54.712 | 13.678
128 | MEDINA ELECTRIC CO OP INC (TDSP) STEC | 0081378124000 | 94.4208 | 23.6052
129 | NUECES ELECTRIC CO OP INC | 008828857 | 48.6944 | 12.1736
131 | SAN MIGUEL ELECTRIC CO OP INC (TDSP) | 0884848524000 | 0 | 0
132 | SAN PATRICIO ELECTRIC CO OP (TDSP) | 003864907 | 32.538 | 8.1345
133 | SHARYLAND UTILITIES LP (TDSP) | 105262336 | 12.5908 | 3.1477
134 | SOUTH TEXAS ELECTRIC CO OP INC | 0038663324000 | 0 | 0
136 | VICTORIA ELECTRIC CO OP INC | 008953861 | 76.3216 | 19.0804
137 | WEATHERFORD MUNICIPAL UTILITY SYSTEM (TDSP) | 0817196274000 | 67.0848 | 16.7712
138 | WHARTON COUNTY ELECTRIC CO OP INC | 118487958 | 32.5068 | 8.1267
139 | RUSK COUNTY ELECTRIC CO OP (TDSP) | 009844440 | 0 | 0
141 | CITY OF GARLAND GBCREEK (TDSP) | 6011012564100 | 0 | 0
142 | HAMILTON COUNTY ELECTRIC CO OP (LCRA) | 0089492164100 | 28.2808 | 7.0702
144 | NUECES ELECTRIC CO OP INC AEP (TDSP) | 0088288574100 | 0.3228 | 0.0807
145 | PEDERNALES ELEC CO OP INC AEP (TDSP) | 0079241114100 | 4.3648 | 1.0912
146 | TAYLOR ELECTRIC CO OP INC ABILENE (TDSP) | 0079344254100 | 35.5028 | 8.8757
147 | VICTORIA ELECTRIC CO OP INC AEP (TDSP) | 0089538614100 | 0.4652 | 0.1163
148 | RIO GRANDE ELECTRIC CO OP TXU (TDSP) | 0027819534100 | 29.4544 | 7.3636
153 | WESTERN FARMERS ELECTRIC COOPERATIVE (TDSP) | 0728624074000 | 0.708 | 0.177
155 | HOUSTON COUNTY ELEC COOP TXU (TDSP) | 0057772064100 | 2.9052 | 0.7263
158 | NUECES ELECTRIC COOP INC PILOT TDSP | 0088288574800 | 1.0756 | 0.2689
| Total |  | 57449.3012 | 14365.1923

## August
Peak Demand on 08/23/2005 at interval ending 16:30 based on Channel 4 (FINAL) settlement run on 10/19/05
TDSP Code | Load Entity Name | DUNS | 2005 Load Responsibility MW | 2005 Load Responsibility MWh
1 | CENTERPOINT ENERGY HOUSTON ELECTRIC LLC (TDSP) | 957877905 | 14802.5748 | 3700.6437
2 | TXU ELECTRIC DELIVERY (TDSP) | 1039940674000 | 23369.8776 | 5842.4694
4 | TEXAS-NEW MEXICO POWER CO (TDSP) | 007929441 | 1364.0032 | 341.0008
5 | AEP TEXAS CENTRAL COMPANY | 007924772 | 4440.9732 | 1110.2433
7 | AEP TEXAS NORTH COMPANY | 007923311 | 1002.0092 | 250.5023
18 | BANDERA ELECTRIC CO OP INC (TDSP) | 0089451494000 | 110.3896 | 27.5974
19 | BARTLETT ELECTRIC CO OP INC | 002781813 | 35.3856 | 8.8464
20 | BELFALLS ELECTRIC CO OP INC (TDSP) | 004998399 | 17.6092 | 4.4023
21 | BIG COUNTRY ELECTRIC CO OP INC (TDSP) | 0058630484000 | 19.8144 | 4.9536
22 | BLUEBONNET ELECTRIC CO OP INC (TDSP) | 0524834354000 | 343.7532 | 85.9383
23 | BRAZOS ELECTRIC POWER CO OP INC(TDSP) | 0037722904000 | 8.4352 | 2.1088
24 | CAP-ROCK ELECTRIC CO OP INC (MCCULLOCH DIVISION) (TDSP) | 0079370974000 | 18.254 | 4.5635
25 | CENTRAL TEXAS ELECTRIC CO OP INC (TDSP) | 0079302744000 | 97.8668 | 24.4667
26 | CITY OF BASTROP (TDSP) | 0851553724000 | 14.3052 | 3.5763
27 | CITY OF BELLVILLE (TDSP) | 0935648704000 | 13.4336 | 3.3584
28 | CITY OF BOERNE (TDSP) | 0052470694000 | 26.1636 | 6.5409
29 | CITY OF BRENHAM (TDSP) | 0741649224000 | 64.4808 | 16.1202
30 | CITY OF BRIDGEPORT MUN ELEC SYS (TDSP) | 0842801714000 | 13.1376 | 3.2844
31 | CITY OF BURNET (TDSP) | 0746121514000 | 17.0076 | 4.2519
32 | CITY OF CUERO (TDSP) | 0526842144000 | 27.0436 | 6.7609
33 | CITY OF FLATONIA (TDSP) | 0626890134000 | 5.1332 | 1.2833
34 | CITY OF FREDERICKSBURG (TDSP) | 0769243074000 | 31.4296 | 7.8574
35 | CITY OF GEORGETOWN (TDSP) | 0895923724000 | 99.5432 | 24.8858
36 | CITY OF GIDDINGS (TDSP) | 0096899514000 | 13.2924 | 3.3231
37 | CITY OF GOLDTHWAITE (TDSP) | 1558252764000 | 5.5528 | 1.3882
38 | CITY OF GONZALES (TDSP) | 0937385404000 | 18.5104 | 4.6276
39 | CITY OF HALLETTSVILLE (TDSP) | 0090811834000 | 9.908 | 2.477
40 | CITY OF HEMPSTEAD (TDSP) | 1272175604000 | 12.8288 | 3.2072
41 | CITY OF LA GRANGE (TDSP) | 0607085184000 | 15.7448 | 3.9362
42 | CITY OF LAMPASAS (TDSP) | 0203311204000 | 22.5352 | 5.6338
43 | CITY OF LEXINGTON (TDSP) | 0081817324000 | 2.8892 | 0.7223
44 | CITY OF LLANO (TDSP) | 0916952054000 | 10.662 | 2.6655
45 | CITY OF LOCKHART (TDSP) | 0746168634000 | 25.1552 | 6.2888
46 | CITY OF LULING (TDSP) | 0105539984000 | 12.4812 | 3.1203
47 | CITY OF MASON (TDSP) | 1561267084000 | 5.3816 | 1.3454
48 | CITY OF MOULTON (TDSP) | 0091871544000 | 2.13 | 0.4406
49 | CITY OF SAN MARCOS (TDSP) | 0694628694000 | 104.3332 | 26.0833
50 | CITY OF SAN SABA (TDSP) | 0248592254000 | 8.4128 | 2.1032
51 | CITY OF SANGER | 058956020 | 14.2836 | 3.5709
52 | CITY OF SCHULENBURG (TDSP) | 0532950364000 | 12.0668 | 3.0167
53 | CITY OF SEGUIN (TDSP) | 0862819794000 | 60.7504 | 15.1876
54 | CITY OF SEYMOUR | 166319145 | 7.6532 | 1.9133
55 | CITY OF SHINER (TDSP) | 1504533714000 | 9.4588 | 2.3647
56 | CITY OF SMITHVILLE (TDSP) | 0916978134000 | 10.2812 | 2.5703
57 | CITY OF WAELDER (TDSP) | 0541779694000 | 3.5808 | 0.8952
58 | CITY OF WEIMAR (TDSP) | 0214974584000 | 8.2444 | 2.0611
59 | CITY OF WHITESBORO | 134546522 | 9.536 | 2.384
60 | CITY OF YOAKUM (TDSP) | 0694557724000 | 17.9204 | 4.4801
61 | COLEMAN COUNTY ELECTRIC CO OP INC (TDSP) | 0079246734000 | 19.592 | 4.898
62 | COMANCHE ELECTRIC CO OP ASSOCIATION | 002889210 | 35.9896 | 8.9974
63 | CONCHO VALLEY ELECTRIC CO OP INC (TDSP) | 0038666624000 | 34.4908 | 8.6227
64 | COOKE COUNTY ELECTRIC CO OP ASSOC INC | 008951808 | 62.782 | 15.6955
66 | DEEP EAST TEXAS ELECTRIC CO OP INC | 047845623 | 14.0464 | 3.5116
67 | DENTON COUNTY ELEC CO OP DBA COSERVE ELEC | 008947913 | 830.8132 | 207.7033
69 | FANNIN COUNTY ELECTRIC CO OP INC | 0018220894000 | 33.3404 | 8.3351
70 | FARMERS ELECTRIC CO OP INC DBA FEC ELECTRIC | 0098442344000 | 197.9728 | 50.5333
71 | FAYETTE ELECTRIC CO OP INC (TDSP) | 0593309774000 | 43.7932 | 10.9483
72 | FORT BELKNAP ELECTRIC CO OP INC (TDSP) | 007935299 | 19.974 | 4.9935
73 | GRANBURY MUNICIPAL UTILITIES (TDSP) | 0952141694000 | 21.23 | 5.3075
74 | GRAYSON COLLIN ELECTRIC CO OP INC | 008953812 | 163.314 | 43.6874
75 | GUADALUPE VALLEY ELECTRIC CO OP INC (TDSP) | 0079305894000 | 264.5316 | 66.1329
76 | HAMILTON COUNTY ELECTRIC CO OP (BRAZOS) | 008949216 | 15.798 | 3.9495
77 | HILCO ELECTRIC CO OP INC (TDSP) | 008950545 | 122.2496 | 30.5624
78 | HOUSTON COUNTY ELEC COOP (TDSP) | 005777206 | 13.49 | 3.3725
79 | J A C ELECTRIC CO OP INC | 003890795 | 17.312 | 4.328
80 | JASPER NEWTON ELECTRIC CO OP INC | 007933518 | 2.222 | 0.5555
81 | KERRVILLE PUBLIC UTILITY BOARD (TDSP) | 1248248064000 | 108.0532 | 27.0133
82 | LAMAR COUNTY ELEC COOP DBA LEC (TDSP) | 0048060974000 | 42.0588 | 10.5147
83 | LIGHTHOUSE ELECTRIC CO OP (TDSP) | 0028252894000 | 1.29 | 0.3225
85 | LYNTEGAR ELECTRIC CO OP INC (TDSP) | 0079371474000 | 27.1428 | 6.7857
86 | MAGIC VALLEY ELECTRIC CO OP INC (TDSP) | 008951501 | 318.8788 | 79.7197
87 | MCLENNAN COUNTY ELECTRIC CO OP INC | 007509698 | 60.1772 | 15.0443
88 | MID SOUTH ELECTRIC CO OP ASSOC | 061278594 | 21.0052 | 5.2513
89 | NAVARRO COUNTY ELECTRIC CO OP INC | 006770101 | 67.9964 | 16.9991
90 | NAVASOTA VALLEY ELECTRIC CO OP INC | 046299913 | 71.2008 | 17.8002
91 | NEW BRAUNFELS UTILITIES (TDSP) | 0383461694000 | 189.9236 | 47.4809
92 | PEDERNALES ELECTRIC CO OP INC (TDSP) | 0079241114000 | 956.5448 | 239.1362
94 | SAM HOUSTON ELECTRIC CO OP INC (TDSP) | 056267867 | 4.9416 | 1.2354
95 | SAN BERNARD ELECTRIC CO OP (TDSP) | 0089453134000 | 106.516 | 26.629
96 | SOUTH PLAINS ELECTRIC CO OP INC (TDSP) | 007934185 | 67.6568 | 16.9142
97 | SOUTHWEST TEXAS ELECTRIC CO OP INC (TDSP) | 0084158954000 | 22.0684 | 5.5171
98 | TAYLOR ELECTRIC CO OP INC (TDSP) | 0079344254000 | 6.3524 | 1.5881
99 | TRI COUNTY ELECTRIC CO OP INC | 008945123 | 424.6204 | 106.1551
100 | TRINITY VALLEY ELEC CO OP | 009844564 | 158.7948 | 38.6193
102 | UNITED ELECTRIC CO OP SERVICES INC | 008945826 | 334.0176 | 83.5044
103 | WISE ELECTRIC CO OP | 041405408 | 84.1056 | 21.0264
104 | BROWNSVILLE PUBLIC UTILITY BOARD (TDSP) | 6063470374000 | 247.77 | 61.9425
105 | BRYAN TEXAS UTILITIES (TDSP) | 0793907794000 | 292.3876 | 73.0969
106 | CAP-ROCK ELECTRIC CO OP INC (HUNT COLLIN DIVISION) (TDSP) | 0079370974100 | 27.7772 | 6.9443
107 | CHEROKEE COUNTY ELEC CO OP ASSOC | 008862625 | 56.6548 | 14.1637
108 | CITY OF AUSTIN DBA AUSTIN ENERGY (TDSP) | 8008717664000 | 2348.4992 | 587.1248
110 | CITY OF BOWIE (TDSP) | 8094182964000 | 15.0204 | 3.7551
111 | CITY OF BRADY (TDSP) | 070804877 | 15.7072 | 3.9268
113 | CITY OF COLEMAN (TDSP) | 1024920064000 | 10.426 | 2.6065
114 | CITY OF COLLEGE STATION (TDSP) | 0403303004000 | 175.3412 | 43.8353
117 | CITY OF GARLAND (TDSP) | 6011012564000 | 487.4272 | 121.8568
118 | CITY OF GOLDSMITH (TDSP) | 0888946704000 | 0.4584 | 0.1146
119 | CITY OF HEARNE MUNICIPAL ELECTRIC SYSTEM (TDSP) | 0897458894000 | 11.6868 | 2.9217
121 | CITY OF ROBSTOWN UTILITY SYSTEM (TDSP) | 9387911424000 | 21.814 | 5.4535
122 | CITY OF SAN ANTONIO CITY PUBLIC SERVICE (TDSP) | 0079360734000 | 4231.3908 | 1057.8477
123 | DENTON MUNICIPAL ELECTRIC (TDSP) | 0003540764000 | 303.2944 | 75.8236
125 | GEUS (TDSP) | 8062449354000 | 109.7796 | 27.4449
126 | JACKSON ELECTRICAL CO OP INC | 078423555 | 37.4328 | 9.3582
127 | KARNES ELECTRIC CO OP INC | 006824106 | 52.556 | 13.139
128 | MEDINA ELECTRIC CO OP INC (TDSP) STEC | 0081378124000 | 87.0816 | 21.7704
129 | NUECES ELECTRIC CO OP INC | 008828857 | 42.9492 | 10.7373
131 | SAN MIGUEL ELECTRIC CO OP INC (TDSP) | 0884848524000 | 0 | 0
132 | SAN PATRICIO ELECTRIC CO OP (TDSP) | 003864907 | 29.9072 | 7.4768
133 | SHARYLAND UTILITIES LP (TDSP) | 105262336 | 12.7328 | 3.1832
134 | SOUTH TEXAS ELECTRIC CO OP INC | 0038663324000 | 0.2376 | 0.0594
136 | VICTORIA ELECTRIC CO OP INC | 008953861 | 72.676 | 18.169
137 | WEATHERFORD MUNICIPAL UTILITY SYSTEM (TDSP) | 0817196274000 | 78.8476 | 19.7119
138 | WHARTON COUNTY ELECTRIC CO OP INC | 118487958 | 29.1484 | 7.2871
139 | RUSK COUNTY ELECTRIC CO OP (TDSP) | 009844440 | 0 | 0
141 | CITY OF GARLAND GBCREEK (TDSP) | 6011012564100 | 0 | 0
142 | HAMILTON COUNTY ELECTRIC CO OP (LCRA) | 0089492164100 | 27.4496 | 6.8624
144 | NUECES ELECTRIC CO OP INC AEP (TDSP) | 0088288574100 | 0.6028 | 0.1507
145 | PEDERNALES ELEC CO OP INC AEP (TDSP) | 0079241114100 | 3.6244 | 0.9061
146 | TAYLOR ELECTRIC CO OP INC ABILENE (TDSP) | 0079344254100 | 37.2928 | 9.3232
147 | VICTORIA ELECTRIC CO OP INC AEP (TDSP) | 0089538614100 | 0.52 | 0.13
148 | RIO GRANDE ELECTRIC CO OP TXU (TDSP) | 0027819534100 | 25.4932 | 6.3733
153 | WESTERN FARMERS ELECTRIC COOPERATIVE (TDSP) | 0728624074000 | 0.4848 | 0.1212
155 | HOUSTON COUNTY ELEC COOP TXU (TDSP) | 0057772064100 | 4.7844 | 1.1961
158 | NUECES ELECTRIC COOP INC PILOT TDSP | 0088288574800 | 7.4468 | 1.8617
Total |  |  | 60259.2068 | 15067.5294

## September
Peak Demand on 09/28/2005 at interval ending 16:30 based on Channel 4 (FINAL) settlement run on 11/24/05
TDSP Code | Load Entity Name | DUNS | 2005 Load Responsibility MW | 2005 Load Responsibility MWh
1 | CENTERPOINT ENERGY HOUSTON ELECTRIC LLC (TDSP) | 957877905 | 14266.1976 | 3566.5494
2 | TXU ELECTRIC DELIVERY (TDSP) | 1039940674000 | 22798.6852 | 5699.6713
4 | TEXAS-NEW MEXICO POWER CO (TDSP) | 007929441 | 1408.76 | 352.19
5 | AEP TEXAS CENTRAL COMPANY | 007924772 | 4529.4728 | 1132.3682
7 | AEP TEXAS NORTH COMPANY | 007923311 | 1019.0116 | 254.7529
18 | BANDERA ELECTRIC CO OP INC (TDSP) | 0089451494000 | 118.1972 | 29.5493
19 | BARTLETT ELECTRIC CO OP INC | 002781813 | 37.5116 | 9.3779
20 | BELFALLS ELECTRIC CO OP INC (TDSP) | 004998399 | 17.4452 | 4.3613
21 | BIG COUNTRY ELECTRIC CO OP INC (TDSP) | 0058630484000 | 20.5736 | 5.1434
22 | BLUEBONNET ELECTRIC CO OP INC (TDSP) | 0524834354000 | 362.38 | 90.595
23 | BRAZOS ELECTRIC POWER CO OP INC(TDSP) | 0037722904000 | 4.5376 | 1.1344
24 | CAP-ROCK ELECTRIC CO OP INC (MCCULLOCH DIVISION) (TDSP) | 0079370974000 | 17.6248 | 4.4062
25 | CENTRAL TEXAS ELECTRIC CO OP INC (TDSP) | 0079302744000 | 103.3788 | 25.8447
26 | CITY OF BASTROP (TDSP) | 0851553724000 | 15.082 | 3.7705
27 | CITY OF BELLVILLE (TDSP) | 0935648704000 | 15.3116 | 3.8279
28 | CITY OF BOERNE (TDSP) | 0052470694000 | 27.9256 | 6.9814
29 | CITY OF BRENHAM (TDSP) | 0741649224000 | 68.2292 | 17.0573
30 | CITY OF BRIDGEPORT MUN ELEC SYS (TDSP) | 0842801714000 | 13.416 | 3.354
31 | CITY OF BURNET (TDSP) | 0746121514000 | 17.4092 | 4.3523
32 | CITY OF CUERO (TDSP) | 0526842144000 | 27.5808 | 6.8952
33 | CITY OF FLATONIA (TDSP) | 0626890134000 | 5.4864 | 1.3716
34 | CITY OF FREDERICKSBURG (TDSP) | 0769243074000 | 33.274 | 8.3185
35 | CITY OF GEORGETOWN (TDSP) | 0895923724000 | 105.5236 | 26.3809
36 | CITY OF GIDDINGS (TDSP) | 0096899514000 | 14.1976 | 3.5494
37 | CITY OF GOLDTHWAITE (TDSP) | 1558252764000 | 5.5468 | 1.3867
38 | CITY OF GONZALES (TDSP) | 0937385404000 | 18.6028 | 4.6507
39 | CITY OF HALLETTSVILLE (TDSP) | 0090811834000 | 10.4492 | 2.6123
40 | CITY OF HEMPSTEAD (TDSP) | 1272175604000 | 13.3348 | 3.3337
41 | CITY OF LA GRANGE (TDSP) | 0607085184000 | 17.558 | 4.3895
42 | CITY OF LAMPASAS (TDSP) | 0203311204000 | 22.7644 | 5.6911
43 | CITY OF LEXINGTON (TDSP) | 0081817324000 | 2.956 | 0.739
44 | CITY OF LLANO (TDSP) | 0916952054000 | 11.0528 | 2.7632
45 | CITY OF LOCKHART (TDSP) | 0746168634000 | 26.3024 | 6.5756
46 | CITY OF LULING (TDSP) | 0105539984000 | 13.402 | 3.3505
47 | CITY OF MASON (TDSP) | 1561267084000 | 5.3948 | 1.3487
48 | CITY OF MOULTON (TDSP) | 0091871544000 | 2.4556 | 0.5079
49 | CITY OF SAN MARCOS (TDSP) | 0694628694000 | 107.8032 | 26.9508
50 | CITY OF SAN SABA (TDSP) | 0248592254000 | 8.9256 | 2.2314
51 | CITY OF SANGER | 058956020 | 14.442 | 3.6105
52 | CITY OF SCHULENBURG (TDSP) | 0532950364000 | 13.1712 | 3.2928
53 | CITY OF SEGUIN (TDSP) | 0862819794000 | 62.2748 | 15.5687
54 | CITY OF SEYMOUR | 166319145 | 7.3028 | 1.8257
55 | CITY OF SHINER (TDSP) | 1504533714000 | 9.5728 | 2.3932
56 | CITY OF SMITHVILLE (TDSP) | 0916978134000 | 11.0492 | 2.7623
57 | CITY OF WAELDER (TDSP) | 0541779694000 | 3.5428 | 0.8857
58 | CITY OF WEIMAR (TDSP) | 0214974584000 | 8.5048 | 2.1262
59 | CITY OF WHITESBORO | 134546522 | 9.6004 | 2.4001
60 | CITY OF YOAKUM (TDSP) | 0694557724000 | 18.5092 | 4.6273
61 | COLEMAN COUNTY ELECTRIC CO OP INC (TDSP) | 0079246734000 | 17.9944 | 4.4986
62 | COMANCHE ELECTRIC CO OP ASSOCIATION | 002889210 | 36.5392 | 9.1348
63 | CONCHO VALLEY ELECTRIC CO OP INC (TDSP) | 0038666624000 | 34.7268 | 8.6817
64 | COOKE COUNTY ELECTRIC CO OP ASSOC INC | 008951808 | 61.952 | 15.488
66 | DEEP EAST TEXAS ELECTRIC CO OP INC | 047845623 | 5.9576 | 2.6146
67 | DENTON COUNTY ELEC CO OP DBA COSERVE ELEC | 008947913 | 810.9068 | 202.7267
69 | FANNIN COUNTY ELECTRIC CO OP INC | 0018220894000 | 31.6208 | 7.9052
70 | FARMERS ELECTRIC CO OP INC DBA FEC ELECTRIC | 0098442344000 | 183.3712 | 46.727
71 | FAYETTE ELECTRIC CO OP INC (TDSP) | 0593309774000 | 48.7052 | 12.1763
72 | FORT BELKNAP ELECTRIC CO OP INC (TDSP) | 007935299 | 20.4832 | 5.1208
73 | GRANBURY MUNICIPAL UTILITIES (TDSP) | 0952141694000 | 20.6412 | 5.1603
74 | GRAYSON COLLIN ELECTRIC CO OP INC | 008953812 | 157.2152 | 42.3421
75 | GUADALUPE VALLEY ELECTRIC CO OP INC (TDSP) | 0079305894000 | 284.8804 | 71.2201
76 | HAMILTON COUNTY ELECTRIC CO OP (BRAZOS) | 008949216 | 16.37 | 4.0925
77 | HILCO ELECTRIC CO OP INC (TDSP) | 008950545 | 127.4332 | 31.8583
78 | HOUSTON COUNTY ELEC COOP (TDSP) | 005777206 | 13.8468 | 3.2105
79 | J A C ELECTRIC CO OP INC | 003890795 | 17.1908 | 4.2977
80 | JASPER NEWTON ELECTRIC CO OP INC | 007933518 | 0 | 0.5066
81 | KERRVILLE PUBLIC UTILITY BOARD (TDSP) | 1248248064000 | 111.8768 | 27.9692
82 | LAMAR COUNTY ELEC COOP DBA LEC (TDSP) | 0048060974000 | 37.314 | 9.3285
83 | LIGHTHOUSE ELECTRIC CO OP (TDSP) | 0028252894000 | 1.0244 | 0.2561
85 | LYNTEGAR ELECTRIC CO OP INC (TDSP) | 0079371474000 | 14.4584 | 4.6049
86 | MAGIC VALLEY ELECTRIC CO OP INC (TDSP) | 008951501 | 334.2088 | 83.5522
87 | MCLENNAN COUNTY ELECTRIC CO OP INC | 007509698 | 60.8116 | 15.2029
88 | MID SOUTH ELECTRIC CO OP ASSOC | 061278594 | 32.9516 | 8.2379
89 | NAVARRO COUNTY ELECTRIC CO OP INC | 006770101 | 66.1496 | 16.5374
90 | NAVASOTA VALLEY ELECTRIC CO OP INC | 046299913 | 68.72 | 17.18
91 | NEW BRAUNFELS UTILITIES (TDSP) | 0383461694000 | 189.3164 | 47.3291
92 | PEDERNALES ELECTRIC CO OP INC (TDSP) | 0079241114000 | 979.1844 | 244.7961
94 | SAM HOUSTON ELECTRIC CO OP INC (TDSP) | 056267867 | 2.5656 | 1.0956
95 | SAN BERNARD ELECTRIC CO OP (TDSP) | 0089453134000 | 106.1016 | 26.5254
96 | SOUTH PLAINS ELECTRIC CO OP INC (TDSP) | 007934185 | 67.3928 | 16.8482
97 | SOUTHWEST TEXAS ELECTRIC CO OP INC (TDSP) | 0084158954000 | 22.636 | 5.659
98 | TAYLOR ELECTRIC CO OP INC (TDSP) | 0079344254000 | 7.6696 | 1.9174
99 | TRI COUNTY ELECTRIC CO OP INC | 008945123 | 421.7116 | 105.4279
100 | TRINITY VALLEY ELEC CO OP | 009844564 | 138.3064 | 33.6579
102 | UNITED ELECTRIC CO OP SERVICES INC | 008945826 | 329.1104 | 82.2776
103 | WISE ELECTRIC CO OP | 041405408 | 85.5024 | 21.3756
104 | BROWNSVILLE PUBLIC UTILITY BOARD (TDSP) | 6063470374000 | 250.6752 | 62.6688
105 | BRYAN TEXAS UTILITIES (TDSP) | 0793907794000 | 313.726 | 78.4315
106 | CAP-ROCK ELECTRIC CO OP INC (HUNT COLLIN DIVISION) (TDSP) | 0079370974100 | 26.258 | 6.5645
107 | CHEROKEE COUNTY ELEC CO OP ASSOC | 008862625 | 48.7244 | 10.9383
108 | CITY OF AUSTIN DBA AUSTIN ENERGY (TDSP) | 8008717664000 | 2361.9596 | 590.4899
110 | CITY OF BOWIE (TDSP) | 8094182964000 | 15.1392 | 3.7848
111 | CITY OF BRADY (TDSP) | 070804877 | 14.7068 | 3.6767
113 | CITY OF COLEMAN (TDSP) | 1024920064000 | 10.7076 | 2.6769
114 | CITY OF COLLEGE STATION (TDSP) | 0403303004000 | 186.9784 | 46.7446
117 | CITY OF GARLAND (TDSP) | 6011012564000 | 474.7152 | 118.6788
118 | CITY OF GOLDSMITH (TDSP) | 0888946704000 | 0.434 | 0.1085
119 | CITY OF HEARNE MUNICIPAL ELECTRIC SYSTEM (TDSP) | 0897458894000 | 12.2564 | 3.0641
121 | CITY OF ROBSTOWN UTILITY SYSTEM (TDSP) | 9387911424000 | 24.1164 | 6.0291
122 | CITY OF SAN ANTONIO CITY PUBLIC SERVICE (TDSP) | 0079360734000 | 4391.332 | 1097.833
123 | DENTON MUNICIPAL ELECTRIC (TDSP) | 0003540764000 | 304.506 | 76.1265
125 | GEUS (TDSP) | 8062449354000 | 105.978 | 26.4945
126 | JACKSON ELECTRICAL CO OP INC | 078423555 | 38.1784 | 9.5446
127 | KARNES ELECTRIC CO OP INC | 006824106 | 54.0248 | 13.5062
128 | MEDINA ELECTRIC CO OP INC (TDSP) STEC | 0081378124000 | 90.6932 | 22.6733
129 | NUECES ELECTRIC CO OP INC | 008828857 | 31.77 | 7.9425
131 | SAN MIGUEL ELECTRIC CO OP INC (TDSP) | 0884848524000 | 0 | 0
132 | SAN PATRICIO ELECTRIC CO OP (TDSP) | 003864907 | 31.7092 | 7.9273
133 | SHARYLAND UTILITIES LP (TDSP) | 105262336 | 14.3192 | 3.5798
134 | SOUTH TEXAS ELECTRIC CO OP INC | 0038663324000 | 0 | 0
136 | VICTORIA ELECTRIC CO OP INC | 008953861 | 73.0664 | 18.2666
137 | WEATHERFORD MUNICIPAL UTILITY SYSTEM (TDSP) | 0817196274000 | 74.65 | 18.6625
138 | WHARTON COUNTY ELECTRIC CO OP INC | 118487958 | 31.3828 | 7.8457
139 | RUSK COUNTY ELECTRIC CO OP (TDSP) | 009844440 | 0 | 0
141 | CITY OF GARLAND GBCREEK (TDSP) | 6011012564100 | 0 | 0
142 | HAMILTON COUNTY ELECTRIC CO OP (LCRA) | 0089492164100 | 28.1972 | 7.0493
144 | NUECES ELECTRIC CO OP INC AEP (TDSP) | 0088288574100 | 0.6204 | 0.1551
145 | PEDERNALES ELEC CO OP INC AEP (TDSP) | 0079241114100 | 3.9672 | 0.9918
146 | TAYLOR ELECTRIC CO OP INC ABILENE (TDSP) | 0079344254100 | 33.6128 | 8.4032
147 | VICTORIA ELECTRIC CO OP INC AEP (TDSP) | 0089538614100 | 0.6388 | 0.1597
148 | RIO GRANDE ELECTRIC CO OP TXU (TDSP) | 0027819534100 | 29.2216 | 7.3054
153 | WESTERN FARMERS ELECTRIC COOPERATIVE (TDSP) | 0728624074000 | 0.4608 | 0.1152
155 | HOUSTON COUNTY ELEC COOP TXU (TDSP) | 0057772064100 | 0.0616 | 0.0154
158 | NUECES ELECTRIC COOP INC PILOT TDSP | 0088288574800 | 23.6208 | 5.9052
Total |  |  | 59540.986 | 14889.7266

## TDSP Code
TDSP
Code | Name | Duns
1 | CENTERPOINT ENERGY HOUSTON ELECTRIC LLC (TDSP) | 957877905
2 | TXU ELECTRIC DELIVERY (TDSP) | 1039940674000
3 | SOUTHWESTERN PUBLIC SERVICE COMPANY (TDSP) | 007369713
4 | TEXAS-NEW MEXICO POWER CO (TDSP) | 007929441
5 | AEP TEXAS CENTRAL COMPANY | 007924772
6 | SWEPCO ENERGY DELIVERY COMPANY (SWEPCO-EDC) (TDSP) | 026763672
7 | AEP TEXAS NORTH COMPANY | 007923311
8 | TXU SESCO CO (TDSP) | 0079280964000
9 | ENTERGY GULF STATES INC | 827438383
10 | WEST TEXAS UTILITIES SPP (TDSP) | 053693388
18 | BANDERA ELECTRIC CO OP INC (TDSP) | 0089451494000
19 | BARTLETT ELECTRIC CO OP INC | 002781813
20 | BELFALLS ELECTRIC CO OP INC (TDSP) | 004998399
21 | BIG COUNTRY ELECTRIC CO OP INC (TDSP) | 0058630484000
22 | BLUEBONNET ELECTRIC CO OP INC (TDSP) | 0524834354000
23 | BRAZOS ELECTRIC POWER CO OP INC(TDSP) | 0037722904000
24 | CAP-ROCK ELECTRIC CO OP INC (MCCULLOCH DIVISION) (TDSP) | 0079370974000
25 | CENTRAL TEXAS ELECTRIC CO OP INC (TDSP) | 0079302744000
26 | CITY OF BASTROP (TDSP) | 0851553724000
27 | CITY OF BELLVILLE (TDSP) | 0935648704000
28 | CITY OF BOERNE (TDSP) | 0052470694000
29 | CITY OF BRENHAM (TDSP) | 0741649224000
30 | CITY OF BRIDGEPORT MUN ELEC SYS (TDSP) | 0842801714000
31 | CITY OF BURNET (TDSP) | 0746121514000
32 | CITY OF CUERO (TDSP) | 0526842144000
33 | CITY OF FLATONIA (TDSP) | 0626890134000
34 | CITY OF FREDERICKSBURG (TDSP) | 0769243074000
35 | CITY OF GEORGETOWN (TDSP) | 0895923724000
36 | CITY OF GIDDINGS (TDSP) | 0096899514000
37 | CITY OF GOLDTHWAITE (TDSP) | 1558252764000
38 | CITY OF GONZALES (TDSP) | 0937385404000
39 | CITY OF HALLETTSVILLE (TDSP) | 0090811834000
40 | CITY OF HEMPSTEAD (TDSP) | 1272175604000
41 | CITY OF LA GRANGE (TDSP) | 0607085184000
42 | CITY OF LAMPASAS (TDSP) | 0203311204000
43 | CITY OF LEXINGTON (TDSP) | 0081817324000
44 | CITY OF LLANO (TDSP) | 0916952054000
45 | CITY OF LOCKHART (TDSP) | 0746168634000
46 | CITY OF LULING (TDSP) | 0105539984000
47 | CITY OF MASON (TDSP) | 1561267084000
48 | CITY OF MOULTON (TDSP) | 0091871544000
49 | CITY OF SAN MARCOS (TDSP) | 0694628694000
50 | CITY OF SAN SABA (TDSP) | 0248592254000
51 | CITY OF SANGER | 058956020
52 | CITY OF SCHULENBURG (TDSP) | 0532950364000
53 | CITY OF SEGUIN (TDSP) | 0862819794000
54 | CITY OF SEYMOUR | 166319145
55 | CITY OF SHINER (TDSP) | 1504533714000
56 | CITY OF SMITHVILLE (TDSP) | 0916978134000
57 | CITY OF WAELDER (TDSP) | 0541779694000
58 | CITY OF WEIMAR (TDSP) | 0214974584000
59 | CITY OF WHITESBORO | 134546522
60 | CITY OF YOAKUM (TDSP) | 0694557724000
61 | COLEMAN COUNTY ELECTRIC CO OP INC (TDSP) | 0079246734000
62 | COMANCHE ELECTRIC CO OP ASSOCIATION | 002889210
63 | CONCHO VALLEY ELECTRIC CO OP INC (TDSP) | 0038666624000
64 | COOKE COUNTY ELECTRIC CO OP ASSOC INC | 008951808
66 | DEEP EAST TEXAS ELECTRIC CO OP INC | 047845623
67 | DENTON COUNTY ELEC CO OP DBA COSERVE ELEC | 008947913
68 | DEWITT ELECTRIC CO OP INC (TDSP) | 0089461884000
69 | FANNIN COUNTY ELECTRIC CO OP INC | 0018220894000
70 | FARMERS ELECTRIC CO OP INC DBA FEC ELECTRIC | 0098442344000
71 | FAYETTE ELECTRIC CO OP INC (TDSP) | 0593309774000
72 | FORT BELKNAP ELECTRIC CO OP INC (TDSP) | 007935299
73 | GRANBURY MUNICIPAL UTILITIES (TDSP) | 0952141694000
74 | GRAYSON COLLIN ELECTRIC CO OP INC | 008953812
75 | GUADALUPE VALLEY ELECTRIC CO OP INC (TDSP) | 0079305894000
76 | HAMILTON COUNTY ELECTRIC CO OP (BRAZOS) | 008949216
77 | HILCO ELECTRIC CO OP INC (TDSP) | 008950545
78 | HOUSTON COUNTY ELEC COOP (TDSP) | 005777206
79 | J A C ELECTRIC CO OP INC | 003890795
80 | JASPER NEWTON ELECTRIC CO OP INC | 007933518
81 | KERRVILLE PUBLIC UTILITY BOARD (TDSP) | 1248248064000
82 | LAMAR COUNTY ELEC COOP DBA LEC (TDSP) | 0048060974000
83 | LIGHTHOUSE ELECTRIC CO OP (TDSP) | 0028252894000
84 | LOWER COLORADO RIVER AUTHORITY TENSCO | 0432268854000
85 | LYNTEGAR ELECTRIC CO OP INC (TDSP) | 0079371474000
86 | MAGIC VALLEY ELECTRIC CO OP INC (TDSP) | 008951501
87 | MCLENNAN COUNTY ELECTRIC CO OP INC | 007509698
88 | MID SOUTH ELECTRIC CO OP ASSOC | 061278594
89 | NAVARRO COUNTY ELECTRIC CO OP INC | 006770101
90 | NAVASOTA VALLEY ELECTRIC CO OP INC | 046299913
91 | NEW BRAUNFELS UTILITIES (TDSP) | 0383461694000
92 | PEDERNALES ELECTRIC CO OP INC (TDSP) | 0079241114000
93 | RAYBURN COUNTRY CO OP DBA RAYBURN ELECTRIC (TDSP) | 6243686014000
94 | SAM HOUSTON ELECTRIC CO OP INC (TDSP) | 056267867
95 | SAN BERNARD ELECTRIC CO OP (TDSP) | 0089453134000
96 | SOUTH PLAINS ELECTRIC CO OP INC (TDSP) | 007934185
97 | SOUTHWEST TEXAS ELECTRIC CO OP INC (TDSP) | 0084158954000
98 | TAYLOR ELECTRIC CO OP INC (TDSP) | 0079344254000
99 | TRI COUNTY ELECTRIC CO OP INC | 008945123
100 | TRINITY VALLEY ELEC CO OP | 009844564
102 | UNITED ELECTRIC CO OP SERVICES INC | 008945826
103 | WISE ELECTRIC CO OP | 041405408
104 | BROWNSVILLE PUBLIC UTILITY BOARD (TDSP) | 6063470374000
105 | BRYAN TEXAS UTILITIES (TDSP) | 0793907794000
106 | CAP-ROCK ELECTRIC CO OP INC (HUNT COLLIN DIVISION) (TDSP) | 0079370974100
107 | CHEROKEE COUNTY ELEC CO OP ASSOC | 008862625
108 | CITY OF AUSTIN DBA AUSTIN ENERGY (TDSP) | 8008717664000
109 | CITY OF BARTLETT (TDSP) | 074618935
110 | CITY OF BOWIE (TDSP) | 8094182964000
111 | CITY OF BRADY (TDSP) | 070804877
112 | CITY OF CASTROVILLE (TDSP) | 797816378
113 | CITY OF COLEMAN (TDSP) | 1024920064000
114 | CITY OF COLLEGE STATION (TDSP) | 0403303004000
115 | CITY OF FARMERSVILLE (TDSP) | 1903494984000
116 | CITY OF FLORESVILLE DBA FLORESVILLE ELEC LIGHT AND PWR | 008948374
117 | CITY OF GARLAND (TDSP) | 6011012564000
118 | CITY OF GOLDSMITH (TDSP) | 0888946704000
119 | CITY OF HEARNE MUNICIPAL ELECTRIC SYSTEM (TDSP) | 0897458894000
120 | CITY OF HONDO (TDSP) | 091703843
121 | CITY OF ROBSTOWN UTILITY SYSTEM (TDSP) | 9387911424000
122 | CITY OF SAN ANTONIO CITY PUBLIC SERVICE (TDSP) | 0079360734000
123 | DENTON MUNICIPAL ELECTRIC (TDSP) | 0003540764000
124 | EAST TEXAS ELECTRIC CO OP (TDSP) | 948535265
125 | GEUS (TDSP) | 8062449354000
126 | JACKSON ELECTRICAL CO OP INC | 078423555
127 | KARNES ELECTRIC CO OP INC | 006824106
128 | MEDINA ELECTRIC CO OP INC (TDSP) STEC | 0081378124000
129 | NUECES ELECTRIC CO OP INC | 008828857
130 | RIO GRANDE ELECTRIC CO OP (TDSP) | 002781953
131 | SAN MIGUEL ELECTRIC CO OP INC (TDSP) | 0884848524000
132 | SAN PATRICIO ELECTRIC CO OP (TDSP) | 003864907
133 | SHARYLAND UTILITIES LP (TDSP) | 105262336
134 | SOUTH TEXAS ELECTRIC CO OP INC | 0038663324000
135 | TEXAS MUNICIPAL POWER AGENCY | 071374052
136 | VICTORIA ELECTRIC CO OP INC | 008953861
137 | WEATHERFORD MUNICIPAL UTILITY SYSTEM (TDSP) | 0817196274000
138 | WHARTON COUNTY ELECTRIC CO OP INC | 118487958
139 | RUSK COUNTY ELECTRIC CO OP (TDSP) | 009844440
141 | CITY OF GARLAND GBCREEK (TDSP) | 6011012564100
142 | HAMILTON COUNTY ELECTRIC CO OP (LCRA) | 0089492164100
144 | NUECES ELECTRIC CO OP INC AEP (TDSP) | 0088288574100
145 | PEDERNALES ELEC CO OP INC AEP (TDSP) | 0079241114100
146 | TAYLOR ELECTRIC CO OP INC ABILENE (TDSP) | 0079344254100
147 | VICTORIA ELECTRIC CO OP INC AEP (TDSP) | 0089538614100
148 | RIO GRANDE ELECTRIC CO OP TXU (TDSP) | 0027819534100
149 | MEDINA ELECTRIC CO OP INC (TDSP) AEP | 0081378124100
153 | WESTERN FARMERS ELECTRIC COOPERATIVE (TDSP) | 0728624074000
155 | HOUSTON COUNTY ELEC COOP TXU (TDSP) | 0057772064100
158 | NUECES ELECTRIC COOP INC PILOT TDSP | 0088288574800