## CONTACT INFORMATION
Load Serving Entity Information
Load Serving Entity: | Taylor Electric Cooperative Inc.
Contact Person: | Tommie Cutler Mgr/ ceo
Mailing Address Line 1: | Box 250
Mailing Address Line 2:
City: | Merkel
State: | Texas
Zip Code: | 79536
Street Address Line 1: | 1610 N. First St.
Street Address Line 2:
City: | Merkel
State: | Texas
Zip Code: | 79536
Company Internal Mail Code:
Telephone Number: | 915-928-4715
Facsimile (FAX) Number: | 915-928-5216
Internet email address: | manager@ taylorelectric.com

## 1700 June 28, 1999
REPORT FOR LOAD ENTITY ==> | TAYLOR
LOAD ENTITY IN CONTROL AREA ==> | CSWSA
June 28, 1999 Hour Ending 17:00
RECEIVING TRANSACTION INFORMATION
Description | Amount kW | From Control Area | Sending Generation Entity
WTU | 30152.7 | CSWSA | WTU
Subtotal Receiving Transactions (A) | 30152.7
SENDING TRANSACTION INFORMATION
Description | Amount kW | To Control Area | Receiving Load Entity
Subtotal Sending Transactions (B) | 0
GENERATION INFORMATION
Generation kW | 0
Less Gen Unit Main XFMR Losses kW | 0 | <== Provide Calculations to ISO with Submission
Inadvertent kW | 0
Subtotal Net Generation (C) | 0
TOTAL LOAD CALCULATION
Subtotal Receiving Transactions (A) | 30152.7
Subtotal Sending Transactions (B) | 0
Subtotal Net Generation (C) | 0
Total Load Responsibility (A-B+C) | 30152.7

## 1700 July 29, 1999
REPORT FOR LOAD ENTITY ==> | TAYLOR
LOAD ENTITY IN CONTROL AREA ==> | CSWSA
July 29, 1999 Hour Ending 17:00
RECEIVING TRANSACTION INFORMATION
Description | Amount kW | From Control Area | Sending Generation Entity
WTU | 31466.6 | CSWSA | WTU
Subtotal Receiving Transactions (A) | 31466.6
SENDING TRANSACTION INFORMATION
Description | Amount kW | To Control Area | Receiving Load Entity
Subtotal Sending Transactions (B) | 0
GENERATION INFORMATION
Generation kW | 0
Less Gen Unit Main XFMR Losses kW | 0 | <== Provide Calculations to ISO with Submission
Inadvertent kW | 0
Subtotal Net Generation (C) | 0
TOTAL LOAD CALCULATION
Subtotal Receiving Transactions (A) | 31466.6
Subtotal Sending Transactions (B) | 0
Subtotal Net Generation (C) | 0
Total Load Responsibility (A-B+C) | 31466.6

## 1700 August 26, 1999
REPORT FOR LOAD ENTITY ==> | TAYLOR
LOAD ENTITY IN CONTROL AREA ==> | CSWSA
August 26, 1999 Hour Ending 17:00
RECEIVING TRANSACTION INFORMATION
Description | Amount kW | From Control Area | Sending Generation Entity
WTU | 31579.6 | CSWSA | WTU
Subtotal Receiving Transactions (A) | 31579.6
SENDING TRANSACTION INFORMATION
Description | Amount kW | To Control Area | Receiving Load Entity
Subtotal Sending Transactions (B) | 0
GENERATION INFORMATION
Generation kW | 0
Less Gen Unit Main XFMR Losses kW | 0 | <== Provide Calculations to ISO with Submission
Inadvertent kW | 0
Subtotal Net Generation (C) | 0
TOTAL LOAD CALCULATION
Subtotal Receiving Transactions (A) | 31579.6
Subtotal Sending Transactions (B) | 0
Subtotal Net Generation (C) | 0
Total Load Responsibility (A-B+C) | 31579.6

## 1700 September 7, 1999
REPORT FOR LOAD ENTITY ==> | TAYLOR
LOAD ENTITY IN CONTROL AREA ==> | CSWSA
September 7, 1999 Hour Ending 17:00
RECEIVING TRANSACTION INFORMATION
Description | Amount kW | From Control Area | Sending Generation Entity
WTU | 27967.9 | CSWSA | WTU
Subtotal Receiving Transactions (A) | 27967.9
SENDING TRANSACTION INFORMATION
Description | Amount kW | To Control Area | Receiving Load Entity
Subtotal Sending Transactions (B) | 0
GENERATION INFORMATION
Generation kW | 0
Less Gen Unit Main XFMR Losses kW | 0 | <== Provide Calculations to ISO with Submission
Inadvertent kW | 0
Subtotal Net Generation (C) | 0
TOTAL LOAD CALCULATION
Subtotal Receiving Transactions (A) | 27967.9
Subtotal Sending Transactions (B) | 0
Subtotal Net Generation (C) | 0
Total Load Responsibility (A-B+C) | 27967.9