## 2003FOUR CP CALCULATION
2003 Four Coincident Peak Load Calculation
Data to be filed with PUCT by 3/22/04 - Information based on Interim Settlement Runs
TDSP CODE | Load Entity Name | DUNS Number | June Load at ERCOT Coincident Peak MW | July Load at ERCOT Coincident Peak MW | August Load at ERCOT Coincident Peak MW | September Load at ERCOT Coincident Peak MW | Average 4CP Load MW | Load Ratio Share
1 | CENTERPOINT ENERGY HOUSTON ELECTRIC LLC (TDSP) | 957877905 | 13187.362 | 13337.806 | 14295.324 | 12248.5588 | 13267.2627 | 24.22%
2 | ONCOR ELECTRIC DELIVERY COMPANY | 1039940674000 | 20631.3204 | 22823.7648 | 24002.0948 | 19123.7316 | 21645.2279 | 39.51%
4 | TEXAS-NEW MEXICO POWER CO (TDSP) | 007929441 | 1313.7248 | 1339.4744 | 1428.3588 | 1140.0848 | 1305.4107 | 2.383%
5 | AEP TEXAS CENTRAL COMPANY | 007924772 | 4137.386 | 4042.7924 | 4322.28 | 3932.9504 | 4108.8522 | 7.5%
7 | AEP TEXAS NORTH COMPANY | 007923311 | 940.448 | 1052.886 | 1127.1764 | 866.9176 | 996.857 | 1.819%
18 | BANDERA ELECTRIC CO OP INC (TDSP) | 0089451494000 | 99.0848 | 96.1744 | 113.0384 | 83.6644 | 97.9905 | 0.1789%
19 | BARTLETT ELECTRIC CO OP INC | 002781813 | 32.2 | 33.8344 | 37.7428 | 28.5984 | 33.0939 | 0.0604%
20 | BELFALLS ELECTRIC CO OP INC (TDSP) | 004998399 | 15.4288 | 16.0896 | 18.4288 | 13.7928 | 15.935 | 0.02908%
21 | BIG COUNTRY ELECTRIC CO OP INC (TDSP) | 0058630484000 | 21.8188 | 24.2068 | 25.7352 | 19.9368 | 22.9244 | 0.04184%
22 | BLUEBONNET ELECTRIC CO OP INC (TDSP) | 0524834354000 | 313.2404 | 308.708 | 346.2804 | 283.8652 | 313.0235 | 0.5713%
23 | BRAZOS ELECTRIC POWER CO OP INC(TDSP) | 0037722904000 | 0.3792 | 0.1716 | 0 | 1.6728 | 0.5559 | 0.001015%
24 | CAP-ROCK ELECTRIC CO OP INC (MCCULLOCH DIVISION) (TDSP) | 0079370974000 | 18.0024 | 18.8452 | 20.3992 | 16.3796 | 18.4066 | 0.0336%
25 | CENTRAL TEXAS ELECTRIC CO OP INC (TDSP) | 0079302744000 | 86.5912 | 90.2196 | 104.7256 | 72.7196 | 88.564 | 0.1616%
26 | CITY OF BASTROP (TDSP) | 0851553724000 | 12.2584 | 12.134 | 13.5956 | 11.9164 | 12.4761 | 0.02277%
27 | CITY OF BELLVILLE (TDSP) | 0935648704000 | 12.164 | 13.0856 | 14.1156 | 11.4556 | 12.7052 | 0.02319%
28 | CITY OF BOERNE (TDSP) | 0052470694000 | 22.1336 | 21.7144 | 25.3476 | 19.9448 | 22.2851 | 0.04067%
29 | CITY OF BRENHAM (TDSP) | 0741649224000 | 59.7012 | 60.2756 | 62.336 | 55.0288 | 59.3354 | 0.1083%
30 | CITY OF BRIDGEPORT MUN ELEC SYS (TDSP) | 0842801714000 | 10.1988 | 12.1624 | 12.4568 | 9.4076 | 11.0564 | 0.02018%
31 | CITY OF BURNET (TDSP) | 0746121514000 | 14.55 | 15.5012 | 16.5996 | 14.0724 | 15.1808 | 0.02771%
32 | CITY OF CUERO (TDSP) | 0526842144000 | 25.118 | 24.3236 | 26.4712 | 23.0952 | 24.752 | 0.04518%
33 | CITY OF FLATONIA (TDSP) | 0626890134000 | 4.5544 | 4.5428 | 4.962 | 3.962 | 4.5053 | 0.008223%
34 | CITY OF FREDERICKSBURG (TDSP) | 0769243074000 | 27.5664 | 28.5804 | 32.6132 | 24.5416 | 28.3254 | 0.0517%
35 | CITY OF GEORGETOWN (TDSP) | 0895923724000 | 82.5188 | 83.9952 | 96.4676 | 75.958 | 84.7349 | 0.1547%
36 | CITY OF GIDDINGS (TDSP) | 0096899514000 | 12.6836 | 12.6824 | 14.0012 | 11.5448 | 12.728 | 0.02323%
37 | CITY OF GOLDTHWAITE (TDSP) | 1558252764000 | 4.9204 | 5.326 | 5.7904 | 4.1816 | 5.0546 | 0.009226%
38 | CITY OF GONZALES (TDSP) | 0937385404000 | 16.4724 | 16.2396 | 18.306 | 15.2112 | 16.5573 | 0.03022%
39 | CITY OF HALLETTSVILLE (TDSP) | 0090811834000 | 8.6804 | 9.092 | 8.7436 | 7.4616 | 8.4944 | 0.0155%
40 | CITY OF HEMPSTEAD (TDSP) | 1272175604000 | 12.3076 | 12.0252 | 13.3928 | 11.4744 | 12.3 | 0.02245%
41 | CITY OF LA GRANGE (TDSP) | 0607085184000 | 14.2036 | 14.8904 | 16.726 | 13.298 | 14.7795 | 0.02698%
42 | CITY OF LAMPASAS (TDSP) | 0203311204000 | 20.3624 | 20.9852 | 23.742 | 18.2644 | 20.8385 | 0.03803%
43 | CITY OF LEXINGTON (TDSP) | 0081817324000 | 2.6436 | 2.7348 | 3.0284 | 2.5464 | 2.7383 | 0.004998%
44 | CITY OF LLANO (TDSP) | 0916952054000 | 9.5752 | 9.8148 | 10.8632 | 8.5632 | 9.7041 | 0.01771%
45 | CITY OF LOCKHART (TDSP) | 0746168634000 | 22.1852 | 22.2392 | 24.8292 | 21.4244 | 22.6695 | 0.04138%
46 | CITY OF LULING (TDSP) | 0105539984000 | 11.48 | 11.0484 | 12.8312 | 10.5304 | 11.4725 | 0.02094%
47 | CITY OF MASON (TDSP) | 1561267084000 | 4.8392 | 5.0692 | 5.6572 | 3.9168 | 4.8706 | 0.00889%
48 | CITY OF MOULTON (TDSP) | 0091871544000 | 2.1976 | 2.0968 | 2.5212 | 1.9888 | 2.2011 | 0.004017%
49 | CITY OF SAN MARCOS (TDSP) | 0694628694000 | 100.2116 | 92.7636 | 102.1012 | 91.2084 | 96.5712 | 0.1763%
50 | CITY OF SAN SABA (TDSP) | 0248592254000 | 8.02 | 8.8388 | 8.916 | 6.7812 | 8.139 | 0.01486%
51 | CITY OF SANGER | 058956020 | 11.2188 | 12.6928 | 12.7428 | 10.4708 | 11.7813 | 0.0215%
52 | CITY OF SCHULENBURG (TDSP) | 0532950364000 | 11.6272 | 11.7892 | 12.7268 | 11.1556 | 11.8247 | 0.02158%
53 | CITY OF SEGUIN (TDSP) | 0862819794000 | 54.5588 | 53.4884 | 57.7916 | 55.7116 | 55.3876 | 0.1011%
54 | CITY OF SEYMOUR | 166319145 | 7.2616 | 8.8564 | 9.2712 | 6.5852 | 7.9936 | 0.01459%
55 | CITY OF SHINER (TDSP) | 1504533714000 | 8.7976 | 9.0504 | 9.3476 | 7.9088 | 8.7761 | 0.01602%
56 | CITY OF SMITHVILLE (TDSP) | 0916978134000 | 9.3656 | 9.2636 | 10.7804 | 8.7076 | 9.5293 | 0.01739%
57 | CITY OF WAELDER (TDSP) | 0541779694000 | 3.31 | 3.1944 | 3.4924 | 3.0728 | 3.2674 | 0.005964%
58 | CITY OF WEIMAR (TDSP) | 0214974584000 | 7.2176 | 7.4864 | 7.8924 | 6.4492 | 7.2614 | 0.01325%
59 | CITY OF WHITESBORO | 134546522 | 7.8736 | 9.142 | 9.598 | 7.076 | 8.4224 | 0.01537%
60 | CITY OF YOAKUM (TDSP) | 0694557724000 | 16.786 | 17.2032 | 17.7992 | 15.456 | 16.8111 | 0.03068%
61 | COLEMAN COUNTY ELECTRIC CO OP INC (TDSP) | 0079246734000 | 19.286 | 20.868 | 23.3864 | 18.518 | 20.5146 | 0.03744%
62 | COMANCHE ELECTRIC CO OP ASSOCIATION | 002889210 | 32.9732 | 37.1724 | 38.7652 | 29.612 | 34.6307 | 0.06321%
63 | CONCHO VALLEY ELECTRIC CO OP INC (TDSP) | 0038666624000 | 34.5456 | 39.7008 | 41.7492 | 33.0116 | 37.2518 | 0.06799%
64 | COOKE COUNTY ELECTRIC CO OP ASSOC INC | 008951808 | 55.9044 | 62.2812 | 65.634 | 48.7956 | 58.1538 | 0.1061%
66 | DEEP EAST TEXAS ELECTRIC CO OP INC | 047845623 | 13.3408 | 12.7476 | 14.1296 | 10.5524 | 12.6926 | 0.02317%
67 | DENTON COUNTY ELEC CO OP DBA COSERVE ELEC | 008947913 | 566.5952 | 663.784 | 692.2396 | 512.2004 | 608.7048 | 1.111%
69 | FANNIN COUNTY ELECTRIC CO OP INC | 0018220894000 | 21.2732 | 21.6724 | 26.1196 | 18.8032 | 21.9671 | 0.04009%
70 | FARMERS ELECTRIC CO OP INC DBA FEC ELECTRIC | 0098442344000 | 150.2808 | 162.9852 | 177.042 | 136.6632 | 156.7428 | 0.2861%
71 | FAYETTE ELECTRIC CO OP INC (TDSP) | 0593309774000 | 39.7196 | 38.7872 | 45.5296 | 35.3616 | 39.8495 | 0.07273%
72 | FORT BELKNAP ELECTRIC CO OP INC (TDSP) | 007935299 | 18.0056 | 20.8312 | 20.3676 | 16.5956 | 18.95 | 0.03459%
73 | GRANBURY MUNICIPAL UTILITIES (TDSP) | 0952141694000 | 17.544 | 20.016 | 20.3588 | 16.726 | 18.6612 | 0.03406%
74 | GRAYSON COLLIN ELECTRIC CO OP INC | 008953812 | 116.784 | 131.4968 | 145.6596 | 105.1664 | 124.7767 | 0.2277%
75 | GUADALUPE VALLEY ELECTRIC CO OP INC (TDSP) | 0079305894000 | 229.8936 | 215.3384 | 237.1068 | 198.8568 | 220.2989 | 0.4021%
76 | HAMILTON COUNTY ELECTRIC CO OP (BRAZOS) | 008949216 | 13.5848 | 15.754 | 16.9088 | 12.148 | 14.5989 | 0.02665%
77 | HILCO ELECTRIC CO OP INC (TDSP) | 008950545 | 108.2708 | 114.1956 | 115.5844 | 92.356 | 107.6017 | 0.1964%
78 | HOUSTON COUNTY ELEC COOP (TDSP) | 005777206 | 12.8208 | 13.3248 | 14.2504 | 10.4264 | 12.7056 | 0.02319%
79 | J A C ELECTRIC CO OP INC | 003890795 | 16.2772 | 18.9372 | 19.2776 | 14.9292 | 17.3553 | 0.03168%
80 | JASPER NEWTON ELECTRIC CO OP INC | 007933518 | 2.0944 | 2.0128 | 2.2172 | 1.5608 | 1.9713 | 0.003598%
81 | KERRVILLE PUBLIC UTILITY BOARD (TDSP) | 1248248064000 | 98.2528 | 98.582 | 111.146 | 85.4496 | 98.3576 | 0.1795%
82 | LAMAR COUNTY ELEC COOP DBA LEC (TDSP) | 0048060974000 | 35.06 | 27.8656 | 39.57 | 29.6336 | 33.0323 | 0.06029%
83 | LIGHTHOUSE ELECTRIC CO OP (TDSP) | 0028252894000 | 0.7836 | 2.6116 | 2.7484 | 1.8972 | 2.0102 | 0.003669%
85 | LYNTEGAR ELECTRIC CO OP INC (TDSP) | 0079371474000 | 19.602 | 29.6684 | 30.04 | 13.7208 | 23.2578 | 0.04245%
86 | MAGIC VALLEY ELECTRIC CO OP INC (TDSP) | 008951501 | 257.71 | 254.0564 | 279.7172 | 256.438 | 261.9804 | 0.4782%
87 | MCLENNAN COUNTY ELECTRIC CO OP INC | 007509698 | 52.5532 | 56.9868 | 62.4632 | 47.3752 | 54.8446 | 0.1001%
88 | MID SOUTH ELECTRIC CO OP ASSOC | 061278594 | 21.2192 | 19.7628 | 23.2876 | 18.9852 | 20.8137 | 0.03799%
89 | NAVARRO COUNTY ELECTRIC CO OP INC | 006770101 | 61.8392 | 66.2164 | 69.9036 | 54.9228 | 63.2205 | 0.1154%
90 | NAVASOTA VALLEY ELECTRIC CO OP INC | 046299913 | 62.6696 | 65.2004 | 73.8284 | 55.6148 | 64.3283 | 0.1174%
91 | NEW BRAUNFELS UTILITIES (TDSP) | 0383461694000 | 171.4788 | 168.7636 | 189.85 | 159.65 | 172.4356 | 0.3147%
92 | PEDERNALES ELECTRIC CO OP INC (TDSP) | 0079241114000 | 783.206 | 799.3692 | 926.7948 | 713.3396 | 805.6774 | 1.471%
94 | SAM HOUSTON ELECTRIC CO OP INC (TDSP) | 056267867 | 4.5512 | 4.452 | 4.8212 | 3.7328 | 4.3893 | 0.008011%
95 | SAN BERNARD ELECTRIC CO OP (TDSP) | 0089453134000 | 96.9232 | 94.54 | 100.7784 | 83.1784 | 93.855 | 0.1713%
96 | SOUTH PLAINS ELECTRIC CO OP INC (TDSP) | 007934185 | 67.3988 | 72.0904 | 72.1932 | 68.9896 | 70.168 | 0.1281%
97 | SOUTHWEST TEXAS ELECTRIC CO OP INC (TDSP) | 0084158954000 | 22.0196 | 21.9848 | 22.8532 | 19.3796 | 21.5593 | 0.03935%
98 | TAYLOR ELECTRIC CO OP INC (TDSP) | 0079344254000 | 5.1636 | 6.7284 | 6.0972 | 5.074 | 5.7658 | 0.01052%
99 | TRI COUNTY ELECTRIC CO OP INC | 008945123 | 321.5116 | 375.926 | 393.5416 | 290.1292 | 345.2771 | 0.6302%
100 | TRINITY VALLEY ELEC CO OP | 009844564 | 122.684 | 134.5648 | 144.0044 | 109.6664 | 127.7299 | 0.2331%
102 | UNITED ELECTRIC CO OP SERVICES INC | 008945826 | 294.2308 | 328.8724 | 344.5976 | 261.0624 | 307.1908 | 0.5607%
103 | WISE ELECTRIC CO OP | 041405408 | 63.3552 | 74.362 | 78.0092 | 56.4036 | 68.0325 | 0.1242%
104 | BROWNSVILLE PUBLIC UTILITY BOARD (TDSP) | 6063470374000 | 222.1944 | 218.1444 | 228.7472 | 217.4084 | 221.6236 | 0.4045%
105 | BRYAN TEXAS UTILITIES (TDSP) | 0793907794000 | 230.38 | 227.0184 | 244.5036 | 206.0144 | 226.9791 | 0.4143%
106 | CAP-ROCK ELECTRIC CO OP INC (HUNT COLLIN DIVISION) (TDSP) | 0079370974100 | 21.8376 | 23.9984 | 27.1768 | 19.9272 | 23.235 | 0.04241%
107 | CHEROKEE COUNTY ELEC CO OP ASSOC | 008862625 | 46.8992 | 46.5744 | 43.4408 | 39.0424 | 43.9892 | 0.08029%
108 | CITY OF AUSTIN DBA AUSTIN ENERGY (TDSP) | 8008717664000 | 2146.0516 | 2129.5272 | 2349.3312 | 1967.642 | 2148.138 | 3.921%
110 | CITY OF BOWIE (TDSP) | 8094182964000 | 13.2584 | 15.4276 | 16.378 | 11.6568 | 14.1802 | 0.02588%
111 | CITY OF BRADY (TDSP) | 070804877 | 14.6028 | 15.4192 | 16.8068 | 13.31 | 15.0347 | 0.02744%
113 | CITY OF COLEMAN (TDSP) | 1024920064000 | 8.1448 | 10.6412 | 11.3132 | 8.7576 | 9.7142 | 0.01773%
114 | CITY OF COLLEGE STATION (TDSP) | 0403303004000 | 151.88 | 150.1148 | 166.0692 | 139.63 | 151.9235 | 0.2773%
117 | CITY OF GARLAND (TDSP) | 6011012564000 | 434.1928 | 482.7684 | 493.0364 | 397.132 | 451.7824 | 0.8246%
118 | CITY OF GOLDSMITH (TDSP) | 0888946704000 | 0.39 | 0.4336 | 0.51 | 0.396 | 0.4324 | 0.0007892%
119 | CITY OF HEARNE MUNICIPAL ELECTRIC SYSTEM (TDSP) | 0897458894000 | 10.1776 | 10.5436 | 11.6184 | 9.2856 | 10.4063 | 0.01899%
121 | CITY OF ROBSTOWN UTILITY SYSTEM (TDSP) | 9387911424000 | 15.482 | 17.7536 | 19.6944 | 19.3424 | 18.0681 | 0.03298%
122 | CITY OF SAN ANTONIO CITY PUBLIC SERVICE (TDSP) | 0079360734000 | 3853.754 | 3717.242 | 4148.6844 | 3583.2448 | 3825.7313 | 6.983%
123 | DENTON MUNICIPAL ELECTRIC (TDSP) | 0003540764000 | 253.1768 | 274.1424 | 272.9716 | 230.8104 | 257.7753 | 0.4705%
125 | GEUS (TDSP) | 8062449354000 | 93.666 | 101.016 | 103.746 | 86.2696 | 96.1744 | 0.1755%
126 | JACKSON ELECTRICAL CO OP INC | 078423555 | 36.738 | 33.8912 | 40.0408 | 30.8012 | 35.3678 | 0.06455%
127 | KARNES ELECTRIC CO OP INC | 006824106 | 47.6876 | 44.1384 | 50.6052 | 43.274 | 46.4263 | 0.08474%
128 | MEDINA ELECTRIC CO OP INC (TDSP) STEC | 0081378124000 | 85.002 | 71.936 | 82.576 | 67.798 | 76.828 | 0.1402%
129 | NUECES ELECTRIC CO OP INC | 008828857 | 42.6444 | 42.456 | 47.9128 | 38.7488 | 42.9405 | 0.07838%
131 | SAN MIGUEL ELECTRIC CO OP INC (TDSP) | 0884848524000 | 0 | 6.94 | 0 | 0 | 1.735 | 0.003167%
132 | SAN PATRICIO ELECTRIC CO OP (TDSP) | 003864907 | 29.0508 | 26.9876 | 31.0892 | 26.6964 | 28.456 | 0.05194%
133 | SHARYLAND UTILITIES LP (TDSP) | 105262336 | 9.5184 | 10.7608 | 11.3968 | 10.454 | 10.5325 | 0.01922%
134 | SOUTH TEXAS ELECTRIC CO OP INC | 0038663324000 | 0.1716 | 0.2764 | 0 | 0.2756 | 0.1809 | 0.0003302%
136 | VICTORIA ELECTRIC CO OP INC | 008953861 | 65.7984 | 60.818 | 74.5848 | 58.0112 | 64.8031 | 0.1183%
137 | WEATHERFORD MUNICIPAL UTILITY SYSTEM (TDSP) | 0817196274000 | 61.4968 | 70.9664 | 73.1736 | 57.3964 | 65.7583 | 0.12%
138 | WHARTON COUNTY ELECTRIC CO OP INC | 118487958 | 28.4884 | 26.6392 | 31.5228 | 25.1088 | 27.9398 | 0.051%
139 | RUSK COUNTY ELECTRIC CO OP (TDSP) | 009844440 | 0 | 0 | 0 | 0 | 0 | 0%
141 | CITY OF GARLAND GBCREEK (TDSP) | 6011012564100 | 0 | 0 | 0 | 0 | 0 | 0%
142 | HAMILTON COUNTY ELECTRIC CO OP (LCRA) | 0089492164100 | 23.8752 | 25.8348 | 29.294 | 20.7752 | 24.9448 | 0.04553%
144 | NUECES ELECTRIC CO OP INC AEP (TDSP) | 0088288574100 | 0.3372 | 0.2404 | 0.3412 | 0.2708 | 0.2974 | 0.0005428%
145 | PEDERNALES ELEC CO OP INC AEP (TDSP) | 0079241114100 | 3.5392 | 3.7264 | 4.2792 | 2.6616 | 3.5516 | 0.006482%
146 | TAYLOR ELECTRIC CO OP INC ABILENE (TDSP) | 0079344254100 | 33.1728 | 37.2656 | 40.2608 | 30.9232 | 35.4056 | 0.06462%
147 | VICTORIA ELECTRIC CO OP INC AEP (TDSP) | 0089538614100 | 0.5024 | 0.4764 | 0.5188 | 0.3996 | 0.4743 | 0.0008657%
148 | RIO GRANDE ELECTRIC CO OP TXU (TDSP) | 0027819534100 | 17.578 | 19.0944 | 25.6492 | 19.5404 | 20.4655 | 0.03735%
151 | TEXAS A&M | 0037722904TAM | 40.8768 | 30.3652 | 30.836 | 29.94 | 33.0045 | 0.06024%
153 | WESTERN FARMERS ELECTRIC COOPERATIVE (TDSP) | 0728624074000 | 0.5516 | 0.698 | 0.8056 | 0.424 | 0.6198 | 0.001131%
155 | HOUSTON COUNTY ELEC COOP TXU (TDSP) | 0057772064100 | 2.4136 | 2.4128 | 2.4856 | 2.438 | 2.4375 | 0.004449%
| Total* |  | 53533.4876 | 56120.5004 | 59993.4136 | 49505.9772 | 54788.3447 | 100%
*Note: Total does not include DC Tie Exports

## June
Peak Demand on 06/25/2003 at interval ending 17:00 based on Channel 6 (INTERIM) settlement run on 1/1/04 at 22:14
TDSP Code | Load Entity Name | DUNS | 2003 Load Responsibility MW | 2003 Load Responsibility MWh
1 | CENTERPOINT ENERGY HOUSTON ELECTRIC LLC (TDSP) | 957877905 | 13187.362 | 3296.8405
2 | ONCOR ELECTRIC DELIVERY COMPANY | 1039940674000 | 20631.3204 | 5157.8301
4 | TEXAS-NEW MEXICO POWER CO (TDSP) | 007929441 | 1313.7248 | 328.4312
5 | AEP TEXAS CENTRAL COMPANY | 007924772 | 4137.386 | 1034.3465
7 | AEP TEXAS NORTH COMPANY | 007923311 | 940.448 | 235.112
18 | BANDERA ELECTRIC CO OP INC (TDSP) | 0089451494000 | 99.0848 | 24.7712
19 | BARTLETT ELECTRIC CO OP INC | 002781813 | 32.2 | 8.05
20 | BELFALLS ELECTRIC CO OP INC (TDSP) | 004998399 | 15.4288 | 3.8572
21 | BIG COUNTRY ELECTRIC CO OP INC (TDSP) | 0058630484000 | 21.8188 | 5.4547
22 | BLUEBONNET ELECTRIC CO OP INC (TDSP) | 0524834354000 | 313.2404 | 78.3101
23 | BRAZOS ELECTRIC POWER CO OP INC(TDSP) | 0037722904000 | 0.3792 | 0.0948
24 | CAP-ROCK ELECTRIC CO OP INC (MCCULLOCH DIVISION) (TDSP) | 0079370974000 | 18.0024 | 4.5006
25 | CENTRAL TEXAS ELECTRIC CO OP INC (TDSP) | 0079302744000 | 86.5912 | 21.6478
26 | CITY OF BASTROP (TDSP) | 0851553724000 | 12.2584 | 3.0646
27 | CITY OF BELLVILLE (TDSP) | 0935648704000 | 12.164 | 3.041
28 | CITY OF BOERNE (TDSP) | 0052470694000 | 22.1336 | 5.5334
29 | CITY OF BRENHAM (TDSP) | 0741649224000 | 59.7012 | 14.9253
30 | CITY OF BRIDGEPORT MUN ELEC SYS (TDSP) | 0842801714000 | 10.1988 | 2.5497
31 | CITY OF BURNET (TDSP) | 0746121514000 | 14.55 | 3.6375
32 | CITY OF CUERO (TDSP) | 0526842144000 | 25.118 | 6.2795
33 | CITY OF FLATONIA (TDSP) | 0626890134000 | 4.5544 | 1.1386
34 | CITY OF FREDERICKSBURG (TDSP) | 0769243074000 | 27.5664 | 6.8916
35 | CITY OF GEORGETOWN (TDSP) | 0895923724000 | 82.5188 | 20.6297
36 | CITY OF GIDDINGS (TDSP) | 0096899514000 | 12.6836 | 3.1709
37 | CITY OF GOLDTHWAITE (TDSP) | 1558252764000 | 4.9204 | 1.2301
38 | CITY OF GONZALES (TDSP) | 0937385404000 | 16.4724 | 4.1181
39 | CITY OF HALLETTSVILLE (TDSP) | 0090811834000 | 8.6804 | 2.1701
40 | CITY OF HEMPSTEAD (TDSP) | 1272175604000 | 12.3076 | 3.0769
41 | CITY OF LA GRANGE (TDSP) | 0607085184000 | 14.2036 | 3.5509
42 | CITY OF LAMPASAS (TDSP) | 0203311204000 | 20.3624 | 5.0906
43 | CITY OF LEXINGTON (TDSP) | 0081817324000 | 2.6436 | 0.6609
44 | CITY OF LLANO (TDSP) | 0916952054000 | 9.5752 | 2.3938
45 | CITY OF LOCKHART (TDSP) | 0746168634000 | 22.1852 | 5.5463
46 | CITY OF LULING (TDSP) | 0105539984000 | 11.48 | 2.87
47 | CITY OF MASON (TDSP) | 1561267084000 | 4.8392 | 1.2098
48 | CITY OF MOULTON (TDSP) | 0091871544000 | 2.1976 | 0.5494
49 | CITY OF SAN MARCOS (TDSP) | 0694628694000 | 100.2116 | 25.0529
50 | CITY OF SAN SABA (TDSP) | 0248592254000 | 8.02 | 2.005
51 | CITY OF SANGER | 058956020 | 11.2188 | 2.8047
52 | CITY OF SCHULENBURG (TDSP) | 0532950364000 | 11.6272 | 2.9068
53 | CITY OF SEGUIN (TDSP) | 0862819794000 | 54.5588 | 13.6397
54 | CITY OF SEYMOUR | 166319145 | 7.2616 | 1.8154
55 | CITY OF SHINER (TDSP) | 1504533714000 | 8.7976 | 2.1994
56 | CITY OF SMITHVILLE (TDSP) | 0916978134000 | 9.3656 | 2.3414
57 | CITY OF WAELDER (TDSP) | 0541779694000 | 3.31 | 0.8275
58 | CITY OF WEIMAR (TDSP) | 0214974584000 | 7.2176 | 1.8044
59 | CITY OF WHITESBORO | 134546522 | 7.8736 | 1.9684
60 | CITY OF YOAKUM (TDSP) | 0694557724000 | 16.786 | 4.1965
61 | COLEMAN COUNTY ELECTRIC CO OP INC (TDSP) | 0079246734000 | 19.286 | 4.8215
62 | COMANCHE ELECTRIC CO OP ASSOCIATION | 002889210 | 32.9732 | 8.2433
63 | CONCHO VALLEY ELECTRIC CO OP INC (TDSP) | 0038666624000 | 34.5456 | 8.6364
64 | COOKE COUNTY ELECTRIC CO OP ASSOC INC | 008951808 | 55.9044 | 13.9761
66 | DEEP EAST TEXAS ELECTRIC CO OP INC | 047845623 | 13.3408 | 3.3352
67 | DENTON COUNTY ELEC CO OP DBA COSERVE ELEC | 008947913 | 566.5952 | 141.6488
69 | FANNIN COUNTY ELECTRIC CO OP INC | 0018220894000 | 21.2732 | 5.3183
70 | FARMERS ELECTRIC CO OP INC DBA FEC ELECTRIC | 0098442344000 | 150.2808 | 37.5702
71 | FAYETTE ELECTRIC CO OP INC (TDSP) | 0593309774000 | 39.7196 | 9.9299
72 | FORT BELKNAP ELECTRIC CO OP INC (TDSP) | 007935299 | 18.0056 | 4.5014
73 | GRANBURY MUNICIPAL UTILITIES (TDSP) | 0952141694000 | 17.544 | 4.386
74 | GRAYSON COLLIN ELECTRIC CO OP INC | 008953812 | 116.784 | 29.196
75 | GUADALUPE VALLEY ELECTRIC CO OP INC (TDSP) | 0079305894000 | 229.8936 | 57.4734
76 | HAMILTON COUNTY ELECTRIC CO OP (BRAZOS) | 008949216 | 13.5848 | 3.3962
77 | HILCO ELECTRIC CO OP INC (TDSP) | 008950545 | 108.2708 | 27.0677
78 | HOUSTON COUNTY ELEC COOP (TDSP) | 005777206 | 12.8208 | 3.2052
79 | J A C ELECTRIC CO OP INC | 003890795 | 16.2772 | 4.0693
80 | JASPER NEWTON ELECTRIC CO OP INC | 007933518 | 2.0944 | 0.5236
81 | KERRVILLE PUBLIC UTILITY BOARD (TDSP) | 1248248064000 | 98.2528 | 24.5632
82 | LAMAR COUNTY ELEC COOP DBA LEC (TDSP) | 0048060974000 | 35.06 | 8.765
83 | LIGHTHOUSE ELECTRIC CO OP (TDSP) | 0028252894000 | 0.7836 | 0.1959
85 | LYNTEGAR ELECTRIC CO OP INC (TDSP) | 0079371474000 | 19.602 | 4.9005
86 | MAGIC VALLEY ELECTRIC CO OP INC (TDSP) | 008951501 | 257.71 | 64.4275
87 | MCLENNAN COUNTY ELECTRIC CO OP INC | 007509698 | 52.5532 | 13.1383
88 | MID SOUTH ELECTRIC CO OP ASSOC | 061278594 | 21.2192 | 5.3048
89 | NAVARRO COUNTY ELECTRIC CO OP INC | 006770101 | 61.8392 | 15.4598
90 | NAVASOTA VALLEY ELECTRIC CO OP INC | 046299913 | 62.6696 | 15.6674
91 | NEW BRAUNFELS UTILITIES (TDSP) | 0383461694000 | 171.4788 | 42.8697
92 | PEDERNALES ELECTRIC CO OP INC (TDSP) | 0079241114000 | 783.206 | 195.8015
94 | SAM HOUSTON ELECTRIC CO OP INC (TDSP) | 056267867 | 4.5512 | 1.1378
95 | SAN BERNARD ELECTRIC CO OP (TDSP) | 0089453134000 | 96.9232 | 24.2308
96 | SOUTH PLAINS ELECTRIC CO OP INC (TDSP) | 007934185 | 67.3988 | 16.8497
97 | SOUTHWEST TEXAS ELECTRIC CO OP INC (TDSP) | 0084158954000 | 22.0196 | 5.5049
98 | TAYLOR ELECTRIC CO OP INC (TDSP) | 0079344254000 | 5.1636 | 1.2909
99 | TRI COUNTY ELECTRIC CO OP INC | 008945123 | 321.5116 | 80.3779
100 | TRINITY VALLEY ELEC CO OP | 009844564 | 122.684 | 30.671
102 | UNITED ELECTRIC CO OP SERVICES INC | 008945826 | 294.2308 | 73.5577
103 | WISE ELECTRIC CO OP | 041405408 | 63.3552 | 15.8388
104 | BROWNSVILLE PUBLIC UTILITY BOARD (TDSP) | 6063470374000 | 222.1944 | 55.5486
105 | BRYAN TEXAS UTILITIES (TDSP) | 0793907794000 | 230.38 | 57.595
106 | CAP-ROCK ELECTRIC CO OP INC (HUNT COLLIN DIVISION) (TDSP) | 0079370974100 | 21.8376 | 5.4594
107 | CHEROKEE COUNTY ELEC CO OP ASSOC | 008862625 | 46.8992 | 11.7248
108 | CITY OF AUSTIN DBA AUSTIN ENERGY (TDSP) | 8008717664000 | 2146.0516 | 536.5129
110 | CITY OF BOWIE (TDSP) | 8094182964000 | 13.2584 | 3.3146
111 | CITY OF BRADY (TDSP) | 070804877 | 14.6028 | 3.6507
113 | CITY OF COLEMAN (TDSP) | 1024920064000 | 8.1448 | 2.0362
114 | CITY OF COLLEGE STATION (TDSP) | 0403303004000 | 151.88 | 37.97
117 | CITY OF GARLAND (TDSP) | 6011012564000 | 434.1928 | 108.5482
118 | CITY OF GOLDSMITH (TDSP) | 0888946704000 | 0.39 | 0.0975
119 | CITY OF HEARNE MUNICIPAL ELECTRIC SYSTEM (TDSP) | 0897458894000 | 10.1776 | 2.5444
121 | CITY OF ROBSTOWN UTILITY SYSTEM (TDSP) | 9387911424000 | 15.482 | 3.8705
122 | CITY OF SAN ANTONIO CITY PUBLIC SERVICE (TDSP) | 0079360734000 | 3853.754 | 963.4385
123 | DENTON MUNICIPAL ELECTRIC (TDSP) | 0003540764000 | 253.1768 | 63.2942
125 | GEUS (TDSP) | 8062449354000 | 93.666 | 23.4165
126 | JACKSON ELECTRICAL CO OP INC | 078423555 | 36.738 | 9.1845
127 | KARNES ELECTRIC CO OP INC | 006824106 | 47.6876 | 11.9219
128 | MEDINA ELECTRIC CO OP INC (TDSP) STEC | 0081378124000 | 85.002 | 21.2505
129 | NUECES ELECTRIC CO OP INC | 008828857 | 42.6444 | 10.6611
131 | SAN MIGUEL ELECTRIC CO OP INC (TDSP) | 0884848524000 | 0 | 0
132 | SAN PATRICIO ELECTRIC CO OP (TDSP) | 003864907 | 29.0508 | 7.2627
133 | SHARYLAND UTILITIES LP (TDSP) | 105262336 | 9.5184 | 2.3796
134 | SOUTH TEXAS ELECTRIC CO OP INC | 0038663324000 | 0.1716 | 0.0429
136 | VICTORIA ELECTRIC CO OP INC | 008953861 | 65.7984 | 16.4496
137 | WEATHERFORD MUNICIPAL UTILITY SYSTEM (TDSP) | 0817196274000 | 61.4968 | 15.3742
138 | WHARTON COUNTY ELECTRIC CO OP INC | 118487958 | 28.4884 | 7.1221
139 | RUSK COUNTY ELECTRIC CO OP (TDSP) | 009844440 | 0 | 0
141 | CITY OF GARLAND GBCREEK (TDSP) | 6011012564100 | 0 | 0
142 | HAMILTON COUNTY ELECTRIC CO OP (LCRA) | 0089492164100 | 23.8752 | 5.9688
144 | NUECES ELECTRIC CO OP INC AEP (TDSP) | 0088288574100 | 0.3372 | 0.0843
145 | PEDERNALES ELEC CO OP INC AEP (TDSP) | 0079241114100 | 3.5392 | 0.8848
146 | TAYLOR ELECTRIC CO OP INC ABILENE (TDSP) | 0079344254100 | 33.1728 | 8.2932
147 | VICTORIA ELECTRIC CO OP INC AEP (TDSP) | 0089538614100 | 0.5024 | 0.1256
148 | RIO GRANDE ELECTRIC CO OP TXU (TDSP) | 0027819534100 | 17.578 | 4.3945
151 | TEXAS A&M | 0037722904TAM | 40.8768 | 10.2192
153 | WESTERN FARMERS ELECTRIC COOPERATIVE (TDSP) | 0728624074000 | 0.5516 | 0.1379
155 | HOUSTON COUNTY ELEC COOP TXU (TDSP) | 0057772064100 | 2.4136 | 0.6034
Total |  |  | 53533.4876 | 13383.3719

## July
Peak Demand on 07/22/03 at interval ending 16:30 based on "Interim" settlement run on 1/22/04
TDSP Code | Name | DUNS | 2003 Load Responsibility MW | 2003 Load Responsibility MWh
1 | CENTERPOINT ENERGY HOUSTON ELECTRIC LLC (TDSP) | 957877905 | 13337.806 | 3334.4515
2 | ONCOR ELECTRIC DELIVERY COMPANY | 1039940674000 | 22823.7648 | 5705.9412
4 | TEXAS-NEW MEXICO POWER CO (TDSP) | 007929441 | 1339.4744 | 334.8686
5 | AEP TEXAS CENTRAL COMPANY | 007924772 | 4042.7924 | 1010.6981
7 | AEP TEXAS NORTH COMPANY | 007923311 | 1052.886 | 263.2215
18 | BANDERA ELECTRIC CO OP INC (TDSP) | 0089451494000 | 96.1744 | 24.0436
19 | BARTLETT ELECTRIC CO OP INC | 002781813 | 33.8344 | 8.4586
20 | BELFALLS ELECTRIC CO OP INC (TDSP) | 004998399 | 16.0896 | 4.0224
21 | BIG COUNTRY ELECTRIC CO OP INC (TDSP) | 0058630484000 | 24.2068 | 6.0517
22 | BLUEBONNET ELECTRIC CO OP INC (TDSP) | 0524834354000 | 308.708 | 77.177
23 | BRAZOS ELECTRIC POWER CO OP INC(TDSP) | 0037722904000 | 0.1716 | 0.0429
24 | CAP-ROCK ELECTRIC CO OP INC (MCCULLOCH DIVISION) (TDSP) | 0079370974000 | 18.8452 | 4.7113
25 | CENTRAL TEXAS ELECTRIC CO OP INC (TDSP) | 0079302744000 | 90.2196 | 22.5549
26 | CITY OF BASTROP (TDSP) | 0851553724000 | 12.134 | 3.0335
27 | CITY OF BELLVILLE (TDSP) | 0935648704000 | 13.0856 | 3.2714
28 | CITY OF BOERNE (TDSP) | 0052470694000 | 21.7144 | 5.4286
29 | CITY OF BRENHAM (TDSP) | 0741649224000 | 60.2756 | 15.0689
30 | CITY OF BRIDGEPORT MUN ELEC SYS (TDSP) | 0842801714000 | 12.1624 | 3.0406
31 | CITY OF BURNET (TDSP) | 0746121514000 | 15.5012 | 3.8753
32 | CITY OF CUERO (TDSP) | 0526842144000 | 24.3236 | 6.0809
33 | CITY OF FLATONIA (TDSP) | 0626890134000 | 4.5428 | 1.1357
34 | CITY OF FREDERICKSBURG (TDSP) | 0769243074000 | 28.5804 | 7.1451
35 | CITY OF GEORGETOWN (TDSP) | 0895923724000 | 83.9952 | 20.9988
36 | CITY OF GIDDINGS (TDSP) | 0096899514000 | 12.6824 | 3.1706
37 | CITY OF GOLDTHWAITE (TDSP) | 1558252764000 | 5.326 | 1.3315
38 | CITY OF GONZALES (TDSP) | 0937385404000 | 16.2396 | 4.0599
39 | CITY OF HALLETTSVILLE (TDSP) | 0090811834000 | 9.092 | 2.273
40 | CITY OF HEMPSTEAD (TDSP) | 1272175604000 | 12.0252 | 3.0063
41 | CITY OF LA GRANGE (TDSP) | 0607085184000 | 14.8904 | 3.7226
42 | CITY OF LAMPASAS (TDSP) | 0203311204000 | 20.9852 | 5.2463
43 | CITY OF LEXINGTON (TDSP) | 0081817324000 | 2.7348 | 0.6837
44 | CITY OF LLANO (TDSP) | 0916952054000 | 9.8148 | 2.4537
45 | CITY OF LOCKHART (TDSP) | 0746168634000 | 22.2392 | 5.5598
46 | CITY OF LULING (TDSP) | 0105539984000 | 11.0484 | 2.7621
47 | CITY OF MASON (TDSP) | 1561267084000 | 5.0692 | 1.2673
48 | CITY OF MOULTON (TDSP) | 0091871544000 | 2.0968 | 0.5242
49 | CITY OF SAN MARCOS (TDSP) | 0694628694000 | 92.7636 | 23.1909
50 | CITY OF SAN SABA (TDSP) | 0248592254000 | 8.8388 | 2.2097
51 | CITY OF SANGER | 058956020 | 12.6928 | 3.1732
52 | CITY OF SCHULENBURG (TDSP) | 0532950364000 | 11.7892 | 2.9473
53 | CITY OF SEGUIN (TDSP) | 0862819794000 | 53.4884 | 13.3721
54 | CITY OF SEYMOUR | 166319145 | 8.8564 | 2.2141
55 | CITY OF SHINER (TDSP) | 1504533714000 | 9.0504 | 2.2626
56 | CITY OF SMITHVILLE (TDSP) | 0916978134000 | 9.2636 | 2.3159
57 | CITY OF WAELDER (TDSP) | 0541779694000 | 3.1944 | 0.7986
58 | CITY OF WEIMAR (TDSP) | 0214974584000 | 7.4864 | 1.8716
59 | CITY OF WHITESBORO | 134546522 | 9.142 | 2.2855
60 | CITY OF YOAKUM (TDSP) | 0694557724000 | 17.2032 | 4.3008
61 | COLEMAN COUNTY ELECTRIC CO OP INC (TDSP) | 0079246734000 | 20.868 | 5.217
62 | COMANCHE ELECTRIC CO OP ASSOCIATION | 002889210 | 37.1724 | 9.2931
63 | CONCHO VALLEY ELECTRIC CO OP INC (TDSP) | 0038666624000 | 39.7008 | 9.9252
64 | COOKE COUNTY ELECTRIC CO OP ASSOC INC | 008951808 | 62.2812 | 15.5703
66 | DEEP EAST TEXAS ELECTRIC CO OP INC | 047845623 | 12.7476 | 3.1869
67 | DENTON COUNTY ELEC CO OP DBA COSERVE ELEC | 008947913 | 663.784 | 165.946
69 | FANNIN COUNTY ELECTRIC CO OP INC | 0018220894000 | 21.6724 | 5.4181
70 | FARMERS ELECTRIC CO OP INC DBA FEC ELECTRIC | 0098442344000 | 162.9852 | 40.7463
71 | FAYETTE ELECTRIC CO OP INC (TDSP) | 0593309774000 | 38.7872 | 9.6968
72 | FORT BELKNAP ELECTRIC CO OP INC (TDSP) | 007935299 | 20.8312 | 5.2078
73 | GRANBURY MUNICIPAL UTILITIES (TDSP) | 0952141694000 | 20.016 | 5.004
74 | GRAYSON COLLIN ELECTRIC CO OP INC | 008953812 | 131.4968 | 32.8742
75 | GUADALUPE VALLEY ELECTRIC CO OP INC (TDSP) | 0079305894000 | 215.3384 | 53.8346
76 | HAMILTON COUNTY ELECTRIC CO OP (BRAZOS) | 008949216 | 15.754 | 3.9385
77 | HILCO ELECTRIC CO OP INC (TDSP) | 008950545 | 114.1956 | 28.5489
78 | HOUSTON COUNTY ELEC COOP (TDSP) | 005777206 | 13.3248 | 3.3312
79 | J A C ELECTRIC CO OP INC | 003890795 | 18.9372 | 4.7343
80 | JASPER NEWTON ELECTRIC CO OP INC | 007933518 | 2.0128 | 0.5032
81 | KERRVILLE PUBLIC UTILITY BOARD (TDSP) | 1248248064000 | 98.582 | 24.6455
82 | LAMAR COUNTY ELEC COOP DBA LEC (TDSP) | 0048060974000 | 27.8656 | 6.9664
83 | LIGHTHOUSE ELECTRIC CO OP (TDSP) | 0028252894000 | 2.6116 | 0.6529
85 | LYNTEGAR ELECTRIC CO OP INC (TDSP) | 0079371474000 | 29.6684 | 7.4171
86 | MAGIC VALLEY ELECTRIC CO OP INC (TDSP) | 008951501 | 254.0564 | 63.5141
87 | MCLENNAN COUNTY ELECTRIC CO OP INC | 007509698 | 56.9868 | 14.2467
88 | MID SOUTH ELECTRIC CO OP ASSOC | 061278594 | 19.7628 | 4.9407
89 | NAVARRO COUNTY ELECTRIC CO OP INC | 006770101 | 66.2164 | 16.5541
90 | NAVASOTA VALLEY ELECTRIC CO OP INC | 046299913 | 65.2004 | 16.3001
91 | NEW BRAUNFELS UTILITIES (TDSP) | 0383461694000 | 168.7636 | 42.1909
92 | PEDERNALES ELECTRIC CO OP INC (TDSP) | 0079241114000 | 799.3692 | 199.8423
94 | SAM HOUSTON ELECTRIC CO OP INC (TDSP) | 056267867 | 4.452 | 1.113
95 | SAN BERNARD ELECTRIC CO OP (TDSP) | 0089453134000 | 94.54 | 23.635
96 | SOUTH PLAINS ELECTRIC CO OP INC (TDSP) | 007934185 | 72.0904 | 18.0226
97 | SOUTHWEST TEXAS ELECTRIC CO OP INC (TDSP) | 0084158954000 | 21.9848 | 5.4962
98 | TAYLOR ELECTRIC CO OP INC (TDSP) | 0079344254000 | 6.7284 | 1.6821
99 | TRI COUNTY ELECTRIC CO OP INC | 008945123 | 375.926 | 93.9815
100 | TRINITY VALLEY ELEC CO OP | 009844564 | 134.5648 | 33.6412
102 | UNITED ELECTRIC CO OP SERVICES INC | 008945826 | 328.8724 | 82.2181
103 | WISE ELECTRIC CO OP | 041405408 | 74.362 | 18.5905
104 | BROWNSVILLE PUBLIC UTILITY BOARD (TDSP) | 6063470374000 | 218.1444 | 54.5361
105 | BRYAN TEXAS UTILITIES (TDSP) | 0793907794000 | 227.0184 | 56.7546
106 | CAP-ROCK ELECTRIC CO OP INC (HUNT COLLIN DIVISION) (TDSP) | 0079370974100 | 23.9984 | 5.9996
107 | CHEROKEE COUNTY ELEC CO OP ASSOC | 008862625 | 46.5744 | 11.6436
108 | CITY OF AUSTIN DBA AUSTIN ENERGY (TDSP) | 8008717664000 | 2129.5272 | 532.3818
110 | CITY OF BOWIE (TDSP) | 8094182964000 | 15.4276 | 3.8569
111 | CITY OF BRADY (TDSP) | 070804877 | 15.4192 | 3.8548
113 | CITY OF COLEMAN (TDSP) | 1024920064000 | 10.6412 | 2.6603
114 | CITY OF COLLEGE STATION (TDSP) | 0403303004000 | 150.1148 | 37.5287
117 | CITY OF GARLAND (TDSP) | 6011012564000 | 482.7684 | 120.6921
118 | CITY OF GOLDSMITH (TDSP) | 0888946704000 | 0.4336 | 0.1084
119 | CITY OF HEARNE MUNICIPAL ELECTRIC SYSTEM (TDSP) | 0897458894000 | 10.5436 | 2.6359
121 | CITY OF ROBSTOWN UTILITY SYSTEM (TDSP) | 9387911424000 | 17.7536 | 4.4384
122 | CITY OF SAN ANTONIO CITY PUBLIC SERVICE (TDSP) | 0079360734000 | 3717.242 | 929.3105
123 | DENTON MUNICIPAL ELECTRIC (TDSP) | 0003540764000 | 274.1424 | 68.5356
125 | GEUS (TDSP) | 8062449354000 | 101.016 | 25.254
126 | JACKSON ELECTRICAL CO OP INC | 078423555 | 33.8912 | 8.4728
127 | KARNES ELECTRIC CO OP INC | 006824106 | 44.1384 | 11.0346
128 | MEDINA ELECTRIC CO OP INC (TDSP) STEC | 0081378124000 | 71.936 | 17.984
129 | NUECES ELECTRIC CO OP INC | 008828857 | 42.456 | 10.614
131 | SAN MIGUEL ELECTRIC CO OP INC (TDSP) | 0884848524000 | 6.94 | 1.735
132 | SAN PATRICIO ELECTRIC CO OP (TDSP) | 003864907 | 26.9876 | 6.7469
133 | SHARYLAND UTILITIES LP (TDSP) | 105262336 | 10.7608 | 2.6902
134 | SOUTH TEXAS ELECTRIC CO OP INC | 0038663324000 | 0.2764 | 0.0691
136 | VICTORIA ELECTRIC CO OP INC | 008953861 | 60.818 | 15.2045
137 | WEATHERFORD MUNICIPAL UTILITY SYSTEM (TDSP) | 0817196274000 | 70.9664 | 17.7416
138 | WHARTON COUNTY ELECTRIC CO OP INC | 118487958 | 26.6392 | 6.6598
139 | RUSK COUNTY ELECTRIC CO OP (TDSP) | 009844440 | 0 | 0
141 | CITY OF GARLAND GBCREEK (TDSP) | 6011012564100 | 0 | 0
142 | HAMILTON COUNTY ELECTRIC CO OP (LCRA) | 0089492164100 | 25.8348 | 6.4587
144 | NUECES ELECTRIC CO OP INC AEP (TDSP) | 0088288574100 | 0.2404 | 0.0601
145 | PEDERNALES ELEC CO OP INC AEP (TDSP) | 0079241114100 | 3.7264 | 0.9316
146 | TAYLOR ELECTRIC CO OP INC ABILENE (TDSP) | 0079344254100 | 37.2656 | 9.3164
147 | VICTORIA ELECTRIC CO OP INC AEP (TDSP) | 0089538614100 | 0.4764 | 0.1191
148 | RIO GRANDE ELECTRIC CO OP TXU (TDSP) | 0027819534100 | 19.0944 | 4.7736
151 | TEXAS A&M | 0037722904TAM | 30.3652 | 7.5913
153 | WESTERN FARMERS ELECTRIC COOPERATIVE (TDSP) | 0728624074000 | 0.698 | 0.1745
155 | HOUSTON COUNTY ELEC COOP TXU (TDSP) | 0057772064100 | 2.4128 | 0.6032
| Total |  | 56120.5004 | 14030.1251

## August
Peak Demand on 08/7/2003 at interval ending 17:00 based on Channel 5 (INTERIM) settlement run on 2/7/04
TDSP Code | Name | DUNS | 2003 Load Responsibility MW | 2003 Load Responsibility MWh
1 | CENTERPOINT ENERGY HOUSTON ELECTRIC LLC (TDSP) | 957877905 | 14295.324 | 3573.831
2 | ONCOR ELECTRIC DELIVERY COMPANY | 1039940674000 | 24002.0948 | 6000.5237
4 | TEXAS-NEW MEXICO POWER CO (TDSP) | 007929441 | 1428.3588 | 357.0897
5 | AEP TEXAS CENTRAL COMPANY | 007924772 | 4322.28 | 1080.57
7 | AEP TEXAS NORTH COMPANY | 007923311 | 1127.1764 | 281.7941
18 | BANDERA ELECTRIC CO OP INC (TDSP) | 0089451494000 | 113.0384 | 28.2596
19 | BARTLETT ELECTRIC CO OP INC | 002781813 | 37.7428 | 9.4357
20 | BELFALLS ELECTRIC CO OP INC (TDSP) | 004998399 | 18.4288 | 4.6072
21 | BIG COUNTRY ELECTRIC CO OP INC (TDSP) | 0058630484000 | 25.7352 | 6.4338
22 | BLUEBONNET ELECTRIC CO OP INC (TDSP) | 0524834354000 | 346.2804 | 86.5701
23 | BRAZOS ELECTRIC POWER CO OP INC(TDSP) | 0037722904000 | 0 | 0
24 | CAP-ROCK ELECTRIC CO OP INC (MCCULLOCH DIVISION) (TDSP) | 0079370974000 | 20.3992 | 5.0998
25 | CENTRAL TEXAS ELECTRIC CO OP INC (TDSP) | 0079302744000 | 104.7256 | 26.1814
26 | CITY OF BASTROP (TDSP) | 0851553724000 | 13.5956 | 3.3989
27 | CITY OF BELLVILLE (TDSP) | 0935648704000 | 14.1156 | 3.5289
28 | CITY OF BOERNE (TDSP) | 0052470694000 | 25.3476 | 6.3369
29 | CITY OF BRENHAM (TDSP) | 0741649224000 | 62.336 | 15.584
30 | CITY OF BRIDGEPORT MUN ELEC SYS (TDSP) | 0842801714000 | 12.4568 | 3.1142
31 | CITY OF BURNET (TDSP) | 0746121514000 | 16.5996 | 4.1499
32 | CITY OF CUERO (TDSP) | 0526842144000 | 26.4712 | 6.6178
33 | CITY OF FLATONIA (TDSP) | 0626890134000 | 4.962 | 1.2405
34 | CITY OF FREDERICKSBURG (TDSP) | 0769243074000 | 32.6132 | 8.1533
35 | CITY OF GEORGETOWN (TDSP) | 0895923724000 | 96.4676 | 24.1169
36 | CITY OF GIDDINGS (TDSP) | 0096899514000 | 14.0012 | 3.5003
37 | CITY OF GOLDTHWAITE (TDSP) | 1558252764000 | 5.7904 | 1.4476
38 | CITY OF GONZALES (TDSP) | 0937385404000 | 18.306 | 4.5765
39 | CITY OF HALLETTSVILLE (TDSP) | 0090811834000 | 8.7436 | 2.1859
40 | CITY OF HEMPSTEAD (TDSP) | 1272175604000 | 13.3928 | 3.3482
41 | CITY OF LA GRANGE (TDSP) | 0607085184000 | 16.726 | 4.1815
42 | CITY OF LAMPASAS (TDSP) | 0203311204000 | 23.742 | 5.9355
43 | CITY OF LEXINGTON (TDSP) | 0081817324000 | 3.0284 | 0.7571
44 | CITY OF LLANO (TDSP) | 0916952054000 | 10.8632 | 2.7158
45 | CITY OF LOCKHART (TDSP) | 0746168634000 | 24.8292 | 6.2073
46 | CITY OF LULING (TDSP) | 0105539984000 | 12.8312 | 3.2078
47 | CITY OF MASON (TDSP) | 1561267084000 | 5.6572 | 1.4143
48 | CITY OF MOULTON (TDSP) | 0091871544000 | 2.5212 | 0.6303
49 | CITY OF SAN MARCOS (TDSP) | 0694628694000 | 102.1012 | 25.5253
50 | CITY OF SAN SABA (TDSP) | 0248592254000 | 8.916 | 2.229
51 | CITY OF SANGER | 058956020 | 12.7428 | 3.1857
52 | CITY OF SCHULENBURG (TDSP) | 0532950364000 | 12.7268 | 3.1817
53 | CITY OF SEGUIN (TDSP) | 0862819794000 | 57.7916 | 14.4479
54 | CITY OF SEYMOUR | 166319145 | 9.2712 | 2.3178
55 | CITY OF SHINER (TDSP) | 1504533714000 | 9.3476 | 2.3369
56 | CITY OF SMITHVILLE (TDSP) | 0916978134000 | 10.7804 | 2.6951
57 | CITY OF WAELDER (TDSP) | 0541779694000 | 3.4924 | 0.8731
58 | CITY OF WEIMAR (TDSP) | 0214974584000 | 7.8924 | 1.9731
59 | CITY OF WHITESBORO | 134546522 | 9.598 | 2.3995
60 | CITY OF YOAKUM (TDSP) | 0694557724000 | 17.7992 | 4.4498
61 | COLEMAN COUNTY ELECTRIC CO OP INC (TDSP) | 0079246734000 | 23.3864 | 5.8466
62 | COMANCHE ELECTRIC CO OP ASSOCIATION | 002889210 | 38.7652 | 9.6913
63 | CONCHO VALLEY ELECTRIC CO OP INC (TDSP) | 0038666624000 | 41.7492 | 10.4373
64 | COOKE COUNTY ELECTRIC CO OP ASSOC INC | 008951808 | 65.634 | 16.4085
66 | DEEP EAST TEXAS ELECTRIC CO OP INC | 047845623 | 14.1296 | 3.5324
67 | DENTON COUNTY ELEC CO OP DBA COSERVE ELEC | 008947913 | 692.2396 | 173.0599
69 | FANNIN COUNTY ELECTRIC CO OP INC | 0018220894000 | 26.1196 | 6.5299
70 | FARMERS ELECTRIC CO OP INC DBA FEC ELECTRIC | 0098442344000 | 177.042 | 44.2605
71 | FAYETTE ELECTRIC CO OP INC (TDSP) | 0593309774000 | 45.5296 | 11.3824
72 | FORT BELKNAP ELECTRIC CO OP INC (TDSP) | 007935299 | 20.3676 | 5.0919
73 | GRANBURY MUNICIPAL UTILITIES (TDSP) | 0952141694000 | 20.3588 | 5.0897
74 | GRAYSON COLLIN ELECTRIC CO OP INC | 008953812 | 145.6596 | 36.4149
75 | GUADALUPE VALLEY ELECTRIC CO OP INC (TDSP) | 0079305894000 | 237.1068 | 59.2767
76 | HAMILTON COUNTY ELECTRIC CO OP (BRAZOS) | 008949216 | 16.9088 | 4.2272
77 | HILCO ELECTRIC CO OP INC (TDSP) | 008950545 | 115.5844 | 28.8961
78 | HOUSTON COUNTY ELEC COOP (TDSP) | 005777206 | 14.2504 | 3.5626
79 | J A C ELECTRIC CO OP INC | 003890795 | 19.2776 | 4.8194
80 | JASPER NEWTON ELECTRIC CO OP INC | 007933518 | 2.2172 | 0.5543
81 | KERRVILLE PUBLIC UTILITY BOARD (TDSP) | 1248248064000 | 111.146 | 27.7865
82 | LAMAR COUNTY ELEC COOP DBA LEC (TDSP) | 0048060974000 | 39.57 | 9.8925
83 | LIGHTHOUSE ELECTRIC CO OP (TDSP) | 0028252894000 | 2.7484 | 0.6871
85 | LYNTEGAR ELECTRIC CO OP INC (TDSP) | 0079371474000 | 30.04 | 7.51
86 | MAGIC VALLEY ELECTRIC CO OP INC (TDSP) | 008951501 | 279.7172 | 69.9293
87 | MCLENNAN COUNTY ELECTRIC CO OP INC | 007509698 | 62.4632 | 15.6158
88 | MID SOUTH ELECTRIC CO OP ASSOC | 061278594 | 23.2876 | 5.8219
89 | NAVARRO COUNTY ELECTRIC CO OP INC | 006770101 | 69.9036 | 17.4759
90 | NAVASOTA VALLEY ELECTRIC CO OP INC | 046299913 | 73.8284 | 18.4571
91 | NEW BRAUNFELS UTILITIES (TDSP) | 0383461694000 | 189.85 | 47.4625
92 | PEDERNALES ELECTRIC CO OP INC (TDSP) | 0079241114000 | 926.7948 | 231.6987
94 | SAM HOUSTON ELECTRIC CO OP INC (TDSP) | 056267867 | 4.8212 | 1.2053
95 | SAN BERNARD ELECTRIC CO OP (TDSP) | 0089453134000 | 100.7784 | 25.1946
96 | SOUTH PLAINS ELECTRIC CO OP INC (TDSP) | 007934185 | 72.1932 | 18.0483
97 | SOUTHWEST TEXAS ELECTRIC CO OP INC (TDSP) | 0084158954000 | 22.8532 | 5.7133
98 | TAYLOR ELECTRIC CO OP INC (TDSP) | 0079344254000 | 6.0972 | 1.5243
99 | TRI COUNTY ELECTRIC CO OP INC | 008945123 | 393.5416 | 98.3854
100 | TRINITY VALLEY ELEC CO OP | 009844564 | 144.0044 | 36.0011
102 | UNITED ELECTRIC CO OP SERVICES INC | 008945826 | 344.5976 | 86.1494
103 | WISE ELECTRIC CO OP | 041405408 | 78.0092 | 19.5023
104 | BROWNSVILLE PUBLIC UTILITY BOARD (TDSP) | 6063470374000 | 228.7472 | 57.1868
105 | BRYAN TEXAS UTILITIES (TDSP) | 0793907794000 | 244.5036 | 61.1259
106 | CAP-ROCK ELECTRIC CO OP INC (HUNT COLLIN DIVISION) (TDSP) | 0079370974100 | 27.1768 | 6.7942
107 | CHEROKEE COUNTY ELEC CO OP ASSOC | 008862625 | 43.4408 | 10.8602
108 | CITY OF AUSTIN DBA AUSTIN ENERGY (TDSP) | 8008717664000 | 2349.3312 | 587.3328
110 | CITY OF BOWIE (TDSP) | 8094182964000 | 16.378 | 4.0945
111 | CITY OF BRADY (TDSP) | 070804877 | 16.8068 | 4.2017
113 | CITY OF COLEMAN (TDSP) | 1024920064000 | 11.3132 | 2.8283
114 | CITY OF COLLEGE STATION (TDSP) | 0403303004000 | 166.0692 | 41.5173
117 | CITY OF GARLAND (TDSP) | 6011012564000 | 493.0364 | 123.2591
118 | CITY OF GOLDSMITH (TDSP) | 0888946704000 | 0.51 | 0.1275
119 | CITY OF HEARNE MUNICIPAL ELECTRIC SYSTEM (TDSP) | 0897458894000 | 11.6184 | 2.9046
121 | CITY OF ROBSTOWN UTILITY SYSTEM (TDSP) | 9387911424000 | 19.6944 | 4.9236
122 | CITY OF SAN ANTONIO CITY PUBLIC SERVICE (TDSP) | 0079360734000 | 4148.6844 | 1037.1711
123 | DENTON MUNICIPAL ELECTRIC (TDSP) | 0003540764000 | 272.9716 | 68.2429
125 | GEUS (TDSP) | 8062449354000 | 103.746 | 25.9365
126 | JACKSON ELECTRICAL CO OP INC | 078423555 | 40.0408 | 10.0102
127 | KARNES ELECTRIC CO OP INC | 006824106 | 50.6052 | 12.6513
128 | MEDINA ELECTRIC CO OP INC (TDSP) STEC | 0081378124000 | 82.576 | 20.644
129 | NUECES ELECTRIC CO OP INC | 008828857 | 47.9128 | 11.9782
131 | SAN MIGUEL ELECTRIC CO OP INC (TDSP) | 0884848524000 | 0 | 0
132 | SAN PATRICIO ELECTRIC CO OP (TDSP) | 003864907 | 31.0892 | 7.7723
133 | SHARYLAND UTILITIES LP (TDSP) | 105262336 | 11.3968 | 2.8492
134 | SOUTH TEXAS ELECTRIC CO OP INC | 0038663324000 | 0 | 0
136 | VICTORIA ELECTRIC CO OP INC | 008953861 | 74.5848 | 18.6462
137 | WEATHERFORD MUNICIPAL UTILITY SYSTEM (TDSP) | 0817196274000 | 73.1736 | 18.2934
138 | WHARTON COUNTY ELECTRIC CO OP INC | 118487958 | 31.5228 | 7.8807
139 | RUSK COUNTY ELECTRIC CO OP (TDSP) | 009844440 | 0 | 0
141 | CITY OF GARLAND GBCREEK (TDSP) | 6011012564100 | 0 | 0
142 | HAMILTON COUNTY ELECTRIC CO OP (LCRA) | 0089492164100 | 29.294 | 7.3235
144 | NUECES ELECTRIC CO OP INC AEP (TDSP) | 0088288574100 | 0.3412 | 0.0853
145 | PEDERNALES ELEC CO OP INC AEP (TDSP) | 0079241114100 | 4.2792 | 1.0698
146 | TAYLOR ELECTRIC CO OP INC ABILENE (TDSP) | 0079344254100 | 40.2608 | 10.0652
147 | VICTORIA ELECTRIC CO OP INC AEP (TDSP) | 0089538614100 | 0.5188 | 0.1297
148 | RIO GRANDE ELECTRIC CO OP TXU (TDSP) | 0027819534100 | 25.6492 | 6.4123
151 | TEXAS A&M | 0037722904TAM | 30.836 | 7.709
153 | WESTERN FARMERS ELECTRIC COOPERATIVE (TDSP) | 0728624074000 | 0.8056 | 0.2014
155 | HOUSTON COUNTY ELEC COOP TXU (TDSP) | 0057772064100 | 2.4856 | 0.6214
Total |  |  | 59993.4136 | 14998.3534

## September
Peak Demand on 09/9/2003 at interval ending 17:00 based on Channel 5 (INTERIM) settlement run on 3/9/04
TDSP Code | Name | DUNS | 2003 Load Responsibility MW | 2003 Load Responsibility MWh
1 | CENTERPOINT ENERGY HOUSTON ELECTRIC LLC (TDSP) | 957877905 | 12248.5588 | 3062.1397
2 | ONCOR ELECTRIC DELIVERY COMPANY | 1039940674000 | 19123.7316 | 4780.9329
4 | TEXAS-NEW MEXICO POWER CO (TDSP) | 007929441 | 1140.0848 | 285.0212
5 | AEP TEXAS CENTRAL COMPANY | 007924772 | 3932.9504 | 983.2376
7 | AEP TEXAS NORTH COMPANY | 007923311 | 866.9176 | 216.7294
18 | BANDERA ELECTRIC CO OP INC (TDSP) | 0089451494000 | 83.6644 | 20.9161
19 | BARTLETT ELECTRIC CO OP INC | 002781813 | 28.5984 | 7.1496
20 | BELFALLS ELECTRIC CO OP INC (TDSP) | 004998399 | 13.7928 | 3.4482
21 | BIG COUNTRY ELECTRIC CO OP INC (TDSP) | 0058630484000 | 19.9368 | 4.9842
22 | BLUEBONNET ELECTRIC CO OP INC (TDSP) | 0524834354000 | 283.8652 | 70.9663
23 | BRAZOS ELECTRIC POWER CO OP INC(TDSP) | 0037722904000 | 1.6728 | 0.4182
24 | CAP-ROCK ELECTRIC CO OP INC (MCCULLOCH DIVISION) (TDSP) | 0079370974000 | 16.3796 | 4.0949
25 | CENTRAL TEXAS ELECTRIC CO OP INC (TDSP) | 0079302744000 | 72.7196 | 18.1799
26 | CITY OF BASTROP (TDSP) | 0851553724000 | 11.9164 | 2.9791
27 | CITY OF BELLVILLE (TDSP) | 0935648704000 | 11.4556 | 2.8639
28 | CITY OF BOERNE (TDSP) | 0052470694000 | 19.9448 | 4.9862
29 | CITY OF BRENHAM (TDSP) | 0741649224000 | 55.0288 | 13.7572
30 | CITY OF BRIDGEPORT MUN ELEC SYS (TDSP) | 0842801714000 | 9.4076 | 2.3519
31 | CITY OF BURNET (TDSP) | 0746121514000 | 14.0724 | 3.5181
32 | CITY OF CUERO (TDSP) | 0526842144000 | 23.0952 | 5.7738
33 | CITY OF FLATONIA (TDSP) | 0626890134000 | 3.962 | 0.9905
34 | CITY OF FREDERICKSBURG (TDSP) | 0769243074000 | 24.5416 | 6.1354
35 | CITY OF GEORGETOWN (TDSP) | 0895923724000 | 75.958 | 18.9895
36 | CITY OF GIDDINGS (TDSP) | 0096899514000 | 11.5448 | 2.8862
37 | CITY OF GOLDTHWAITE (TDSP) | 1558252764000 | 4.1816 | 1.0454
38 | CITY OF GONZALES (TDSP) | 0937385404000 | 15.2112 | 3.8028
39 | CITY OF HALLETTSVILLE (TDSP) | 0090811834000 | 7.4616 | 1.8654
40 | CITY OF HEMPSTEAD (TDSP) | 1272175604000 | 11.4744 | 2.8686
41 | CITY OF LA GRANGE (TDSP) | 0607085184000 | 13.298 | 3.3245
42 | CITY OF LAMPASAS (TDSP) | 0203311204000 | 18.2644 | 4.5661
43 | CITY OF LEXINGTON (TDSP) | 0081817324000 | 2.5464 | 0.6366
44 | CITY OF LLANO (TDSP) | 0916952054000 | 8.5632 | 2.1408
45 | CITY OF LOCKHART (TDSP) | 0746168634000 | 21.4244 | 5.3561
46 | CITY OF LULING (TDSP) | 0105539984000 | 10.5304 | 2.6326
47 | CITY OF MASON (TDSP) | 1561267084000 | 3.9168 | 0.9792
48 | CITY OF MOULTON (TDSP) | 0091871544000 | 1.9888 | 0.4972
49 | CITY OF SAN MARCOS (TDSP) | 0694628694000 | 91.2084 | 22.8021
50 | CITY OF SAN SABA (TDSP) | 0248592254000 | 6.7812 | 1.6953
51 | CITY OF SANGER | 058956020 | 10.4708 | 2.6177
52 | CITY OF SCHULENBURG (TDSP) | 0532950364000 | 11.1556 | 2.7889
53 | CITY OF SEGUIN (TDSP) | 0862819794000 | 55.7116 | 13.9279
54 | CITY OF SEYMOUR | 166319145 | 6.5852 | 1.6463
55 | CITY OF SHINER (TDSP) | 1504533714000 | 7.9088 | 1.9772
56 | CITY OF SMITHVILLE (TDSP) | 0916978134000 | 8.7076 | 2.1769
57 | CITY OF WAELDER (TDSP) | 0541779694000 | 3.0728 | 0.7682
58 | CITY OF WEIMAR (TDSP) | 0214974584000 | 6.4492 | 1.6123
59 | CITY OF WHITESBORO | 134546522 | 7.076 | 1.769
60 | CITY OF YOAKUM (TDSP) | 0694557724000 | 15.456 | 3.864
61 | COLEMAN COUNTY ELECTRIC CO OP INC (TDSP) | 0079246734000 | 18.518 | 4.6295
62 | COMANCHE ELECTRIC CO OP ASSOCIATION | 002889210 | 29.612 | 7.403
63 | CONCHO VALLEY ELECTRIC CO OP INC (TDSP) | 0038666624000 | 33.0116 | 8.2529
64 | COOKE COUNTY ELECTRIC CO OP ASSOC INC | 008951808 | 48.7956 | 12.1989
66 | DEEP EAST TEXAS ELECTRIC CO OP INC | 047845623 | 10.5524 | 2.6381
67 | DENTON COUNTY ELEC CO OP DBA COSERVE ELEC | 008947913 | 512.2004 | 128.0501
69 | FANNIN COUNTY ELECTRIC CO OP INC | 0018220894000 | 18.8032 | 4.7008
70 | FARMERS ELECTRIC CO OP INC DBA FEC ELECTRIC | 0098442344000 | 136.6632 | 34.1658
71 | FAYETTE ELECTRIC CO OP INC (TDSP) | 0593309774000 | 35.3616 | 8.8404
72 | FORT BELKNAP ELECTRIC CO OP INC (TDSP) | 007935299 | 16.5956 | 4.1489
73 | GRANBURY MUNICIPAL UTILITIES (TDSP) | 0952141694000 | 16.726 | 4.1815
74 | GRAYSON COLLIN ELECTRIC CO OP INC | 008953812 | 105.1664 | 26.2916
75 | GUADALUPE VALLEY ELECTRIC CO OP INC (TDSP) | 0079305894000 | 198.8568 | 49.7142
76 | HAMILTON COUNTY ELECTRIC CO OP (BRAZOS) | 008949216 | 12.148 | 3.037
77 | HILCO ELECTRIC CO OP INC (TDSP) | 008950545 | 92.356 | 23.089
78 | HOUSTON COUNTY ELEC COOP (TDSP) | 005777206 | 10.4264 | 2.6066
79 | J A C ELECTRIC CO OP INC | 003890795 | 14.9292 | 3.7323
80 | JASPER NEWTON ELECTRIC CO OP INC | 007933518 | 1.5608 | 0.3902
81 | KERRVILLE PUBLIC UTILITY BOARD (TDSP) | 1248248064000 | 85.4496 | 21.3624
82 | LAMAR COUNTY ELEC COOP DBA LEC (TDSP) | 0048060974000 | 29.6336 | 7.4084
83 | LIGHTHOUSE ELECTRIC CO OP (TDSP) | 0028252894000 | 1.8972 | 0.4743
85 | LYNTEGAR ELECTRIC CO OP INC (TDSP) | 0079371474000 | 13.7208 | 3.4302
86 | MAGIC VALLEY ELECTRIC CO OP INC (TDSP) | 008951501 | 256.438 | 64.1095
87 | MCLENNAN COUNTY ELECTRIC CO OP INC | 007509698 | 47.3752 | 11.8438
88 | MID SOUTH ELECTRIC CO OP ASSOC | 061278594 | 18.9852 | 4.7463
89 | NAVARRO COUNTY ELECTRIC CO OP INC | 006770101 | 54.9228 | 13.7307
90 | NAVASOTA VALLEY ELECTRIC CO OP INC | 046299913 | 55.6148 | 13.9037
91 | NEW BRAUNFELS UTILITIES (TDSP) | 0383461694000 | 159.65 | 39.9125
92 | PEDERNALES ELECTRIC CO OP INC (TDSP) | 0079241114000 | 713.3396 | 178.3349
94 | SAM HOUSTON ELECTRIC CO OP INC (TDSP) | 056267867 | 3.7328 | 0.9332
95 | SAN BERNARD ELECTRIC CO OP (TDSP) | 0089453134000 | 83.1784 | 20.7946
96 | SOUTH PLAINS ELECTRIC CO OP INC (TDSP) | 007934185 | 68.9896 | 17.2474
97 | SOUTHWEST TEXAS ELECTRIC CO OP INC (TDSP) | 0084158954000 | 19.3796 | 4.8449
98 | TAYLOR ELECTRIC CO OP INC (TDSP) | 0079344254000 | 5.074 | 1.2685
99 | TRI COUNTY ELECTRIC CO OP INC | 008945123 | 290.1292 | 72.5323
100 | TRINITY VALLEY ELEC CO OP | 009844564 | 109.6664 | 27.4166
102 | UNITED ELECTRIC CO OP SERVICES INC | 008945826 | 261.0624 | 65.2656
103 | WISE ELECTRIC CO OP | 041405408 | 56.4036 | 14.1009
104 | BROWNSVILLE PUBLIC UTILITY BOARD (TDSP) | 6063470374000 | 217.4084 | 54.3521
105 | BRYAN TEXAS UTILITIES (TDSP) | 0793907794000 | 206.0144 | 51.5036
106 | CAP-ROCK ELECTRIC CO OP INC (HUNT COLLIN DIVISION) (TDSP) | 0079370974100 | 19.9272 | 4.9818
107 | CHEROKEE COUNTY ELEC CO OP ASSOC | 008862625 | 39.0424 | 9.7606
108 | CITY OF AUSTIN DBA AUSTIN ENERGY (TDSP) | 8008717664000 | 1967.642 | 491.9105
110 | CITY OF BOWIE (TDSP) | 8094182964000 | 11.6568 | 2.9142
111 | CITY OF BRADY (TDSP) | 070804877 | 13.31 | 3.3275
113 | CITY OF COLEMAN (TDSP) | 1024920064000 | 8.7576 | 2.1894
114 | CITY OF COLLEGE STATION (TDSP) | 0403303004000 | 139.63 | 34.9075
117 | CITY OF GARLAND (TDSP) | 6011012564000 | 397.132 | 99.283
118 | CITY OF GOLDSMITH (TDSP) | 0888946704000 | 0.396 | 0.099
119 | CITY OF HEARNE MUNICIPAL ELECTRIC SYSTEM (TDSP) | 0897458894000 | 9.2856 | 2.3214
121 | CITY OF ROBSTOWN UTILITY SYSTEM (TDSP) | 9387911424000 | 19.3424 | 4.8356
122 | CITY OF SAN ANTONIO CITY PUBLIC SERVICE (TDSP) | 0079360734000 | 3583.2448 | 895.8112
123 | DENTON MUNICIPAL ELECTRIC (TDSP) | 0003540764000 | 230.8104 | 57.7026
125 | GEUS (TDSP) | 8062449354000 | 86.2696 | 21.5674
126 | JACKSON ELECTRICAL CO OP INC | 078423555 | 30.8012 | 7.7003
127 | KARNES ELECTRIC CO OP INC | 006824106 | 43.274 | 10.8185
128 | MEDINA ELECTRIC CO OP INC (TDSP) STEC | 0081378124000 | 67.798 | 16.9495
129 | NUECES ELECTRIC CO OP INC | 008828857 | 38.7488 | 9.6872
131 | SAN MIGUEL ELECTRIC CO OP INC (TDSP) | 0884848524000 | 0 | 0
132 | SAN PATRICIO ELECTRIC CO OP (TDSP) | 003864907 | 26.6964 | 6.6741
133 | SHARYLAND UTILITIES LP (TDSP) | 105262336 | 10.454 | 2.6135
134 | SOUTH TEXAS ELECTRIC CO OP INC | 0038663324000 | 0.2756 | 0.0689
136 | VICTORIA ELECTRIC CO OP INC | 008953861 | 58.0112 | 14.5028
137 | WEATHERFORD MUNICIPAL UTILITY SYSTEM (TDSP) | 0817196274000 | 57.3964 | 14.3491
138 | WHARTON COUNTY ELECTRIC CO OP INC | 118487958 | 25.1088 | 6.2772
139 | RUSK COUNTY ELECTRIC CO OP (TDSP) | 009844440 | 0 | 0
141 | CITY OF GARLAND GBCREEK (TDSP) | 6011012564100 | 0 | 0
142 | HAMILTON COUNTY ELECTRIC CO OP (LCRA) | 0089492164100 | 20.7752 | 5.1938
144 | NUECES ELECTRIC CO OP INC AEP (TDSP) | 0088288574100 | 0.2708 | 0.0677
145 | PEDERNALES ELEC CO OP INC AEP (TDSP) | 0079241114100 | 2.6616 | 0.6654
146 | TAYLOR ELECTRIC CO OP INC ABILENE (TDSP) | 0079344254100 | 30.9232 | 7.7308
147 | VICTORIA ELECTRIC CO OP INC AEP (TDSP) | 0089538614100 | 0.3996 | 0.0999
148 | RIO GRANDE ELECTRIC CO OP TXU (TDSP) | 0027819534100 | 19.5404 | 4.8851
151 | TEXAS A&M | 0037722904TAM | 29.94 | 7.485
153 | WESTERN FARMERS ELECTRIC COOPERATIVE (TDSP) | 0728624074000 | 0.424 | 0.106
155 | HOUSTON COUNTY ELEC COOP TXU (TDSP) | 0057772064100 | 2.438 | 0.6095
Total |  |  | 49505.9772 | 12376.4943

## TDSP Code
TDSP
Code | Name | Duns
1 | CENTERPOINT ENERGY HOUSTON ELECTRIC LLC (TDSP) | 957877905
2 | ONCOR ELECTRIC DELIVERY COMPANY | 1039940674000
3 | SOUTHWESTERN PUBLIC SERVICE COMPANY (TDSP) | 007369713
4 | TEXAS-NEW MEXICO POWER CO (TDSP) | 007929441
5 | AEP TEXAS CENTRAL COMPANY | 007924772
6 | SWEPCO ENERGY DELIVERY COMPANY (SWEPCO-EDC) (TDSP) | 026763672
7 | AEP TEXAS NORTH COMPANY | 007923311
8 | TXU SESCO CO (TDSP) | 0079280964000
9 | ENTERGY GULF STATES INC | 827438383
10 | WEST TEXAS UTILITIES SPP (TDSP) | 053693388
18 | BANDERA ELECTRIC CO OP INC (TDSP) | 0089451494000
19 | BARTLETT ELECTRIC CO OP INC | 002781813
20 | BELFALLS ELECTRIC CO OP INC (TDSP) | 004998399
21 | BIG COUNTRY ELECTRIC CO OP INC (TDSP) | 0058630484000
22 | BLUEBONNET ELECTRIC CO OP INC (TDSP) | 0524834354000
23 | BRAZOS ELECTRIC POWER CO OP INC(TDSP) | 0037722904000
24 | CAP-ROCK ELECTRIC CO OP INC (MCCULLOCH DIVISION) (TDSP) | 0079370974000
25 | CENTRAL TEXAS ELECTRIC CO OP INC (TDSP) | 0079302744000
26 | CITY OF BASTROP (TDSP) | 0851553724000
27 | CITY OF BELLVILLE (TDSP) | 0935648704000
28 | CITY OF BOERNE (TDSP) | 0052470694000
29 | CITY OF BRENHAM (TDSP) | 0741649224000
30 | CITY OF BRIDGEPORT MUN ELEC SYS (TDSP) | 0842801714000
31 | CITY OF BURNET (TDSP) | 0746121514000
32 | CITY OF CUERO (TDSP) | 0526842144000
33 | CITY OF FLATONIA (TDSP) | 0626890134000
34 | CITY OF FREDERICKSBURG (TDSP) | 0769243074000
35 | CITY OF GEORGETOWN (TDSP) | 0895923724000
36 | CITY OF GIDDINGS (TDSP) | 0096899514000
37 | CITY OF GOLDTHWAITE (TDSP) | 1558252764000
38 | CITY OF GONZALES (TDSP) | 0937385404000
39 | CITY OF HALLETTSVILLE (TDSP) | 0090811834000
40 | CITY OF HEMPSTEAD (TDSP) | 1272175604000
41 | CITY OF LA GRANGE (TDSP) | 0607085184000
42 | CITY OF LAMPASAS (TDSP) | 0203311204000
43 | CITY OF LEXINGTON (TDSP) | 0081817324000
44 | CITY OF LLANO (TDSP) | 0916952054000
45 | CITY OF LOCKHART (TDSP) | 0746168634000
46 | CITY OF LULING (TDSP) | 0105539984000
47 | CITY OF MASON (TDSP) | 1561267084000
48 | CITY OF MOULTON (TDSP) | 0091871544000
49 | CITY OF SAN MARCOS (TDSP) | 0694628694000
50 | CITY OF SAN SABA (TDSP) | 0248592254000
51 | CITY OF SANGER | 058956020
52 | CITY OF SCHULENBURG (TDSP) | 0532950364000
53 | CITY OF SEGUIN (TDSP) | 0862819794000
54 | CITY OF SEYMOUR | 166319145
55 | CITY OF SHINER (TDSP) | 1504533714000
56 | CITY OF SMITHVILLE (TDSP) | 0916978134000
57 | CITY OF WAELDER (TDSP) | 0541779694000
58 | CITY OF WEIMAR (TDSP) | 0214974584000
59 | CITY OF WHITESBORO | 134546522
60 | CITY OF YOAKUM (TDSP) | 0694557724000
61 | COLEMAN COUNTY ELECTRIC CO OP INC (TDSP) | 0079246734000
62 | COMANCHE ELECTRIC CO OP ASSOCIATION | 002889210
63 | CONCHO VALLEY ELECTRIC CO OP INC (TDSP) | 0038666624000
64 | COOKE COUNTY ELECTRIC CO OP ASSOC INC | 008951808
66 | DEEP EAST TEXAS ELECTRIC CO OP INC | 047845623
67 | DENTON COUNTY ELEC CO OP DBA COSERVE ELEC | 008947913
68 | DEWITT ELECTRIC CO OP INC (TDSP) | 0089461884000
69 | FANNIN COUNTY ELECTRIC CO OP INC | 0018220894000
70 | FARMERS ELECTRIC CO OP INC DBA FEC ELECTRIC | 0098442344000
71 | FAYETTE ELECTRIC CO OP INC (TDSP) | 0593309774000
72 | FORT BELKNAP ELECTRIC CO OP INC (TDSP) | 007935299
73 | GRANBURY MUNICIPAL UTILITIES (TDSP) | 0952141694000
74 | GRAYSON COLLIN ELECTRIC CO OP INC | 008953812
75 | GUADALUPE VALLEY ELECTRIC CO OP INC (TDSP) | 0079305894000
76 | HAMILTON COUNTY ELECTRIC CO OP (BRAZOS) | 008949216
77 | HILCO ELECTRIC CO OP INC (TDSP) | 008950545
78 | HOUSTON COUNTY ELEC COOP (TDSP) | 005777206
79 | J A C ELECTRIC CO OP INC | 003890795
80 | JASPER NEWTON ELECTRIC CO OP INC | 007933518
81 | KERRVILLE PUBLIC UTILITY BOARD (TDSP) | 1248248064000
82 | LAMAR COUNTY ELEC COOP DBA LEC (TDSP) | 0048060974000
83 | LIGHTHOUSE ELECTRIC CO OP (TDSP) | 0028252894000
84 | LOWER COLORADO RIVER AUTHORITY TENSCO | 0432268854000
85 | LYNTEGAR ELECTRIC CO OP INC (TDSP) | 0079371474000
86 | MAGIC VALLEY ELECTRIC CO OP INC (TDSP) | 008951501
87 | MCLENNAN COUNTY ELECTRIC CO OP INC | 007509698
88 | MID SOUTH ELECTRIC CO OP ASSOC | 061278594
89 | NAVARRO COUNTY ELECTRIC CO OP INC | 006770101
90 | NAVASOTA VALLEY ELECTRIC CO OP INC | 046299913
91 | NEW BRAUNFELS UTILITIES (TDSP) | 0383461694000
92 | PEDERNALES ELECTRIC CO OP INC (TDSP) | 0079241114000
93 | RAYBURN COUNTRY CO OP DBA RAYBURN ELECTRIC (TDSP) | 6243686014000
94 | SAM HOUSTON ELECTRIC CO OP INC (TDSP) | 056267867
95 | SAN BERNARD ELECTRIC CO OP (TDSP) | 0089453134000
96 | SOUTH PLAINS ELECTRIC CO OP INC (TDSP) | 007934185
97 | SOUTHWEST TEXAS ELECTRIC CO OP INC (TDSP) | 0084158954000
98 | TAYLOR ELECTRIC CO OP INC (TDSP) | 0079344254000
99 | TRI COUNTY ELECTRIC CO OP INC | 008945123
100 | TRINITY VALLEY ELEC CO OP | 009844564
102 | UNITED ELECTRIC CO OP SERVICES INC | 008945826
103 | WISE ELECTRIC CO OP | 041405408
104 | BROWNSVILLE PUBLIC UTILITY BOARD (TDSP) | 6063470374000
105 | BRYAN TEXAS UTILITIES (TDSP) | 0793907794000
106 | CAP-ROCK ELECTRIC CO OP INC (HUNT COLLIN DIVISION) (TDSP) | 0079370974100
107 | CHEROKEE COUNTY ELEC CO OP ASSOC | 008862625
108 | CITY OF AUSTIN DBA AUSTIN ENERGY (TDSP) | 8008717664000
109 | CITY OF BARTLETT (TDSP) | 074618935
110 | CITY OF BOWIE (TDSP) | 8094182964000
111 | CITY OF BRADY (TDSP) | 070804877
112 | CITY OF CASTROVILLE (TDSP) | 797816378
113 | CITY OF COLEMAN (TDSP) | 1024920064000
114 | CITY OF COLLEGE STATION (TDSP) | 0403303004000
115 | CITY OF FARMERSVILLE (TDSP) | 1903494984000
116 | CITY OF FLORESVILLE DBA FLORESVILLE ELEC LIGHT AND PWR | 008948374
117 | CITY OF GARLAND (TDSP) | 6011012564000
118 | CITY OF GOLDSMITH (TDSP) | 0888946704000
119 | CITY OF HEARNE MUNICIPAL ELECTRIC SYSTEM (TDSP) | 0897458894000
120 | CITY OF HONDO (TDSP) | 091703843
121 | CITY OF ROBSTOWN UTILITY SYSTEM (TDSP) | 9387911424000
122 | CITY OF SAN ANTONIO CITY PUBLIC SERVICE (TDSP) | 0079360734000
123 | DENTON MUNICIPAL ELECTRIC (TDSP) | 0003540764000
124 | EAST TEXAS ELECTRIC CO OP (TDSP) | 948535265
125 | GEUS (TDSP) | 8062449354000
126 | JACKSON ELECTRICAL CO OP INC | 078423555
127 | KARNES ELECTRIC CO OP INC | 006824106
128 | MEDINA ELECTRIC CO OP INC (TDSP) STEC | 0081378124000
129 | NUECES ELECTRIC CO OP INC | 008828857
130 | RIO GRANDE ELECTRIC CO OP (TDSP) | 002781953
131 | SAN MIGUEL ELECTRIC CO OP INC (TDSP) | 0884848524000
132 | SAN PATRICIO ELECTRIC CO OP (TDSP) | 003864907
133 | SHARYLAND UTILITIES LP (TDSP) | 105262336
134 | SOUTH TEXAS ELECTRIC CO OP INC | 0038663324000
135 | TEXAS MUNICIPAL POWER AGENCY | 071374052
136 | VICTORIA ELECTRIC CO OP INC | 008953861
137 | WEATHERFORD MUNICIPAL UTILITY SYSTEM (TDSP) | 0817196274000
138 | WHARTON COUNTY ELECTRIC CO OP INC | 118487958
139 | RUSK COUNTY ELECTRIC CO OP (TDSP) | 009844440
141 | CITY OF GARLAND GBCREEK (TDSP) | 6011012564100
142 | HAMILTON COUNTY ELECTRIC CO OP (LCRA) | 0089492164100
144 | NUECES ELECTRIC CO OP INC AEP (TDSP) | 0088288574100
145 | PEDERNALES ELEC CO OP INC AEP (TDSP) | 0079241114100
146 | TAYLOR ELECTRIC CO OP INC ABILENE (TDSP) | 0079344254100
147 | VICTORIA ELECTRIC CO OP INC AEP (TDSP) | 0089538614100
148 | RIO GRANDE ELECTRIC CO OP TXU (TDSP) | 0027819534100
149 | MEDINA ELECTRIC CO OP INC (TDSP) AEP | 0081378124100
151 | TEXAS A&M | 0037722904TAM
153 | WESTERN FARMERS ELECTRIC COOPERATIVE (TDSP) | 0728624074000
155 | HOUSTON COUNTY ELEC COOP TXU (TDSP) | 0057772064100