## CONTACT INFORMATION
Load Serving Entity Information
Load Serving Entity: | STEC AND MEC
Contact Person: | MIKE TROELL
Mailing Address Line 1: | P.O BOX 119
Mailing Address Line 2:
City: | NURSERY
State: | TEXAS
Zip Code: | 77976
Street Address Line 1:
Street Address Line 2:
City:
State:
Zip Code:
Company Internal Mail Code:
Telephone Number: | 361-575-6279
Facsimile (FAX) Number: | 361-580-1529
Internet email address: | mike@stec.org

## 1700 June 28, 1999
REPORT FOR LOAD SERVING ENTITY ==> | STEC AND MEC SEE BELOW
LOAD SERVING ENTITY IN CONTROL AREA ==> | STECA
June 28, 1999 Hour Ending 17:00
RECEIVING TRANSACTION INFORMATION
Description | Amount kW | From Control Area | Sending Generation Entity
CSW PB ISO TRANS #9906289066 | 10000 | CSWSA | CPLCG
CPS UG ISO TRANS #9906289066 | 25000 | CPSTA | CPSGG
HLP DYN UB ISO TRANS#9906286221 | 1000 | HLPTA | HLPGG
LPM PD ISO TRANS#9906287682 | 30000 | HLPTA | BDCFG
TNSK UD ISO TRANS#9906289402 | 3000 | TMPPA | BECGG
DGG UG ISO TRANS#9906289468 | 15000 | TMPPA | DGGXG
Subtotal Receiving Transactions (A) | 84000
SENDING TRANSACTION INFORMATION
Description | Amount kW | To Control Area | Receiving Load Serving Entity
TNSK DC-E UG ISO TRANS#9906289164 | 25000 | CSW DC-E | CSW-OKGE
DETM TMPP UG ISO TRANS#9906287080 | 7000 | TMPPA | BECL
APC TMPP UG ISO TRANS#9906286983 | 21000 | TMPPA | BECL
Subtotal Sending Transactions (B) | 53000
GENERATION INFORMATION
Generation kW | 240073
Less Gen Unit Main XFMR Losses kW | 0 | <== Provide Calculations to ISO with Submission
Inadvertent kW | 0
Subtotal Net Generation (C) | 240073
TOTAL LOAD CALCULATION
Subtotal Receiving Transactions (A) | 84000
Subtotal Sending Transactions (B) | 53000
Subtotal Net Generation (C) | 240073
Total Load Responsibility (A-B+C) | 271073
| 216737.5 | STEC
| 54335.5 | MEC

## 1700 July 29, 1999
REPORT FOR LOAD SERVING ENTITY ==> | STEC AND MEC SEE BELOW
LOAD SERVING ENTITY IN CONTROL AREA ==> | STECA
July 29, 1999 Hour Ending 17:00
RECEIVING TRANSACTION INFORMATION
Description | Amount kW | From Control Area | Sending Generation Entity
ISO TRANS#9907293261 | 8000 | CSWSA | OMPAG
ISO TRANS#9907294951 | 1000 | CPSTA | CPSGG
ISO TRANS#9907293102 | 40000 | HLPTA | BDCFG
Subtotal Receiving Transactions (A) | 49000
SENDING TRANSACTION INFORMATION
Description | Amount kW | To Control Area | Receiving Load Serving Entity
ISO TRANS#9907295000 | 6000 | AENXA | AENXL
ISO TRANS#9907294034 | 1000 | CSWSA | STECG
ISO TRANS#9907290826 | 1000 | HLPTA | STECG
ISO TRANS#9907293342 | 50000 | HLPTA | STECG
Subtotal Sending Transactions (B) | 58000
GENERATION INFORMATION
Generation kW | 307991 | 308.2
Less Gen Unit Main XFMR Losses kW | 0 | <== Provide Calculations to ISO with Submission
Inadvertent kW | -3000
Subtotal Net Generation (C) | 310991
TOTAL LOAD CALCULATION
Subtotal Receiving Transactions (A) | 49000
Subtotal Sending Transactions (B) | 58000
Subtotal Net Generation (C) | 310991
Total Load Responsibility (A-B+C) | 301991
| 231994.8 | STEC
| 69996.2 | MEC

## 1700 August 26, 1999
REPORT FOR LOAD SERVING ENTITY ==> | STEC AND MEC SEE BELOW
LOAD SERVING ENTITY IN CONTROL AREA ==> | STECA
August 26, 1999 Hour Ending 17:00
RECEIVING TRANSACTION INFORMATION
Description | Amount kW | From Control Area | Sending Generation Entity
ISO TRANS#9908266822 | 40000 | CSWSA | FRONG
ISO TRANS#9908266826 | 20000 | CSWSA | FRONG
ISO TRANS#9908266847 | 14000 | CSWSA | OMPAG
ISO TRANS#9908266824 | 14000 | CSWSA | WRIXG
ISO TRANS#9908266612 | 18000 | HLPTA | HLPGG
ISO TRANS#9908266876 | 10000 | TMPPA | BRYNG
Subtotal Receiving Transactions (A) | 116000
SENDING TRANSACTION INFORMATION
Description | Amount kW | To Control Area | Receiving Load Serving Entity
ISO TRANS#9908266864 | 7000 | TMPPA | BECL
ISO TRANS#9908267004 | 2000 | TMPPA | BECL
ISO TRANS#9908267254 | 10000 | TNPXA | TNPXL
Subtotal Sending Transactions (B) | 19000
GENERATION INFORMATION
Generation kW | 189692
Less Gen Unit Main XFMR Losses kW | 0 | <== Provide Calculations to ISO with Submission
Inadvertent kW | -3000
Subtotal Net Generation (C) | 192692
TOTAL LOAD CALCULATION
Subtotal Receiving Transactions (A) | 116000
Subtotal Sending Transactions (B) | 19000
Subtotal Net Generation (C) | 192692
Total Load Responsibility (A-B+C) | 289692
| 235185.1 | STEC
| 54506.9 | MEC

## 1700 September 7, 1999
REPORT FOR LOAD SERVING ENTITY ==> | STEC AND MEC SEE BELOW
LOAD SERVING ENTITY IN CONTROL AREA ==> | STECA
September 7, 1999 Hour Ending 17:00
RECEIVING TRANSACTION INFORMATION
Description | Amount kW | From Control Area | Sending Generation Entity
ISO TRANS#9909079156 | 14000 | CSWSA | WAPAG
ISO TRANS#9909079020 | 7000 | HLPTA | HLPGG
ISO TRANS#9909078928 | 20000 | HLPTA | BDCFG
ISO TRANS#9909079066 | 25000 | LCRAA | LCRAG
ISO TRANS#9909079765 | 25000 | TUETA | TUEGG
Subtotal Receiving Transactions (A) | 91000
SENDING TRANSACTION INFORMATION
Description | Amount kW | To Control Area | Receiving Serving Load Entity
ISO TRANS#9909079155 | 7000 | TMPPA | BECL
ISO TRANS#9909079114 | 21000 | TMPPA | BECL
Subtotal Sending Transactions (B) | 28000
GENERATION INFORMATION
Generation kW | 206338
Less Gen Unit Main XFMR Losses kW | 0 | <== Provide Calculations to ISO with Submission
Inadvertent kW | -1000
Subtotal Net Generation (C) | 207338
TOTAL LOAD CALCULATION
Subtotal Receiving Transactions (A) | 91000
Subtotal Sending Transactions (B) | 28000
Subtotal Net Generation (C) | 207338
Total Load Responsibility (A-B+C) | 270338
| 219473.5 | STEC
| 50864.5 | MEC
0