## 1700 June 19, 1998
REPORT FOR LOAD ENTITY ==> | HEARNE
LOAD ENTITY IN CONTROL AREA ==> | CSWX
June 19, 1998 Hour Ending 17:00
RECEIVING TRANSACTION INFORMATION
Description | Amount kW | From Control Area | Sending Generation Entity
WTU | 10297 | CSWX | WTU
Subtotal Receiving Transactions (A) | 10297
SENDING TRANSACTION INFORMATION
Description | Amount kW | To Control Area | Receiving Load Entity
Subtotal Sending Transactions (B) | 0
GENERATION INFORMATION
Generation kW | 0
Less Gen Unit Main XFMR Losses kW | 0 | <== Provide Calculations to ISO with Submission
Inadvertent kW | 0
Subtotal Net Generation (C) | 0
TOTAL LOAD CALCULATION
Subtotal Receiving Transactions (A) | 10297
Subtotal Sending Transactions (B) | 0
Subtotal Net Generation (C) | 0
Total Load Responsibility (A-B+C) | 10297

## 1700 July 31, 1998
REPORT FOR LOAD ENTITY ==> | HEARNE
LOAD ENTITY IN CONTROL AREA ==> | CSWX
July 31, 1998 Hour Ending 17:00
RECEIVING TRANSACTION INFORMATION
Description | Amount kW | From Control Area | Sending Generation Entity
WTU | 11085 | CSWX | WTU
Subtotal Receiving Transactions (A) | 11085
SENDING TRANSACTION INFORMATION
Description | Amount kW | To Control Area | Receiving Load Entity
Subtotal Sending Transactions (B) | 0
GENERATION INFORMATION
Generation kW | 0
Less Gen Unit Main XFMR Losses kW | 0 | <== Provide Calculations to ISO with Submission
Inadvertent kW | 0
Subtotal Net Generation (C) | 0
TOTAL LOAD CALCULATION
Subtotal Receiving Transactions (A) | 11085
Subtotal Sending Transactions (B) | 0
Subtotal Net Generation (C) | 0
Total Load Responsibility (A-B+C) | 11085

## 1600 August 3, 1998
REPORT FOR LOAD ENTITY ==> | HEARNE
LOAD ENTITY IN CONTROL AREA ==> | CSWX
August 3, 1998 Hour Ending 16:00
RECEIVING TRANSACTION INFORMATION
Description | Amount kW | From Control Area | Sending Generation Entity
WTU | 11856 | CSWX | WTU
Subtotal Receiving Transactions (A) | 11856
SENDING TRANSACTION INFORMATION
Description | Amount kW | To Control Area | Receiving Load Entity
Subtotal Sending Transactions (B) | 0
GENERATION INFORMATION
Generation kW | 0
Less Gen Unit Main XFMR Losses kW | 0 | <== Provide Calculations to ISO with Submission
Inadvertent kW | 0
Subtotal Net Generation (C) | 0
TOTAL LOAD CALCULATION
Subtotal Receiving Transactions (A) | 11856
Subtotal Sending Transactions (B) | 0
Subtotal Net Generation (C) | 0
Total Load Responsibility (A-B+C) | 11856

## 1700 September 4, 1998
REPORT FOR LOAD ENTITY ==> | HEARNE
LOAD ENTITY IN CONTROL AREA ==> | CSWX
September 4, 1998 Hour Ending 17:00
RECEIVING TRANSACTION INFORMATION
Description | Amount kW | From Control Area | Sending Generation Entity
WTU | 10878 | CSWX | WTU
Subtotal Receiving Transactions (A) | 10878
SENDING TRANSACTION INFORMATION
Description | Amount kW | To Control Area | Receiving Load Entity
Subtotal Sending Transactions (B) | 0
GENERATION INFORMATION
Generation kW | 0
Less Gen Unit Main XFMR Losses kW | 0 | <== Provide Calculations to ISO with Submission
Inadvertent kW | 0
Subtotal Net Generation (C) | 0
TOTAL LOAD CALCULATION
Subtotal Receiving Transactions (A) | 10878
Subtotal Sending Transactions (B) | 0
Subtotal Net Generation (C) | 0
Total Load Responsibility (A-B+C) | 10878