## 1999 FOUR CP CALCULATION
1999 Four Coincident Peak Load Calculation
LSE Acronym | Load Serving Entity Name | June Load at ERCOT Coincident Peak kW | July Load at ERCOT Coincident Peak kW | August Load at ERCOT Coincident Peak kW | September Load at ERCOT Coincident Peak kW | Average 4CP Load kW | ERCOT ES PIETF 1999 Summer On Peak Loss Adjustment Factor Percent | Average 4CP Load at Delivery Point kW | ERCOT ES PIETF 1999 Summer On Peak VAMO Loss Allocation Percent | 1999 Load Responsibility kW | Load Ratio Share | LSE Acronym
AENX | Austin Energy | 1865342 | 1969413 | 2094250 | 1941450 | 1967613.8 | 2.3785 | 1921901.6 | 2.2536 | 1965212.8 | 3.815% | AENX
BCEC | Big Country Electric Coop | 24913 | 25367.2 | 27883.2 | 24198.2 | 25590.4 | 0 | 25590.4 | 4.3402 | 26701.1 | 0.05184% | BCEC
BEPC | Brazos Electric Coop | 1297106 | 1443238 | 1521269 | 1304384 | 1391499.3 | 0 | 1391499.3 | 3.9836 | 1446931.1 | 2.809% | BEPC
BPMX | Brazos Power Marketing | 55000 | 54000 | 54000 | 38000 | 50250 | 0 | 50250 | 4.5897 | 52556.3 | 0.102% | BPMX
BRYN | City of Bryan | 200000 | 217000 | 234000 | 233000 | 221000 | 1.1022 | 218590.7 | 1.6294 | 222152.4 | 0.4313% | BRYN
CCEC | Coleman County Electric Coop | 17764.9 | 18765.2 | 18879.1 | 17777.7 | 18296.7 | 0 | 18296.7 | 4.3402 | 19090.8 | 0.03706% | CCEC
COCS | City of College Station | 123280 | 130460 | 148260 | 135990 | 134497.5 | 0.15567 | 134288.5 | 4.2179 | 139952.7 | 0.2717% | COCS
CODX | Denton Municipal Electric | 131580 | 150966 | 162966 | 128124 | 143409 | 0.33437 | 142931.1 | 1.8375 | 145557.5 | 0.2826% | CODX
COGX | City of Garland | 223610 | 266954 | 278954 | 222810 | 248082 | 1.3969 | 244664.2 | 2.339 | 250386.8 | 0.4861% | COGX
CPST | City Public Service | 3352108.3 | 3730656.5 | 3547852.7 | 3195952.1 | 3456642.4 | 1.5821 | 3402806.6 | 1.3975 | 3450360.5 | 6.699% | CPST
CSWS | Central & South West | 5265977.5 | 5406152.5 | 5194055.7 | 4783082.9 | 5162317.2 | 3.9305 | 4967087.3 | 3.3499 | 5133479.3 | 9.967% | CSWS
CVEC | Concho Valley Electric Coop | 31328.6 | 34261.2 | 32387.8 | 28497.2 | 31618.7 | 0 | 31618.7 | 4.3402 | 32991 | 0.06405% | CVEC
GEUS | Greenville Electric Utility System | 47810 | 57080 | 58922 | 52066 | 53969.5 | 0.81158 | 53535 | 2.7546 | 55009.7 | 0.1068% | GEUS
GRBX | City of Granbury | 14800 | 16400 | 18200 | 15600 | 16250 | 0 | 16250 | 5.5831 | 17157.3 | 0.03331% | GRBX
GTSV | City of Gatesville | 22000 | 25000 | 26700 | 24000 | 24425 | 0 | 24425 | 3.9358 | 25386.3 | 0.04929% | GTSV
HERN | City of Hearne | 9737.3 | 10143.36 | 11759 | 10588.3 | 10557 | 0 | 10557 | 10.1947 | 11633.3 | 0.02259% | HERN
HUCO | Cap Rock Electric | 18783 | 21674 | 23151 | 19310 | 20729.5 | 0 | 20729.5 | 5.0402 | 21774.3 | 0.04227% | HUCO
KIMB | Kimble Electric Coop | 593.6 | 726.48 | 648 | 620.3 | 647.1 | 0 | 647.1 | 4.3402 | 675.2 | 0.00131% | KIMB
LCRA | Lower Colorado River Authority | 2111581 | 2250217 | 2405902 | 2185112 | 2238203 | 2.7798 | 2177668.4 | 2.3788 | 2229469.7 | 4.329% | LCRA
LHEC | Lighthouse Electric Coop | 1833.8 | 4266.4 | 3871.1 | 2981.6 | 3238.2 | 0 | 3238.2 | 4.3402 | 3378.7 | 0.00656% | LHEC
MECX | Medina Electric Coop | 54335.5 | 69996.2 | 54506.9 | 50864.5 | 57425.8 | 5.7226 | 54317.4 | 7.5538 | 58420.4 | 0.1134% | MECX
OLNE | City of Olney | 4000 | 4500 | 5500 | 4500 | 4625 | 0 | 4625 | 3.9358 | 4807 | 0.00933% | OLNE
PUBX | Brownsville Public Utilities Board | 183878.4 | 186759 | 190718.4 | 143862.2 | 176304.5 | 0.23835 | 175885.3 | 3.042 | 181235.8 | 0.3519% | PUBX
RCEC | Rayburn Country | 294000 | 347000 | 420000 | 288000 | 337250 | 0.15331 | 336733.8 | 5.6201 | 355658.5 | 0.6905% | RCEC
REIL | Reliant Energy HL&P | 13008181 | 13811823 | 14581203 | 13445277 | 13711621 | 0.98535 | 13577831.8 | 0.97086 | 13709653.5 | 26.62% | REIL
RGEC | Rio Grande Electric Coop | 14983.7 | 14808.4 | 14306.9 | 14133 | 14558 | 0 | 14558 | 3.0632 | 15003.9 | 0.02913% | RGEC
SESC | Southwestern Electric Service Co. | 220000 | 241000 | 260000 | 235000 | 239000 | 0.97813 | 236684.9 | 5.743 | 250277.7 | 0.4859% | SESC
SHRY | Sharyland Utilities | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0% | SHRY
STEC | South Texas Electric Coop | 216737.5 | 231994.8 | 235185.1 | 219473.5 | 225847.7 | 6.3571 | 212348.4 | 4.2076 | 221283.2 | 0.4296% | STEC
SWTE | Southwest Texas Electric Coop | 19003 | 20983 | 19489.4 | 19458.6 | 19733.5 | 0 | 19733.5 | 4.3402 | 20590 | 0.03998% | SWTE
TECX | Taylor Electric Coop | 30152.7 | 31466.6 | 31579.6 | 27967.9 | 30291.7 | 0 | 30291.7 | 4.3402 | 31606.4 | 0.06136% | TECX
TMPA | Texas Municipal Power Agency | 455000 | 455000 | 455000 | 454000 | 454750 | 0 | 454750 | 0 | 454750 | 0.8829% | TMPA
TNMP | Texas-New Mexico Power Company | 797539 | 852259 | 896063 | 829925 | 843946.5 | 0.88034 | 836581.7 | 3.9358 | 869507.7 | 1.688% | TNMP
TUEC | TXU | 18924250 | 20535210 | 21443050 | 18950990 | 19963375 | 2.477 | 19480830.9 | 2.2659 | 19922241.2 | 38.68% | TUEC
TXLA | Tex-La Electric Coop | 88148 | 95946 | 104390 | 90636 | 94780 | 0.01101 | 94769.6 | 3.3599 | 97953.8 | 0.1902% | TXLA
WEAT | City of Weatherford | 55944 | 62861 | 64399.2 | 56680.8 | 59971.3 | 0 | 59971.3 | 6.4276 | 63826 | 0.1239% | WEAT
|  | 49181301.8 | 52794347.8 | 54639302.1 | 49194312.8 | 51452316.3 |  | 50446488.6 |  | 51506671.9 | 100%

## ISO DATA REVIEW
Integrated Peak Hour Demand 6/28/1999 17:00
|  |  | Submitted Data from Load Serving Entities |  |  |  | Actual Reported Data by Control Area |  |  |  | ERCOT ISO SIS LOAD REPORT
LSE Acronym | Load Serving Entity Name | Control Area | Submitted Load kW (does not include GSU losses) | Submitted GSU Losses kW | Submitted Transmission Losses kW | Submitted Control Area Total kW | Demand & Energy CA Report MW | Amount Difference MW | Percent Difference D&E and Submit | Notes | SIS LOAD REPORT | Amount Difference MW | Percent Difference SIS and Submit
AENX | Austin Energy | AENX | 1865342 | 2596 |  | 1867938 | 1868 | -0.062 | -0.003319% |  | 1906 | -38.062 | -1.997%
CPST | City Public Service | CPST | 3352108.3 | 9091.7 |  | 3361200 | 3418 | -56.8 | -1.662% |  | 3418 | -56.8 | -1.662%
BCEC | Big Country Electric Coop | CSWS | 24913 |  |  | 5865012 | 5897 | -31.988 | -0.5424% |  | 5871 | -5.988 | -0.102%
CSWS | Central & South West | CSWS | 5265977.5 | 10631.9
HERN | City of Hearne | CSWS | 9737.3
WEAT | City of Weatherford | CSWS | 55944
CCEC | Coleman County Electric Coop | CSWS | 17764.9
CVEC | Concho Valley Electric Coop | CSWS | 31328.6
KIMB | Kimble Electric Coop | CSWS | 593.6
LHEC | Lighthouse Electric Coop | CSWS | 1833.8
RCEC | Rayburn Country | CSWS | 294000
RGEC | Rio Grande Electric Coop | CSWS | 14983.7
SWTE | Southwest Texas Electric Coop | CSWS | 19003
TECX | Taylor Electric Coop | CSWS | 30152.7
TXLA | Tex-La Electric Coop | CSWS | 88148
REIL | Reliant Energy HL&P | HLPT | 13008181 | 45630 |  | 13053811 | 13019 | 34.811 | 0.2674% |  | 12995 | 58.811 | 0.4526%
LCRA | Lower Colorado River Authority | LCRA | 2111581 | 5895 |  | 2337476 | 2316 | 21.476 | 0.9273% |  | 2316 | 21.476 | 0.9273%
SESC | Southwestern Electric Service Co. | LCRA | 220000
PUBX | Brownsville Public Utilities Board | PUBX | 183878.4 | 121.6 |  | 184000 | 184 | 0 | 0% |  | 184 | 0 | 0%
MECX | Medina Electric Coop | STEC | 54335.5 |  |  | 271073 | 271 | 0.073 | 0.02694% |  | 271 | 0.073 | 0.02694%
SHRY | Sharyland Utilities | STEC | 0
STEC | South Texas Electric Coop | STEC | 216737.5
BEPC | Brazos Electric Coop | TMPP | 1297106 | 2961 |  | 2427867 | 2474 | -46.133 | -1.865% |  | 2474 | -46.133 | -1.865%
BPMX | Brazos Power Marketing | TMPP | 55000
BRYN | City of Bryan | TMPP | 200000
COGX | City of Garland | TMPP | 223610
GRBX | City of Granbury | TMPP | 14800
CODX | Denton Municipal Electric | TMPP | 131580
GEUS | Greenville Electric Utility System | TMPP | 47810
TMPA | Texas Municipal Power Agency | TMPP | 455000
HUCO | Cap Rock Electric | TNMP | 18783 |  |  | 843122 | 837 | 6.122 | 0.7314% |  | 837 | 6.122 | 0.7314%
GTSV | City of Gatesville | TNMP | 22000
OLNE | City of Olney | TNMP | 4000
TNMP | Texas-New Mexico Power Company | TNMP | 797539 | 800
COCS | City of College Station | TUET | 123280 |  |  | 19107710 | 19192 | -84.29 | -0.4392% |  | 19122 | -14.29 | -0.07473%
TUEC | TXU | TUET | 18924250 | 60180
| SUBTOTAL |  | 49181301.8 | 137907.2 | 0 | 49319209 | 49476 | -156.791 | -0.3169% |  | 49394 | -74.791 | -0.1514%
Integrated Peak Hour Demand 7/29/1999 17:00
|  |  | Submitted Data from Load Serving Entities |  |  |  | Actual Reported Data by Control Area |  |  |  | ERCOT ISO SIS LOAD REPORT
LSE Acronym | Load Serving Entity Name | Control Area | Submitted Load kW (does not include GSU losses) | Submitted GSU Losses kW | Submitted Transmission Losses kW | Submitted Control Area Total kW | Demand & Energy CA Report MW | Amount Difference MW | Percent Difference D&E and Submit | Notes | SIS LOAD REPORT | Amount Difference MW | Percent Difference SIS and Submit
AENX | Austin Energy | AENX | 1969413 | 2577 |  | 1971990 | 1972 | -0.01 | -0.0005071% |  | 2010 | -38.01 | -1.891%
CPST | City Public Service | CPST | 3730656.5 | 9143.5 |  | 3739800 | 3556 | 183.8 | 5.169% |  | 3556 | 183.8 | 5.169%
BCEC | Big Country Electric Coop | CSWS | 25367.2 |  |  | 6084591.44 | 6115 | -30.4086 | -0.4973% |  | 5960 | 124.5914 | 2.09%
CSWS | Central & South West | CSWS | 5406152.5 | 11821.1
HERN | City of Hearne | CSWS | 10143.36
WEAT | City of Weatherford | CSWS | 62861 | 23
CCEC | Coleman County Electric Coop | CSWS | 18765.2
CVEC | Concho Valley Electric Coop | CSWS | 34261.2
KIMB | Kimble Electric Coop | CSWS | 726.48
LHEC | Lighthouse Electric Coop | CSWS | 4266.4
RCEC | Rayburn Country | CSWS | 347000
RGEC | Rio Grande Electric Coop | CSWS | 14808.4
SWTE | Southwest Texas Electric Coop | CSWS | 20983
TECX | Taylor Electric Coop | CSWS | 31466.6
TXLA | Tex-La Electric Coop | CSWS | 95946
REIL | Reliant Energy HL&P | HLPT | 13811823 | 51420 |  | 13863243 | 13828 | 35.243 | 0.2549% |  | 13738 | 125.243 | 0.9117%
LCRA | Lower Colorado River Authority | LCRA | 2250217 | 5027 |  | 2496244 | 2476 | 20.244 | 0.8176% |  | 2476 | 20.244 | 0.8176%
SESC | Southwestern Electric Service Co. | LCRA | 241000
PUBX | Brownsville Public Utilities Board | PUBX | 186759 | 241 |  | 187000 | 187 | 0 | 0% |  | 187 | 0 | 0%
MECX | Medina Electric Coop | STEC | 69996.2 |  |  | 301991 | 301 | 0.991 | 0.3292% |  | 301 | 0.991 | 0.3292%
SHRY | Sharyland Utilities | STEC | 0
STEC | South Texas Electric Coop | STEC | 231994.8
BEPC | Brazos Electric Coop | TMPP | 1443238 | 2877 |  | 2663515 | 2658 | 5.515 | 0.2075% |  | 2658 | 5.515 | 0.2075%
BPMX | Brazos Power Marketing | TMPP | 54000
BRYN | City of Bryan | TMPP | 217000
COGX | City of Garland | TMPP | 266954
GRBX | City of Granbury | TMPP | 16400
CODX | Denton Municipal Electric | TMPP | 150966
GEUS | Greenville Electric Utility System | TMPP | 57080
TMPA | Texas Municipal Power Agency | TMPP | 455000
HUCO | Cap Rock Electric | TNMP | 21674 |  |  | 904233 | 900 | 4.233 | 0.4703% |  | 900 | 4.233 | 0.4703%
GTSV | City of Gatesville | TNMP | 25000
OLNE | City of Olney | TNMP | 4500
TNMP | Texas-New Mexico Power Company | TNMP | 852259 | 800
COCS | City of College Station | TUET | 130460 |  |  | 20728660 | 20826 | -97.34 | -0.4674% |  | 20830 | -101.34 | -0.4865%
TUEC | TXU | TUET | 20535210 | 62990
| SUBTOTAL |  | 52794347.84 | 146919.6 | 0 | 52941267.44 | 52819 | 122.2674 | 0.2315% |  | 52616 | 325.2674 | 0.6182%
Integrated Peak Hour Demand 8/26/1999 17:00
|  |  | Submitted Data from Load Serving Entities |  |  |  | Actual Reported Data by Control Area |  |  |  | ERCOT ISO SIS LOAD REPORT
LSE Acronym | Load Serving Entity Name | Control Area | Submitted Load kW (does not include GSU losses) | Submitted GSU Losses kW | Submitted Transmission Losses kW | Submitted Control Area Total kW | Demand & Energy CA Report MW | Amount Difference MW | Percent Difference D&E and Submit | Notes | SIS LOAD REPORT | Amount Difference MW | Percent Difference SIS and Submit
AENX | Austin Energy | AENX | 2094250 | 3400 |  | 2097650 | 2098 | -0.35 | -0.01668% |  | 2144 | -46.35 | -2.162%
CPST | City Public Service | CPST | 3547852.7 | 9647.3 |  | 3557500 | 3552 | 5.5 | 0.1548% |  | 3552 | 5.5 | 0.1548%
BCEC | Big Country Electric Coop | CSWS | 27883.2 |  |  | 5955005.7 | 5978 | -22.9943 | -0.3846% |  | 5931 | 24.0057 | 0.4047%
CSWS | Central & South West | CSWS | 5194055.7 | 11356.7
HERN | City of Hearne | CSWS | 11759
WEAT | City of Weatherford | CSWS | 64399.2
CCEC | Coleman County Electric Coop | CSWS | 18879.1
CVEC | Concho Valley Electric Coop | CSWS | 32387.8
KIMB | Kimble Electric Coop | CSWS | 648
LHEC | Lighthouse Electric Coop | CSWS | 3871.1
RCEC | Rayburn Country | CSWS | 420000
RGEC | Rio Grande Electric Coop | CSWS | 14306.9
SWTE | Southwest Texas Electric Coop | CSWS | 19489.4
TECX | Taylor Electric Coop | CSWS | 31579.6
TXLA | Tex-La Electric Coop | CSWS | 104390
REIL | Reliant Energy HL&P | HLPT | 14581203 | 50550 |  | 14631753 | 14607 | 24.753 | 0.1695% |  | 14672 | -40.247 | -0.2743%
LCRA | Lower Colorado River Authority | LCRA | 2405902 | 5919 |  | 2671821 | 2657 | 14.821 | 0.5578% |  | 2657 | 14.821 | 0.5578%
SESC | Southwestern Electric Service Co. | LCRA | 260000
PUBX | Brownsville Public Utilities Board | PUBX | 190718.4 | 281.6 |  | 191000 | 191 | 0 | 0% |  | 191 | 0 | 0%
MECX | Medina Electric Coop | STEC | 54506.9 |  |  | 289692 | 289 | 0.692 | 0.2394% |  | 289 | 0.692 | 0.2394%
SHRY | Sharyland Utilities | STEC | 0
STEC | South Texas Electric Coop | STEC | 235185.1
BEPC | Brazos Electric Coop | TMPP | 1521269 | 2837 |  | 2786148 | 2782 | 4.148 | 0.1491% |  | 2782 | 4.148 | 0.1491%
BPMX | Brazos Power Marketing | TMPP | 54000
BRYN | City of Bryan | TMPP | 234000
COGX | City of Garland | TMPP | 278954
GRBX | City of Granbury | TMPP | 18200
CODX | Denton Municipal Electric | TMPP | 162966
GEUS | Greenville Electric Utility System | TMPP | 58922
TMPA | Texas Municipal Power Agency | TMPP | 455000
HUCO | Cap Rock Electric | TNMP | 23151 |  |  | 952214 | 947 | 5.214 | 0.5506% |  | 947 | 5.214 | 0.5506%
GTSV | City of Gatesville | TNMP | 26700
OLNE | City of Olney | TNMP | 5500
TNMP | Texas-New Mexico Power Company | TNMP | 896063 | 800
COCS | City of College Station | TUET | 148260 |  |  | 21657280 | 21748 | -90.72 | -0.4171% |  | 21748 | -90.72 | -0.4171%
TUEC | TXU | TUET | 21443050 | 65970
| SUBTOTAL |  | 54639302.1 | 150761.6 | 0 | 54790063.7 | 54849 | -58.9363 | -0.1075% |  | 54913 | -122.9363 | -0.2239%
Integrated Peak Hour Demand 9/7/1999 17:00
|  |  | Submitted Data from Load Serving Entities |  |  |  | Actual Reported Data by Control Area |  |  |  | ERCOT ISO SIS LOAD REPORT
LSE Acronym | Load Serving Entity Name | Control Area | Submitted Load kW (does not include GSU losses) | Submitted GSU Losses kW | Submitted Transmission Losses kW | Submitted Control Area Total kW | Demand & Energy CA Report MW | Amount Difference MW | Percent Difference D&E and Submit | Notes | SIS LOAD REPORT | Amount Difference MW | Percent Difference SIS and Submit
AENX | Austin Energy | AENX | 1941450 | 3074 |  | 1944524 | 1945 | -0.476 | -0.02447% |  | 1986 | -41.476 | -2.088%
CPST | City Public Service | CPST | 3195952.1 | 6747.9 |  | 3202700 | 3202 | 0.7 | 0.02186% |  | 3202 | 0.7 | 0.02186%
BCEC | Big Country Electric Coop | CSWS | 24198.2 |  |  | 5375148.5 | 5444 | -68.8515 | -1.265% |  | 5415 | -39.8515 | -0.7359%
CSWS | Central & South West | CSWS | 4783082.9 | 10526
HERN | City of Hearne | CSWS | 10588.3
WEAT | City of Weatherford | CSWS | 56680.8
CCEC | Coleman County Electric Coop | CSWS | 17777.7
CVEC | Concho Valley Electric Coop | CSWS | 28497.2
KIMB | Kimble Electric Coop | CSWS | 620.3
LHEC | Lighthouse Electric Coop | CSWS | 2981.6
RCEC | Rayburn Country | CSWS | 288000
RGEC | Rio Grande Electric Coop | CSWS | 14133
SWTE | Southwest Texas Electric Coop | CSWS | 19458.6
TECX | Taylor Electric Coop | CSWS | 27967.9
TXLA | Tex-La Electric Coop | CSWS | 90636
REIL | Reliant Energy HL&P | HLPT | 13445277 | 43910 |  | 13489187 | 13439 | 50.187 | 0.3734% |  | 13390 | 99.187 | 0.7408%
LCRA | Lower Colorado River Authority | LCRA | 2185112 | 4622 |  | 2424734 | 2410 | 14.734 | 0.6114% |  | 2410 | 14.734 | 0.6114%
SESC | Southwestern Electric Service Co. | LCRA | 235000
PUBX | Brownsville Public Utilities Board | PUBX | 143862.2 | 137.8 |  | 144000 | 144 | 0 | 0% |  | 144 | 0 | 0%
MECX | Medina Electric Coop | STEC | 50864.5 |  |  | 270338 | 270 | 0.338 | 0.1252% |  | 270 | 0.338 | 0.1252%
SHRY | Sharyland Utilities | STEC | 0
STEC | South Texas Electric Coop | STEC | 219473.5
BEPC | Brazos Electric Coop | TMPP | 1304384 | 2633 |  | 2450617 | 2467 | -16.383 | -0.6641% |  | 2427 | 23.617 | 0.9731%
BPMX | Brazos Power Marketing | TMPP | 38000
BRYN | City of Bryan | TMPP | 233000
COGX | City of Garland | TMPP | 222810
GRBX | City of Granbury | TMPP | 15600
CODX | Denton Municipal Electric | TMPP | 128124
GEUS | Greenville Electric Utility System | TMPP | 52066
TMPA | Texas Municipal Power Agency | TMPP | 454000
HUCO | Cap Rock Electric | TNMP | 19310 |  |  | 878535 | 872 | 6.535 | 0.7494% |  | 872 | 6.535 | 0.7494%
GTSV | City of Gatesville | TNMP | 24000
OLNE | City of Olney | TNMP | 4500
TNMP | Texas-New Mexico Power Company | TNMP | 829925 | 800
COCS | City of College Station | TUET | 135990 |  |  | 19154340 | 19247 | -92.66 | -0.4814% |  | 19233 | -78.66 | -0.409%
TUEC | TXU | TUET | 18950990 | 67360
| SUBTOTAL |  | 49194312.8 | 139810.7 | 0 | 49334123.5 | 49440 | -105.8765 | -0.2142% |  | 49349 | -14.8765 | -0.03015%

## CONTACTS
CONTACTS FOR 4CP DATA
LSE | Control Area | File name | Contact person | Phone | Fax | e-mail
Austin Energy | AEN - 9 | AEN00PSR-a | Ben Sweat | 512-322-6421 | 512-322-6083 | ben.sweat@austinenergy.com
Big Country Electric Coop | CSW - 8 | BCE00PSR | Jerry Stapp | 915-776-3909 | 915-776-2246 | jstapp@bigcountry.net
Brazos Electric Coop | TMPP - 11 | BEPC00PSRB | Eddie Johnson | 254-750-6362 | 254-750-6367 | ejohnson@brazoselectric.com
Brazos Power Marketing | TMPP - 11 | BPM00PSR | Billy Helpert | 254-750-6350 | 254-750-6367 | bhelpert@brazoselectric.com
Brownsville Public Utilities Board | PUB -15 | BPUB00PSR | Ramon Sanz | 956-983-6283 | 956-983-6289 | rsanz@brownsville-pub.com
Cap Rock Electric | TNMP - 17 | CAP00PSR | Matt Myrick | 915-756-3381 | 915-756-2868 | Matt@cap-rock.net
Central & South West | CSW - 8 | CSW00PSR | Bruce McCamant | 214-777-1139 | 214-777-1429 | bmccamant@csw.com
City of Bryan | TMPP - 11 | BTU00PSR | David Albers | 409-821-5760 | 409-821-5795 | albers@btutilities.com
City of College Station | TXU - 1 | CCS00PSR | David Massey | 409-764-3493 | 409-764-3452 | massey@ci.college-station.tx.us
City of Garland | TMPP - 11 | GAR00PSR | Joe Cherri | 972-205-3046 | 972-205-3004 | joec@ci.garland.tx.us
City of Gatesville | TNMP - 17 | GAT00PSR | David Albers | 409-821-5760 | 409-821-5795 | albers@btutilities.com
City of Granbury | TMPP - 11 | GRB00PSR | David Albers | 409-821-5760 | 409-821-5795 | albers@btutilities.com
City of Hearne | CSW - 8 | HRN00PSR | Bruce McCamant | 214-777-1139 | 214-777-1429 | bmccamant@csw.com
City of Olney | TNMP - 17 | OLN00PSR | David Albers | 409-821-5760 | 409-821-5795 | albers@btutilities.com
City of Weatherford | CSW - 8 | WEA00PSR_r1 | Bruce McCamant | 214-777-1139 | 214-777-1429 | bmccamant@csw.com
City Public Service | CPS - 5 | CPS00APSR | David Gibbens | 210-353-2915 | 210-353-4449 | dlgibbens@cps-satx.com
Coleman County Electric Coop | CSW - 8 | CCE00PSR | Al Nunez | 915-625-2128 | 915-625-4765 | reneeb@colemantx.com
Concho Valley Electric Coop | CSW - 8 | CVE00PSR | Weldon Gray | 915-655-6957 | 915-655-6950 | wgray@conchovalleyelec.com
Denton Municipal Electric | TMPP - 11 | DME00PSR | Glenn Fisher | 940-3497121 | 940-349-7334 | gfisher@iglobal.net
Greenville Electric Utility System | TMPP - 11 | GEU00PSR | David McCalla | 903-457-2800 | 903-457-2893 | dmccalla@geus.org
Kimble Electric Coop | CSW - 8 | KEC00PSR | Hubert D'Spain | 915-446-2625 | 915-446-3482 | kimble@ctesc.net
Lighthouse Electric Coop | CSW - 8 | LEC00PSR | Billy C. Harbin | 806-983-2814 | 806-983-2804 | billyh@hpnts.net
Lower Colorado River Authority | LCRA - 7 | LCRA00PSR | Brady J. Belk | 512-473-3577 | 512-473-4026 | bbelk@lcra.org
Medina Electric Coop | STEC - 13 | MEC00PSR-3 | Mike Troell | 361-575-6279 | 361-580-1529 | mike@stec.org
Rayburn Country | CSW - 8 | RCE00PSR_r2 | David Naylor | 405-416-8170 | 405-416-8111 | dnaylor@chguernsey.com
Reliant Energy HL&P | HLP - 4 | REI2000PSR | Howard Daniels | 713-207-2027 | 713-207-2802 | howard-daniels@hlp.com
Rio Grande Electric Coop | CSW - 8 | RGE00PSR | Daniel G. Laws | 830-563-2444 | 830-563-2006 | rgecdl@ms1.hilconet.com
Sharyland Utilities | STEC - 13 | SLU00PSR | Mark E. Caskey | 956-664-2592 | 956-664-1903 | mcaskey@flash.net
South Texas Electric Coop | STEC - 13 | STE00PSR1-B | Mike Troell | 361-575-6279 | 361-580-1529 | mike@stec.org
Southwest Texas Electric Coop | CSW - 8 | SWT00PSR_r1 | William "Buff" Whitten | 915-853-2544 | 915-853-3141 | wwhitten@wcc.net
Southwestern Electric Service Co. | LCRA - 7 | SES00PSR_r1 | Henry Durrwachter | 214-812-8321 | 214-812-8177 | hdurrwachter@txu.com
Taylor Electric Coop | CSW - 8 | TEC00PSR | Tommie Cutler | 915-928-4715 | 915-928-5216 | manager@taylorelectric.com
Texas Municipal Power Agency | TMPP - 11 | TMP00PSR | Mike Gibson | 409-873-1118 | 409-873-1180 | gibson@texasmpa.org
Texas Municipal Power Agency |  |  | Mike Gibson | 409-873-1118 | 409-873-1148 | gibson@texasmpa.org
Texas-New Mexico Power Company | TNMP - 17 | TNM00PSR_r1 | Rex McDaniel | 972-317-5110x115 | 972-317-5204 | rmcdaniel@tnpe.com
Tex-La Electric Coop | CSW - 8 | TXL00PSR | Huntis Dittmar | 409-560-9532 | 409-560-9215 | huntisd@gtpower.com
TXU | TXU - 1 | TXU00PSR | Henry Durrwachter | 214-812-8321 | 214-812-8177 | hdurrwachter@txu.com