GREENVILLE ELECTRIC UTILITY SYSTEM

Assistant General Manager	  6000 Joe Ramsey Blvd.				              Greenville, TX

903/457-2845							         75402

MEMORANDUM

DATE:	December 16, 1998

TO:		Ken Donohoo, ERCOT-ISO

FROM:	David McCalla

SUBJECT:	1998 Four Coincident Peak Data Submission for

Greenville Electric Utility System

The 1998 4CP data for Greenville Electric Utility System is in included under filename “GEU984CP.xls”.

You will notice that load entity TMPA is filing a portion of load previously included in 4CP load for Bryan, Denton, Garland, and Greenville.  TMPA 4CP Load to serve Greenville is as follows:

June:			43,136 kW		17:00 June 19, 1998

July:  			43,008 kW 		17:00 July 31, 1998

August:		43,648 kW 		16:00 August 3, 1998

*September: 		43,100 kW		17:00 September 4, 1998

*September number is an adjustment due to TMPA Gibbons Creek unplanned outage in September. The adjustment is calculated by deriving TMPA’s 3-month average load for June, July, and August and using the average load as a proxy for September.  The adjustment is shown as a Sending Transaction in the September worksheet.

TMPA Avg. Load = (430,000 + 428,000 + 435,000) / 3  =  431,000 kW

Greenville Adjustment = 10% x 431,000 =  43,100 kW