## 2001FOUR CP CALCULATION
Attachment A -- 2001 Four Coincident Peak Load Calculation
(12-15-2001 revised data filed with the PUC)
Load Entity Acronym | Load Entity Name | June Load at ERCOT Coincident Peak kW | July Load at ERCOT Coincident Peak kW | August Load at ERCOT Coincident Peak kW | September Load at ERCOT Coincident Peak kW | Average 4CP Load kW | Load Ratio Share
AEPX | American Electric Power | 4827679 | 5621142.7 | 5196914.4 | 4631416.4 | 5069288.125 | 9.616%
AENX | Austin Energy | 2069547.9 | 2182436.1 | 2165702.8 | 1958171.6 | 2093964.6 | 3.972%
BAND | Bandera Electric Coop | 91386.2 | 99577.9 | 88615.6 | 79991.6 | 89892.825 | 0.1705%
BAST | Bastrop, City of | 11297.8 | 12318.3 | 12339.6 | 11011.2 | 11741.725 | 0.02227%
BELV | Bellville, City of | 11785.2 | 12690.5 | 13294.8 | 11478.4 | 12312.225 | 0.02335%
BCEC | Big Country Electric Coop | 25198 | 30146.7 | 29665.6 | 26337.6 | 27836.975 | 0.0528%
BLUE | Bluebonnet Electric Coop | 268627.3 | 303179.8 | 292417.6 | 253486.4 | 279427.775 | 0.53%
BOER | Boerne, City of | 19834 | 20101 | 19584 | 17542.4 | 19265.35 | 0.03654%
BEPC | Brazos Electric Coop | 1575834 | 1798967.7 | 1677008.4 | 1499227.6 | 1637759.425 | 3.107%
BPMX | Brazos Power Marketing | 15389 | 3077.8 | 0 | 0 | 4616.7 | 0.008757%
BRNM | Brenham, City of | 56778 | 60898.6 | 59502 | 56995.2 | 58543.45 | 0.111%
BPUB | Brownsville Public Utilities Board | 210307.3 | 220667.3 | 218376.8 | 204437.2 | 213447.15 | 0.4049%
BRYN | Bryan Texas Utilities | 216314.5 | 218167.3 | 258118.4 | 232448 | 231262.05 | 0.4387%
BRNT | Burnet, City of | 12696.5 | 13718 | 13087.6 | 12014 | 12879.025 | 0.02443%
HUCO2 | Cap Rock Electric | 17358.1 | 21368.8 | 22158 | 18621.6 | 19876.625 | 0.0377%
HUCO1 | Cap Rock Electric - LCRA | 17706.7 | 19647.3 | 17858 | 16691.6 | 17975.9 | 0.0341%
CTEC | Central Texas Electric Coop | 80224.4 | 91633.3 | 79612 | 68203.6 | 79918.325 | 0.1516%
CPST | City Public Service | 3670550.4 | 3758033.5 | 3752652.8 | 3371452.8 | 3638172.375 | 6.901%
CCEC | Coleman County Electric Coop | 19622 | 20372.1 | 18369.6 | 17444.4 | 18952.025 | 0.03595%
COCS | College Station, City of | 132067.4 | 140301.6 | 147100.8 | 136495.6 | 138991.35 | 0.2637%
CVEC | Concho Valley Electric Coop | 36149.8 | 40384.6 | 35282.8 | 32055.2 | 35968.1 | 0.06823%
CUER | Cuero, City of | 23175.4 | 25006.9 | 25239.2 | 21338 | 23689.875 | 0.04494%
DMEX | Denton Municipal Electric | 142167.3 | 163208.6 | 248134.4 | 223478 | 194247.075 | 0.3685%
DWEC | Dewitt Electric Coop | 17474.3 | 20690.7 | 19192.4 | 16837.6 | 18548.75 | 0.03518%
FAYT | Fayette Electric Coop | 35006.3 | 40557.4 | 36103.2 | 32704.8 | 36092.925 | 0.06846%
FLAT | Flatonia, City of | 4429.4 | 5033 | 4830.4 | 4089.2 | 4595.5 | 0.008717%
FRED | Fredericksburg, City of | 27042.9 | 30107.3 | 26890 | 23339.6 | 26844.95 | 0.05092%
GARL | Garland Power and Light | 232591.9 | 300130.1 | 445490.4 | 404476 | 345672.1 | 0.6557%
GTWN | Georgetown, City of | 72021.8 | 80411 | 77959.6 | 69320.4 | 74928.2 | 0.1421%
GIDN | Giddings, City of | 12060.2 | 12941.7 | 12582.4 | 11601.6 | 12296.475 | 0.02332%
GLDW | Goldthwaite, City of | 4649.7 | 4824.5 | 4835.2 | 4365.2 | 4668.65 | 0.008856%
GONZ | Gonzales, City of | 14583.6 | 17116 | 17087.6 | 15560.4 | 16086.9 | 0.03051%
GRBX | Granbury, City of | 16821.7 | 19106.1 | 17931.6 | 16635.2 | 17623.65 | 0.03343%
GEUS | Greenville Electric Utility System | 46118.4 | 55730.4 | 96324.8 | 84518.4 | 70673 | 0.1341%
GVEC | Guadalupe Valley Electric Coop | 250970.3 | 195084.7 | 223677.2 | 162628.4 | 208090.15 | 0.3947%
HLTS | Hallettsville, City of | 8476.6 | 9253.9 | 9211.6 | 7330.8 | 8568.225 | 0.01625%
HAMC | Hamilton County Electric Coop | 21476.9 | 25405 | 22677.6 | 20207.6 | 22441.775 | 0.04257%
HERN | Hearne, City of | 10418.1 | 11689.6 | 11382 | 10092 | 10895.425 | 0.02067%
HEMP | Hempstead, City of | 10975.2 | 12051.3 | 11960 | 11319.2 | 11576.425 | 0.02196%
KPUB | Kerrville Public Utility Board | 95803.7 | 102586.7 | 90866.8 | 82938 | 93048.8 | 0.1765%
LGRG | LaGrange Utilities | 14179.6 | 15940.6 | 14123.2 | 13732.8 | 14494.05 | 0.02749%
LMPS | Lampasas, City of | 19467.7 | 20806.8 | 19883.6 | 18463.2 | 19655.325 | 0.03728%
LXGN | Lexington, City of | 2580 | 2688.2 | 3000 | 2549.2 | 2704.35 | 0.00513%
LHEC | Lighthouse Electric Coop | 1392.9 | 2675.1 | 2074 | 903.2 | 1761.3 | 0.003341%
LLAN | Llano, City of | 9334.3 | 10231.7 | 9935.2 | 9040.4 | 9635.4 | 0.01828%
LKHT | Lockhart, City of | 21041 | 22311.7 | 23022.4 | 20141.2 | 21629.075 | 0.04103%
LULG | Luling, City of | 10394.5 | 10982.2 | 11904.8 | 9685.2 | 10741.675 | 0.02038%
MVEC | Magic Valley Electric Coop | 0 | 0 | 217373.6 | 199348.4 | 104180.5 | 0.1976%
MASN | Mason, City of | 4902 | 5288 | 4826.8 | 4278.4 | 4823.8 | 0.00915%
MECX | Medina Electric Coop | 71122 | 72083.1 | 84722.8 | 67046 | 73743.475 | 0.1399%
MULT | Moulton, City of | 1983.4 | 2382.5 | 2364.8 | 2097.2 | 2206.975 | 0.004186%
NWBU | New Braunfels Utilities | 181149.3 | 179481.6 | 167096.4 | 148168.4 | 168973.925 | 0.3205%
PECX2 | Pedernales Electric Coop -LCRA | 704439.6 | 785721.2 | 750426.4 | 655394 | 723995.3 | 1.373%
PECX1 | Pedernales Electric Coop -AEP | 772.2 | 916.9 | 4820.4 | 4520.4 | 2757.475 | 0.005231%
RCEC | Rayburn Country | 285327.6 | 459843.1 | 400964.8 | 338418 | 371138.375 | 0.704%
REIL | Reliant Energy HL&P | 13015358.2 | 14177022.8 | 14779313.2 | 14140482.4 | 14028044.15 | 26.61%
RGEC1 | Rio Grande Electric Coop | 9717.7 | 10421.7 | 16183.6 | 16809.2 | 13283.05 | 0.0252%
RGEC2 | Rio Grande Electric Coop- LCRA | 0 | 154.8 | 0 | 0 | 38.7 | 7.341e-05%
SBEC | San Bernard Electric Coop | 79010.3 | 91669.1 | 86934 | 76886.4 | 83624.95 | 0.1586%
SANM | San Marcos, City of | 87045.1 | 89280.7 | 89218.4 | 83519.6 | 87265.95 | 0.1655%
SNSB | San Saba, City of | 8052.7 | 8776.4 | 8574.8 | 7498.4 | 8225.575 | 0.0156%
SCHL | Schulenberg, City of | 10697.3 | 11822 | 11216 | 10424.4 | 11039.925 | 0.02094%
SEGN | Seguin, City of | 52694.1 | 56015.6 | 56098.4 | 51546 | 54088.525 | 0.1026%
SHRY | Sharyland Utilities | 3065.7 | 3772.1 | 3967.2 | 4003.6 | 3702.15 | 0.007023%
SHNR | Shiner, City of | 9019.6 | 9107.9 | 9261.2 | 8053.2 | 8860.475 | 0.01681%
SMTH | Smithville, City of | 8910.4 | 10081.8 | 10064.4 | 8736 | 9448.15 | 0.01792%
STEC | South Texas Electric Coop | 229979.1 | 251988.4 | 260542 | 225574.4 | 242020.975 | 0.4591%
SWTE | Southwest Texas Electric Coop | 21355.4 | 24276.9 | 20954.4 | 20460.4 | 21761.775 | 0.04128%
SESC | Southwestern Electric Service Co. | 243705.4 | 266520.3 | 256177.2 | 221094.4 | 246874.325 | 0.4683%
TECX | Taylor Electric Coop | 32647.5 | 34359 | 31562 | 30518 | 32271.625 | 0.06122%
TNMP | Texas-New Mexico Power Company | 870550 | 994906.1 | 1246195.2 | 1131299.2 | 1060737.625 | 2.012%
TXLA | Tex-La Electric Coop | 67712.2 | 80003.6 | 79442.4 | 69777.6 | 74233.95 | 0.1408%
TXUE | TXU | 19928170.9 | 21704185.4 | 21040782.8 | 18212930.4 | 20221517.375 | 38.36%
WAEL | Waelder, City of | 2683.2 | 2967.1 | 2904.4 | 2509.2 | 2765.975 | 0.005247%
WEAT | Weatherford, City of | 60331.3 | 66014.2 | 16479.2 | 16157.2 | 39745.475 | 0.07539%
WEIM | Weimer, City of | 7011.3 | 7797.6 | 7139.2 | 5758.8 | 6926.725 | 0.01314%
YOKM | Yoakum, City of | 16066.7 | 17386 | 16802 | 15865.6 | 16530.075 | 0.03136%
| Totals | 50524487.4 | 55329648 | 55286389.2 | 49731993.2 | 52718129.45 | 100%

## June
Peak Interval Demand 06/13/2001 17:00
Load Entity Acronym | Load Entity Name | June Load at ERCOT Coincident Peak kW | ERCOT ES PIETF 2001 On Peak Loss Adjustment Factor Percent | Load at Delivery Point kW | ERCOT ES PIETF 2001 On Peak VAMO Loss Allocation Percent | 2001 Load Responsibility kW
AEPX | American Electric Power | 4832179.2 | 4.1107 | 4641384.9 | 4.0138 | 4827679
AENX | Austin Energy | 2070840.521 | 1.6514 | 2037198 | 1.588 | 2069547.9
BAND | Bandera Electric Coop | 92059 | 2.5341 | 89783.8 | 1.7848 | 91386.2
BAST | Bastrop, City of | 11381 | 2.5341 | 11099.7 | 1.7848 | 11297.8
BELV | Bellville, City of | 11872 | 2.5341 | 11578.6 | 1.7848 | 11785.2
BCEC | Big Country Electric Coop | 24018 | 0 | 24018 | 4.9128 | 25198
BLUE | Bluebonnet Electric Coop | 270605 | 2.5341 | 263917 | 1.7848 | 268627.3
BOER | Boerne, City of | 19980 | 2.5341 | 19486.2 | 1.7848 | 19834
BEPC | Brazos Electric Coop | 1557707 | 1.5257 | 1534298.4 | 2.7071 | 1575834
BPMX | Brazos Power Marketing | 15000 | 0 | 15000 | 2.5936 | 15389
BRNM | Brenham, City of | 57196 | 2.5341 | 55782.4 | 1.7848 | 56778
BPUB | Brownsville Public Utilities Board | 203000 | 0.48908 | 202012 | 4.1064 | 210307.3
BRYN | Bryan Texas Utilities | 215420.8 | 0.66808 | 213991.2 | 1.0857 | 216314.5
BRNT | Burnet, City of | 12790 | 2.5341 | 12473.9 | 1.7848 | 12696.5
HUCO2 | Cap Rock Electric | 16485 | 0 | 16485 | 5.2963 | 17358.1
HUCO1 | Cap Rock Electric - LCRA | 17837 | 2.5341 | 17396.2 | 1.7848 | 17706.7
CTEC | Central Texas Electric Coop | 80815 | 2.5341 | 78817.7 | 1.7848 | 80224.4
CPST | City Public Service | 3676902.69 | 1.4286 | 3625115.4 | 1.2533 | 3670550.4
CCEC | Coleman County Electric Coop | 18600 | 0 | 18600 | 5.4949 | 19622
COCS | College Station, City of | 128471 | 0.10704 | 128333.6 | 2.9094 | 132067.4
CVEC | Concho Valley Electric Coop | 34359 | 0 | 34359 | 5.2121 | 36149.8
CUER | Cuero, City of | 23346 | 2.5341 | 22769 | 1.7848 | 23175.4
DMEX | Denton Municipal Electric | 140550 | 0.27423 | 140165.6 | 1.4281 | 142167.3
DWEC | Dewitt Electric Coop | 17603 | 2.5341 | 17167.9 | 1.7848 | 17474.3
FAYT | Fayette Electric Coop | 35264 | 2.5341 | 34392.5 | 1.7848 | 35006.3
FLAT | Flatonia, City of | 4462 | 2.5341 | 4351.7 | 1.7848 | 4429.4
FRED | Fredericksburg, City of | 27242 | 2.5341 | 26568.7 | 1.7848 | 27042.9
GARL | Garland Power and Light | 230150 | 0.74845 | 228440.2 | 1.8174 | 232591.9
GTWN | Georgetown, City of | 72552 | 2.5341 | 70758.9 | 1.7848 | 72021.8
GIDN | Giddings, City of | 12149 | 2.5341 | 11848.7 | 1.7848 | 12060.2
GLDW | Goldthwaite, City of | 4684 | 2.5341 | 4568.2 | 1.7848 | 4649.7
GONZ | Gonzales, City of | 14691 | 2.5341 | 14327.9 | 1.7848 | 14583.6
GRBX | Granbury, City of | 16200 | 0 | 16200 | 3.8376 | 16821.7
GEUS | Greenville Electric Utility System | 45240 | 0.44161 | 45041.1 | 2.3918 | 46118.4
GVEC | Guadalupe Valley Electric Coop | 252818 | 2.5341 | 246569.6 | 1.7848 | 250970.3
HLTS | Hallettsville, City of | 8539 | 2.5341 | 8328 | 1.7848 | 8476.6
HAMC | Hamilton County Electric Coop | 21635 | 2.5341 | 21100.3 | 1.7848 | 21476.9
HERN | Hearne, City of | 9752.4 | 0 | 9752.4 | 6.8263 | 10418.1
HEMP | Hempstead, City of | 11056 | 2.5341 | 10782.8 | 1.7848 | 10975.2
KPUB | Kerrville Public Utility Board | 96509 | 2.5341 | 94123.8 | 1.7848 | 95803.7
LGRG | LaGrange Utilities | 14284 | 2.5341 | 13931 | 1.7848 | 14179.6
LMPS | Lampasas, City of | 19611 | 2.5341 | 19126.3 | 1.7848 | 19467.7
LXGN | Lexington, City of | 2599 | 2.5341 | 2534.8 | 1.7848 | 2580
LHEC | Lighthouse Electric Coop | 1283 | 0 | 1283 | 8.5664 | 1392.9
LLAN | Llano, City of | 9403 | 2.5341 | 9170.6 | 1.7848 | 9334.3
LKHT | Lockhart, City of | 21196 | 2.5341 | 20672.1 | 1.7848 | 21041
LULG | Luling, City of | 10471 | 2.5341 | 10212.2 | 1.7848 | 10394.5
MVEC | Magic Valley Electric Coop | 0 | 4.1107 | 0 | 4.0138 | 0
MASN | Mason, City of | 4938 | 2.5341 | 4816 | 1.7848 | 4902
MECX | Medina Electric Coop | 71359 | 6.8963 | 66755.4 | 6.5412 | 71122
MULT | Moulton, City of | 1998 | 2.5341 | 1948.6 | 1.7848 | 1983.4
NWBU | New Braunfels Utilities | 182483 | 2.5341 | 177972.9 | 1.7848 | 181149.3
PECX2 | Pedernales Electric Coop -LCRA | 709626 | 2.5341 | 692087.6 | 1.7848 | 704439.6
PECX1 | Pedernales Electric Coop -AEP | 688 | 0 | 688 | 12.2336 | 772.2
RCEC | Rayburn Country | 274146.72 | 0.21783 | 273550.8 | 4.3052 | 285327.6
REIL | Reliant Energy HL&P | 13018780 | 0.86269 | 12907428.9 | 0.83618 | 13015358.2
RGEC1 | Rio Grande Electric Coop | 9027 | 0.4847 | 8983.5 | 8.1725 | 9717.7
RGEC2 | Rio Grande Electric Coop- LCRA | 0 | 2.5341 | 0 | 1.7848 | 0
SBEC | San Bernard Electric Coop | 79592 | 2.5341 | 77624.9 | 1.7848 | 79010.3
SANM | San Marcos, City of | 87686 | 2.5341 | 85518.8 | 1.7848 | 87045.1
SNSB | San Saba, City of | 8112 | 2.5341 | 7911.5 | 1.7848 | 8052.7
SCHL | Schulenberg, City of | 10776 | 2.5341 | 10509.7 | 1.7848 | 10697.3
SEGN | Seguin, City of | 53082 | 2.5341 | 51770.1 | 1.7848 | 52694.1
SHRY | Sharyland Utilities | 3042 | 0 | 3042 | 0.77808 | 3065.7
SHNR | Shiner, City of | 9086 | 2.5341 | 8861.4 | 1.7848 | 9019.6
SMTH | Smithville, City of | 8976 | 2.5341 | 8754.2 | 1.7848 | 8910.4
STEC | South Texas Electric Coop | 237601 | 7.2805 | 221476.5 | 3.839 | 229979.1
SWTE | Southwest Texas Electric Coop | 19992 | 0 | 19992 | 6.8197 | 21355.4
SESC | Southwestern Electric Service Co. | 235000 | 0.61771 | 233557.3 | 4.345 | 243705.4
TECX | Taylor Electric Coop | 31512 | 0 | 31512 | 3.6034 | 32647.5
TNMP | Texas-New Mexico Power Company | 851676 | 0.97467 | 843455.1 | 3.2124 | 870550
TXLA | Tex-La Electric Coop | 65737 | 0.01026 | 65730.3 | 3.0152 | 67712.2
TXUE | TXU | 20000617 | 2.1067 | 19587965.2 | 1.7368 | 19928170.9
WAEL | Waelder, City of | 2703 | 2.5341 | 2636.2 | 1.7848 | 2683.2
WEAT | Weatherford, City of | 58092 | 0 | 58092 | 3.8548 | 60331.3
WEIM | Weimer, City of | 7063 | 2.5341 | 6888.4 | 1.7848 | 7011.3
YOKM | Yoakum, City of | 16185 | 2.5341 | 15785 | 1.7848 | 16066.7
| Total | 50550383.331 |  |  | Total | 50524487.4

## July
Peak Interval Demand 07/23/2001 17:00
Load Entity Acronym | Load Entity Name | July Load at ERCOT Coincident Peak kW | ERCOT ES PIETF 2001 On Peak Loss Adjustment Factor Percent | Load at Delivery Point kW | ERCOT ES PIETF 2001 On Peak VAMO Loss Allocation Percent | 2001 Load Responsibility kW
AEPX | American Electric Power | 5626382.7 | 4.1107 | 5404229.9 | 4.0138 | 5621142.7
AENX | Austin Energy | 2183799.15 | 1.6514 | 2148321.6 | 1.588 | 2182436.1
BAND | Bandera Electric Coop | 100311 | 2.5341 | 97831.8 | 1.7848 | 99577.9
BAST | Bastrop, City of | 12409 | 2.5341 | 12102.3 | 1.7848 | 12318.3
BELV | Bellville, City of | 12784 | 2.5341 | 12468 | 1.7848 | 12690.5
BCEC | Big Country Electric Coop | 28735 | 0 | 28735 | 4.9128 | 30146.7
BLUE | Bluebonnet Electric Coop | 305412 | 2.5341 | 297863.7 | 1.7848 | 303179.8
BOER | Boerne, City of | 20249 | 2.5341 | 19748.5 | 1.7848 | 20101
BEPC | Brazos Electric Coop | 1778274 | 1.5257 | 1751550.8 | 2.7071 | 1798967.7
BPMX | Brazos Power Marketing | 3000 | 0 | 3000 | 2.5936 | 3077.8
BRNM | Brenham, City of | 61347 | 2.5341 | 59830.8 | 1.7848 | 60898.6
BPUB | Brownsville Public Utilities Board | 213000 | 0.48908 | 211963.3 | 4.1064 | 220667.3
BRYN | Bryan Texas Utilities | 217266 | 0.66808 | 215824.1 | 1.0857 | 218167.3
BRNT | Burnet, City of | 13819 | 2.5341 | 13477.5 | 1.7848 | 13718
HUCO2 | Cap Rock Electric | 20294 | 0 | 20294 | 5.2963 | 21368.8
HUCO1 | Cap Rock Electric - LCRA | 19792 | 2.5341 | 19302.8 | 1.7848 | 19647.3
CTEC | Central Texas Electric Coop | 92308 | 2.5341 | 90026.6 | 1.7848 | 91633.3
CPST | City Public Service | 3764537.2 | 1.4286 | 3711515.6 | 1.2533 | 3758033.5
CCEC | Coleman County Electric Coop | 19311 | 0 | 19311 | 5.4949 | 20372.1
COCS | College Station, City of | 136481 | 0.10704 | 136335.1 | 2.9094 | 140301.6
CVEC | Concho Valley Electric Coop | 38384 | 0 | 38384 | 5.2121 | 40384.6
CUER | Cuero, City of | 25191 | 2.5341 | 24568.4 | 1.7848 | 25006.9
DMEX | Denton Municipal Electric | 161352 | 0.27423 | 160910.7 | 1.4281 | 163208.6
DWEC | Dewitt Electric Coop | 20843 | 2.5341 | 20327.9 | 1.7848 | 20690.7
FAYT | Fayette Electric Coop | 40856 | 2.5341 | 39846.2 | 1.7848 | 40557.4
FLAT | Flatonia, City of | 5070 | 2.5341 | 4944.7 | 1.7848 | 5033
FRED | Fredericksburg, City of | 30329 | 2.5341 | 29579.4 | 1.7848 | 30107.3
GARL | Garland Power and Light | 296979 | 0.74845 | 294772.8 | 1.8174 | 300130.1
GTWN | Georgetown, City of | 81003 | 2.5341 | 79001 | 1.7848 | 80411
GIDN | Giddings, City of | 13037 | 2.5341 | 12714.8 | 1.7848 | 12941.7
GLDW | Goldthwaite, City of | 4860 | 2.5341 | 4739.9 | 1.7848 | 4824.5
GONZ | Gonzales, City of | 17242 | 2.5341 | 16815.9 | 1.7848 | 17116
GRBX | Granbury, City of | 18400 | 0 | 18400 | 3.8376 | 19106.1
GEUS | Greenville Electric Utility System | 54669 | 0.44161 | 54428.6 | 2.3918 | 55730.4
GVEC | Guadalupe Valley Electric Coop | 196521 | 2.5341 | 191664 | 1.7848 | 195084.7
HLTS | Hallettsville, City of | 9322 | 2.5341 | 9091.6 | 1.7848 | 9253.9
HAMC | Hamilton County Electric Coop | 25592 | 2.5341 | 24959.5 | 1.7848 | 25405
HERN | Hearne, City of | 10942.6 | 0 | 10942.6 | 6.8263 | 11689.6
HEMP | Hempstead, City of | 12140 | 2.5341 | 11840 | 1.7848 | 12051.3
KPUB | Kerrville Public Utility Board | 103342 | 2.5341 | 100787.9 | 1.7848 | 102586.7
LGRG | LaGrange Utilities | 16058 | 2.5341 | 15661.1 | 1.7848 | 15940.6
LMPS | Lampasas, City of | 20960 | 2.5341 | 20442 | 1.7848 | 20806.8
LXGN | Lexington, City of | 2708 | 2.5341 | 2641.1 | 1.7848 | 2688.2
LHEC | Lighthouse Electric Coop | 2464 | 0 | 2464 | 8.5664 | 2675.1
LLAN | Llano, City of | 10307 | 2.5341 | 10052.3 | 1.7848 | 10231.7
LKHT | Lockhart, City of | 22476 | 2.5341 | 21920.5 | 1.7848 | 22311.7
LULG | Luling, City of | 11063 | 2.5341 | 10789.6 | 1.7848 | 10982.2
MVEC | Magic Valley Electric Coop | 0 | 4.1107 | 0 | 4.0138 | 0
MASN | Mason, City of | 5327 | 2.5341 | 5195.3 | 1.7848 | 5288
MECX | Medina Electric Coop | 72323.3 | 6.8963 | 67657.5 | 6.5412 | 72083.1
MULT | Moulton, City of | 2400 | 2.5341 | 2340.7 | 1.7848 | 2382.5
NWBU | New Braunfels Utilities | 180803 | 2.5341 | 176334.5 | 1.7848 | 179481.6
PECX2 | Pedernales Electric Coop -LCRA | 791506 | 2.5341 | 771943.9 | 1.7848 | 785721.2
PECX1 | Pedernales Electric Coop -AEP | 817 | 0 | 817 | 12.2336 | 916.9
RCEC | Rayburn Country | 441823.63 | 0.21783 | 440863.3 | 4.3052 | 459843.1
REIL | Reliant Energy HL&P | 14180750 | 0.86269 | 14059460.4 | 0.83618 | 14177022.8
RGEC1 | Rio Grande Electric Coop | 9681 | 0.4847 | 9634.3 | 8.1725 | 10421.7
RGEC2 | Rio Grande Electric Coop- LCRA | 156 | 2.5341 | 152.1 | 1.7848 | 154.8
SBEC | San Bernard Electric Coop | 92344 | 2.5341 | 90061.7 | 1.7848 | 91669.1
SANM | San Marcos, City of | 89938 | 2.5341 | 87715.2 | 1.7848 | 89280.7
SNSB | San Saba, City of | 8841 | 2.5341 | 8622.5 | 1.7848 | 8776.4
SCHL | Schulenberg, City of | 11909 | 2.5341 | 11614.7 | 1.7848 | 11822
SEGN | Seguin, City of | 56428 | 2.5341 | 55033.4 | 1.7848 | 56015.6
SHRY | Sharyland Utilities | 3743 | 0 | 3743 | 0.77808 | 3772.1
SHNR | Shiner, City of | 9175 | 2.5341 | 8948.2 | 1.7848 | 9107.9
SMTH | Smithville, City of | 10156 | 2.5341 | 9905 | 1.7848 | 10081.8
STEC | South Texas Electric Coop | 260339.7 | 7.2805 | 242672.1 | 3.839 | 251988.4
SWTE | Southwest Texas Electric Coop | 22727 | 0 | 22727 | 6.8197 | 24276.9
SESC | Southwestern Electric Service Co. | 257000 | 0.61771 | 255422.2 | 4.345 | 266520.3
TECX | Taylor Electric Coop | 33164 | 0 | 33164 | 3.6034 | 34359
TNMP | Texas-New Mexico Power Company | 973336 | 0.97467 | 963940.8 | 3.2124 | 994906.1
TXLA | Tex-La Electric Coop | 77670 | 0.01026 | 77662 | 3.0152 | 80003.6
TXUE | TXU | 21783088 | 2.1067 | 21333660.3 | 1.7368 | 21704185.4
WAEL | Waelder, City of | 2989 | 2.5341 | 2915.1 | 1.7848 | 2967.1
WEAT | Weatherford, City of | 63564 | 0 | 63564 | 3.8548 | 66014.2
WEIM | Weimer, City of | 7855 | 2.5341 | 7660.9 | 1.7848 | 7797.6
YOKM | Yoakum, City of | 17514 | 2.5341 | 17081.1 | 1.7848 | 17386
| Total | 55348989.28 |  |  | Total | 55329648

## August
Peak Interval Demand 08/22/2001 16:45
Data from ERCOT Data Aggregation System as of 12-14-2001
LSE Acronym | Load Serving Entity Name | 2001 Load Responsibility kW | No Load Data in Lodestar for these entities.
AEPX | American Electric Power | 5196914.4
AENX | Austin Energy | 2165702.8
BAND | Bandera Electric Coop | 88615.6
BAST | Bastrop, City of | 12339.6
BELV | Bellville, City of | 13294.8
BCEC | Big Country Electric Coop | 29665.6
BLUE | Bluebonnet Electric Coop | 292417.6
BOER | Boerne, City of | 19584
BEPC | Brazos Electric Coop | 1677008.4
BPMX | Brazos Power Marketing | 0
BRNM | Brenham, City of | 59502
BPUB | Brownsville Public Utilities Board | 218376.8
BRYN | Bryan Texas Utilities | 258118.4
BRNT | Burnet, City of | 13087.6
HUCO2 | Cap Rock Electric | 22158
HUCO1 | Cap Rock Electric - LCRA | 17858
CTEC | Central Texas Electric Coop | 79612
CPST | City Public Service | 3752652.8
CCEC | Coleman County Electric Coop | 18369.6
COCS | College Station, City of | 147100.8
CVEC | Concho Valley Electric Coop | 35282.8
CUER | Cuero, City of | 25239.2
DMEX | Denton Municipal Electric | 248134.4
DWEC | Dewitt Electric Coop | 19192.4
FAYT | Fayette Electric Coop | 36103.2
FLAT | Flatonia, City of | 4830.4
FRED | Fredericksburg, City of | 26890
GARL | Garland Power and Light | 445490.4
GTWN | Georgetown, City of | 77959.6
GIDN | Giddings, City of | 12582.4
GLDW | Goldthwaite, City of | 4835.2
GONZ | Gonzales, City of | 17087.6
GRBX | Granbury, City of | 17931.6
GEUS | Greenville Electric Utility System | 96324.8
GVEC | Guadalupe Valley Electric Coop | 223677.2
HLTS | Hallettsville, City of | 9211.6
HAMC | Hamilton County Electric Coop | 22677.6
HERN | Hearne, City of | 11382
HEMP | Hempstead, City of | 11960
KPUB | Kerrville Public Utility Board | 90866.8
LGRG | LaGrange Utilities | 14123.2
LMPS | Lampasas, City of | 19883.6
LXGN | Lexington, City of | 3000
LHEC | Lighthouse Electric Coop | 2074
LLAN | Llano, City of | 9935.2
LKHT | Lockhart, City of | 23022.4
LULG | Luling, City of | 11904.8
MVEC | Magic Valley Electric Coop | 217373.6
MASN | Mason, City of | 4826.8
MECX | Medina Electric Coop | 84722.8
MULT | Moulton, City of | 2364.8
NWBU | New Braunfels Utilities | 167096.4
PECX2 | Pedernales Electric Coop -LCRA | 750426.4
PECX1 | Pedernales Electric Cooperative, Inc.-AEP | 4820.4
RCEC | Rayburn Country | 400964.8
REIL | Reliant Energy HL&P | 14779313.2
RGEC1 | Rio Grande Electric Coop | 16183.6
RGEC2 | Rio Grande Electric Coop- LCRA | 0
SBEC | San Bernard Electric Coop | 86934
SANM | San Marcos, City of | 89218.4
SNSB | San Saba, City of | 8574.8
SCHL | Schulenberg, City of | 11216
SEGN | Seguin, City of | 56098.4
SHRY | Sharyland Utilities | 3967.2
SHNR | Shiner, City of | 9261.2
SMTH | Smithville, City of | 10064.4
STEC | South Texas Electric Coop | 260542
SWTE | Southwest Texas Electric Coop | 20954.4
SESC | Southwestern Electric Service Co. | 256177.2
TECX | Taylor Electric Coop | 31562
TNMP | Texas-New Mexico Power Company | 1246195.2
TXLA | Tex-La Electric Coop | 79442.4
TXUE | TXU | 21040782.8
WAEL | Waelder, City of | 2904.4
WEAT | Weatherford, City of | 16479.2
WEIM | Weimer, City of | 7139.2
YOKM | Yoakum, City of | 16802
| SUBTOTAL | 55286389.2

## September
Peak Interval Demand 09/07/2001 16:30
Data from ERCOT Data Aggregation System as of 12-14-2001
LSE Acronym | Load Serving Entity Name | 2001 Load Responsibility kW | No Load Data in Lodestar for these entities.
AEPX | American Electric Power | 4631416.4
AENX | Austin Energy | 1958171.6
BAND | Bandera Electric Coop | 79991.6
BAST | Bastrop, City of | 11011.2
BELV | Bellville, City of | 11478.4
BCEC | Big Country Electric Coop | 26337.6
BLUE | Bluebonnet Electric Coop | 253486.4
BOER | Boerne, City of | 17542.4
BEPC | Brazos Electric Coop | 1499227.6
BPMX | Brazos Power Marketing | 0
BRNM | Brenham, City of | 56995.2
BPUB | Brownsville Public Utilities Board | 204437.2
BRYN | Bryan Texas Utilities | 232448
BRNT | Burnet, City of | 12014
HUCO2 | Cap Rock Electric | 18621.6
HUCO1 | Cap Rock Electric - LCRA | 16691.6
CTEC | Central Texas Electric Coop | 68203.6
CPST | City Public Service | 3371452.8
CCEC | Coleman County Electric Coop | 17444.4
COCS | College Station, City of | 136495.6
CVEC | Concho Valley Electric Coop | 32055.2
CUER | Cuero, City of | 21338
DMEX | Denton Municipal Electric | 223478
DWEC | Dewitt Electric Coop | 16837.6
FAYT | Fayette Electric Coop | 32704.8
FLAT | Flatonia, City of | 4089.2
FRED | Fredericksburg, City of | 23339.6
GARL | Garland Power and Light | 404476
GTWN | Georgetown, City of | 69320.4
GIDN | Giddings, City of | 11601.6
GLDW | Goldthwaite, City of | 4365.2
GONZ | Gonzales, City of | 15560.4
GRBX | Granbury, City of | 16635.2
GEUS | Greenville Electric Utility System | 84518.4
GVEC | Guadalupe Valley Electric Coop | 162628.4
HLTS | Hallettsville, City of | 7330.8
HAMC | Hamilton County Electric Coop | 20207.6
HERN | Hearne, City of | 10092
HEMP | Hempstead, City of | 11319.2
KPUB | Kerrville Public Utility Board | 82938
LGRG | LaGrange Utilities | 13732.8
LMPS | Lampasas, City of | 18463.2
LXGN | Lexington, City of | 2549.2
LHEC | Lighthouse Electric Coop | 903.2
LLAN | Llano, City of | 9040.4
LKHT | Lockhart, City of | 20141.2
LULG | Luling, City of | 9685.2
MVEC | Magic Valley Electric Coop | 199348.4
MASN | Mason, City of | 4278.4
MECX | Medina Electric Coop | 67046
MULT | Moulton, City of | 2097.2
NWBU | New Braunfels Utilities | 148168.4
PECX2 | Pedernales Electric Coop -LCRA | 655394
PECX1 | Pedernales Electric Cooperative, Inc.-AEP | 4520.4
RCEC | Rayburn Country | 338418
REIL | Reliant Energy HL&P | 14140482.4
RGEC1 | Rio Grande Electric Coop | 16809.2
RGEC2 | Rio Grande Electric Coop- LCRA | 0
SBEC | San Bernard Electric Coop | 76886.4
SANM | San Marcos, City of | 83519.6
SNSB | San Saba, City of | 7498.4
SCHL | Schulenberg, City of | 10424.4
SEGN | Seguin, City of | 51546
SHRY | Sharyland Utilities | 4003.6
SHNR | Shiner, City of | 8053.2
SMTH | Smithville, City of | 8736
STEC | South Texas Electric Coop | 225574.4
SWTE | Southwest Texas Electric Coop | 20460.4
SESC | Southwestern Electric Service Co. | 221094.4
TECX | Taylor Electric Coop | 30518
TNMP | Texas-New Mexico Power Company | 1131299.2
TXLA | Tex-La Electric Coop | 69777.6
TXUE | TXU | 18212930.4
WAEL | Waelder, City of | 2509.2
WEAT | Weatherford, City of | 16157.2
WEIM | Weimer, City of | 5758.8
YOKM | Yoakum, City of | 15865.6
| SUBTOTAL | 49731993.2

## TDSP to Load Entity
TDSP |  |  | 4CP
Code | Name | Duns | Enity Code | Entity Name
1 | RELIANT ENERGY HL AND P (TDSP) | 957877905 | REIL | Reliant Energy HL&P
2 | TXU ELECTRIC CO (TDSP) | 1039940674000 | TXUE | TXU
4 | TEXAS-NEW MEXICO POWER CO (TDSP) | 007929441 | TNMP | Texas-New Mexico Power Company
5 | CPL ENERGY DELIVERY COMPANY (CPL-EDC) (TDSP) | 007924772 | AEPX | American Electric Power
7 | WTU ENERGY DELIVERY COMPANY (WTU-EDC) (TDSP) | 007923311 | AEPX | American Electric Power
8 | TXU SESCO CO (TDSP) | 0079280964000 | SESC | Southwestern Electric Service Co.
18 | BANDERA ELECTRIC CO OP INC (TDSP) | 0089451494000 | BAND | Bandera Electric Coop
19 | BARTLETT ELECTRIC CO OP INC | 002781813 | BEPC | Brazos Electric Coop
20 | BELFALLS ELECTRIC CO OP INC (TDSP) | 004998399 | BEPC | Brazos Electric Coop
21 | BIG COUNTRY ELECTRIC CO OP INC (TDSP) | 0058630484000 | BCEC | Big Country Electric Coop
22 | BLUEBONNET ELECTRIC CO OP INC (TDSP) | 0524834354000 | BLUE | Bluebonnet Electric Coop
23 | BRAZOS ELECTRIC POWER CO OP INC(TDSP) | 0037722904000 | BEPC | Brazos Electric Coop
24 | CAP-ROCK ELECTRIC CO OP INC (MCCULLOCH DIVISION) ( | 0079370974000 | HUCO1 | Cap Rock Electric - LCRA
25 | CENTRAL TEXAS ELECTRIC CO OP INC (TDSP) | 0079302744000 | CTEC | Central Texas Electric Coop
26 | CITY OF BASTROP (TDSP) | 0851553724000 | BAST | Bastrop, City of
27 | CITY OF BELLVILLE (TDSP) | 0935648704000 | BELV | Bellville, City of
28 | CITY OF BOERNE (TDSP) | 0052470694000 | BOER | Boerne, City of
29 | CITY OF BRENHAM (TDSP) | 0741649224000 | BRNM | Brenham, City of
30 | CITY OF BRIDGEPORT MUN ELEC SYS (TDSP) | 0842801714000 | BRYN | Bryan Texas Utilities
31 | CITY OF BURNET (TDSP) | 0746121514000 | BRNT | Burnet, City of
32 | CITY OF CUERO (TDSP) | 0526842144000 | CUER | Cuero, City of
33 | CITY OF FLATONIA (TDSP) | 0626890134000 | FLAT | Flatonia, City of
34 | CITY OF FREDERICKSBURG (TDSP) | 0769243074000 | FRED | Fredericksburg, City of
35 | CITY OF GEORGETOWN (TDSP) | 0895923724000 | GTWN | Georgetown, City of
36 | CITY OF GIDDINGS (TDSP) | 0096899514000 | GIDN | Giddings, City of
37 | CITY OF GOLDTHWAITE (TDSP) | 1558252764000 | GLDW | Goldthwaite, City of
38 | CITY OF GONZALES (TDSP) | 0937385404000 | GONZ | Gonzales, City of
39 | CITY OF HALLETTSVILLE (TDSP) | 0090811834000 | HLTS | Hallettsville, City of
40 | CITY OF HEMPSTEAD (TDSP) | 1272175604000 | HEMP | Hempstead, City of
41 | CITY OF LA GRANGE (TDSP) | 0607085184000 | LGRG | LaGrange Utilities
42 | CITY OF LAMPASAS (TDSP) | 0203311204000 | LMPS | Lampasas, City of
43 | CITY OF LEXINGTON (TDSP) | 0081817324000 | LXGN | Lexington, City of
44 | CITY OF LLANO (TDSP) | 0916952054000 | LLAN | Llano, City of
45 | CITY OF LOCKHART (TDSP) | 0746168634000 | LKHT | Lockhart, City of
46 | CITY OF LULING (TDSP) | 0105539984000 | LULG | Luling, City of
47 | CITY OF MASON (TDSP) | 1561267084000 | MASN | Mason, City of
48 | CITY OF MOULTON (TDSP) | 0091871544000 | MULT | Moulton, City of
49 | CITY OF SAN MARCOS (TDSP) | 0694628694000 | SANM | San Marcos, City of
50 | CITY OF SAN SABA (TDSP) | 0248592254000 | SNSB | San Saba, City of
51 | CITY OF SANGER | 058956020 | BEPC | Brazos Electric Coop
52 | CITY OF SCHULENBURG (TDSP) | 0532950364000 | SCHL | Schulenberg, City of
53 | CITY OF SEGUIN (TDSP) | 0862819794000 | SEGN | Seguin, City of
54 | CITY OF SEYMOUR | 166319145 | BEPC | Brazos Electric Coop
55 | CITY OF SHINER (TDSP) | 1504533714000 | SHNR | Shiner, City of
56 | CITY OF SMITHVILLE (TDSP) | 0916978134000 | SMTH | Smithville, City of
57 | CITY OF WAELDER (TDSP) | 0541779694000 | WAEL | Waelder, City of
58 | CITY OF WEIMAR (TDSP) | 0214974584000 | WEIM | Weimer, City of
59 | CITY OF WHITESBORO | 134546522 | BEPC | Brazos Electric Coop
60 | CITY OF YOAKUM (TDSP) | 0694557724000 | YOKM | Yoakum, City of
61 | COLEMAN COUNTY ELECTRIC CO OP INC (TDSP) | 0079246734000 | CCEC | Coleman County Electric Coop
62 | COMANCHE ELECTRIC CO OP ASSOCIATION | 002889210 | BEPC | Brazos Electric Coop
63 | CONCHO VALLEY ELECTRIC CO OP INC (TDSP) | 0038666624000 | CVEC | Concho Valley Electric Coop
64 | COOKE COUNTY ELECTRIC CO OP ASSOC INC | 008951808 | BEPC | Brazos Electric Coop
66 | DEEP EAST TEXAS ELECTRIC CO OP INC | 047845623 | TXLA | Tex-La Electric Coop
67 | DENTON COUNTY ELEC CO OP DBA COSERVE ELEC | 008947913 | BEPC | Brazos Electric Coop
68 | DEWITT ELECTRIC CO OP INC (TDSP) | 0089461884000 | DWEC | Dewitt Electric Coop
69 | FANNIN COUNTY ELECTRIC CO OP INC | 0018220894000 | RCEC | Rayburn Country
70 | FARMERS ELECTRIC CO OP INC DBA FEC ELECTRIC | 0098442344000 | RCEC | Rayburn Country
71 | FAYETTE ELECTRIC CO OP INC (TDSP) | 0593309774000 | FAYT | Fayette Electric Coop
72 | FORT BELKNAP ELECTRIC CO OP INC (TDSP) | 007935299 | BEPC | Brazos Electric Coop
73 | GRANBURY MUNICIPAL UTILITIES (TDSP) | 0952141694000 | GRBX | Granbury, City of
74 | GRAYSON COLLIN ELECTRIC CO OP INC | 008953812 | RCEC | Rayburn Country
75 | GUADALUPE VALLEY ELECTRIC CO OP INC (TDSP) | 0079305894000 | GVEC | Guadalupe Valley Electric Coop
76 | HAMILTON COUNTY ELECTRIC CO OP (BRAZOS) | 008949216 | BEPC | Brazos Electric Coop
77 | HILCO ELECTRIC CO OP INC (TDSP) | 008950545 | BEPC | Brazos Electric Coop
78 | HOUSTON COUNTY ELEC COOP (TDSP) | 005777206 | TXLA | Tex-La Electric Coop
79 | J A C ELECTRIC CO OP INC | 003890795 | BEPC | Brazos Electric Coop
80 | JASPER NEWTON ELECTRIC CO OP INC | 007933518 | TXLA | Tex-La Electric Coop
81 | KERRVILLE PUBLIC UTILITY BOARD (TDSP) | 1248248064000 | KPUB | Kerrville Public Utility Board
82 | LAMAR COUNTY ELEC COOP DBA LEC (TDSP) | 0048060974000 | RCEC | Rayburn Country
83 | LIGHTHOUSE ELECTRIC CO OP (TDSP) | 0028252894000 | LHEC | Lighthouse Electric Coop
85 | LYNTEGAR ELECTRIC CO OP INC (TDSP) | 0079371474000 | TXUE | TXU
86 | MAGIC VALLEY ELECTRIC CO OP INC (TDSP) | 008951501 | MVEC | Magic Valley Electric Coop
87 | MCLENNAN COUNTY ELECTRIC CO OP INC | 007509698 | BEPC | Brazos Electric Coop
88 | MID SOUTH ELECTRIC CO OP ASSOC | 061278594 | BEPC | Brazos Electric Coop
89 | NAVARRO COUNTY ELECTRIC CO OP INC | 006770101 | BEPC | Brazos Electric Coop
90 | NAVASOTA VALLEY ELECTRIC CO OP INC | 046299913 | BEPC | Brazos Electric Coop
91 | NEW BRAUNFELS UTILITIES (TDSP) | 0383461694000 | NWBU | New Braunfels Utilities
92 | PEDERNALES ELECTRIC CO OP INC (TDSP) | 0079241114000 | PECX2 | Pedernales Electric Coop -LCRA
94 | SAM HOUSTON ELECTRIC CO OP INC (TDSP) | 056267867 | TXLA | Tex-La Electric Coop
95 | SAN BERNARD ELECTRIC CO OP (TDSP) | 0089453134000 | SBEC | San Bernard Electric Coop
96 | SOUTH PLAINS ELECTRIC CO OP INC (TDSP) | 007934185 | BEPC | Brazos Electric Coop
97 | SOUTHWEST TEXAS ELECTRIC CO OP INC (TDSP) | 0084158954000 | SWTE | Southwest Texas Electric Coop
98 | TAYLOR ELECTRIC CO OP INC (TDSP) | 0079344254000 | TXUE | TXU
99 | TRI COUNTY ELECTRIC CO OP INC | 008945123 | BEPC | Brazos Electric Coop
100 | TRINITY VALLEY ELEC CO OP | 009844564 | RCEC | Rayburn Country
102 | UNITED ELECTRIC CO OP SERVICES INC | 008945826 | BEPC | Brazos Electric Coop
103 | WISE ELECTRIC CO OP | 041405408 | BEPC | Brazos Electric Coop
104 | BROWNSVILLE PUBLIC UTILITY BOARD (TDSP) | 6063470374000 | BPUB | Brownsville Public Utilities Board
105 | BRYAN TEXAS UTILITIES (TDSP) | 0793907794000 | BRYN | Bryan Texas Utilities
106 | CAP-ROCK ELECTRIC CO OP INC (HUNT COLLIN DIVISION) | 0079370974100 | HUCO2 | Cap Rock Electric
107 | CHEROKEE COUNTY ELEC CO OP ASSOC | 008862625 | TXLA | Tex-La Electric Coop
108 | CITY OF AUSTIN DBA AUSTIN ENERGY (TDSP) | 8008717664000 | AENX | Austin Energy
110 | CITY OF BOWIE (TDSP) | 8094182964000 | BRYN | Bryan Texas Utilities
113 | CITY OF COLEMAN (TDSP) | 1024920064000 | AEPX | American Electric Power
114 | CITY OF COLLEGE STATION (TDSP) | 0403303004000 | COCS | College Station, City of
117 | CITY OF GARLAND (TDSP) | 6011012564000 | GARL | Garland Power and Light
118 | CITY OF GOLDSMITH (TDSP) | 0888946704000 | TXUE | TXU
119 | CITY OF HEARNE MUNICIPAL ELECTRIC SYSTEM (TDSP) | 0897458894000 | HERN | Hearne, City of
121 | CITY OF ROBSTOWN UTILITY SYSTEM (TDSP) | 9387911424000 | AEPX | American Electric Power
122 | CITY OF SAN ANTONIO CITY PUBLIC SERVICE (TDSP) | 0079360734000 | CPST | City Public Service
123 | DENTON MUNICIPAL ELECTRIC (TDSP) | 0003540764000 | DMEX | Denton Municipal Electric
125 | GEUS (TDSP) | 8062449354000 | GEUS | Greenville Electric Utility System
126 | JACKSON ELECTRICAL CO OP INC | 078423555 | STEC | South Texas Electric Coop
127 | KARNES ELECTRIC CO OP INC | 006824106 | STEC | South Texas Electric Coop
128 | MEDINA ELECTRIC CO OP INC (TDSP) STEC | 0081378124000 | MECX | Medina Electric Coop
129 | NUECES ELECTRIC CO OP INC | 008828857 | STEC | South Texas Electric Coop
130 | RIO GRANDE ELECTRIC CO OP (TDSP) | 002781953 | RGEC1 | Rio Grande Electric Coop
131 | SAN MIGUEL ELECTRIC CO OP INC (TDSP) | 0884848524000 | STEC | South Texas Electric Coop
132 | SAN PATRICIO ELECTRIC CO OP (TDSP) | 003864907 | STEC | South Texas Electric Coop
133 | SHARYLAND UTILITIES LP (TDSP) | 105262336 | SHRY | Sharyland Utilities
134 | SOUTH TEXAS ELECTRIC CO OP INC | 0038663324000 | STEC | South Texas Electric Coop
136 | VICTORIA ELECTRIC CO OP INC | 008953861 | STEC | South Texas Electric Coop
137 | WEATHERFORD MUNICIPAL UTILITY SYSTEM (TDSP) | 0817196274000 | WEAT | Weatherford, City of
138 | WHARTON COUNTY ELECTRIC CO OP INC | 118487958 | STEC | South Texas Electric Coop
139 | RUSK COUNTY ELECTRIC CO OP (TDSP) | 009844440 | TXLA | Tex-La Electric Coop
141 | CITY OF GARLAND GBCREEK (TDSP) | 6011012564100 | GARL | Garland Power and Light
142 | HAMILTON COUNTY ELECTRIC CO OP (LCRA) | 0089492164100 | HAMC | Hamilton County Electric Coop
144 | NUECES ELECTRIC CO OP INC AEP (TDSP) | 0088288574100 | STEC | American Electric Power
145 | PEDERNALES ELEC CO OP INC AEP (TDSP) | 0079241114100 | PECX1 | Pedernales Electric Cooperative, Inc.-AEP
146 | TAYLOR ELECTRIC CO OP INC ABILENE (TDSP) | 0079344254100 | TECX | Taylor Electric Coop
147 | VICTORIA ELECTRIC CO OP INC AEP (TDSP) | 0089538614100 | STEC | American Electric Power
149 | MEDINA ELECTRIC CO OP INC (TDSP) AEP | 0081378124100 | MECX | Medina Electric Coop
151 | TEXAS A&M | 0037722904TAM | BEPC | Brazos Electric Coop
152 | SHARYLAND UTILITIES NOIE (TDSP) | 1052623364100 | SHRY | Sharyland Utilities

## TDSP Roll Up Listing
Italized text indicates change from previous filing
TDSP to combine to make Lodestar match Planning List.
TXLA | Tex-La Electric Coop
RUSK COUNTY ELECTRIC CO OP (TDSP)
Deep East Texas Electric Co Op Inc
Houston County Electric Co Op Inc
Jasper-Newton Electric Co Op Inc
SAM HOUSTON ELECTRIC CO OP INC (TDSP)
CHEROKEE COUNTY ELEC CO OP ASSOC
RCEC | Rayburn Country
FANNIN COUNTY ELECTRIC CO OP INC
FARMERS ELECTRIC CO OP INC DBA FEC ELECTRIC
GRAYSON COLLIN ELECTRIC CO OP INC
LAMAR COUNTY ELEC COOP DBA LEC (TDSP)
RAYBURN COUNTRY CO OP DBA RAYBURN ELECTRIC (TDSP)
TRINITY VALLEY ELEC CO OP
STEC | South Texas Electric Coop
JACKSON ELECTRICAL CO OP INC
KARNES ELECTRIC CO OP INC
NUECES ELECTRIC CO OP INC
NUECES ELECTRIC CO OP INC AEP (TDSP)
SAN MIGUEL ELECTRIC CO OP INC (TDSP)
SAN PATRICIO ELECTRIC CO OP (TDSP)
VICTORIA ELECTRIC CO OP INC
VICTORIA ELECTRIC CO OP INC AEP (TDSP)
WHARTON COUNTY ELECTRIC CO OP INC
MECX | Medina Electric Coop
MEDINA ELECTRIC CO OP INC (TDSP) STEC
MEDINA ELECTRIC CO OP INC (TDSP) AEP
AEPX | American Electric Power
CPL ENERGY DELIVERY COMPANY (CPL-EDC) (TDSP)
WTU ENERGY DELIVERY COMPANY (WTU-EDC) (TDSP)
CITY OF ROBSTOWN UTILITY SYSTEM (TDSP)
CITY OF COLEMAN (TDSP)
TXUE | TXU
TXU ELECTRIC CO (TDSP)
CITY OF GOLDSMITH (TDSP)
LYNTEGAR ELECTRIC CO OP INC (TDSP)
TAYLOR ELECTRIC CO OP INC (TDSP)
BEPC | Brazos Electric Coop
BRAZOS ELECTRIC POWER CO OP INC(TDSP)
BARTLETT ELECTRIC CO OP INC
BELFALLS ELECTRIC CO OP INC (TDSP)
CITY OF SANGER
CITY OF SEYMOUR
CITY OF WHITESBORO
COMANCHE ELECTRIC CO OP ASSOCIATION
COOKE COUNTY ELECTRIC CO OP ASSOC INC
DENTON COUNTY ELEC CO OP DBA COSERVE ELEC
FORT BELKNAP ELECTRIC CO OP INC (TDSP)
HAMILTON COUNTY ELECTRIC CO OP (BRAZOS)
HILCO ELECTRIC CO OP INC (TDSP)
J A C ELECTRIC CO OP INC
MCLENNAN COUNTY ELECTRIC CO OP INC
MID SOUTH ELECTRIC CO OP ASSOC
NAVARRO COUNTY ELECTRIC CO OP INC
NAVASOTA VALLEY ELECTRIC CO OP INC
SOUTH PLAINS ELECTRIC CO OP INC (TDSP)
TEXAS A&M
TRI COUNTY ELECTRIC CO OP INC
UNITED ELECTRIC CO OP SERVICES INC
WISE ELECTRIC CO OP
BRYN | Bryan Texas Utilities
CITY OF BOWIE (TDSP)
BRYAN TEXAS UTILITIES (TDSP)
CITY OF BRIDGEPORT MUN ELEC SYS (TDSP)
GARL | Garland Power and Light
CITY OF GARLAND (TDSP)
CITY OF GARLAND GBCREEK (TDSP)