## 1998 FOUR CP CALCULATION
1998 Four Coincident Peak Load Calculation
LSE Acronym | Load Serving Entity | June Load at ERCOT Coincident Peak kW | July Load at ERCOT Coincident Peak kW | August Load at ERCOT Coincident Peak kW | September Load at ERCOT Coincident Peak kW | Average 4CP Load kW | ERCOT ES PIETF 1998 Summer On Peak Loss Adjustment Factor Percent | Average 4CP Load at Delivery Point kW | ERCOT ES PIETF 1998 Summer On Peak VAMO Loss Allocation Percent | 1998 Load Responsibility kW | Load Ratio Share | LSE Acronym
AENX | Austin Energy | 1937414 | 1930472 | 2025374 | 1875472 | 1942183 | 1.899 | 1905989 | 1.9459 | 1943077.6 | 3.745% | AENX
BEPC | Brazos Electric Coop | 1206276 | 1282843 | 1318221 | 1315087 | 1280606.8 | 0 | 1280606.8 | 3.913 | 1330717.3 | 2.565% | BEPC
BPMX | Brazos Power Marketing | 47000 | 27000 | 47000 | 53000 | 43500 | 0 | 43500 | 5.0558 | 45699.3 | 0.08808% | BPMX
BRYN | Bryan Texas Utility | 230000 | 233000 | 251000 | 246000 | 240000 | 0.84547 | 237987.9 | 1.4923 | 241539.3 | 0.4656% | BRYN
COCS | City of College Station | 126710 | 131420 | 135630 | 138740 | 133125 | 0.17442 | 132893.2 | 3.9758 | 138176.8 | 0.2663% | COCS
CODX | City of Denton | 227543 | 236214 | 244585 | 243358 | 237925 | 0.34057 | 237117.4 | 1.8704 | 241552.6 | 0.4656% | CODX
COFV | City of Farmersville | 5567 | 6286 | 6630 | 6753 | 6309 | 0 | 6309 | 3.3932 | 6523.1 | 0.01257% | COFV
COGX | City of Garland | 449094 | 468547 | 486221 | 478347 | 470552.3 | 1.4757 | 463709.4 | 2.4117 | 474892.5 | 0.9153% | COGX
CPLC | Central Power & Light | 4170449.1 | 4278490.1 | 4064080.7 | 3907724.5 | 4105186.1 | 4.0595 | 3945037.7 | 3.1696 | 4070078.8 | 7.845% | CPLC
CPST | City Public Service of SA | 3505247.4 | 3501082.2 | 3636317.5 | 3362698 | 3501336.3 | 1.4635 | 3450834.4 | 1.3668 | 3497999.4 | 6.742% | CPST
GEUS | Greenville Electric Utility | 96163 | 97363 | 105799 | 99295 | 99655 | 0.81633 | 98848.1 | 2.6706 | 101487.9 | 0.1956% | GEUS
GRBX | City of Granbury | 16200 | 16640 | 17290 | 17290 | 16855 | 0 | 16855 | 6.2309 | 17905.2 | 0.03451% | GRBX
HERN | City of Hearne | 10297 | 11085 | 11856 | 10878 | 11029 | 0 | 11029 | 9.5331 | 12080.4 | 0.02328% | HERN
HLPC | Houston Lighting & Power Company | 13681271 | 13959702 | 14271010 | 13183462 | 13773861.3 | 1.0967 | 13624442 | 1.0529 | 13767897.8 | 26.54% | HLPC
HUCO | Cap Rock Hunt Collin | 13883 | 14724 | 15950 | 15627 | 15046 | 0 | 15046 | 3.3932 | 15556.5 | 0.02998% | HUCO
LCRA | Lower Colorado River Authority | 2268203 | 2283882 | 2360476 | 2167616 | 2270044.3 | 2.7779 | 2208689.1 | 2.3369 | 2260304.8 | 4.357% | LCRA
MECX | Medina Electric Coop | 78443.5 | 75502.3 | 72590.9 | 61192.9 | 71932.4 | 7.2347 | 67079.4 | 7.5131 | 72119.1 | 0.139% | MECX
PUBX | Public Utilties Board, Brownsville | 178746.6 | 178702.9 | 188708.8 | 177703 | 180965.3 | 0.20779 | 180590.1 | 2.4 | 184924.2 | 0.3564% | PUBX
RCEC | Rayburn Country Electric Coop | 332467 | 354491 | 358297 | 368992 | 353561.8 | 0.11706 | 353148.4 | 5.6068 | 372948.7 | 0.7188% | RCEC
SESC | Southwestern Electric Service Company | 232960 | 243700 | 257200 | 246700 | 245140 | 0.93496 | 242869.3 | 5.6047 | 256481.4 | 0.4944% | SESC
STEC | South Texas Electric Coop | 233514.5 | 245389.7 | 248898.1 | 220161.1 | 236990.9 | 5.7276 | 224152.3 | 4.3644 | 233935.1 | 0.4509% | STEC
TNMP | Texas New Mexico Power Company | 610300 | 657650 | 643810 | 634220 | 636495 | 0.67568 | 632223.2 | 2.0808 | 645378.5 | 1.244% | TNMP
TUEC | TU Electric | 19905330 | 20247580 | 21180370 | 20560260 | 20473385 | 2.3098 | 20011167.1 | 2.1604 | 20443494.4 | 39.4% | TUEC
TXLA | TexLa Electric Coop | 104148 | 107938 | 108149 | 102865 | 105775 | 0 | 105775 | 4.187 | 110203.8 | 0.2124% | TXLA
WEAT | City of Weatherford | 57845 | 59398 | 60952 | 59372 | 59391.8 | 0 | 59391.8 | 6.8491 | 63459.6 | 0.1223% | WEAT
WTUC | West Texas Utilities | 1279789.9 | 1311715 | 1404799.4 | 1267335.5 | 1315910 | 2.6858 | 1281491.7 | 4.1351 | 1334483 | 2.572% | WTUC
|  | 51004862 | 51960817.2 | 53521215.4 | 50820149 | 51826761.3 |  | 50836782.3 |  | 51882917.1 | 100%

## ISO DATA REVIEW
Integrated Peak Hour Demand 6/19/1998 17:00
|  |  | Submitted Data from Load Serving Entities |  |  |  | Actual Reported Data by Control Area |  |  |  | ERCOT ISO SIS LOAD REPORT
LSE Acronym | Load Serving Entity Name | Control Area | Submitted Load kW (does not include GSU losses) | Submitted GSU Losses kW | Submitted Transmission Losses kW | Submitted Control Area Total kW | Demand & Energy CA Report MW | Amount Difference MW | Percent Difference D&E and Submit | Notes | SIS LOAD REPORT | Amount Difference MW | Percent Difference SIS and Submit
AENX | Austin Energy | AENX | 1937414 | 3586 | - | 1941000 | 1951 | -10 | -0.5126% |  | 1990 | -49 | -2.462%
CPST | City Public Service of SA | CPST | 3505247.4 | 9752.6 | - | 3515000 | 3515 | 0 | 0% |  | 3515 | 0 | 0%
CPLC | Central Power & Light | CSWS | 4170449.1 | 8362.5 | - | 5966820.6 | 6331 | -364.1794 | -5.752% | Rayburn Country (RCEC) was double counted in the D&E Report | 5988 | -21.1794 | -0.3537%
HERN | City of Hearne | CSWS | 10297 | - | - | -
RCEC | Rayburn Country Electric Coop | CSWS | 332467 | - | - | - | - | - | - |  |  | - | -
TXLA | TexLa Electric Coop | CSWS | 104148 | - | - | - | - | - | - |  |  | - | -
WEAT | City of Weatherford | CSWS | 57845 | 23 | - | - | - | - | - |  |  | - | -
WTUC | West Texas Utilities | CSWS | 1279789.9 | 3439.1 | - | - | - | - | - |  |  | - | -
HLPC | Houston Lighting & Power Company | HLPT | 13681271 | 40800 | - | 13722071 | 13737 | -14.929 | -0.1087% |  | 13450 | 272.071 | 2.023%
LCRA | Lower Colorado River Authority | LCRA | 2268203 | 6689 | - | 2274892 | 2229 | 45.892 | 2.059% |  | 2219 | 55.892 | 2.519%
PUBX | Public Utilties Board, Brownsville | PUBX | 178746.6 | 253.4 | - | 179000 | 179 | 0 | 0% |  | 179 | 0 | 0%
MECX | Medina Electric Coop | STEC | 78443.5 | - | - | 311958 | 314 | -2.042 | -0.6503% |  | 315 | -3.042 | -0.9657%
STEC | South Texas Electric Coop | STEC | 233514.5 | - | - | - | - | - | - |  |  | - | -
BEPC | Brazos Electric Coop * | TMPP | 1206276 | 2698 | 40626 | 2315600 | 2261 | 54.6 | 2.415% |  | 2261 | 54.6 | 2.415%
BPMX | Brazos Power Marketing | TMPP | 47000 | - | - | - | - | - | - |  |  | - | -
BRYN | Bryan Texas Utility | TMPP | 230000 | - | - | - | - | - | - |  |  | - | -
CODX | City of Denton | TMPP | 227543 | - | - | - | - | - | - |  |  | - | -
COGX | City of Garland | TMPP | 449094 | - | - | - | - | - | - |  |  | - | -
GEUS | Greenville Electric Utility | TMPP | 96163 | - | - | - | - | - | - |  |  | - | -
GRBX | City of Granbury | TMPP | 16200 | - | - | - | - | - | - |  |  | - | -
COFV | City of Farmersville | TNMP | 5567 | - | - | 630550 | 632 | -1.45 | -0.2294% |  | 602 | 28.55 | 4.743%
HUCO | Cap Rock Hunt Collin | TNMP | 13883 | - | - |  | - | - | - |  |  | - | -
TNMP | Texas New Mexico Power Company | TNMP | 610300 | 800 | - | - | - | - | - | Includes 30 MW TNP One to TNMP Lewisville |  | - | -
COCS | City of College Station | TUET | 126710 | - | - | 20329000 | 20289 | 40 | 0.1972% |  | 20387 | -58 | -0.2845%
SESC | Southwestern Electric Service Company | TUET | 232960 | - | - | - | - | - | - | SESCO Full Requirements Customer of TUE until June 30, 1998 |  | - | -
TUEC | TU Electric | TUET | 19905330 | 64000 | - | - | - | - | - | Includes 263,025 kW TNMP Load |  | - | -
| SUBTOTAL |  | 51004862 | 140403.6 | 40626 | 51185891.6 | 51438 | -252.1084 | -0.4901% |  | 50906 | 279.8916 | 0.5498%
*Note : This information is metered load and is verifiable.
Integrated Peak Hour Demand 7/31/1998 17:00
|  |  | Submitted Data from Load Serving Entities |  |  |  | Actual Reported Data by Control Area |  |  |  | ERCOT ISO SIS LOAD REPORT
LSE Acronym | Load Serving Entity | Control Area | Submitted Load kW (does not include GSU losses) | Submitted GSU Losses kW | Submitted Transmission Losses kW | Submitted Control Area Total kW | Demand & Energy CA Report MW | Amount Difference MW | Percent Difference D&E and 4CP Submit | Notes | SIS LOAD REPORT | Amount Difference MW | Percent Difference SIS and 4CP Submit
AENX | Austin Energy | AENX | 1930472 | 3528 | - | 1934000 | 1944 | -10 | -0.5144% |  | 1958 | -24 | -1.226%
CPST | City Public Service of SA | CPST | 3501082.2 | 8917.8 | - | 3510000 | 3510 | 0 | 0% |  | 3510 | 0 | 0%
CPLC | Central Power & Light | CSWS | 4278490.1 | 7825.9 | - | 6134282 | 6495 | -360.718 | -5.554% | Rayburn Country (RCEC) was double counted in the D&E Report | 6131 | 3.282 | 0.05353%
HERN | City of Hearne | CSWS | 11085 | - | - | - |  |  |  |  | - | - | -
RCEC | Rayburn Country Electric Coop | CSWS | 354491 | - | - | - | - | - | - |  | - | - | -
TXLA | TexLa Electric Coop | CSWS | 107938 | - | - | - | - | - | - |  | - | - | -
WEAT | City of Weatherford | CSWS | 59398 | 23 | - | - | - | - | - |  | - | - | -
WTUC | West Texas Utilities | CSWS | 1311715 | 3316 | - | - | - | - | - |  | - | - | -
HLPC | Houston Lighting & Power Company | HLPT | 13959702 | 49160 | - | 14008862 | 13991 | 17.862 | 0.1277% |  | 13940 | 68.862 | 0.494%
LCRA | Lower Colorado River Authority | LCRA | 2283882 | 6064 | - | 2533646 | 2271 | 262.646 | 11.57% | SESCO not reported in D&E | 2509 | 24.646 | 0.9823%
SESC | Southwestern Electric Service Company | LCRA | 243700 | - | - | - | - | - | - | SESCO moved to LCRA CA July 1, 1998 | - | - | -
PUBX | Public Utilties Board, Brownsville | PUBX | 178702.9 | 297.1 | - | 179000 | 179 | 0 | 0% |  | 179 | 0 | 0%
MECX | Medina Electric Coop | STEC | 75502.3 | - | - | 320892 | 320 | 0.892 | 0.2787% |  | 321 | -0.108 | -0.03364%
STEC | South Texas Electric Coop | STEC | 245389.7 | - | - | - | - | - | - |  | - | - | -
BEPC | Brazos Electric Coop * | TMPP | 1282843 | 2501 | 57656 | 2421764 | 2419 | 2.764 | 0.1143% |  | 2419 | 2.764 | 0.1143%
BPMX | Brazos Power Marketing | TMPP | 27000 | - | - | - | - | - | - |  | - | - | -
BRYN | Bryan Texas Utility | TMPP | 233000 | - | - | - | - | - | - |  | - | - | -
CODX | City of Denton | TMPP | 236214 | - | - | - | - | - | - |  | - | - | -
COGX | City of Garland | TMPP | 468547 | - | - | - | - | - | - |  | - | - | -
GEUS | Greenville Electric Utility | TMPP | 97363 | - | - | - | - | - | - |  | - | - | -
GRBX | City of Granbury | TMPP | 16640 | - | - | - | - | - | - |  | -
COFV | City of Farmersville | TNMP | 6286 | - | - | 679460 | 681 | -1.54 | -0.2261% |  | 651 | 28.46 | 4.372%
HUCO | Cap Rock Hunt Collin | TNMP | 14724 | - | - |  | - | - | - |  | - | - | -
TNMP | Texas New Mexico Power Company | TNMP | 657650 | 800 | - | - | - | - | - | Includes 30 MW TNP One to TNMP Lewisville | - | - | -
COCS | City of College Station | TUET | 131420 | - | - | 20439000 | 20439 | 0 | 0% |  | 20469 | -30 | -0.1466%
TUEC | TU Electric | TUET | 20247580 | 60000 | - | - | - | - | - | Includes 263,025 kW TNMP Load | - | - | -
| SUBTOTAL |  | 51960817.2 | 142432.8 | 57656 | 52160906 | 52249 | -88.094 | -0.1686% |  | 52087 | 73.906 | 0.1419%
Integrated Peak Hour Demand 8/3/1998 16:00
|  |  | Submitted Data from Load Serving Entities |  |  |  | Actual Reported Data by Control Area |  |  |  | ERCOT ISO SIS LOAD REPORT
LSE Acronym | Load Serving Entity | Control Area | Submitted Load kW (does not include GSU losses) | Submitted GSU Losses kW | Submitted Transmission Losses kW | Submitted Control Area Total kW | Demand & Energy CA Report MW | Amount Difference MW | Percent Difference D&E and Submit | Notes | SIS LOAD CA REPORT | Amount Difference MW | Percent Difference SIS and 4CP Submit
AENX | Austin Energy | AENX | 2025374 | 3626 | - | 2029000 | 2039 | -10 | -0.4904% |  | 2068 | -39 | -1.886%
CPST | City Public Service of SA | CPST | 3636317.5 | 9682.5 | - | 3646000 | 3646 | 0 | 0% |  | 3646 | 0 | 0%
CPLC | Central Power & Light | CSWS | 4064080.7 | 7961.3 | - | 6019554 | 6381 | -361.446 | -5.664% | Rayburn Country (RCEC) was double counted in the D&E Report | 6014 | 5.554 | 0.09235%
HERN | City of Hearne | CSWS | 11856 | - | - | - |  |  |  |  | - | - | -
RCEC | Rayburn Country Electric Coop | CSWS | 358297 | - | - | - | - | - | - |  | - | - | -
TXLA | TexLa Electric Coop | CSWS | 108149 | - | - | - | - | - | - |  | - | - | -
WEAT | City of Weatherford | CSWS | 60952 | 13 | - | - | - | - | - |  | - | - | -
WTUC | West Texas Utilities | CSWS | 1404799.4 | 3445.6 | - | - | - | - | - |  | - | - | -
HLPC | Houston Lighting & Power Company | HLPT | 14271010 | 44630 | - | 14315640 | 14248 | 67.64 | 0.4747% |  | 14182 | 133.64 | 0.9423%
LCRA | Lower Colorado River Authority | LCRA | 2360476 | 7775 | - | 2625451 | 2335 | 290.451 | 12.44% | SESCO not included in D&E Report | 2600 | 25.451 | 0.9789%
SESC | Southwestern Electric Service Company | LCRA | 257200 | - | - | - | - | - | - |  | - | - | -
PUBX | Public Utilties Board, Brownsville | PUBX | 188708.8 | 291.2 | - | 189000 | 187 | 2 | 1.07% |  | 187 | 2 | 1.07%
MECX | Medina Electric Coop | STEC | 72590.9 | - | - | 321489 | 275 | 46.489 | 16.91% |  | 325 | -3.511 | -1.08%
STEC | South Texas Electric Coop | STEC | 248898.1 | - | - | - | - | - | - |  | - | - | -
BEPC | Brazos Electric Coop * | TMPP | 1318221 | 2796 | 64983 | 2537895 | 2524 | 13.895 | 0.5505% |  | 2524 | 13.895 | 0.5505%
BPMX | Brazos Power Marketing | TMPP | 47000 | - | - | - | - | - | - |  | - | - | -
BRYN | Bryan Texas Utility | TMPP | 251000 | - | - | - | - | - | - |  | - | - | -
CODX | City of Denton | TMPP | 244585 | - | - | - | - | - | - |  | - | - | -
COGX | City of Garland | TMPP | 486221 | - | - | - | - | - | - |  | - | - | -
GEUS | Greenville Electric Utility | TMPP | 105799 | - | - | - | - | - | - |  | - | - | -
GRBX | City of Granbury | TMPP | 17290 | - | - | - | - | - | - |  | -
COFV | City of Farmersville | TNMP | 6630 | - | - | 667390 | 671 | -3.61 | -0.538% |  | 641 | 26.39 | 4.117%
HUCO | Cap Rock Hunt Collin | TNMP | 15950 | - | - |  | - | - | - |  | - | - | -
TNMP | Texas New Mexico Power Company | TNMP | 643810 | 1000 | - | - | - | - | - | Includes 30 MW TNP One to TNMP Lewisville | - | - | -
COCS | City of College Station | TUET | 135630 | - | - | 21383000 | 21383 | 0 | 0% |  | 21413 | -30 | -0.1401%
TUEC | TU Electric | TUET | 21180370 | 67000 | - | - | - | - | - | Includes 286,512 kW TNMP Load | - | - | -
| SUBTOTAL |  | 53521215.4 | 148220.6 | 64983 | 53734419 | 53689 | 45.419 | 0.0846% |  | 53600 | 134.419 | 0.2508%
Integrated Peak Hour Demand 9/4/1998 17:00
|  |  | Submitted Data from Load Serving Entities |  |  |  | Actual Reported Data by Control Area |  |  |  | ERCOT ISO SIS LOAD REPORT
LSE Acronym | Load Serving Entity | Control Area | Submitted Load kW (does not include GSU losses) | Submitted GSU Losses kW | Submitted Transmission Losses kW | Submitted Control Area Total kW | Demand & Energy CA Report MW | Amount Difference MW | Percent Difference D&E and Submit | Notes | SIS LOAD CA REPORT | Amount Difference MW | Percent Difference SIS and 4CP Submit
AENX | Austin Energy | AENX | 1875472 | 3528 | - | 1879000 | 1881 | -2 | -0.1063% |  | 1865 | 14 | 0.7507%
CPST | City Public Service of SA | CPST | 3362698 | 9302 | - | 3372000 | 3372 | 0 | 0% |  | 3372 | 0 | 0%
CPLC | Central Power & Light | CSWS | 3907724.5 | 8362.5 | - | 5718843 | 6294 | -575.157 | -9.138% | Rayburn Country (RCEC) was double counted in the D&E Report | 5690 | 28.843 | 0.5069%
HERN | City of Hearne | CSWS | 10878 | - | - | - |  |  |  |  | - | - | -
RCEC | Rayburn Country Electric Coop | CSWS | 358992 | - | - | - | - | - | - |  | - | - | -
TXLA | TexLa Electric Coop | CSWS | 102865 | - | - | - | - | - | - |  | - | - | -
WEAT | City of Weatherford | CSWS | 59372 | 13 | - | - | - | - | - |  | - | - | -
WTUC | West Texas Utilities | CSWS | 1267335.5 | 3300.5 | - | - | - | - | - |  | - | - | -
HLPC | Houston Lighting & Power Company | HLPT | 13183462 | 40960 | - | 13224422 | 13209 | 15.422 | 0.1168% |  | 12950 | 274.422 | 2.119%
LCRA | Lower Colorado River Authority | LCRA | 2167616 | 5840 | - | 2420156 | 2161 | 259.156 | 11.99% | SESCO not included in D&E Report | 2412 | 8.156 | 0.3381%
SESC | Southwestern Electric Service Company | LCRA | 246700 | - | - | - | - | - | - |  | - | - | -
PUBX | Public Utilties Board, Brownsville | PUBX | 177703 | 297 | - | 178000 | 178 | 0 | 0% |  | 178 | 0 | 0%
MECX | Medina Electric Coop | STEC | 61192.9 | - | - | 281354 | 283 | -1.646 | -0.5816% |  | 284 | -2.646 | -0.9317%
STEC | South Texas Electric Coop | STEC | 220161.1 | - | - | - | - | - | - |  | - | - | -
BEPC | Brazos Electric Coop * | TMPP | 1315087 | 2648 | 40265 | 2495290 | 2471 | 24.29 | 0.983% |  | 2471 | 24.29 | 0.983%
BPMX | Brazos Power Marketing | TMPP | 53000 | - | - | - | - | - | - |  | - | - | -
BRYN | Bryan Texas Utility | TMPP | 246000 | - | - | - | - | - | - |  | - | - | -
CODX | City of Denton | TMPP | 243358 | - | - | - | - | - | - |  | - | - | -
COGX | City of Garland | TMPP | 478347 | - | - | - | - | - | - |  | - | - | -
GEUS | Greenville Electric Utility | TMPP | 99295 | - | - | - | - | - | - |  | - | - | -
GRBX | City of Granbury | TMPP | 17290 | - | - | - | - | - | - |  | -
COFV | City of Farmersville | TNMP | 6753 | - | - | 657600 | 655 | 2.6 | 0.3969% |  | 625 | 32.6 | 5.216%
HUCO | Cap Rock Hunt Collin | TNMP | 15627 | - | - |  | - | - | - |  | - | - | -
TNMP | Texas New Mexico Power Company | TNMP | 634220 | 1000 | - | - | - | - | - | Includes 30 MW TNP One to TNMP Lewisville | - | - | -
COCS | City of College Station | TUET | 138740 | - | - | 20764000 | 20764 | 0 | 0% |  | 20794 | -30 | -0.1443%
TUEC | TU Electric | TUET | 20560260 | 65000 | - | - | - | - | - | Includes 277,668 kW TNMP Load | - | - | -
| SUBTOTAL |  | 50810149 | 140251 | 40265 | 50990665 | 51268 | -277.335 | -0.541% |  | 50641 | 349.665 | 0.6905%