## June 19, 1996 @1700
Control Area Schedules
(For Control Area loads)
Control Areas
Transaction | Receiving Control Area | Control Area Load | Generation | COA | CPL | CPSB | HLP | LCRA | PUB | STECMEC | TMPP | TNP | TUEC | WTU | SPP | Total Purchases | Inadvertent
|  | (A+B+C) | (A) | [12 empty] | (B) | (C)
|  | 0 | [13 empty] | 0
Internal Generation | STECMEC | 247.1 | 247.1 | [12 empty] | 0
|  | 0 | [13 empty] | 0
Inadvertent | STECMEC | -1 | [13 empty] | 0 | -1
|  | 0 | [13 empty] | 0
|  | 0 | [13 empty] | 0
AMISTAD/FALCON ALLOCATION | STECMEC | 20 |  |  | 20 | [10 empty] | 20
CPL TO STECMEC LOAD EXCHANGE | STECMEC | 10 |  |  | 10 | [10 empty] | 10
LCRA TO STECMEC LOAD EXCHANGE | STECMEC | 2 | [5 empty] | 2 | [7 empty] | 2
REPLACEMENT FROM COA | STECMEC | 30 |  | 30 | [11 empty] | 30
|  | 0 | [13 empty] | 0
|  | 0 | [13 empty] | 0
|  | 0 | [13 empty] | 0
|  | 0 | [13 empty] | 0
|  | 0 | [13 empty] | 0
|  | 0 | [13 empty] | 0
|  | 0 | [13 empty] | 0
Totals | STECMEC | 308.1 | 247.1 | 30 | 30 | 0 | 0 | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 62 | -1
Control Area Adjustments
(For both Control Area loads and Point of Delivery loads)
Control Areas
Transaction | Receiving Utility | Load Responsibility | Control Area Load | COA | CPL | CPSB | HLP | LCRA | PUB | STECMEC | TMPP | TNP | TUEC | WTU | Total Adjustment
|  | (A+B) | (A) | [11 empty] | (B)
|  | 0 | [12 empty] | 0
Control Area Load | STECMEC | 308.1 | 308.1 | [11 empty] | 0
CPL LOAD IN STECMEC AREA | CPL | -13.752 | [7 empty] | -13.752 |  |  |  |  | -13.752
LCRA LOAD IN STECMEC AREA | LCRA | -4.373 | [7 empty] | -4.373 |  |  |  |  | -4.373
|  | 0 | [12 empty] | 0
|  | 0 | [12 empty] | 0
Totals | STECMEC | 289.975 | 308.1 | 0 | 0 | 0 | 0 | 0 | 0 | -18.125 | 0 | 0 | 0 | 0 | -18.125
|  |  |  | X,XXX | Control area load is reconciled in the top calculation and transferred to the bottom calculation. This value is zero (0) for point of delivery loads.
|  |  |  | X,XXX | This is the Load Responsibility value that is be used for the postage stamp calculation. Loss adjustments must be applied to determine a load ratio share.

## July 22, 1996 @1700
Control Area Schedules
(For Control Area loads)
Control Areas
Transaction | Receiving Control Area | Control Area Load | Generation | COA | CPL | CPSB | HLP | LCRA | PUB | STECMEC | TMPP | TNP | TUEC | WTU | SPP | Total Purchases | Inadvertent
|  | (A+B+C) | (A) | [12 empty] | (B) | (C)
|  | 0 | [13 empty] | 0
Internal Generation | STECMEC | 226.65 | 226.65 | [12 empty] | 0
|  | 0 | [13 empty] | 0
Inadvertent | STECMEC | 0 | [13 empty] | 0 | 0
|  | 0 | [13 empty] | 0
AMISTAD/FALCON HYDRO ALLOCATION |  | 15 |  |  | 15 | [10 empty] | 15
CPL TO STECMEC LOAD EXCHANGE | STECMEC | 10 |  |  | 10 | [10 empty] | 10
LCRA TO STECMEC LOAD EXCHANGE | STECMEC | 4 | [5 empty] | 4 | [7 empty] | 4
REPLACEMENT FROM TU ELECTRIC | STECMEC | 30 | [10 empty] | 30 |  |  | 30
ECONOMY C FROM TU ELECTRIC | STECMEC | 15 | [10 empty] | 15 |  |  | 15
|  | 0 | [13 empty] | 0
|  | 0 | [13 empty] | 0
|  | 0 | [13 empty] | 0
|  | 0 | [13 empty] | 0
|  | 0 | [13 empty] | 0
|  | 0 | [13 empty] | 0
|  | 0 | [13 empty] | 0
Totals | STECMEC | 300.65 | 226.65 | 0 | 25 | 0 | 0 | 4 | 0 | 0 | 0 | 0 | 45 | 0 | 0 | 74 | 0
Control Area Adjustments
(For both Control Area loads and Point of Delivery loads)
Control Areas
Transaction | Receiving Utility | Load Responsibility | Control Area Load | COA | CPL | CPSB | HLP | LCRA | PUB | STECMEC | TMPP | TNP | TUEC | WTU | Total Adjustment
|  | (A+B) | (A) | [11 empty] | (B)
|  | 0 | [12 empty] | 0
Control Area Load | STECMEC | 300.65 | 300.65 | [11 empty] | 0
CPL LOAD IN STECMEC AREA | CPL | -12.78 | [7 empty] | -12.78 |  |  |  |  | -12.78
LCRA LOAD IN STECMEC AREA | LCRA | -4 | [7 empty] | -4 |  |  |  |  | -4
|  | 0 | [12 empty] | 0
|  | 0 | [12 empty] | 0
Totals | STECMEC | 283.87 | 300.65 | 0 | 0 | 0 | 0 | 0 | 0 | -16.78 | 0 | 0 | 0 | 0 | -16.78
|  |  |  | X,XXX | Control area load is reconciled in the top calculation and transferred to the bottom calculation. This value is zero (0) for point of delivery loads.
|  |  |  | X,XXX | This is the Load Responsibility value that is be used for the postage stamp calculation. Loss adjustments must be applied to determine a load ratio share.

## August 5, 1996 @1700
Control Area Schedules
(For Control Area loads)
Control Areas
Transaction | Receiving Control Area | Control Area Load | Generation | COA | CPL | CPSB | HLP | LCRA | PUB | STECMEC | TMPP | TNP | TUEC | WTU | SPP | Total Purchases | Inadvertent
|  | (A+B+C) | (A) | [12 empty] | (B) | (C)
|  | 0 | [13 empty] | 0
Internal Generation | STECMEC | 255.44 | 255.44 | [12 empty] | 0
|  | 0 | [13 empty] | 0
Inadvertent | STECMEC | -1 | [13 empty] | 0 | -1
|  | 0 | [13 empty] | 0
AMISTAD/FALCON HYDRO ALLOCATION |  | 10 |  |  | 10 | [10 empty] | 10
CPL TO STECMEC LOAD EXCHANGE | STECMEC | 10 |  |  | 10 | [10 empty] | 10
LCRA TO STECMEC LOAD EXCHANGE | STECMEC | 4 | [5 empty] | 4 | [7 empty] | 4
REPLACEMENT FROM HLP | STECMEC | 30 |  |  |  |  | 30 | [8 empty] | 30
| STECMEC | 0 | [13 empty] | 0
|  | 0 | [13 empty] | 0
|  | 0 | [13 empty] | 0
|  | 0 | [13 empty] | 0
|  | 0 | [13 empty] | 0
|  | 0 | [13 empty] | 0
|  | 0 | [13 empty] | 0
|  | 0 | [13 empty] | 0
Totals | STECMEC | 308.44 | 255.44 | 0 | 20 | 0 | 30 | 4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 54 | -1
Control Area Adjustments
(For both Control Area loads and Point of Delivery loads)
Control Areas
Transaction | Receiving Utility | Load Responsibility | Control Area Load | COA | CPL | CPSB | HLP | LCRA | PUB | STECMEC | TMPP | TNP | TUEC | WTU | Total Adjustment
|  | (A+B) | (A) | [11 empty] | (B)
|  | 0 | [12 empty] | 0
Control Area Load | STECMEC | 308.44 | 308.44 | [11 empty] | 0
CPL LOAD IN STECMEC AREA | CPL | -14.472 | [7 empty] | -14.472 |  |  |  |  | -14.472
LCRA LOAD IN STECMEC AREA | LCRA | -4 | [7 empty] | -4 |  |  |  |  | -4
|  | 0 | [12 empty] | 0
|  | 0 | [12 empty] | 0
Totals | STECMEC | 289.968 | 308.44 | 0 | 0 | 0 | 0 | 0 | 0 | -18.472 | 0 | 0 | 0 | 0 | -18.472
|  |  |  | X,XXX | Control area load is reconciled in the top calculation and transferred to the bottom calculation. This value is zero (0) for point of delivery loads.
|  |  |  | X,XXX | This is the Load Responsibility value that is be used for the postage stamp calculation. Loss adjustments must be applied to determine a load ratio share.

## September 10, 1996 @1800
Control Area Schedules
(For Control Area loads)
Control Areas
Transaction | Receiving Control Area | Control Area Load | Generation | COA | CPL | CPSB | HLP | LCRA | PUB | STECMEC | TMPP | TNP | TUEC | WTU | SPP | Total Purchases | Inadvertent
|  | (A+B+C) | (A) | [12 empty] | (B) | (C)
|  | 0 | [13 empty] | 0
Internal Generation | STECMEC | 209.3 | 209.3 | [12 empty] | 0
|  | 0 | [13 empty] | 0
Inadvertent | STECMEC | 2 | [13 empty] | 0 | 2
|  | 0 | [13 empty] | 0
AMISTAD/FALCON HYDRO ALLOCATION |  | 10 |  |  | 10 | [10 empty] | 10
CPL TO STECMEC LOAD EXCHANGE | STECMEC | 10 |  |  | 10 | [10 empty] | 10
LCRA TO STECMEC LOAD EXCHANGE | STECMEC | 4 | [5 empty] | 4 | [7 empty] | 4
REPLACEMENT FROM LCRA | STECMEC | 50 | [5 empty] | 50 | [7 empty] | 50
ECONOMY C FROM LCRA | STECMEC | 10 | [5 empty] | 10 | [7 empty] | 10
SALE TO TUEC (RAYBURN COUNTRY) | TUEC | -50 | [7 empty] | -50 | [5 empty] | -50
|  | 0 | [13 empty] | 0
|  | 0 | [13 empty] | 0
|  | 0 | [13 empty] | 0
|  | 0 | [13 empty] | 0
|  | 0 | [13 empty] | 0
|  | 0 | [13 empty] | 0
Totals | STECMEC | 245.3 | 209.3 | 0 | 20 | 0 | 0 | 64 | 0 | -50 | 0 | 0 | 0 | 0 | 0 | 34 | 2
Control Area Adjustments
(For both Control Area loads and Point of Delivery loads)
Control Areas
Transaction | Receiving Utility | Load Responsibility | Control Area Load | COA | CPL | CPSB | HLP | LCRA | PUB | STECMEC | TMPP | TNP | TUEC | WTU | Total Adjustment
|  | (A+B) | (A) | [11 empty] | (B)
|  | 0 | [12 empty] | 0
Control Area Load | STECMEC | 245.3 | 245.3 | [11 empty] | 0
CPL LOAD IN STECMEC AREA | CPL | -10.872 | [7 empty] | -10.872 |  |  |  |  | -10.872
LCRA LOAD IN STECMEC AREA | LCRA | -3.902 | [7 empty] | -3.902 |  |  |  |  | -3.902
|  | 0 | [12 empty] | 0
|  | 0 | [12 empty] | 0
Totals | STECMEC | 230.526 | 245.3 | 0 | 0 | 0 | 0 | 0 | 0 | -14.774 | 0 | 0 | 0 | 0 | -14.774
|  |  |  | X,XXX | Control area load is reconciled in the top calculation and transferred to the bottom calculation. This value is zero (0) for point of delivery loads.
|  |  |  | X,XXX | This is the Load Responsibility value that is be used for the postage stamp calculation. Loss adjustments must be applied to determine a load ratio share.

## 1997 Generator Groups
Generator Group Name: | CPL
Generator Unit Name | Available Capability | Nominated Capability
SUPPIED BY CPL
Total Generation | 0 | 0
Generator Group Name: | STECMEC
RAYGEN12 | 22 | 22
RAYGEN3 | 25 | 25
PRSGN1 | 24 | 24
PRSGN2 | 24 | 24
PRSGN3 | 24 | 24
Total Generation | 119 | 119
Generator Group Name: | SAN MIGUEL
MIGUEL | 391 | 195.5
Total Generation | 391 | 195.5
Generator Group Name: | COA
SUPPLIED BY COA
Total Generation | 0 | 0

## 1997 VAMM Nominations
Name
Generator Groups
|  | Forecasted |  | CPL | STECMEC | SAN MIGUEL | COA | Total
| Type of | 1997 Firm | Capability-MW: | 0 | 119 | 195.5 | 0 | 314.5
Load Groups | Nomination | Peak Demand
|  |  | Nominated |  | 100% | 100% |  | 112.1%
STECMEC | PURCHASE | 305 | 115% | 28 | 117.3 | 195.5 | 10 | 350.8
0
LCRA(DEWITT E.C.) | SALE | 1.7 | 100% |  | 1.7 |  |  | 1.7
0
0
0
0
0
Totals |  | 306.7 |  | 28 | 119 | 195.5 | 10 | 352.5
Calculated Capability not Nominated |  |  |  | -28 | 0 | 0 | -10 | -38