## June 19, 1996 @1700
(For Control Area loads)
Control Areas
Transaction | Receiving Control Area | Control Area Load | Generation | COA | CPL | CPSB | HLP | LCRA | PUB | STECMEC | TMPP | TNP | TUEC | WTU | SPP | Total Purchases | Inadvertent
|  | (A+B+C) | (A) | [12 empty] | (B) | (C)
|  | 0 | [13 empty] | 0
Generation (Net) | COA | 1265000 | 1265000 | [12 empty] | 0
STP | COA | 401000 | 401000 | [12 empty] | 0
FPP | COA | 570000 | [5 empty] | 570000 | [7 empty] | 570000
|  | 0 | [13 empty] | 0
Inadvertent | COA | -3000 | [13 empty] | 0 | -3000
|  | 0 | [13 empty] | 0
Replacement Purchase | COA | 0 | [13 empty] | 0
Firm Purchase | COA | 50000 |  |  |  |  | 50000 | [8 empty] | 50000
Emergency Purchase | COA | 0 | [13 empty] | 0
Texas Wind Power Project | COA | 0 | [13 empty] | 0
PV 300 | COA | 68 | 68
Cogens | COA | 147 | 147
|  | 0 | [13 empty] | 0
Sales: |  | 0 | [13 empty] | 0
Weatherford | TMP | -25000 |  | -25000 | [11 empty] | -25000
TMP | TMP | -50000 |  | -50000 | [11 empty] | -50000
CSW for Replacement | CSW | -100000 |  | -100000 | [11 empty] | -100000
LCRA for Replacement | LCRA | -75000 |  | -75000 | [11 empty] | -75000
TMP for Replacement | TMP | -4000 |  | -4000 | [11 empty] | -4000
STEC for Replacement | STEC | -30000 |  | -30000 | [11 empty] | -30000
TU for Replacement | TU | -200000 |  | -200000 | [11 empty] | -200000
TMP | TMP | -18000 |  | -18000 | [11 empty] | -18000
0
Totals | COA | 1781215 | 1666215 | -502000 | 0 | 0 | 50000 | 570000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 118000 | -3000
Station Service | COA | -41000 |  | -41000 | [11 empty] | -41000
Generator Step Up Losses | COA | -2370 |  | -2370 | [11 empty] | -2370
Control Area Adjustments
(For both Control Area loads and Point of Delivery loads)
Control Areas
Transaction | Receiving Utility | Load Responsibility | Control Area Load | COA | CPL | CPSB | HLP | LCRA | PUB | STECMEC | TMPP | TNP | TUEC | WTU | Total Adjustment
|  | (A+B) | (A) | [11 empty] | (B)
|  | 0 | [12 empty] | 0
Control Area Load | COA | 1781215 | 1781215 | [11 empty] | 0
|  | 0 | [12 empty] | 0
|  | 0 | [12 empty] | 0
MCC Load Served by LCRA | COA | 1035 | [5 empty] | 1035 | [6 empty] | 1035
LCRA Load Served by COA | LCRA | -2105 |  | -2105 | [10 empty] | -2105
FPP Start Up Transformer Load (LCRA) | LCRA | -2150 |  | -2150 | [10 empty] | -2150
|  | 0 | [12 empty] | 0
Totals | COA | 1777995 | 1781215 | -4255 | 0 | 0 | 0 | 1035 | 0 | 0 | 0 | 0 | 0 | 0 | -3220

## July 22, 1996 @1700
(For Control Area loads)
Control Areas
Transaction | Receiving Control Area | Control Area Load | Generation | COA | CPL | CPSB | HLP | LCRA | PUB | STECMEC | TMPP | TNP | TUEC | WTU | SPP | Total Purchases | Inadvertent
|  | (A+B+C) | (A) | [12 empty] | (B) | (C)
|  | 0 | [13 empty] | 0
Generation (Net) | COA | 870000 | 870000 | [12 empty] | 0
STP | COA | 393000 | 393000 | [12 empty] | 0
FPP | COA | 566000 | [5 empty] | 566000 | [7 empty] | 566000
|  | 0 | [13 empty] | 0
Inadvertent | COA | -1000 | [13 empty] | 0 | -1000
|  | 0 | [13 empty] | 0
Replacement Purchase | COA | 300000 |  |  |  |  | 300000 | [8 empty] | 300000
Firm Purchase | COA | 0 | [13 empty] | 0
Emergency Purchase | COA | 0 | [13 empty] | 0
Texas Wind Power Project | COA | 0 | [13 empty] | 0
PV 300 | COA | 65 | 65 | [12 empty] | 0
Cogens | COA | 162 | 162 | [12 empty] | 0
|  | 0 | [13 empty] | 0
Sales: |  | 0 | [13 empty] | 0
Weatherford | TMP | -25000 |  | -25000 | [11 empty] | -25000
TMP Econ B | TMP | -100000 |  | -100000 | [11 empty] | -100000
TMP Firm | TMP | -23000 |  | -23000 | [11 empty] | -23000
CSW Firm | CSW | -200000 |  | -200000 | [11 empty] | -200000
|  | 0 | [13 empty] | 0
|  | 0 | [13 empty] | 0
Totals | COA | 1780227 | 1263227 | -348000 | 0 | 0 | 300000 | 566000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 518000 | -1000
Generator Step Up Losses (COA) | COA | -1643 |  | -1643 | [11 empty] | -1643
Station Service | COA | -29000 |  | -29000 | [11 empty] | -29000
Control Area Adjustments
(For both Control Area loads and Point of Delivery loads)
Control Areas
Transaction | Receiving Utility | Load Responsibility | Control Area Load | COA | CPL | CPSB | HLP | LCRA | PUB | STECMEC | TMPP | TNP | TUEC | WTU | Total Adjustment
|  | (A+B) | (A) | [11 empty] | (B)
|  | 0 | [12 empty] | 0
Control Area Load | COA | 1780227 | 1780227 | [11 empty] | 0
|  | 0 | [12 empty] | 0
|  | 0 | [12 empty] | 0
MCC Load Served by LCRA | COA | 1050 | [5 empty] | 1050 | [6 empty] | 1050
LCRA Load Served by COA | LCRA | -2134 |  | -2134 | [10 empty] | -2134
FPP Start Up Transformer Load (LCRA) | LCRA | -2200 |  | -2200 | [10 empty] | -2200
|  | 0 | [12 empty] | 0
Totals | COA | 1776943 | 1780227 | -4334 | 0 | 0 | 0 | 1050 | 0 | 0 | 0 | 0 | 0 | 0 | -3284

## August 5, 1996 @1700
(For Control Area loads)
Control Areas
Transaction | Receiving Control Area | Control Area Load | Generation | COA | CPL | CPSB | HLP | LCRA | PUB | STECMEC | TMPP | TNP | TUEC | WTU | SPP | Total Purchases | Inadvertent
|  | (A+B+C) | (A) | [12 empty] | (B) | (C)
|  | 0 | [13 empty] | 0
Generation (Net) | COA | 1221000 | 1221000 | [12 empty] | 0
STP | COA | 400000 | 400000 | [12 empty] | 0
FPP | COA | 564000 | [5 empty] | 564000 | [7 empty] | 564000
|  | 0 | [13 empty] | 0
Inadvertent | COA | 5000 | [13 empty] | 0 | 5000
|  | 0 | [13 empty] | 0
Replacement Purchase | COA | 0 | [13 empty] | 0
Firm Purchase | COA | 0 | [13 empty] | 0
Emergency Purchase | COA | 0 | [13 empty] | 0
Texas Wind Power Project | COA | 2000 | 2000 | [12 empty] | 0
PV 300 | COA | 57 | 57 | [12 empty] | 0
Cogens | COA | 106 | 106 | [12 empty] | 0
|  | 0 | [13 empty] | 0
Sales: |  | 0 | [13 empty] | 0
Weatherford | TMP | -25000 |  | -25000 | [11 empty] | -25000
TMP Firm | TMP | -25000 |  | -25000 | [11 empty] | -25000
CSW for Replacement | CSW | -150000 |  | -150000 | [11 empty] | -150000
LCRA Firm | LCRA | -100000 |  | -100000 | [11 empty] | -100000
CSW Firm | CSW | -100000 |  | -100000 | [11 empty] | -100000
|  | 0 | [13 empty] | 0
Totals | COA | 1792163 | 1623163 | -400000 | 0 | 0 | 0 | 564000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 164000 | 5000
Generator Step Up Losses (COA) | COA | -2267 |  | -2267 | [11 empty] | -2267
Station Service | COA | -37000 |  | -37000 | [11 empty] | -37000
Control Area Adjustments
(For both Control Area loads and Point of Delivery loads)
Control Areas
Transaction | Receiving Utility | Load Responsibility | Control Area Load | COA | CPL | CPSB | HLP | LCRA | PUB | STECMEC | TMPP | TNP | TUEC | WTU | Total Adjustment
|  | (A+B) | (A) | [11 empty] | (B)
|  | 0 | [12 empty] | 0
Control Area Load | COA | 1792163 | 1792163 | [11 empty] | 0
|  | 0 | [12 empty] | 0
|  | 0 | [12 empty] | 0
MCC Load Served by LCRA | COA | 993 | [5 empty] | 993 | [6 empty] | 993
LCRA Load Served by COA | LCRA | -2119 |  | -2119 | [10 empty] | -2119
FPP Start Up Transformer Load (LCRA) | LCRA | -2450 |  | -2450 | [10 empty] | -2450
|  | 0 | [12 empty] | 0
Totals | COA | 1788587 | 1792163 | -4569 | 0 | 0 | 0 | 993 | 0 | 0 | 0 | 0 | 0 | 0 | -3576

## September 10, 1996 @1800
(For Control Area loads)
Control Areas
Transaction | Receiving Control Area | Control Area Load | Generation | COA | CPL | CPSB | HLP | LCRA | PUB | STECMEC | TMPP | TNP | TUEC | WTU | SPP | Total Purchases | Inadvertent
|  | (A+B+C) | (A) | [12 empty] | (B) | (C)
|  | 0 | [13 empty] | 0
Generation (Net) | COA | 446000 | 446000 | [12 empty] | 0
STP | COA | 396000 | 396000 | [12 empty] | 0
FPP | COA | 563000 | [5 empty] | 563000 | [7 empty] | 563000
|  | 0 | [13 empty] | 0
Inadvertent | COA | -7000 | [5 empty] | -5000 | [7 empty] | -5000 | -2000
|  | 0 | [13 empty] | 0
Replacement Purchase | COA | 0 | [13 empty] | 0
Firm Purchase | COA | 250000 |  |  |  | 50000 | 50000 | 50000 |  |  |  |  | 100000 |  |  | 250000
Emergency Purchase | COA | 0 | [13 empty] | 0
Texas Wind Power Project | COA | 2000 | [5 empty] | 2000 | [7 empty] | 2000
PV 300 | COA | 50 | 50 | [12 empty] | 0
Cogens | COA | 143 | 143 | [12 empty] | 0
|  | 0 | [13 empty] | 0
Sales: |  | 0 | [13 empty] | 0
Weatherford | TMP | -25000 |  | -25000 | [11 empty] | -25000
TMP Firm | TMP | -9000 |  | -9000 | [11 empty] | -9000
CSW Firm | CSW | -100000 |  | -100000 | [11 empty] | -100000
|  | 0 | [13 empty] | 0
|  | 0 | [13 empty] | 0
Totals | COA | 1516193 | 842193 | -134000 | 0 | 50000 | 50000 | 610000 | 0 | 0 | 0 | 0 | 100000 | 0 | 0 | 676000 | -2000
Station Service | COA | -26000 |  | -26000 | [10 empty] | -26000
Generator Step Up Losses (COA) | COA | -771 |  | -771 | [10 empty] | -771
Control Area Adjustments
(For both Control Area loads and Point of Delivery loads)
Control Areas
Transaction | Receiving Utility | Load Responsibility | Control Area Load | COA | CPL | CPSB | HLP | LCRA | PUB | STECMEC | TMPP | TNP | TUEC | WTU | Total Adjustment
|  | (A+B) | (A) | [11 empty] | (B)
|  | 0 | [12 empty] | 0
Control Area Load | COA | 1516193 | 1516193 | [11 empty] | 0
|  | 0 | [12 empty] | 0
|  | 0 | [12 empty] | 0
MCC Load Served by LCRA | COA | 872 | [5 empty] | 872 | [6 empty] | 872
LCRA Load Served by COA | LCRA | -1655 |  | -1655 | [10 empty] | -1655
FPP Start Up Transformer Load (LCRA) | LCRA | -2050 |  | -2050 | [10 empty] | -2050
|  | 0 | [12 empty] | 0
Totals | COA | 1513360 | 1516193 | -3705 | 0 | 0 | 0 | 872 | 0 | 0 | 0 | 0 | 0 | 0 | -2833

## GSU Losses
Calculation of GSU Losses for COA
1996-06-19
Generator |  | MVA | R (in p.u on 100 MVA) | Losses (KW)
Decker 1 |  | 331.8 | 0.00059 | 649.5383
Decker 2 |  | 398.8 | 0.00049 | 779.3031
Decker GT1 |  | 50 | 0.00196 | 49
Decker GT2 |  | 43 | 0.00196 | 36.2404
Holly 1 |  | 89.1 | 0.00281 | 223.0806
Holly 2 |  | 42.6 | 0.00226 | 41.0136
Holly 3 |  | 141.9 | 0.00122 | 245.6544
Holly 4 |  | 167.7 | 0.00123 | 345.9165
| Total GSU Losses (KW) |  |  | 2369.7468
1996-07-22
Generator |  | MVA | R (in p.u on 100 MVA) | Losses (MW)
Decker 1 |  | 0 | 0.00059 | 0
Decker 2 |  | 396.2 | 0.00049 | 769.1748
Decker GT1 |  | 50 | 0.00196 | 49
Decker GT2 |  | 90.6 | 0.00196 | 160.8839
Holly 1 |  | 59.9 | 0.00281 | 100.8231
Holly 2 |  | 0 | 0.00226 | 0
Holly 3 |  | 143.6 | 0.00122 | 251.5757
Holly 4 |  | 159.1 | 0.00123 | 311.3476
| Total GSU Losses (KW) |  |  | 1642.805
1996-08-05
Generator |  | MVA | R (in p.u on 100 MVA) | Losses (MW)
Decker 1 |  | 326.5 | 0.00059 | 628.9533
Decker 2 |  | 404 | 0.00049 | 799.7584
Decker GT1 |  | 50 | 0.00196 | 49
Decker GT2 |  | 50 | 0.00196 | 49
Decker GT3 |  | 50.6 | 0.00196 | 50.1831
Holly 1 |  | 68.8 | 0.00281 | 133.0097
Holly 2 |  | 0 | 0.00226 | 0
Holly 3 |  | 147.4 | 0.00122 | 265.0665
Holly 4 |  | 154.2 | 0.00123 | 292.465
| Total GSU Losses (KW) |  |  | 2267.4358
1996-09-10
Generator |  | MVA | R (in p.u on 100 MVA) | Losses (MW)
Decker 1 |  | 0 | 0.00059 | 0
Decker 2 |  | 332.3 | 0.00049 | 541.0741
Decker GT1 |  | 0 | 0.00196 | 0
Decker GT2 |  | 0 | 0.00196 | 0
Holly 1 |  | 0 | 0.00281 | 0
Holly 2 |  | 0 | 0.00226 | 0
Holly 3 |  | 137.2 | 0.00122 | 229.6508
Holly 4 |  | 0 | 0.00123 | 0
| Total GSU Losses (KW) |  |  | 770.725

## 1997 Generator Groups
Generator Group Name: | COA NUCLEAR
Generator Unit Name | Available Capability | Nominated Capability
STP 1 (5911) | 200 | 200
STP 2 (5912) | 200 | 200
Total Generation | 400 | 400
Generator Group Name: | COA COAL
Generator Unit Name | Available Capability | Nominated Capability
FPP 1 (7010) | 291 | 291
FPP 2 (7011) | 291 | 291
Total Generation | 582 | 582
Generator Group Name: | TWPP
Generator Unit Name | Available Capability | Nominated Capability
Texas Wind Power (7038) | 10 | 0
Total Generation | 10 | 0
Generator Group Name: | COA GAS
Generator Unit Name | Available Capability | Nominated Capability
Holly 1 (9012) | 100 | 100
Holly 2 (9013) | 100 | 0
Holly 3 (9014) | 174 | 174
Holly 4 (9015) | 195 | 195
Decker 1 (9000) | 325 | 325
Decker 2 (9001) | 405 | 405
Decker GT1 (9002) | 48 | 0
Decker GT2 (9003) | 48 | 0
Decker GT3 (9004) | 48 | 0
Decker GT4 (9005) | 48 | 0
Total Generation | 1491 | 1199

## 1997 VAMM Nominations
Name
Generator Groups
|  | Forecasted |  | COA NUCLEAR | COA COAL | TWPP | COA GAS | Total
| Type of | 1997 Firm | Capability-MW: | 400 | 582 | 0 | 1199 | 2181
Load Groups | Nomination | Peak Demand
|  |  | Nominated | 100% | 100% |  | 100% | 100%
COA | PURCHASE | 1854 | 116.4% | 400 | 582 |  | 1176.3 | 2158.3
0
BEPC | SALE | 11 | 115.5% |  |  |  | 12.7 | 12.7
STEC | SALE | 10 | 100% |  |  |  | 10 | 10
0
0
0
0
Totals |  | 1875 |  | 400 | 582 | 0 | 1199 | 2181
Calculated Capability not Nominated |  |  |  | 0 | 0 | 0 | 0 | 0