## CONTACT INFORMATION
Load Serving Entity Information
Load Serving Entity: | Brazos Electric Cooperative
Contact Person: | Eddie Johnson
Mailing Address Line 1: | PO Box 2585
Mailing Address Line 2:
City: | Waco
State: | Texas
Zip Code: | 76702-2585
Street Address Line 1: | 2404 LaSalle
Street Address Line 2:
City: | Waco
State: | Texas
Zip Code: | 76706
Company Internal Mail Code:
Telephone Number: | 254-750-6362
Facsimile (FAX) Number: | 254-750-6367
Internet email address: | ejohnson@brazoselectric.com

## 1700 June 28, 1999
REPORT FOR LOAD SERVING ENTITY ==>
LOAD SERVING ENTITY IN CONTROL AREA ==>
June 28, 1999 Hour Ending 17:00
RECEIVING TRANSACTION INFORMATION
Description | Amount kW | From Control Area | Sending Generation Entity
UnPlanned G # 7873 | 5000 | CPSTA | CPSGG
Planned G # 8171 | 100000 | CPSTA | CPSGG
Planned B # 7839 | 95000 | CSWSA | WTUCG
Planned D # 7781 | 68000 | CSWSA | WTUCG
Planned D # 1371 | 4000 | REITA | ALACG
Planned G (intra pool) | 60000 | TMPPA | DGGXG
Planned G (intra pool) | 10000 | TMPPA | DGGXG
Subtotal Receiving Transactions (A) | 342000
SENDING TRANSACTION INFORMATION
Description | Amount kW | To Control Area | Receiving Load Serving Entity
Planned D # 7787 | 68000 | PUBXA | PUBX
Unplanned D # 9402 | 3000 | STECA | STMEL
Subtotal Sending Transactions (B) | 71000
GENERATION INFORMATION
Generation kW | 1145000
Less Gen Unit Main XFMR Losses kW | 2961 | <== Provide Calculations to ISO with Submission
Inadvertent kW | 61000 | ** Includes 54,000 kW due to meter error at Greens Prairie (pool tie).
Subtotal Net Generation (C) | 1081039
TOTAL LOAD CALCULATION
Subtotal Receiving Transactions (A) | 342000
Subtotal Sending Transactions (B) | 71000
Subtotal Net Generation (C) | 1081039
Total Load Responsibility (A-B+C) | 1352039
Less Transmission Losses | 54933
Net Load * | 1297106
* Net Load as shown is actual high side metered load and should not have losses removed.
This load is metered load and is verifiable.

## 1700 July 29, 1999
REPORT FOR LOAD SERVING ENTITY ==>
LOAD SERVING ENTITY IN CONTROL AREA ==>
July 29, 1999 Hour Ending 17:00
RECEIVING TRANSACTION INFORMATION
Description | Amount kW | From Control Area | Sending Generation Entity
Planned G # 3286 | 100000 | CPSTA | CPSGG
Planned D # 3466 | 66000 | CSWSA | WTUCG
Planned B # 3283 | 95000 | CSWSA | WTUCG
Planned G # 3350 | 75000 | TMPPA | DGGXG
Unplanned G # 3367 | 25000 | TMPPA | DGGXG
Planned G (intra pool) | 75000 | TMPPA | DGGXG
Planned D # 3381 | 40000 | REITA | DOWCG
Subtotal Receiving Transactions (A) | 476000
SENDING TRANSACTION INFORMATION
Description | Amount kW | To Control Area | Receiving Load Serving Entity
Planned D # 3461 | 66000 | PUBXA | PUBXL
Unplanned (intra pool) | 11000 | TMPPA | BPMXL
Unplanned B # 3460 | 30000 | REITA | HLPCL
Subtotal Sending Transactions (B) | 107000
GENERATION INFORMATION
Generation kW | 1135000
Less Gen Unit Main XFMR Losses kW | 2877 | <== Provide Calculations to ISO with Submission
Inadvertent kW | -6000
Subtotal Net Generation (C) | 1138123
TOTAL LOAD CALCULATION
Subtotal Receiving Transactions (A) | 476000
Subtotal Sending Transactions (B) | 107000
Subtotal Net Generation (C) | 1138123
Total Load Responsibility (A-B+C) | 1507123
Less Transmission Losses | 63885
Net Load * | 1443238
* Net Load as shown is actual high side metered load and should not have losses removed.
This load is metered load and is verifiable.

## 1700 August 26, 1999
REPORT FOR LOAD SERVING ENTITY ==>
LOAD SERVING ENTITY IN CONTROL AREA ==>
August 26, 1999 Hour Ending 17:00
RECEIVING TRANSACTION INFORMATION
Description | Amount kW | From Control Area | Sending Generation Entity
Planned G # 6913 | 100000 | CPSTA | CPSGG
Planned B # 6911 | 95000 | CSWSA | WTUCG
Unplanned G # 5886 | 50000 | CSWSA | WTUCG
Planned D # 6896 | 50000 | CSWSA | WTUCG
Planned D # 6916 | 100000 | REITA | REWGG
Planned G #6915 | 75000 | TMPPA | DGGXG
Planned G (intra pool) | 75000 | TMPPA | DGGXG
Planned D # 6894 | 1000 | REITA | ALACG
IR # 5710 | 15000 | TUETA | TUEGG
Subtotal Receiving Transactions (A) | 561000
SENDING TRANSACTION INFORMATION
Description | Amount kW | To Control Area | Receiving Load Serving Entity
Subtotal Sending Transactions (B) | 0
GENERATION INFORMATION
Generation kW | 1018000
Less Gen Unit Main XFMR Losses kW | 2837 | <== Provide Calculations to ISO with Submission
Inadvertent kW | 7000
Subtotal Net Generation (C) | 1008163
TOTAL LOAD CALCULATION
Subtotal Receiving Transactions (A) | 561000
Subtotal Sending Transactions (B) | 0
Subtotal Net Generation (C) | 1008163
Total Load Responsibility (A-B+C) | 1569163
Less Transmission Losses | 47894
Net Load * | 1521269
* Net Load as shown is actual high side metered load and should not have losses removed.
This load is metered load and is verifiable.

## 1700 September 7, 1999
REPORT FOR LOAD SERVING ENTITY ==>
LOAD SERVING ENTITY IN CONTROL AREA ==>
September 7, 1999 Hour Ending 17:00
RECEIVING TRANSACTION INFORMATION
Description | Amount kW | From Control Area | Sending Generation Entity
Unplanned G # 9271 | 5000 | CPSTA | CPSGG
Planned B # 9245 | 95000 | CSWSA | WTUCG
Planned D # 9500 | 56000 | CSWSA | WTUCG
Unplanned B # 9144 | 50000 | LCRAA | LCRAG
Unplanned G # 9605 | 50000 | TUETA | TUEGG
Planned G (intra pool) | 60000 | TMPPA | DGGXG
Unplanned D # 9010 | 13000 | REITA | CALPG
Planned D # 9047 | 4000 | REITA | ALACG
Planned D # 8986 | 12000 | CSWSA | WTUCG
IR # 6949 | 15000 | TUETA | TUEGG
Subtotal Receiving Transactions (A) | 360000
SENDING TRANSACTION INFORMATION
Description | Amount kW | To Control Area | Receiving Serving Load Entity
Planned D # 9501 | 56000 | PUBXA | PUBXL
Planned D # 8986 | 12000 | PUBXA | PUBXL
Subtotal Sending Transactions (B) | 68000
GENERATION INFORMATION
Generation kW | 1081000
Less Gen Unit Main XFMR Losses kW | 2633 | <== Provide Calculations to ISO with Submission
Inadvertent kW | 13000
Subtotal Net Generation (C) | 1065367
TOTAL LOAD CALCULATION
Subtotal Receiving Transactions (A) | 360000
Subtotal Sending Transactions (B) | 68000
Subtotal Net Generation (C) | 1065367
Total Load Responsibility (A-B+C) | 1357367
Less Transmission Losses | 52983
Net Load * | 1304384
* Net Load as shown is actual high side metered load and should not have losses removed.
This load is metered load and is verifiable.