## June 19, 1996 @1700
Control Area Schedules
(For Control Area loads)
Control Areas
Transaction | Receiving Control Area | Control Area Load | Generation | COA | CPL | CPSB | HLP | LCRA | PUB | STECMEC | TMPP | TNP | TUEC | WTU | SPP | Total Purchases | Inadvertent
|  | (A+B+C) | (A) | [12 empty] | (B) | (C)
|  | 0 | [13 empty] | 0
Internal Generation |  | 0 | [13 empty] | 0
|  | 0 | [13 empty] | 0
Inadvertent |  | 0 | [13 empty] | 0
|  | 0 | [13 empty] | 0
|  | 0 | [13 empty] | 0
|  | 0 | [13 empty] | 0
|  | 0 | [13 empty] | 0
|  | 0 | [13 empty] | 0
|  | 0 | [13 empty] | 0
|  | 0 | [13 empty] | 0
|  | 0 | [13 empty] | 0
|  | 0 | [13 empty] | 0
|  | 0 | [13 empty] | 0
|  | 0 | [13 empty] | 0
|  | 0 | [13 empty] | 0
|  | 0 | [13 empty] | 0
Totals |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Control Area Adjustments
(For both Control Area loads and Point of Delivery loads)
Control Areas
Transaction | Receiving Utility | Load Responsibility | Control Area Load | COA | CPL | CPSB | HLP | LCRA | PUB | STECMEC | TMPP | TNP | TUEC | WTU | Total Adjustment
|  | (A+B) | (A) | [11 empty] | (B)
|  | 0 | [12 empty] | 0
Control Area Load |  | 0 | 0 | [11 empty] | 0
|  | 0 | [12 empty] | 0
TNP One | TNP | 296676 |  |  |  |  | 266676 | [5 empty] | 30000 |  | 296676
Enron-Clear Lake Cogeneration | TNP | 240000 |  |  |  |  | 240000 | [7 empty] | 240000
Destec Power Services | TNP | 89000 |  |  |  |  | 89000 | [7 empty] | 89000
Amoco Oil Cogeneration | TNP | 3000 |  |  |  |  | 3000 | [7 empty] | 3000
UCC Cogeneration | TNP | 1568 |  |  |  |  | 1568 | [7 empty] | 1568
Totals | TNP | 630244 | 0 | 0 | 0 | 0 | 600244 | 0 | 0 | 0 | 0 | 0 | 30000 | 0 | 630244
|  |  |  | X,XXX | Control area load is reconciled in the top calculation and transferred to the bottom calculation. This value is zero (0) for point of delivery loads.
|  |  |  | X,XXX | This is the Load Responsibility value that is be used for the postage stamp calculation. Loss adjustments must be applied to determine a load ratio share.

## July 22, 1996 @1700
Control Area Schedules
(For Control Area loads)
Control Areas
Transaction | Receiving Control Area | Control Area Load | Generation | COA | CPL | CPSB | HLP | LCRA | PUB | STECMEC | TMPP | TNP | TUEC | WTU | SPP | Total Purchases | Inadvertent
|  | (A+B+C) | (A) | [12 empty] | (B) | (C)
|  | 0 | [13 empty] | 0
Internal Generation |  | 0 | [13 empty] | 0
|  | 0 | [13 empty] | 0
Inadvertent |  | 0 | [13 empty] | 0
|  | 0 | [13 empty] | 0
|  | 0 | [13 empty] | 0
|  | 0 | [13 empty] | 0
|  | 0 | [13 empty] | 0
|  | 0 | [13 empty] | 0
|  | 0 | [13 empty] | 0
|  | 0 | [13 empty] | 0
|  | 0 | [13 empty] | 0
|  | 0 | [13 empty] | 0
|  | 0 | [13 empty] | 0
|  | 0 | [13 empty] | 0
|  | 0 | [13 empty] | 0
|  | 0 | [13 empty] | 0
Totals |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Control Area Adjustments
(For both Control Area loads and Point of Delivery loads)
Control Areas
Transaction | Receiving Utility | Load Responsibility | Control Area Load | COA | CPL | CPSB | HLP | LCRA | PUB | STECMEC | TMPP | TNP | TUEC | WTU | Total Adjustment
|  | (A+B) | (A) | [11 empty] | (B)
|  | 0 | [12 empty] | 0
Control Area Load |  | 0 | 0 | [11 empty] | 0
|  | 0 | [12 empty] | 0
TNP One | TNP | 138132 |  |  |  |  | 108132 | [5 empty] | 30000 |  | 138132
Enron-Clear Lake Cogeneration | TNP | 250000 |  |  |  |  | 250000 | [7 empty] | 250000
Destec Power Services | TNP | 122000 |  |  |  |  | 122000 | [7 empty] | 122000
UCC Cogeneration | TNP | 1008 |  |  |  |  | 1008 | [7 empty] | 1008
|  | 0 | [12 empty] | 0
Totals | TNP | 511140 | 0 | 0 | 0 | 0 | 481140 | 0 | 0 | 0 | 0 | 0 | 30000 | 0 | 511140
|  |  |  | X,XXX | Control area load is reconciled in the top calculation and transferred to the bottom calculation. This value is zero (0) for point of delivery loads.
|  |  |  | X,XXX | This is the Load Responsibility value that is be used for the postage stamp calculation. Loss adjustments must be applied to determine a load ratio share.

## August 5, 1996 @1700
Control Area Schedules
(For Control Area loads)
Control Areas
Transaction | Receiving Control Area | Control Area Load | Generation | COA | CPL | CPSB | HLP | LCRA | PUB | STECMEC | TMPP | TNP | TUEC | WTU | SPP | Total Purchases | Inadvertent
|  | (A+B+C) | (A) | [12 empty] | (B) | (C)
|  | 0 | [13 empty] | 0
Internal Generation | TNP | 290000 | 290000 | [12 empty] | 0
|  | 0 | [13 empty] | 0
Inadvertent | TNP | 2000 | [13 empty] | 0 | 2000
|  | 0 | [13 empty] | 0
Enron-Clear Lake Cogeneration | TNP | 250000 | 250000 | [12 empty] | 0
Destec Power Services | TNP | 71000 | 71000 | [12 empty] | 0
Houston Lighting & Power | TNP | 51000 |  |  |  |  | 51000 | [8 empty] | 51000
|  | 0 | [13 empty] | 0
TNP One(Lewisville) | TUE | -30000 | [9 empty] | -30000 |  |  |  | -30000
|  | 0 | [13 empty] | 0
|  | 0 | [13 empty] | 0
|  | 0 | [13 empty] | 0
|  | 0 | [13 empty] | 0
|  | 0 | [13 empty] | 0
|  | 0 | [13 empty] | 0
|  | 0 | [13 empty] | 0
Totals | TNP | 634000 | 611000 | 0 | 0 | 0 | 51000 | 0 | 0 | 0 | 0 | -30000 | 0 | 0 | 0 | 21000 | 2000
Control Area Adjustments
(For both Control Area loads and Point of Delivery loads)
Control Areas
Transaction | Receiving Utility | Load Responsibility | Control Area Load | COA | CPL | CPSB | HLP | LCRA | PUB | STECMEC | TMPP | TNP | TUEC | WTU | Total Adjustment
|  | (A+B) | (A) | [11 empty] | (B)
|  | 0 | [12 empty] | 0
Control Area Load | TNP | 634000 | 634000 | [11 empty] | 0
|  | 0 | [12 empty] | 0
TNP Load in TUE | TNP | 30000 | [9 empty] | 30000 |  |  | 30000
TNP Load served by HL&P | HLP | -51000 | [9 empty] | -51000 |  |  | -51000
|  | 0 | [12 empty] | 0
Totals | TNP | 613000 | 634000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -21000 | 0 | 0 | -21000
|  |  |  | X,XXX | Control area load is reconciled in the top calculation and transferred to the bottom calculation. This value is zero (0) for point of delivery loads.
|  |  |  | X,XXX | This is the Load Responsibility value that is be used for the postage stamp calculation. Loss adjustments must be applied to determine a load ratio share.

## September 10, 1996 @1800
Control Area Schedules
(For Control Area loads)
Control Areas
Transaction | Receiving Control Area | Control Area Load | Generation | COA | CPL | CPSB | HLP | LCRA | PUB | STECMEC | TMPP | TNP | TUEC | WTU | SPP | Total Purchases | Inadvertent
|  | (A+B+C) | (A) | [12 empty] | (B) | (C)
|  | 0 | [13 empty] | 0
Internal Generation | TNP | 290000 | 290000 | [12 empty] | 0
|  | 0 | [13 empty] | 0
Inadvertent | TNP | -1000 | [13 empty] | 0 | -1000
|  | 0 | [13 empty] | 0
Enron-Clear Lake Cogeneration | TNP | 248000 | 248000 | [12 empty] | 0
Destec Power Services | TNP | 39000 | 39000 | [12 empty] | 0
Houston Lighting & Power | TNP | 38000 |  |  |  |  | 38000 | [8 empty] | 38000
|  | 0 | [13 empty] | 0
TNP One Lewisville | TUE | -30000 | [9 empty] | -30000 |  |  |  | -30000
|  | 0 | [13 empty] | 0
|  | 0 | [13 empty] | 0
|  | 0 | [13 empty] | 0
|  | 0 | [13 empty] | 0
|  | 0 | [13 empty] | 0
|  | 0 | [13 empty] | 0
|  | 0 | [13 empty] | 0
Totals | TNP | 584000 | 577000 | 0 | 0 | 0 | 38000 | 0 | 0 | 0 | 0 | -30000 | 0 | 0 | 0 | 8000 | -1000
Control Area Adjustments
(For both Control Area loads and Point of Delivery loads)
Control Areas
Transaction | Receiving Utility | Load Responsibility | Control Area Load | COA | CPL | CPSB | HLP | LCRA | PUB | STECMEC | TMPP | TNP | TUEC | WTU | Total Adjustment
|  | (A+B) | (A) | [11 empty] | (B)
|  | 0 | [12 empty] | 0
Control Area Load | TNP | 584000 | 584000 | [11 empty] | 0
|  | 0 | [12 empty] | 0
TNP Load in TUE | TNP | 30000 | [9 empty] | 30000 |  |  | 30000
TNP Load served by HL&P | TNP | -38000 | [9 empty] | -38000 |  |  | -38000
|  | 0 | [12 empty] | 0
Totals | TNP | 576000 | 584000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -8000 | 0 | 0 | -8000
|  |  |  | X,XXX | Control area load is reconciled in the top calculation and transferred to the bottom calculation. This value is zero (0) for point of delivery loads.
|  |  |  | X,XXX | This is the Load Responsibility value that is be used for the postage stamp calculation. Loss adjustments must be applied to determine a load ratio share.

## 1997 Generator Groups
Generator Group Name: | TNPONE
Generator Unit Name | Available Capability | Nominated Capability
TNPONE#1 | 150 | 150
TNPONE#2 | 151 | 151
Total Generation | 301 | 301
Generator Group Name: | ENRON-CL
Generator Unit Name | Available Capability | Nominated Capability
ENRON-CLEAR LAKE COGEN | 250 | 250
Total Generation | 250 | 250
Generator Group Name: | HL&P
Generator Unit Name | Available Capability | Nominated Capability
HL&P SYSTEM | 300 | 292
Total Generation | 300 | 292
Generator Group Name: | TNPCOGEN
Generator Unit Name | Available Capability | Nominated Capability
UCC COGEN | 70 | 0
AMOCO OIL COGEN | 215 | 0
AMOCO CHEMICALS COGEN | 35
Total Generation | 320 | 0

## 1997 VAMM Nominations
TNP
Generator Groups
|  | Forecasted |  | TNPONE | ENRON-CL | HL&P | TNPCOGEN | Total
| Type of | 1997 Firm | Capability-MW: | 301 | 250 | 292 | 0 | 843
Load Groups | Nomination | Peak Demand
|  |  | Nominated | 100% | 100% | 100% |  | 100%
0
TNP | Purchase | 733 | 115% | 301 | 250 | 292 | 0 | 843
0
0
0
0
0
0
Totals |  | 733 |  | 301 | 250 | 292 | 0 | 843
Calculated Capability not Nominated |  |  |  | 0 | 0 | 0 | 0 | 0

## JUNE GSU LOSSES
| STEPUP AND AUX LOAD XFMR TEST REPORT DATA | [6 empty] | UNIT LOADING |  | LOSSES | UNIT
UNIT | BASE | LOW | HIGH | NO LOAD | FULL LOAD | IMPED | IM | UNIT | UNIT | TOTAL | NET
NAME | RATING | SIDE | SIDE | LOSS | LOSS | (%) | (%) | (MW) | (MVAR) | LOSS | TOTAL
| MVA | KV | KV | (WATTS) | (WATTS) |  |  |  |  | (MW) | (MW)
TNPONE#1 | 200 | 18 | 345 | 118100 | 633231 | 12.84 | 0.147 | 168.6 | N/A | 0.5 | 149.7
TNPONE#1 | 24 | 4.3 | 18 | 17840 | 87502 | 5.77 | 0.267 | 18.4 | N/A
TNPONE#2 | 200 | 18 | 345 | 119699 | 633799 | 12.67 | 0.151 | 165.2 | N/A | 0.5 | 147.1
TNPONE#2 | 24 | 4.3 | 18 | 17880 | 88528 | 5.51 | 0.106 | 17.6 | N/A
TNPSTUP | 15 | 4.3 | 345 | 49436 | 48429 | 7.83 | 0.189 | 0 | N/A
NOTES: | (1) TNPONE#1 and TNPONE#2 gross outputs metered at generator terminals
(2) Aux load metering for TNPONE#1 and TNPONE#2 is on low side of Aux XFMR.
(3) TNPONE#2 and TNPONE#2 does not have MVARH metering.
(4) During unit outages, aux load of outaged unit is carried on startup xfmr fed from
345 KV switchyard bus

## JULY GSU LOSSES
| STEPUP AND AUX LOAD XFMR TEST REPORT DATA | [6 empty] | UNIT LOADING |  | LOSSES | UNIT
UNIT | BASE | LOW | HIGH | NO LOAD | FULL LOAD | IMPED | IM | UNIT | UNIT | TOTAL | NET
NAME | RATING | SIDE | SIDE | LOSS | LOSS | (%) | (%) | (MW) | (MVAR) | LOSS | TOTAL
| MVA | KV | KV | (WATTS) | (WATTS) |  |  |  |  | (MW) | (MW)
TNPONE#1 | 200 | 18 | 345 | 118100 | 633231 | 12.84 | 0.147 | 0 | N/A
TNPONE#1 | 24 | 4.3 | 18 | 17840 | 87502 | 5.77 | 0.267 | 0 | N/A
TNPONE#2 | 200 | 18 | 345 | 119699 | 633799 | 12.67 | 0.151 | 165.8 | N/A | 0.6 | 138.6
TNPONE#2 | 24 | 4.3 | 18 | 17880 | 88528 | 5.51 | 0.106 | 16.8 | N/A
TNPSTUP | 15 | 4.3 | 345 | 49436 | 48429 | 7.83 | 0.189 | 9.8 | N/A
NOTES: | (1) TNPONE#1 and TNPONE#2 gross outputs metered at generator terminals
(2) Aux load metering for TNPONE#1 and TNPONE#2 is on low side of Aux Xfmr.
(3) TNPONE#2 and TNPONE#2 does not have MVARH metering.
(4) During unit outages, aux load of outaged unit is carried on startup xfmr fed from
345 KV switchyard bus

## AUG GSU LOSSES
| STEPUP AND AUX LOAD XFMR TEST REPORT DATA | [6 empty] | UNIT LOADING |  | LOSSES | UNIT
UNIT | BASE | LOW | HIGH | NO LOAD | FULL LOAD | IMPED | IM | UNIT | UNIT | TOTAL | NET
NAME | RATING | SIDE | SIDE | LOSS | LOSS | (%) | (%) | (MW) | (MVAR) | LOSS | TOTAL
| MVA | KV | KV | (WATTS) | (WATTS) |  |  |  |  | (MW) | (MW)
TNPONE#1 | 200 | 18 | 345 | 118100 | 633231 | 12.84 | 0.147 | 166.6 | N/A | 0.5 | 147.5
TNPONE#1 | 24 | 4.3 | 18 | 17840 | 87502 | 5.77 | 0.267 | 18.6 | N/A
TNPONE#2 | 200 | 18 | 345 | 119699 | 633799 | 12.67 | 0.151 | 159.8 | N/A | 0.5 | 142.5
TNPONE#2 | 24 | 4.3 | 18 | 17880 | 88528 | 5.51 | 0.106 | 16.8 | N/A
TNPSTUP | 15 | 4.3 | 345 | 49436 | 48429 | 7.83 | 0.189 | 0 | N/A
NOTES: | (1) TNPONE#1 and TNPONE#2 gross outputs metered at generator terminals
(2) Aux load metering for TNPONE#1 and TNPONE#2 is on low side of Aux XFMR.
(3) TNPONE#2 and TNPONE#2 does not have MVARH metering.
(4) During unit outages, aux load of outaged unit is carried on startup xfmr fed from
345 KV switchyard bus

## SEPT GSU LOSSES
| STEPUP AND AUX LOAD XFMR TEST REPORT DATA | [6 empty] | UNIT LOADING |  | LOSSES | UNIT
UNIT | BASE | LOW | HIGH | NO LOAD | FULL LOAD | IMPED | IM | UNIT | UNIT | TOTAL | NET
NAME | RATING | SIDE | SIDE | LOSS | LOSS | (%) | (%) | (MW) | (MVAR) | LOSS | TOTAL
| MVA | KV | KV | (WATTS) | (WATTS) |  |  |  |  | (MW) | (MW)
TNPONE#1 | 200 | 18 | 345 | 118100 | 633231 | 12.84 | 0.147 | 168 | N/A | 0.5 | 147.5
TNPONE#1 | 24 | 4.3 | 18 | 17840 | 87502 | 5.77 | 0.267 | 20 | N/A
TNPONE#2 | 200 | 18 | 345 | 119699 | 633799 | 12.67 | 0.151 | 159.6 | N/A | 0.5 | 142.5
TNPONE#2 | 24 | 4.3 | 18 | 17880 | 88528 | 5.51 | 0.106 | 16.6 | N/A
TNPSTUP | 15 | 4.3 | 345 | 49436 | 48429 | 7.83 | 0.189 | 0 | N/A
NOTES: | (1) TNPONE#1 and TNPONE#2 gross outputs metered at generator terminals
(2) Aux load metering for TNPONE#1 and TNPONE#2 is on low side of Aux XFMR.
(3) TNPONE#2 and TNPONE#2 does not have MVARH metering.
(4) During unit outages, aux load of outaged unit is carried on startup xfmr fed from
345 KV switchyard bus