## June 28, 1999
| D&E Report |  | 4CP Report | MW
| 1999-06-28 |  | 1999-06-28 | Adjustment | EXPLANATION FOR ADJUSTMENT
Value reported to ISO | 13019000
Generation kW (a) | 15066000
Sum of the Ties (b) | 2047000
D&E Load Calculation (a) - (b) | 13019000
GENERATION INFORMATION
Generation kW |  | 15066000 | 15057811 | 8189 | Adjustment for difference between Cogeneration real time transducers and actual meter readings
Less Gen Unit Main XFMR Losses kW |  | 0 | 45630 | -45630 | D&E report does not consider GSU losses
Inadvertent kW |  | -8000 | -8000
Subtotal Net Generation (C) |  | 15074000 | 15020181
TOTAL LOAD CALCULATION
Subtotal Receiving Transactions (A) |  | 260000 | 260000
Subtotal Sending Transactions (B) |  | 2315000 | 2315000 |  | STP Partner's shares and sending transaction rounded to nearest MW
Subtotal Net Generation (C) |  | 15074000 | 15020181
Total Load Responsibility (A-B+C) |  | 13019000 | 12965181
TNP Wholesale Load |  |  | 43000 | -43000 | HL&P has a wholesale contract with TNP and is responsible for associated transmission cost
HL&P Load Responsibility |  |  | 13008181
2055000

## July 29, 1999
| D&E Report |  | 4CP Report | MW
| 1999-07-29 |  | 1999-07-29 | Adjustment | EXPLANATION FOR ADJUSTMENT
Value reported to ISO | 13828000
Generation kW (a) | 16697000
Sum of the Ties (b) | 2869000
D&E Load Calculation (a) - (b) | 13828000
GENERATION INFORMATION
Generation kW |  | 16697000 | 16689243 | 7757 | Adjustment for difference between Cogeneration real time transducers and actual meter readings
Less Gen Unit Main XFMR Losses kW |  | 0 | 51420 | -51420 | D&E report does not consider GSU losses
Inadvertent kW |  | -4000 | -4000
Subtotal Net Generation (C) |  | 16701000 | 16641823
TOTAL LOAD CALCULATION
Subtotal Receiving Transactions (A) |  | 333000 | 333000
Subtotal Sending Transactions (B) |  | 3207000 | 3207000 |  | STP Partner's shares and sending transaction rounded to nearest MW
Subtotal Net Generation (C) |  | 16701000 | 16641823
Total Load Responsibility (A-B+C) |  | 13827000 | 13767823
See Note 1.)
TNP Wholesale Load |  |  | 44000 | -44000 | HL&P has a wholesale contract with TNP and is responsible for associated transmission cost
HL&P Load Responsibility |  |  | 13811584
Note 1.) The 1 MW differrence in the D&E Load 13439 MW is due to different calculations.
The D&E Report Load is calculated as the Sum of the Generation minus the sum of the tie lines.
The 4CP Report Load is calculated as the Sum of the Generation minus the net interchange.
These calculations are equivalent because in a perfect world the sum of the ties are equal
to the net interchange. In the real world, for this hour, there is a 1 MW difference that is the
result of the process of rounding the integrated numbers for the sum of the ties and the
integrated numbers for dynamic schedules for STP and CPSB.

## August 26, 1999
| D&E Report |  | 4CP Report | MW
| 1999-08-26 |  | 1999-08-26 | Adjustment | EXPLANATION FOR ADJUSTMENT
Value reported to ISO | 14607000
Generation kW (a) | 16748000
Sum of the Ties (b) | 2141000
D&E Load Calculation (a) - (b) | 14607000
GENERATION INFORMATION
Generation kW |  | 16748000 | 16723753 | 24247 | Adjustment for difference between Cogeneration real time transducers and actual meter readings
Less Gen Unit Main XFMR Losses kW |  | 0 | 50550 | -50550 | D&E report does not consider GSU losses
Inadvertent kW |  | 7000 | 7000
Subtotal Net Generation (C) |  | 16741000 | 16666203
TOTAL LOAD CALCULATION
Subtotal Receiving Transactions (A) |  | 1271000 | 1271000
Subtotal Sending Transactions (B) |  | 3405000 | 3405000 |  | STP Partner's shares and sending transaction rounded to nearest MW
Subtotal Net Generation (C) |  | 16741000 | 16666203
Total Load Responsibility (A-B+C) |  | 14607000 | 14532203
TNP Wholesale Load |  |  | 49000 | -49000 | HL&P has a wholesale contract with TNP and is responsible for associated transmission cost
HL&P Load Responsibility |  |  | 14581203

## September 7,1999
| D&E Report |  | 4CP Report | MW
| 1999-09-07 |  | 1999-09-07 | Adjustment | EXPLANATION FOR ADJUSTMENT
Value reported to ISO | 13439000
Generation kW (a) | 15610000
Sum of the Ties (b) | 2171000
D&E Load Calculation (a) - (b) | 13439000
GENERATION INFORMATION
Generation kW |  | 15610000 | 15603187 | 6813 | Adjustment for difference between Cogeneration real time transducers and actual meter readings
Less Gen Unit Main XFMR Losses kW |  | 0 | 43910 | -43910 | D&E report does not consider GSU losses
Inadvertent kW |  | 44000 | 44000
Subtotal Net Generation (C) |  | 15566000 | 15515277
TOTAL LOAD CALCULATION
Subtotal Receiving Transactions (A) |  | 664000 | 664000
Subtotal Sending Transactions (B) |  | 2790000 | 2790000 |  | STP Partner's shares and sending transaction rounded to nearest MW
Subtotal Net Generation (C) |  | 15566000 | 15515277
Total Load Responsibility (A-B+C) |  | 13440000 | 13389277
See Note 1.)
TNP Wholesale Load |  |  | 56000 | -56000 | HL&P has a wholesale contract with TNP and is responsible for associated transmission cost
HL&P Load Responsibility |  |  | 13445277
Note 1.) The 1 MW differrence in the D&E Load 13439 MW is due to different calculations.
The D&E Report Load is calculated as the Sum of the Generation minus the sum of the tie lines.
The APSR Report Load is calculated as the Sum of the Generation minus the net interchange.
These calculations are equivalent because in a perfect world the sum of the ties are equal
to the net interchange. In the real world, for this hour, there is a 1 MW difference that is the
result of the process of rounding the integrated numbers for the sum of the ties and the
integrated numbers for dynamic schedules for STP and CPSB.