## CONTACT INFORMATION
Load Serving Entity Information
Load Serving Entity: | Greenville Electric Utility System
Contact Person: | David McCalla
Mailing Address Line 1: | 6000 Joe Ramsey Blvd.
Mailing Address Line 2:
City: | Greenville
State: | Texas
Zip Code: | 75402
Street Address Line 1: | 6000 Joe Ramsey Blvd.
Street Address Line 2:
City: | Greenville
State: | Texas
Zip Code: | 75402
Company Internal Mail Code:
Telephone Number: | (903) 457-2800
Facsimile (FAX) Number: | (903) 457-2893
Internet email address: | dmccalla@geus.org

## 1700 June 28, 1999
REPORT FOR LOAD SERVING ENTITY ==> | GEUS
LOAD SERVING ENTITY IN CONTROL AREA ==> | TMPP
June 28, 1999 Hour Ending 17:00
RECEIVING TRANSACTION INFORMATION
Description | Amount kW | From Control Area | Sending Generation Entity
DGG-DGG Unplanned - C | 27000 | TMPP | COGX
Subtotal Receiving Transactions (A) | 27000
SENDING TRANSACTION INFORMATION
Description | Amount kW | To Control Area | Receiving Load Serving Entity
DGG-STEC Unplanned - G | 1574 | STECA | STEC
Subtotal Sending Transactions (B) | 1574
GENERATION INFORMATION
Generation kW | 22000
Less Gen Unit Main XFMR Losses kW | 0 | <== Provide Calculations to ISO with Submission
Inadvertent kW | -384
Subtotal Net Generation (C) | 22384
TOTAL LOAD CALCULATION
Subtotal Receiving Transactions (A) | 27000
Subtotal Sending Transactions (B) | 1574
Subtotal Net Generation (C) | 22384
Total Load Responsibility (A-B+C) | 47810

## 1700 July 29, 1999
REPORT FOR LOAD SERVING ENTITY ==> | GEUS
LOAD SERVING ENTITY IN CONTROL AREA ==> | TMPP
July 29, 1999 Hour Ending 17:00
RECEIVING TRANSACTION INFORMATION
Description | Amount kW | From Control Area | Sending Generation Entity
DGG-DGG Unplanned C | 18048 | TMPP | COGX
Subtotal Receiving Transactions (A) | 18048
SENDING TRANSACTION INFORMATION
Description | Amount kW | To Control Area | Receiving Load Serving Entity
DGG-BEPC Unplanned G | 11000 | TMPP | BEPC
DGG-EPMC Unplanned G | 2484 | TMPP | EPMC
DGG-TNSK Unplanned G | 0 | TMPP | TNSK
DGG-TNSK Unplanned G | 1484 | CSW | TNSK
Subtotal Sending Transactions (B) | 14968
GENERATION INFORMATION
Generation kW | 54000
Less Gen Unit Main XFMR Losses kW | 0 | <== Provide Calculations to ISO with Submission
Inadvertent kW | 0
Subtotal Net Generation (C) | 54000
TOTAL LOAD CALCULATION
Subtotal Receiving Transactions (A) | 18048
Subtotal Sending Transactions (B) | 14968
Subtotal Net Generation (C) | 54000
Total Load Responsibility (A-B+C) | 57080

## 1700 August 26, 1999
REPORT FOR LOAD SERVING ENTITY ==> | GEUS
LOAD SERVING ENTITY IN CONTROL AREA ==> | TMPP
August 26, 1999 Hour Ending 17:00
RECEIVING TRANSACTION INFORMATION
Description | Amount kW | From Control Area | Sending Generation Entity
DGG-DGG Unplanned C | 4705 | TMPP | COGX
Subtotal Receiving Transactions (A) | 4705
SENDING TRANSACTION INFORMATION
Description | Amount kW | To Control Area | Receiving Load Serving Entity
DGG-BEPC Unplanned G | 11000 | TMPP | BEPC
DGG-TNMP Unplanned G | 2425 | TNMP | TNMP
DGG-TUEG Unplanned G | 1200 | TUET | TUET
Subtotal Sending Transactions (B) | 14625
GENERATION INFORMATION
Generation kW | 68842 | <---- See Note 1 Below
Less Gen Unit Main XFMR Losses kW | 0 | <== Provide Calculations to ISO with Submission
Inadvertent kW | 0
Subtotal Net Generation (C) | 68842
TOTAL LOAD CALCULATION
Subtotal Receiving Transactions (A) | 4705
Subtotal Sending Transactions (B) | 14625
Subtotal Net Generation (C) | 68842
Total Load Responsibility (A-B+C) | 58922
Note 1: This net generation number, taken from actual hourly meter readings, differs from Garland dispatch logs.
Greenville Steam Unit 2 and Unit 3 were operated during this time period with auxiliary load transferred to reserve auxiliary
rather than main auxiliary due to nuisance tripping problems. Since Garland dispatch does not telemeter
reserve auxiliary loads, Garland dispatch telemetry indicated gross generation of 72,000 kW rather than
actual net generation of 68,842 kW, the difference being auxiliary load of 3158 kW.

## 1700 September 7, 1999
REPORT FOR LOAD SERVING ENTITY ==> | GEUS
LOAD SERVING ENTITY IN CONTROL AREA ==> | TMPP
September 7, 1999 Hour Ending 17:00
RECEIVING TRANSACTION INFORMATION
Description | Amount kW | From Control Area | Sending Generation Entity
DGG-DGG Unplanned C | 52646 | TMPP | COGX
Subtotal Receiving Transactions (A) | 52646
SENDING TRANSACTION INFORMATION
Description | Amount kW | To Control Area | Receiving Serving Load Entity
DGG-TNSK Unplanned G | 580 | PUB | TNSK
Subtotal Sending Transactions (B) | 580
GENERATION INFORMATION
Generation kW | 0
Less Gen Unit Main XFMR Losses kW | 0 | <== Provide Calculations to ISO with Submission
Inadvertent kW | 0
Subtotal Net Generation (C) | 0
TOTAL LOAD CALCULATION
Subtotal Receiving Transactions (A) | 52646
Subtotal Sending Transactions (B) | 580
Subtotal Net Generation (C) | 0
Total Load Responsibility (A-B+C) | 52066