## June 19, 1996 @1700 WTU
Control Area Schedules
(For Control Area loads)
Control Areas
Transaction | Receiving Control Area | Control Area Load | Generation | COA | CPL | CPSB | HLP | LCRA | PUB | STECMEC | TMPP | TNP | TUEC | WTU | SPP | Total Purchases | Inadvertent
|  | (A+B+C) | (A) | [12 empty] | (B) | (C)
|  | 0 | [13 empty] | 0
Internal Generation | WTU | 742 | 742 | [12 empty] | 0
|  | 0 | [13 empty] | 0
Inadvertent |  | 6 | [13 empty] | 0 | 6
HLP Replacement Energy | WTU | 100 |  |  |  |  | 100 | [8 empty] | 100
HLP Replacement Energy | WTU | 100 |  |  |  |  | 100 | [8 empty] | 100
LCRA Load Exchange Pay Back | WTU | 20 | [5 empty] | 20 | [7 empty] | 20
TMPP Denison Dam | WTU | 27 | [8 empty] | 27 |  |  |  |  | 27
TU Replacement Energy | WTU | 200 | [10 empty] | 200 |  |  | 200
TU Replacement Energy | WTU | 200 | [10 empty] | 200 |  |  | 200
|  | 0 | [13 empty] | 0
CSW Internal Economy (CPL/WTU) | CPL | -164 | [11 empty] | -164 |  | -164
CSW Internal Economy (WTU/SPP) | WTU | 146 | [12 empty] | 146 | 146
|  | 0 | [13 empty] | 0
|  | 0 | [13 empty] | 0
|  | 0 | [13 empty] | 0
|  | 0 | [13 empty] | 0
Totals | WTU | 1377 | 742 | 0 | 0 | 0 | 200 | 20 | 0 | 0 | 27 | 0 | 400 | -164 | 146 | 629 | 6
Control Area Adjustments
(For both Control Area loads and Point of Delivery loads)
Control Areas
Transaction | Receiving Utility | Load Responsibility | Control Area Load | COA | CPL | CPSB | HLP | LCRA | PUB | STECMEC | TMPP | TNP | TUEC | WTU | Total Adjustment
|  | (A+B) | (A) | [11 empty] | (B)
|  | 0 | [12 empty] | 0
Control Area Load | WTU | 1377 | 1377 | [11 empty] | 0
|  | 0 | [12 empty] | 0
LCRA Load in WTU | LCRA | -24.714 | [11 empty] | -24.714 | -24.714
TexLa Load in WTU | TexLa | -110.554 | [11 empty] | -110.554 | -110.554
|  | 0 | [12 empty] | 0
Totals | WTU | 1241.732 | 1377 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -135.268 | -135.268
|  |  |  | X,XXX | Control area load is reconciled in the top calculation and transferred to the bottom calculation. This value is zero (0) for point of delivery loads.
|  |  |  | X,XXX | This is the Load Responsibility value that is be used for the postage stamp calculation. Loss adjustments must be applied to determine a load ratio share.

## July 22, 1996 @1700 WTU
Control Area Schedules
(For Control Area loads)
Control Areas
Transaction | Receiving Control Area | Control Area Load | Generation | COA | CPL | CPSB | HLP | LCRA | PUB | STECMEC | TMPP | TNP | TUEC | WTU | SPP | Total Purchases | Inadvertent
|  | (A+B+C) | (A) | [12 empty] | (B) | (C)
|  | 0 | [13 empty] | 0
Internal Generation | WTU | 1466 | 1466 | [12 empty] | 0
|  | 0 | [13 empty] | 0
Inadvertent | WTU | 13 | [13 empty] | 0 | 13
COA Firm Contract Purchase | WTU | 100 |  | 100 | [11 empty] | 100
LCRA Load Exchange Pay Back | WTU | 20 | [5 empty] | 20 | [7 empty] | 20
TMPP Denison Dam | WTU | 28 | [8 empty] | 28 |  |  |  |  | 28
PUB Oklaunion Share | PUB | -68 | [11 empty] | -68 |  | -68
|  | 0 | [13 empty] | 0
CSW Internal Economy (CPL/WTU) | CPL | -231 | [11 empty] | -231 |  | -231
CSW Internal Economy (WTU/SPP) | WTU | 315 | [12 empty] | 315 | 315
CPL Oklaunion Share | CPL | -52 | [11 empty] | -52 |  | -52
PSO Oklaunio Share | SPP | -104 | [11 empty] | -104 |  | -104
OMPA Oklaunion Share | SPP | -78 | [11 empty] | -78 |  | -78
|  | 0 | [13 empty] | 0
|  | 0 | [13 empty] | 0
|  | 0 | [13 empty] | 0
Totals | WTU | 1409 | 1466 | 100 | 0 | 0 | 0 | 20 | 0 | 0 | 28 | 0 | 0 | -533 | 315 | -70 | 13
Control Area Adjustments
(For both Control Area loads and Point of Delivery loads)
Control Areas
Transaction | Receiving Utility | Load Responsibility | Control Area Load | COA | CPL | CPSB | HLP | LCRA | PUB | STECMEC | TMPP | TNP | TUEC | WTU | Total Adjustment
|  | (A+B) | (A) | [11 empty] | (B)
|  | 0 | [12 empty] | 0
Control Area Load | WTU | 1409 | 1409 | [11 empty] | 0
|  | 0 | [12 empty] | 0
LCRA Load in WTU | LCRA | -24.231 | [11 empty] | -24.231 | -24.231
TexLa Load in WTU | TexLa | -122.517 | [11 empty] | -122.517 | -122.517
|  | 0 | [12 empty] | 0
Totals | WTU | 1262.252 | 1409 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -146.748 | -146.748
|  |  |  | X,XXX | Control area load is reconciled in the top calculation and transferred to the bottom calculation. This value is zero (0) for point of delivery loads.
|  |  |  | X,XXX | This is the Load Responsibility value that is be used for the postage stamp calculation. Loss adjustments must be applied to determine a load ratio share.

## August 5, 1996 @1700 WTU
Control Area Schedules
(For Control Area loads)
Control Areas
Transaction | Receiving Control Area | Control Area Load | Generation | COA | CPL | CPSB | HLP | LCRA | PUB | STECMEC | TMPP | TNP | TUEC | WTU | SPP | Total Purchases | Inadvertent
|  | (A+B+C) | (A) | [12 empty] | (B) | (C)
|  | 0 | [13 empty] | 0
Internal Generation | WTU | 1369 | 1369 | [12 empty] | 0
|  | 0 | [13 empty] | 0
Inadvertent |  | 13 | [13 empty] | 0 | 13
LCRA Load Exchange Pay Back | WTU | 20 | [5 empty] | 20 | [7 empty] | 20
TMPP Denison Dam | WTU | 28 | [8 empty] | 28 |  |  |  |  | 28
PUB Oklaunion Share | PUB | -68 | [11 empty] | -68 |  | -68
|  | 0 | [13 empty] | 0
CSW Internal Economy (CPL/WTU) | WTU | 197 |  |  | 197 | [10 empty] | 197
CSW Internal Economy (WTU/SPP) | WTU | 61 | [12 empty] | 61 | 61
CPL Oklaunion Share | CPL | -52 | [11 empty] | -52 |  | -52
PSO Oklaunio Share | SPP | -78 | [11 empty] | -78 |  | -78
OMPA Oklaunion Share | SPP | -104 | [11 empty] | -104 |  | -104
|  | 0 | [13 empty] | 0
|  | 0 | [13 empty] | 0
|  | 0 | [13 empty] | 0
|  | 0 | [13 empty] | 0
Totals | WTU | 1386 | 1369 | 0 | 197 | 0 | 0 | 20 | 0 | 0 | 28 | 0 | 0 | -302 | 61 | 4 | 13
Control Area Adjustments
(For both Control Area loads and Point of Delivery loads)
Control Areas
Transaction | Receiving Utility | Load Responsibility | Control Area Load | COA | CPL | CPSB | HLP | LCRA | PUB | STECMEC | TMPP | TNP | TUEC | WTU | Total Adjustment
|  | (A+B) | (A) | [11 empty] | (B)
|  | 0 | [12 empty] | 0
Control Area Load | WTU | 1386 | 1386 | [11 empty] | 0
|  | 0 | [12 empty] | 0
LCRA Load in WTU | LCRA | -23.477 | [11 empty] | -23.477 | -23.477
TexLa Load in WTU | TexLa | -118.397 | [11 empty] | -118.397 | -118.397
|  | 0 | [12 empty] | 0
Totals | WTU | 1244.126 | 1386 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -141.874 | -141.874
|  |  |  | X,XXX | Control area load is reconciled in the top calculation and transferred to the bottom calculation. This value is zero (0) for point of delivery loads.
|  |  |  | X,XXX | This is the Load Responsibility value that is be used for the postage stamp calculation. Loss adjustments must be applied to determine a load ratio share.

## September 10, 1996 @1800 WTU
Control Area Schedules
(For Control Area loads)
Control Areas
Transaction | Receiving Control Area | Control Area Load | Generation | COA | CPL | CPSB | HLP | LCRA | PUB | STECMEC | TMPP | TNP | TUEC | WTU | SPP | Total Purchases | Inadvertent
|  | (A+B+C) | (A) | [12 empty] | (B) | (C)
|  | 0 | [13 empty] | 0
Internal Generation | WTU | 1239 | 1239 | [12 empty] | 0
|  | 0 | [13 empty] | 0
Inadvertent | WTU | 35 | [13 empty] | 0 | 35
LCRA Load Exchange Pay Back | WTU | 20 | [5 empty] | 20 | [7 empty] | 20
TMPP Denison Dam | WTU | 27 | [8 empty] | 27 |  |  |  |  | 27
PUB Oklaunion Share | PUB | -68 | [11 empty] | -68 |  | -68
|  | 0 | [13 empty] | 0
CSW Internal Economy (CPL/WTU) | CPL | -121 | [11 empty] | -121 |  | -121
CSW Internal Economy (WTU/SPP) | WTU | 232 | [12 empty] | 232 | 232
CPL Oklaunion Share | CPL | -52 | [11 empty] | -52 |  | -52
PSO Oklaunion Share | SPP | -104 | [11 empty] | -104 |  | -104
OMPA Oklaunion Share | SPP | -78 | [11 empty] | -78 |  | -78
|  | 0 | [13 empty] | 0
|  | 0 | [13 empty] | 0
|  | 0 | [13 empty] | 0
|  | 0 | [13 empty] | 0
Totals | WTU | 1130 | 1239 | 0 | 0 | 0 | 0 | 20 | 0 | 0 | 27 | 0 | 0 | -423 | 232 | -144 | 35
Control Area Adjustments
(For both Control Area loads and Point of Delivery loads)
Control Areas
Transaction | Receiving Utility | Load Responsibility | Control Area Load | COA | CPL | CPSB | HLP | LCRA | PUB | STECMEC | TMPP | TNP | TUEC | WTU | Total Adjustment
|  | (A+B) | (A) | [11 empty] | (B)
|  | 0 | [12 empty] | 0
Control Area Load | WTU | 1130 | 1130 | [11 empty] | 0
|  | 0 | [12 empty] | 0
LCRA Load in WTU | LCRA | -17.556 | [11 empty] | -17.556 | -17.556
TexLa Load in WTU | TexLa | -96.019 | [11 empty] | -96.019 | -96.019
|  | 0 | [12 empty] | 0
Totals | WTU | 1016.425 | 1130 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -113.575 | -113.575
|  |  |  | X,XXX | Control area load is reconciled in the top calculation and transferred to the bottom calculation. This value is zero (0) for point of delivery loads.
|  |  |  | X,XXX | This is the Load Responsibility value that is be used for the postage stamp calculation. Loss adjustments must be applied to determine a load ratio share.

## June 19, 1996 @1700 CPL
Control Area Schedules
(For Control Area loads)
Control Areas
Transaction | Receiving Control Area | Control Area Load | Generation | COA | CPL | CPSB | HLP | LCRA | PUB | STECMEC | TMPP | TNP | TUEC | WTU | SPP | Total Purchases | Inadvertent
|  | (A+B+C) | (A) | [12 empty] | (B) | (C)
|  | 0 | [13 empty] | 0
Internal Generation | CPL | 3029 | 3029 | [12 empty] | 0
|  | 0 | [13 empty] | 0
Inadvertent | CPL | 6 | [13 empty] | 0 | 6
CPL STP Share | CPL | 632 | 632 | [12 empty] | 0
COA Replacement Energy | CPL | 50 |  | 50 | [11 empty] | 50
COA Replacement Energy | CPL | 50 |  | 50 | [11 empty] | 50
HLP East DC Schedule | CPL | 77 |  |  |  |  | 77 | [8 empty] | 77
HLP East DC Schedule | SPP | -77 |  |  | -77 | [10 empty] | -77
PUB Loss Pay Back | CPL | 15 | [6 empty] | 15 | [6 empty] | 15
TU Replacement Energy | CPL | 75 | [10 empty] | 75 |  |  | 75
PUB Firm II | PUB | -25 |  |  | -25 | [10 empty] | -25
PUB IBWC | PUB | -3 |  |  | -3 | [10 empty] | -3
STEC IBWC | STEC | -20 |  |  | -20 | [10 empty] | -20
SESCO Firm | TU | -43 |  |  | -43 | [10 empty] | -43
STEC Load Exchange Pay Back | STEC | -10 |  |  | -10 | [10 empty] | -10
CSW Internal Economy (CPL/WTU) | CPL | 164 | [11 empty] | 164 |  | 164
CSW Internal Economy (WTU/SPP) | SPP | -3 |  |  | -3 | [10 empty] | -3
Totals | CPL | 3917 | 3661 | 100 | -181 | 0 | 77 | 0 | 15 | 0 | 0 | 0 | 75 | 164 | 0 | 250 | 6
Control Area Adjustments
(For both Control Area loads and Point of Delivery loads)
Control Areas
Transaction | Receiving Utility | Load Responsibility | Control Area Load | COA | CPL | CPSB | HLP | LCRA | PUB | STECMEC | TMPP | TNP | TUEC | WTU | Total Adjustment
|  | (A+B) | (A) | [11 empty] | (B)
|  | 0 | [12 empty] | 0
Control Area Load | CPL | 3917 | 3917 | [11 empty] | 0
CPL Load in LCRA | CPL | 3.227 | [5 empty] | 3.227 | [6 empty] | 3.227
LCRA Load in CPL | LCRA | -1.938 |  |  | -1.938 | [9 empty] | -1.938
CPL Load in STEC | CPL | 13.752 | [7 empty] | 13.752 |  |  |  |  | 13.752
STEC load in CPL | STEC | -4.956 |  |  | -4.956 | [9 empty] | -4.956
Totals | CPL | 3927.085 | 3917 | 0 | -6.894 | 0 | 0 | 3.227 | 0 | 13.752 | 0 | 0 | 0 | 0 | 10.085
|  |  |  | X,XXX | Control area load is reconciled in the top calculation and transferred to the bottom calculation. This value is zero (0) for point of delivery loads.
|  |  |  | X,XXX | This is the Load Responsibility value that is be used for the postage stamp calculation. Loss adjustments must be applied to determine a load ratio share.

## July 22, 1996 @1700 CPL
Control Area Schedules
(For Control Area loads)
Control Areas
Transaction | Receiving Control Area | Control Area Load | Generation | COA | CPL | CPSB | HLP | LCRA | PUB | STECMEC | TMPP | TNP | TUEC | WTU | SPP | Total Purchases | Inadvertent
|  | (A+B+C) | (A) | [12 empty] | (B) | (C)
|  | 0 | [13 empty] | 0
Internal Generation | CPL | 3034 | 3034 | [12 empty] | 0
|  | 0 | [13 empty] | 0
Inadvertent | CPL | -9 | [13 empty] | 0 | -9
CPL Share of STP | CPL | 618 | 618 | [12 empty] | 0
COA Firm Contract Purchase | CPL | 50 |  | 50 | [11 empty] | 50
COA Firm Contract Purchase | CPL | 50 |  | 50 | [11 empty] | 50
HL&P East DC Schedule | CPL | 100 |  |  |  |  | 100 | [8 empty] | 100
HL&P East DC Schedule | CPL | 150 |  |  |  |  | 150 | [8 empty] | 150
TU East DC Schedule | CPL | 150 | [10 empty] | 150 |  |  | 150
HL&P East DC Schedule | SPP | -100 |  |  | -100 | [10 empty] | -100
HL&P East DC Schedule | SPP | -150 |  |  | -150 | [10 empty] | -150
TU East DC Schedule | SPP | -150 |  |  | -150 | [10 empty] | -150
PUB Loss Pay Back | CPL | 25 | [6 empty] | 25 | [6 empty] | 25
TU Replacement Energy | CPL | 100 | [10 empty] | 100 |  |  | 100
PUB Firm II | PUB | -25 |  |  | -25 | [10 empty] | -25
PUB IBWC | PUB | -2 |  |  | -2 | [10 empty] | -2
STEC IBWC | STEC | -15 |  |  | -15 | [10 empty] | -15
SESCO Firm | TU | -22 |  |  | -22 | [10 empty] | -22
STEC Load Exchange Pay Back | STEC | -10 |  |  | -10 | [10 empty] | -10
CSW Internal Economy (CPL/WTU) | CPL | 231 | [11 empty] | 231 |  | 231
CSW Internal Economy (CPL/SPP) | SPP | -206 |  |  | -206 | [10 empty] | -206
CPL Oklaunio Share | CPL | 52 | [11 empty] | 52 |  | 52
Totals | CPL | 3871 | 3652 | 100 | -680 | 0 | 250 | 0 | 25 | 0 | 0 | 0 | 250 | 283 | 0 | 228 | -9
Control Area Adjustments
(For both Control Area loads and Point of Delivery loads)
Control Areas
Transaction | Receiving Utility | Load Responsibility | Control Area Load | COA | CPL | CPSB | HLP | LCRA | PUB | STECMEC | TMPP | TNP | TUEC | WTU | Total Adjustment
|  | (A+B) | (A) | [11 empty] | (B)
|  | 0 | [12 empty] | 0
Control Area Load | CPL | 3871 | 3871 | [11 empty] | 0
CPL Load in LCRA | CPL | 3.17 | [5 empty] | 3.17 | [6 empty] | 3.17
LCRA Load in CPL | LCRA | -1.845 |  |  | -1.845 | [9 empty] | -1.845
CPL Load in STEC | CPL | 12.78 | [7 empty] | 12.78 |  |  |  |  | 12.78
STEC load in CPL | STEC | -4.722 |  |  | -4.722 | [9 empty] | -4.722
Totals | CPL | 3880.383 | 3871 | 0 | -6.567 | 0 | 0 | 3.17 | 0 | 12.78 | 0 | 0 | 0 | 0 | 9.383
|  |  |  | X,XXX | Control area load is reconciled in the top calculation and transferred to the bottom calculation. This value is zero (0) for point of delivery loads.
|  |  |  | X,XXX | This is the Load Responsibility value that is be used for the postage stamp calculation. Loss adjustments must be applied to determine a load ratio share.

## August 5, 1996 @1700 CPL
Control Area Schedules
(For Control Area loads)
Control Areas
Transaction | Receiving Control Area | Control Area Load | Generation | COA | CPL | CPSB | HLP | LCRA | PUB | STECMEC | TMPP | TNP | TUEC | WTU | SPP | Total Purchases | Inadvertent
|  | (A+B+C) | (A) | [12 empty] | (B) | (C)
|  | 0 | [13 empty] | 0
Internal Generation | CPL | 3368 | 3368 | [12 empty] | 0
|  | 0 | [13 empty] | 0
Inadvertent | CPL | -2 | [13 empty] | 0 | -2
CPL Share of STP | CPL | 630 | 630 | [12 empty] | 0
COA Firm Contract Purchase | CPL | 100 |  | 100 | [11 empty] | 100
COA Replacement Energy | CPL | 50 |  | 50 | [11 empty] | 50
COA Replacement Energy | CPL | 100 |  | 100 | [11 empty] | 100
PUB Loss Pay Back | CPL | 5 | [6 empty] | 5 | [6 empty] | 5
PUB Firm II | PUB | -25 |  |  | -25 | [10 empty] | -25
PUB IBWC | PUB | -2 |  |  | -2 | [10 empty] | -2
STEC IBWC | TU | -10 |  |  | -10 | [10 empty] | -10
SESCO Firm | STEC | -22 |  |  | -22 | [10 empty] | -22
STEC Load Exchange Pay Back | STEC | -10 |  |  | -10 | [10 empty] | -10
TMPP Emergency A | TMPP | -25 |  |  | -25 | [10 empty] | -25
CSW Internal Economy (CPL/WTU) | WTU | -197 |  |  | -197 | [10 empty] | -197
CSW Internal Economy (CPL/SPP) | SPP | -55 |  |  | -55 | [10 empty] | -55
CPL Oklaunion Share | CPL | 52 | [11 empty] | 52 |  | 52
Totals | CPL | 3957 | 3998 | 250 | -346 | 0 | 0 | 0 | 5 | 0 | 0 | 0 | 0 | 52 | 0 | -39 | -2
Control Area Adjustments
(For both Control Area loads and Point of Delivery loads)
Control Areas
Transaction | Receiving Utility | Load Responsibility | Control Area Load | COA | CPL | CPSB | HLP | LCRA | PUB | STECMEC | TMPP | TNP | TUEC | WTU | Total Adjustment
|  | (A+B) | (A) | [11 empty] | (B)
|  | 0 | [12 empty] | 0
Control Area Load | CPL | 3957 | 3957 | [11 empty] | 0
CPL Load in LCRA | CPL | 3.284 | [5 empty] | 3.284 | [6 empty] | 3.284
LCRA Load in CPL | LCRA | -1.914 |  |  | -1.914 | [9 empty] | -1.914
CPL Load in STEC | CPL | 14.472 | [7 empty] | 14.472 |  |  |  |  | 14.472
STEC load in CPL | STEC | -5.298 |  |  | -5.298 | [9 empty] | -5.298
Totals | CPL | 3967.544 | 3957 | 0 | -7.212 | 0 | 0 | 3.284 | 0 | 14.472 | 0 | 0 | 0 | 0 | 10.544
|  |  |  | X,XXX | Control area load is reconciled in the top calculation and transferred to the bottom calculation. This value is zero (0) for point of delivery loads.
|  |  |  | X,XXX | This is the Load Responsibility value that is be used for the postage stamp calculation. Loss adjustments must be applied to determine a load ratio share.

## September 10, 1996 @1800 CPL
Control Area Schedules
(For Control Area loads)
Control Areas
Transaction | Receiving Control Area | Control Area Load | Generation | COA | CPL | CPSB | HLP | LCRA | PUB | STECMEC | TMPP | TNP | TUEC | WTU | SPP | Total Purchases | Inadvertent
|  | (A+B+C) | (A) | [12 empty] | (B) | (C)
|  | 0 | [13 empty] | 0
Internal Generation | CPL | 2789 | 2789 | [12 empty] | 0
|  | 0 | [13 empty] | 0
Inadvertent | CPL | -31 | [13 empty] | 0 | -31
CPL Share of STP | CPL | 624 | 624 | [12 empty] | 0
COA Firm Contract Purchase | CPL | 100 |  | 100 | [11 empty] | 100
HL&P East DC Schedule | CPL | 207 |  |  |  |  | 207 | [8 empty] | 207
HL&P East DC Schedule | CPL | 78 |  |  |  |  | 78 | [8 empty] | 78
HL&P East DC Schedule | SPP | -207 |  |  | -207 | [10 empty] | -207
HL&P East DC Schedule | SPP | -78 |  |  | -78 | [10 empty] | -78
PUB Firm II | PUB | -25 |  |  | -25 | [10 empty] | -25
PUB IBWC | PUB | -1 |  |  | -1 | [10 empty] | -1
STEC IBWC | STEC | -10 |  |  | -10 | [10 empty] | -10
SESCO Firm | TU | -22 |  |  | -22 | [10 empty] | -22
STEC Load Exchange Pay Back | STEC | -10 |  |  | -10 | [10 empty] | -10
CSW Internal Economy (CPL/WTU) | CPL | 121 | [11 empty] | 121 |  | 121
CSW Internal Economy (CPL/SPP) | SPP | -205 |  |  | -205 | [10 empty] | -205
CPL Oklaunio Share | CPL | 52 | [11 empty] | 52 |  | 52
Totals | CPL | 3382 | 3413 | 100 | -558 | 0 | 285 | 0 | 0 | 0 | 0 | 0 | 0 | 173 | 0 | 0 | -31
Control Area Adjustments
(For both Control Area loads and Point of Delivery loads)
Control Areas
Transaction | Receiving Utility | Load Responsibility | Control Area Load | COA | CPL | CPSB | HLP | LCRA | PUB | STECMEC | TMPP | TNP | TUEC | WTU | Total Adjustment
|  | (A+B) | (A) | [11 empty] | (B)
|  | 0 | [12 empty] | 0
Control Area Load | CPL | 3382 | 3382 | [11 empty] | 0
CPL Load in LCRA | CPL | 2.57 | [5 empty] | 2.57 | [6 empty] | 2.57
LCRA Load in CPL | LCRA | -1.49 |  |  | -1.49 | [9 empty] | -1.49
CPL Load in STEC | CPL | 10.872 | [7 empty] | 10.872 |  |  |  |  | 10.872
STEC load in CPL | STEC | -3.954 |  |  | -3.954 | [9 empty] | -3.954
Totals | CPL | 3389.998 | 3382 | 0 | -5.444 | 0 | 0 | 2.57 | 0 | 10.872 | 0 | 0 | 0 | 0 | 7.998
|  |  |  | X,XXX | Control area load is reconciled in the top calculation and transferred to the bottom calculation. This value is zero (0) for point of delivery loads.
|  |  |  | X,XXX | This is the Load Responsibility value that is be used for the postage stamp calculation. Loss adjustments must be applied to determine a load ratio share.

## 1997 Generator Groups
Generator Group Name: | CPL
Generator Unit Name | Available Capability | Nominated Capability
5911 South Texas Proj. #1 | 315 | 315
5912 South Texas Proj. #2 | 315 | 315
6752 Oklaunion #1 | 52 | 52
8262 Eagle Pass Hydro #1-#3 | 6 | 6
8139 Ennis Joslin #1 | 249 | 249
8161 Coleto Creek #1 | 632 | 632
8168 Victoria #4 | 0 | 0
8173 Victoria #5 | 174 | 174
8174 Victoria #6 | 258 | 258
8285 Laredo #1 | 34 | 34
8287 Laredo #2 | 32 | 32
8288 Laredo #3 | 111 | 111
8305 La Palma #4 | 0 | 0
8306 La Palma #5 | 0 | 0
8307 La Palma #7 | 47 | 47
8308 La Palma #6 | 158 | 158
8388 J. L. Bates #1 | 72 | 72
8393 J. L. Bates #2 | 110 | 110
8437 Nueces Bay #5 | 34 | 34
8438 Nueces Bay #6 | 161 | 161
8442 Nueces Bay #7 | 368 | 368
8444 Lon C. Hill #1 | 72 | 72
8445 Lon C. Hill #2 | 73 | 73
8446 Lon C. Hill #3 | 157 | 157
8447 Lon C. Hill #4 | 248 | 248
8459 Barney M. Davis #1 | 339 | 339
8460 Barney M. Davis #2 | 341 | 341
Total Generation | 4358 | 4358
Generator Group Name: | WTU
Generator Unit Name | Available Capability | Nominated Capability
6061 Vernon Plant #1-4,7 | 9 | 9
6282 Abilene Plant | 12 | 12
6628 Fort Stockton #1 | 5 | 5
6684 Presidio #5,#6 | 2 | 2
6750 Lake Pauline #1 | 19 | 19
6751 Lake Pauline #2 | 27 | 27
6752 Oklaunion #1 | 370 | 370
6753 Paint Creek #1 | 33 | 33
6754 Paint Creek #2 | 33 | 33
6755 Paint Creek #3 | 54 | 54
6756 Paint Creek #4 | 117 | 117
6757 Fort Phantom #1 | 158 | 158
6758 Fort Phantom #2 | 204 | 204
6759 Oak Creek #1 | 87 | 87
6762 San Angelo #1 | 22 | 22
6763 San Angelo #2 | 103 | 103
6764 Rio Pecos #4 | 3 | 3
6765 Rio Pecos #5 | 36 | 36
6766 Rio Pecos #6 | 98 | 98
6677 Renewable | 1 | 1
8460 Barney M. Davis #2 | 15 | 15
Total Generation | 1408 | 1408
Generator Group Name: | Denison Dam
Generator Unit Name | Available Capability | Nominated Capability
6698 Denison Dam | 80 | 80
Total Generation | 80 | 80
Generator Group Name: | North DC
Generator Unit Name | Available Capability | Nominated Capability
6096 North DC Tie | 124 | 124
Total Generation | 124 | 124
Generator Group Name: | East DC
Generator Unit Name | Available Capability | Nominated Capability
5925 East DC Tie | 40.5 | 40.5
Total Generation | 40.5 | 40.5
Generator Group Name: | IBWC
Generator Unit Name | Available Capability | Nominated Capability
8032 Amistad Hydro | 58 | 20.2
8048 Falcon Hydro | 39.5 | 14.8
Total Generation | 97.5 | 35

## 1997 VAMM Nominations
CSW
Generator Groups
|  | Forecasted |  | CPL | WTU | Denison Dam | North DC | East DC | HLP | IBWC | Total
| Type of | 1997 Firm | Capability-MW: | 4358 | 1408 | 80 | 124 | 40.5 | 53 | 35 | 6098.5
Load Groups | Nomination | Peak Demand
|  |  | Nominated | 100% | 100% | 39.25% | 100% | 99.51% | 100% | 80%
CPL Retail | Purchase | 3609 | 115.1% | 4075.6 |  |  |  |  | 50.5 | 26.7 | 4152.8
CPL Wholesale | Purchase | 181 | 115% | 204.4 |  |  |  |  | 2.5 | 1.3 | 208.2
WTU Retail | Purchase | 962 | 115% |  | 1016.6 |  | 89.5 |  |  |  | 1106.1
WTU Wholesale | Purchase | 278 | 115% |  | 293.8 |  | 25.9 |  |  |  | 319.7
WTU Weatherford | Purchase | 52 | 115% |  | 55 |  | 4.8 |  |  |  | 59.8
WTU TexLa | Sale | 102.7 | 115% |  | 42.6 | 31.4 | 3.8 | 40.3 |  |  | 118.1
CPL SESCO | Sale | 50 | 100% | 50 | [6 empty] | 50
CPL STEC | Sale | 28 | 100% | 28 | [6 empty] | 28
Totals |  | 5262.7 |  | 4358 | 1408 | 31.4 | 124 | 40.3 | 53 | 28 | 6042.7
Calculated Capability not Nominated |  |  |  | 0 | 0 | 48.6 | 0 | 0.2 | 0 | 7 | 55.8

## Units
CSW 1996 ESTIMATED LOSSES FOR GENERATOR STEP UP TRANSFORMER
|  |  | Unit | 6/19/96 | 7/22/96 | 8/5/96 | 9/10/96 | Cap | Joint |  |  | 6/19/96 | 7/22/96 | 8/5/96 | 9/10/96
Co | Bus# | Power Station | No | 1700 | 1700 | 1700 | 1800 | MW | Unit | kV | Rpu | 1700 | 1700 | 1700 | 1800 | Average | Master | CC | Rohms | I/phase | Losses MW
CPL | 8032 | Amistad Hydro | 1 | 21 | 0 | 0 | 0 | 58 |  | 13.8 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 2 | 0 | 878.5765 | 0
CPL | 8048 | Falcon Hydro | 1 | 5 | 0 | 6 | 0 | 39.5 |  | 13.8 | 0 | 0 | 0 | 0 | 0 | 0 | 3 | 9 | 0 | 209.1849 | 0
CPL | 8139 | Ennis Joslin | 1 | 209 | 156 | 226 | 164 | 249 |  | 22 | 0.001 | 0.43681 | 0.24336 | 0.51076 | 0.26896 | 0.36497 | 4 | 13 | 0.00484 | 5484.8276 | 0.43681
CPL | 8161 | Coleto Creek | 1 | 608 | 624 | 617 | 621 | 632 |  | 24 | 0.0003 | 1.109 | 1.1681 | 1.1421 | 1.1569 | 1.144 | 5 | 7 | 0.001728 | 14626.2068 | 1.109
CPL | 8168 | Victoria | 4 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | [5 empty] | 6 | 51 | 0 | 0 | 0
CPL | 8173 | Victoria | 5 | 127 | 109 | 131 | 0 | 174 |  | 22 | 0.001 | 0.16129 | 0.11881 | 0.17161 | 0 | 0.11293 | 7 | 52 | 0.00484 | 3332.8856 | 0.16129
CPL | 8174 | Victoria | 6 | 244 | 152 | 225 | 204 | 258 |  | 22 | 0.001 | 0.59536 | 0.23104 | 0.50625 | 0.41616 | 0.4372 | 8 | 53 | 0.00484 | 6403.3393 | 0.59536
CPL | 8262 | Eagle Pass Hydro | 1 | 7 | 5 | 5 | 7 | 6 |  | 13.8 | 0.0601 | 0.029449 | 0.015025 | 0.015025 | 0.029449 | 0.022237 | 9 | 8 | 0.11445 | 292.8588 | 0.029449
CPL | 8285 | Laredo | 1 | 31 | 28 | 28 | 25 | 34 |  | 13.8 | 0.0113 | 0.10859 | 0.088592 | 0.088592 | 0.070625 | 0.0891 | 10 | 14 | 0.02152 | 1296.9463 | 0.10859
CPL | 8287 | Laredo | 2 | 28 | 27 | 29 | 20 | 32 |  | 13.8 | 0.0094 | 0.073696 | 0.068526 | 0.079054 | 0.0376 | 0.064719 | 11 | 15 | 0.017901 | 1171.4353 | 0.073696
CPL | 8288 | Laredo | 3 | 99 | 98 | 99 | 100 | 111 |  | 13.8 | 0.0028 | 0.27443 | 0.26891 | 0.27443 | 0.28 | 0.27444 | 12 | 16 | 0.0053323 | 4141.8606 | 0.27443
CPL | 8305 | La Palma | 4 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | [5 empty] | 13 | 17 | 0 | 0 | 0
CPL | 8306 | La Palma | 5 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | [5 empty] | 14 | 18 | 0 | 0 | 0
CPL | 8308 | La Palma | 6 | 157 | 148 | 150 | 148 | 158 |  | 18 | 0.0018 | 0.44368 | 0.39427 | 0.405 | 0.39427 | 0.40931 | 15 | 19 | 0.005832 | 5035.7773 | 0.44368
CPL | 8307 | La Palma | 7 | 0 | 0 | 49 | 0 | 47 |  | 22 | 0.0043 | 0 | 0 | 0.10324 | 0 | 0.025811 | 16 | 20 | 0.020812 | 0 | 0
CPL | 8388 | J. L. Bates | 1 | 66 | 62 | 67 | 0 | 72 |  | 13.8 | 0.0041 | 0.1786 | 0.1576 | 0.18405 | 0 | 0.13006 | 17 | 3 | 0.007808 | 2761.2404 | 0.1786
CPL | 8393 | J. L. Bates | 2 | 107 | 99 | 104 | 101 | 110 |  | 13.8 | 0.0034 | 0.38927 | 0.33323 | 0.36774 | 0.34683 | 0.35927 | 18 | 4 | 0.006475 | 4476.5564 | 0.38927
CPL | 8437 | Nueces Bay | 5 | 32 | 0 | 0 | 0 | 34 |  | 13.8 | 0.0114 | 0.11674 | 0 | 0 | 0 | 0.029184 | 19 | 25 | 0.02171 | 1338.7832 | 0.11674
CPL | 8438 | Nueces Bay | 6 | 162 | 159 | 156 | 158 | 161 |  | 20 | 0.002 | 0.52488 | 0.50562 | 0.48672 | 0.49928 | 0.50413 | 20 | 26 | 0.008 | 4676.5372 | 0.52488
CPL | 8442 | Nueces Bay | 7 | 0 | 351 | 352 | 340 | 368 |  | 22 | 0.001 | 0 | 1.232 | 1.239 | 1.156 | 0.90676 | 21 | 27 | 0.00484 | 0 | 0
CPL | 8444 | Lon C. Hill | 1 | 42 | 0 | 31 | 0 | 72 |  | 13.8 | 0.004 | 0.07056 | 0 | 0.03844 | 0 | 0.02725 | 22 | 21 | 0.0076176 | 1757.153 | 0.07056
CPL | 8445 | Lon C. Hill | 2 | 24 | 0 | 18 | 0 | 73 |  | 13.8 | 0.0054 | 0.031104 | 0 | 0.017496 | 0 | 0.01215 | 23 | 22 | 0.010284 | 1004.0874 | 0.031104
CPL | 8446 | Lon C. Hill | 3 | 143 | 103 | 135 | 0 | 157 |  | 18 | 0.0018 | 0.36808 | 0.19096 | 0.32805 | 0 | 0.22177 | 24 | 23 | 0.005832 | 4586.7271 | 0.36808
CPL | 8447 | Lon C. Hill | 4 | 235 | 203 | 227 | 232 | 248 |  | 22 | 0.001 | 0.55225 | 0.41209 | 0.51529 | 0.53824 | 0.50447 | 25 | 24 | 0.00484 | 6167.1506 | 0.55225
CPL | 8459 | Barney M. Davis | 1 | 306 | 309 | 321 | 311 | 339 |  | 24 | 0.0007 | 0.65545 | 0.66837 | 0.72129 | 0.67705 | 0.68054 | 26 | 5 | 0.004032 | 7361.2159 | 0.65545
CPL | 8460 | Barney M. Davis | 2 | 322 | 319 | 325 | 313 | 356 |  | 22 | 0.0006 | 0.6221 | 0.61057 | 0.63375 | 0.58781 | 0.61356 | 27 | 6 | 0.002904 | 8450.3085 | 0.6221
HLP | 5911 | South Texas Proj | 1 |  |  |  |  | 315 | Yes | 25 | 0 | [5 empty] | 28 | 55 | 0 | 0 | 0
HLP | 5912 | South Texas Proj | 2 |  |  |  |  | 315 | Yes | 25 | 0 | [5 empty] | 29 | 56 | 0 | 0 | 0
WTU | 6698 | Denison Dam | 1 |  |  |  |  | 40 | Yes | 12 | 0.006 | [5 empty] | 30 | 57 | 0.00864 | 0 | 0
WTU | 6698 | Denison Dam | 2 |  |  |  |  | 40 | Yes | 12 | 0.006 | [5 empty] | 31 | 58 | 0.00864 | 0 | 0
WTU | 6061 | Vernon Plant | 1 | 0 | 0 | 0 | 0 | 9 |  | 69 | 0 | [5 empty] | 32 | 46 | 0 | 0 | 0
WTU | 6061 | Vernon Plant | 2 | 0 | 0 | 0 | 0 |  |  | 69 | 0 | [5 empty] | 33 | 47 | 0 | 0 | 0
WTU | 6061 | Vernon Plant | 3 | 0 | 0 | 0 | 0 |  |  | 69 | 0 | [5 empty] | 34 | 48 | 0 | 0 | 0
WTU | 6061 | Vernon Plant | 4 | 0 | 0 | 0 | 0 |  |  | 69 | 0 | [5 empty] | 35 | 49 | 0 | 0 | 0
WTU | 6061 | Vernon Plant | 7 | 0 | 0 | 0 | 0 |  |  | 69 | 0 | [5 empty] | 36 | 50 | 0 | 0 | 0
WTU | 6282 | Abilene Plant | 4 | 12 | 0 | 0 | 0 | 12 |  | 69 | 0 | 0 | 0 | 0 | 0 | 0 | 37 | 1 | 0 | 100.4087 | 0
WTU | 6628 | Fort Stockton | 2 | 0 | 0 | 0 | 0 | 5 |  | 69 | 0 | [5 empty] | 38 | 12 | 0 | 0 | 0
WTU | 6677 | Renewable | 1 |  |  |  |  | 1 |  | 69 | 0 | [5 empty] | 39 | 59 | 0 | 0 | 0
WTU | 6684 | Presidio | 1 | 0 | 0 | 0 | 0 |  |  | 69 | 0 | [5 empty] | 40 | 36 | 0 | 0 | 0
WTU | 6684 | Presidio | 5 | 0 | 0 | 0 | 0 | 1 |  | 69 | 0 | [5 empty] | 41 | 37 | 0 | 0 | 0
WTU | 6684 | Presidio | 6 | 0 | 0 | 0 | 0 | 1 |  | 69 | 0 | [5 empty] | 42 | 38 | 0 | 0 | 0
WTU | 6750 | Lake Pauline | 1 | 0 | 0 | 0 | 0 | 19 |  | 13.8 | 0.00766 | [5 empty] | 43 | 34 | 0.014588 | 0 | 0
WTU | 6751 | Lake Pauline | 2 | 0 | 0 | 0 | 0 | 27 |  | 13.8 | 0 | [5 empty] | 44 | 35 | 0 | 0 | 0
WTU | 6752 | OklaunioN | 1 | 0 | 665 | 665 | 666 | 666 | Yes | 24 | 0.00028 | 0 | 1.2382 | 1.2382 | 1.242 | 0.9296 | 45 | 29 | 0.0016128 | 0 | 0
WTU | 6753 | Paint Creek | 1 | 8 | 0 | 11 | 0 | 33 |  | 13.8 | 0.00375 | 0.0024 | 0 | 0.0045375 | 0 | 0.0017344 | 46 | 30 | 0.0071415 | 334.6958 | 0.0024
WTU | 6754 | Paint Creek | 2 | 9 | 0 | 9 | 0 | 33 |  | 13.8 | 0.00384 | 0.0031104 | 0 | 0.0031104 | 0 | 0.0015552 | 47 | 31 | 0.0073129 | 376.5328 | 0.0031104
WTU | 6755 | Paint Creek | 3 | 14 | 46 | 15 | 0 | 54 |  | 13.8 | 0.0086 | 0.016856 | 0.18198 | 0.01935 | 0 | 0.054545 | 48 | 32 | 0.016378 | 585.7177 | 0.016856
WTU | 6756 | Paint Creek | 4 | 68 | 96 | 75 | 73 | 117 |  | 14.4 | 0.00337 | 0.15583 | 0.31058 | 0.18956 | 0.17959 | 0.20889 | 49 | 33 | 0.006988 | 2726.3763 | 0.15583
WTU | 6757 | Fort Phantom | 1 | 146 | 147 | 134 | 0 | 158 |  | 14.4 | 0.00163 | 0.34745 | 0.35223 | 0.29268 | 0 | 0.24809 | 50 | 10 | 0.00338 | 5853.6902 | 0.34745
WTU | 6758 | Fort Phantom | 2 | 190 | 190 | 154 | 177 | 204 |  | 20 | 0.0011 | 0.3971 | 0.3971 | 0.26088 | 0.34462 | 0.34992 | 51 | 11 | 0.0044 | 5484.8276 | 0.3971
WTU | 6759 | Oak Creek | 1 | 78 | 78 | 80 | 79 | 87 |  | 13.8 | 0.00416 | 0.25309 | 0.25309 | 0.26624 | 0.25963 | 0.25801 | 52 | 28 | 0.0079223 | 3263.2841 | 0.25309
WTU | 6762 | San Angelo | 1 | 21 | 22 | 21 | 23 | 22 |  | 14.4 | 0.01477 | 0.065136 | 0.071487 | 0.065136 | 0.078133 | 0.069973 | 53 | 43 | 0.030627 | 841.9691 | 0.065136
WTU | 6763 | San Angelo | 2 | 100 | 99 | 81 | 100 | 103 |  | 14.4 | 0.00361 | 0.361 | 0.35382 | 0.23685 | 0.361 | 0.32817 | 54 | 44 | 0.0074857 | 4009.3769 | 0.361
WTU | 6764 | Rio Pecos | 4 | 2 | 2 | 2 | 2 | 3 |  | 4.2 | 0 | 0 | 0 | 0 | 0 | 0 | 56 | 39 | 0 | 274.9287 | 0
WTU | 6765 | Rio Pecos | 5 | 27 | 29 | 29 | 27 | 36 |  | 13.8 | 0.00676 | 0.04928 | 0.056852 | 0.056852 | 0.04928 | 0.053066 | 57 | 40 | 0.012874 | 1129.5984 | 0.04928
WTU | 6766 | Rio Pecos | 6 | 67 | 92 | 93 | 92 | 98 |  | 14.4 | 0.00269 | 0.12075 | 0.22768 | 0.23266 | 0.22768 | 0.20219 | 58 | 41 | 0.005578 | 2686.2825 | 0.12075
|  | Total |  | 2874 | 3638 | 3821 | 3198 |  |  |  |  | 8.5133 | 10.1502 | 10.694 | 9.2011 | 9.6396 | 60 | 54 |  |  | 8.5133
07/29/26

## Loss Calc
STEPUP XFMR TEST REPORT DATA
| BASE | LOW | HIGH | NO LOAD | FULL LOAD | IMPD | IM
UNIT | RATING | SIDE | SIDE | LOSS | LOSS | (%) | (%)
NAME | MVA | KV | KV | (WATTS) | (WATTS)
FPP1 | 600 | 22.8 | 345 | 345230 | 1310500 | 13.95 | 0.617
GID3 | 380 | 20.9 | 138 | 181375 | 1045266 | 11.17 | 0.43
Low Side Amps = RatedMVA/(LoV*Sqrt(3))*1000 | [7 empty] | 15193.4281
High Side Amps = RatedMVA/(HiV*Sqrt(3))*1000 | [7 empty] | 1004.0874
No Load Loss (MVAR) = Sqrt(RatedMVA*1000000*IM/100)^2-NL_Loss^2)/1000000 | [7 empty] | 3.6859
Full Load Loss (MVAR) = Sqrt(RatedMVA*1000000*IM/100)^2-FL_Loss^2)/1000000 | [7 empty] | 83.6897
PG | 309 | MW
QG | 0
XFMR Loss(MW) = (NL_Loss + FL_Loss * (PG^2 + PQ^2) / RatedMVA^2) | [7 empty] | 0.69281

## GSUs
Gen# | Bus# | KV | Area |  | System Bus | KV | Area | R | X | B | RateA | RateB | QT | QB | VSCHED | VREG
5911 | STP1 | 25 | 4 | 5915 | SO TEX 5 | 345 | 4 | 0 | 0.01171 | 0 | 728 | 728 | 512.3 | 0 | 1.0406 | 5915
5912 | STP2 | 25 | 4 | 5915 | SO TEX 5 | 345 | 4 | 0 | 0.01146 | 0 | 784 | 784 | 512.3 | 0 | 1.0406 | 5915
6061 | VERNPLT2 | 69 | 6 | [9 empty] | 4 | 0 | 1.025 | 0
6061 | VERNPLT2 | 69 | 6 | [9 empty] | 4 | 0 | 1.025 | 0
6061 | VERNPLT2 | 69 | 6 | [9 empty] | 4 | 0 | 1.025 | 0
6061 | VERNPLT2 | 69 | 6 | [9 empty] | 4 | 0 | 1.025 | 0
6061 | VERNPLT2 | 69 | 6 | [9 empty] | 4 | 0 | 1.025 | 0
6282 | ABILPLT2 | 69 | 6 | [9 empty] | 12 | -4 | 0.995 | 0
6628 | FTSTKPL2 | 69 | 6 | [9 empty] | 4 | 0 | 1 | 0
6677 | VALTNTP2 | 69 | 6
6684 | PRSIDIO2 | 69 | 6 | [9 empty] | 0 | 0 | 1 | 0
6684 | PRSIDIO2 | 69 | 6 | [9 empty] | 0 | 0 | 1 | 0
6684 | PRSIDIO2 | 69 | 6 | [9 empty] | 0 | 0 | 1 | 0
6698 | DENISNDM | 12 | 11 | 730 | DENISNDM | 138 | 11 | 0.006 | 0.15 | 0 | 90 | 90 | 35 | -15 | 1.02 | 730
6750 | LKPAUL1G | 13.8 | 6 | 6048 | LKPAULS2 | 69 | 6 | 0.00766 | 0.24109 | 0 | 0 | 20 | 7 | 0 | 1.015 | 6048
6751 | LKPAUL1G | 13.8 | 6 | 6048 | LKPAULS2 | 69 | 6 | 0 | 0.25916 | 0 | 31 | 31 | 13.5 | -5 | 1.015 | 6048
6752 | OKLAUN1G | 24 | 6 | 6100 | OKLAEHV7 | 345 | 6 | 0.00028 | 0.01199 | 0 | 0 | 772 | 400 | -250 | 1.03 | 6100
6753 | PTCREK1G | 13.8 | 6 | 6159 | PTCREEK2 | 69 | 6 | 0.00375 | 0.18051 | 0 | 0 | 38 | 25 | -15 | 1.03 | 6159
6754 | PTCREK2G | 13.8 | 6 | 6159 | PTCREEK2 | 69 | 6 | 0.00384 | 0.18051 | 0 | 0 | 38 | 25 | -15 | 1.03 | 6159
6755 | PTCREK3G | 13.8 | 6 | 6161 | PTCRK14 | 138 | 6 | 0.0086 | 0.19111 | 0 | 63 | 63 | 30 | -20 | 1.032 | 6161
6756 | PTCREK4G | 14.4 | 6 | 6169 | PTCRK24 | 138 | 6 | 0.00337 | 0.0869 | 0 | 0 | 120 | 55 | -35 | 1.032 | 6161
6757 | PHANTM1G | 14.4 | 6 | 6222 | PHATMW4 | 138 | 6 | 0.00163 | 0.05921 | 0 | 0 | 177 | 60 | -50 | 1.01 | 6222
6758 | PHANTM2G | 20 | 6 | 6222 | PHATMW4 | 138 | 6 | 0.0011 | 0.04092 | 0 | 0 | 236 | 100 | -75 | 1.01 | 6222
6759 | OAKCK1G | 13.8 | 6 | 6335 | OAKCK14 | 138 | 6 | 0.00416 | 0.11726 | 0 | 0 | 90 | 50 | -30 | 1.025 | 6335
6762 | SAPS1G | 14.4 | 6 | 6478 | SAPS2 | 69 | 6 | 0.01477 | 0.28328 | 0 | 0 | 38 | 20 | -15 | 0.995 | 6478
6763 | SAPS2G | 14.4 | 6 | 6480 | SAPS14 | 138 | 6 | 0.00361 | 0.09759 | 0 | 0 | 105 | 55 | -40 | 1.015 | 6480
6764 | RIOPEC4G | 4.2 | 6 | 6598 | RIOPEC2 | 69 | 6 | 0 | 0.94512 | 0 | 0 | 6 | 4 | -3 | 1.025 | 0
6765 | RIOPEC5G | 13.8 | 6 | 6598 | RIOPEC2 | 69 | 6 | 0.00676 | 0.17488 | 0 | 0 | 42 | 23 | -8 | 1.03 | 6598
6766 | RIOPEC6G | 14.4 | 6 | 6601 | RIOPEC14 | 138 | 6 | 0.00269 | 0.10887 | 0 | 0 | 110 | 50 | -30 | 1.025 | 6601
8032 | AMS#1 | 13.8 | 8 | 8258 | AMISTAD4 | 138 | 8 | 0 | 0.2857 | 0 | 74 | 74 | 30 | 0 | 1.016 | 8258
8048 | FAL#1 | 13.8 | 8 | 8395 | FALCON4 | 138 | 8 | 0 | 0.2857 | 0 | 80 | 80 | 30 | 0 | 1 | 8395
8139 | JOS#1 | 22 | 8 | 8140 | JOSLIN4 | 138 | 8 | 0.001 | 0.0321 | 0 | 520 | 520 | 132 | -100 | 1.015 | 8140
8161 | CLO#1 | 24 | 8 | 8162 | COLETO4 | 138 | 8 | 0.0003 | 0.0141 | 0 | 1220 | 1220 | 299 | -74 | 1.015 | 8162
8168
8173 | VIC#5 | 22 | 8 | 8172 | VICTRA4 | 138 | 8 | 0.001 | 0.0315 | 0 | 400 | 400 | 122 | -97 | 1.015 | 8172
8174 | VIC#6 | 22 | 8 | 8172 | VICTRA4 | 138 | 8 | 0.001 | 0.0315 | 0 | 520 | 520 | 139 | -128 | 1.015 | 8172
8262 | ELPS | 13.8 | 8 | 8263 | EPASSH4 | 138 | 8 | 0.0601 | 0.8333 | 0 | 24 | 24 | 10 | 0 | 1.005 | 8263
8285 | LAR#1 | 13.8 | 8 | 8290 | LAREDO2 | 69 | 8 | 0.0113 | 0.1738 | 0 | 80 | 80 | 22 | -19 | 1.025 | 8290
8287 | LAR#2 | 13.8 | 8 | 8293 | LAREDO4 | 138 | 8 | 0.0094 | 0.2 | 0 | 76 | 76 | 26 | -21 | 1.01 | 8293
8288 | LAR#3 | 13.8 | 8 | 8293 | LAREDO4 | 138 | 8 | 0.0028 | 0.0966 | 0 | 240 | 240 | 58 | -38 | 1.01 | 8293
8305
8306
8307 | LAP#7 | 22 | 8 | 8310 | LAPALM2 | 69 | 8 | 0.0043 | 0.1854 | 0 | 96 | 96 | 29 | -19 | 1.015 | 8310
8308 | LAP#6 | 18 | 8 | 8314 | LAPALM4 | 138 | 8 | 0.0018 | 0.0606 | 0 | 350 | 350 | 110 | -63 | 1.023 | 8314
8388 | BAT#1 | 13.8 | 8 | 8390 | BATES2 | 69 | 8 | 0.0041 | 0.1127 | 0 | 136 | 136 | 47 | -39 | 1.02 | 8390
8393 | BAT#2 | 13.8 | 8 | 8392 | BATES4 | 138 | 8 | 0.0034 | 0.083 | 0 | 270 | 270 | 73 | -47 | 1.01 | 8392
8437 | NBY #5 | 13.8 | 8 | 8439 | NBAY2 | 69 | 8 | 0.0114 | 0.1738 | 0 | 80 | 80 | 24 | -19 | 1.025 | 8439
8438 | NBY#6 | 20 | 8 | 8439 | NBAY2 | 69 | 8 | 0.002 | 0.0603 | 0 | 187 | 187 | 128 | -86 | 1.025 | 8439
8442 | NBY#7 | 22 | 8 | 8441 | NBAY4 | 138 | 8 | 0.001 | 0.0294 | 0 | 368 | 368 | 195 | -141 | 1.01 | 8441
8444 | LCH#1 | 13.8 | 8 | 8448 | LNHILL2 | 69 | 8 | 0.004 | 0.112 | 0 | 136 | 136 | 52 | -39 | 1.02 | 8448
8445 | LCH#2 | 13.8 | 8 | 8448 | LNHILL2 | 69 | 8 | 0.0054 | 0.1089 | 0 | 136 | 136 | 56 | -41 | 1.02 | 8448
8446 | LCH#3 | 18 | 8 | 8452 | LNHILL4 | 138 | 8 | 0.0018 | 0.0591 | 0 | 384 | 384 | 107 | -83 | 1.02 | 8452
8447 | LCH#4 | 22 | 8 | 8452 | LNHILL4 | 138 | 8 | 0.001 | 0.0313 | 0 | 520 | 520 | 128 | -127 | 1.02 | 8452
8459 | DAV#1 | 24 | 8 | 8458 | DAVIS4 | 138 | 8 | 0.0007 | 0.0336 | 0 | 720 | 720 | 194 | -99 | 1.02 | 8458
8460 | DAV#2 | 22 | 8 | 8458 | DAVIS4 | 138 | 8 | 0.0006 | 0.0327 | 0 | 720 | 720 | 180 | -96 | 1.02 | 8458