## June 19, 1996 @1700
Control Area Schedules
(For Control Area loads)
Control Areas
Transaction | Receiving Control Area | Control Area Load | Generation | COA | CPL | CPSB | HLP | LCRA | PUB | STECMEC | TMPP | TNP | TUEC | WTU | SPP | Total Purchases | Inadvertent
|  | (A+B+C) | (A) | [12 empty] | (B) | (C)
|  | 0 | [13 empty] | 0
Internal Generation | HLP | 13062000 | 13062000 | [12 empty] | 0
|  | 0 | [13 empty] | 0
Inadvertent | HLP | -15000 | [13 empty] | 0 | -15000
|  | 0 | [13 empty] | 0
COB | PUB | -50000 |  |  |  |  | -50000 | [8 empty] | -50000
CPS | CPSB | -400000 |  |  |  |  | -400000 | [8 empty] | -400000
WTU | CSW | -200000 |  |  |  |  | -200000 | [8 empty] | -200000
Enron Power Marketing - COA | COA | -50000 |  |  |  |  | -50000 | [8 empty] | -50000
Enron Power Marketing - CSW (DCE) | SPP | -77000 |  |  |  |  | -77000 | [8 empty] | -77000
LCRA/SRS | HLP | 1000 | [5 empty] | 1000 | [7 empty] | 1000
TNP1 to TUEC | TUEC | -30000 |  |  |  |  | -30000 | [8 empty] | -30000
|  | 0 | [13 empty] | 0
|  | 0 | [13 empty] | 0
|  | 0 | [13 empty] | 0
|  | 0 | [13 empty] | 0
|  | 0 | [13 empty] | 0
Totals | HLP | 12241000 | 13062000 | 0 | 0 | 0 | -807000 | 1000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -806000 | -15000
Control Area Adjustments
(For both Control Area loads and Point of Delivery loads)
Control Areas
Transaction | Receiving Utility | Load Responsibility | Control Area Load | COA | CPL | CPSB | HLP | LCRA | PUB | STECMEC | TMPP | TNP | TUEC | WTU | Total Adjustment
|  | (A+B) | (A) | [11 empty] | (B)
|  | 0 | [12 empty] | 0
Control Area Load | HLP | 12241000 | 12241000 | [11 empty] | 0
|  | 0 | [12 empty] | 0
TNP One | TNP | -266676 |  |  |  |  | -266676 | [7 empty] | -266676
Enron - Clear Lake Cogeneration | TNP | -240000 |  |  |  |  | -240000 | [7 empty] | -240000
Destec Power Services | TNP | -89000 |  |  |  |  | -89000 | [7 empty] | -89000
Amoco Oil Cogeneration | TNP | -3000 |  |  |  |  | -3000 | [7 empty] | -3000
UCC Cogeneration | TNP | -1568 |  |  |  |  | -1568 | [7 empty] | -1568
|  | 0 | [12 empty] | 0
Totals | HLP | 11640756 | 12241000 | 0 | 0 | 0 | -600244 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -600244
|  |  |  | X,XXX | Control area load is reconciled in the top calculation and transferred to the bottom calculation. This value is zero (0) for point of delivery loads.
|  |  |  | X,XXX | This is the Load Responsibility value that is be used for the postage stamp calculation. Loss adjustments must be applied to determine a load ratio share.

## July 22, 1996 @1700
Control Area Schedules
(For Control Area loads)
Control Areas
Transaction | Receiving Control Area | Control Area Load | Generation | COA | CPL | CPSB | HLP | LCRA | PUB | STECMEC | TMPP | TNP | TUEC | WTU | SPP | Total Purchases | Inadvertent
|  | (A+B+C) | (A) | [12 empty] | (B) | (C)
|  | 0 | [13 empty] | 0
Internal Generation | HLP | 13023000 | 13023000 | [12 empty] | 0
|  | 0 | [13 empty] | 0
Inadvertent | HLP | -10000 | [13 empty] | 0 | -10000
|  | 0 | [13 empty] | 0
COA | COA | -300000 |  |  |  |  | -300000 | [8 empty] | -300000
Duke/Louis Dreyfus - HLP * | TNP | -6000 |  |  |  |  | -6000 | [8 empty] | -6000
Electric Clearinghouse - CSW (DCE) | SPP | -100000 |  |  |  |  | -100000 | [8 empty] | -100000
Enron Power Marketing - CSW (DCE) | SPP | -150000 |  |  |  |  | -150000 | [8 empty] | -150000
LCRA / SRS | HLP | 1000 | [5 empty] | 1000 | [7 empty] | 1000
LCRA / SRS | LCRA | -3000 |  |  |  |  | -3000 | [8 empty] | -3000
TNP1 to TUEC | TUEC | -30000 |  |  |  |  | -30000 | [8 empty] | -30000
|  | 0 | [13 empty] | 0
|  | 0 | [13 empty] | 0
|  | 0 | [13 empty] | 0
|  | 0 | [13 empty] | 0
|  | 0 | [13 empty] | 0
Totals | HLP | 12425000 | 13023000 | 0 | 0 | 0 | -589000 | 1000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -588000 | -10000
Control Area Adjustments
(For both Control Area loads and Point of Delivery loads)
Control Areas
Transaction | Receiving Utility | Load Responsibility | Control Area Load | COA | CPL | CPSB | HLP | LCRA | PUB | STECMEC | TMPP | TNP | TUEC | WTU | Total Adjustment
|  | (A+B) | (A) | [11 empty] | (B)
|  | 0 | [12 empty] | 0
Control Area Load | HLP | 12425000 | 12425000 | [11 empty] | 0
|  | 0 | [12 empty] | 0
TNP One | TNP | -108132 |  |  |  |  | -108132 | [7 empty] | -108132
Enron - Clear Lake Cogeneration | TNP | -250000 |  |  |  |  | -250000 | [7 empty] | -250000
Destec Power Services | TNP | -122000 |  |  |  |  | -122000 | [7 empty] | -122000
UCC Cogeneration | TNP | -1008 |  |  |  |  | -1008 | [7 empty] | -1008
|  | 0 | [12 empty] | 0
|  | 0 | [12 empty] | 0
Totals | HLP | 11943860 | 12425000 | 0 | 0 | 0 | -481140 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -481140
|  |  |  | X,XXX | Control area load is reconciled in the top calculation and transferred to the bottom calculation. This value is zero (0) for point of delivery loads.
|  |  |  | X,XXX | This is the Load Responsibility value that is be used for the postage stamp calculation. Loss adjustments must be applied to determine a load ratio share.

## August 5, 1996 @1700
Control Area Schedules
(For Control Area loads)
Control Areas
Transaction | Receiving Control Area | Control Area Load | Generation | COA | CPL | CPSB | HLP | LCRA | PUB | STECMEC | TMPP | TNP | TUEC | WTU | SPP | Total Purchases | Inadvertent
|  | (A+B+C) | (A) | [12 empty] | (B) | (C)
|  | 0 | [13 empty] | 0
Internal Generation | HLP | 12793000 | 12793000 | [12 empty] | 0
|  | 0 | [13 empty] | 0
Inadvertent | HLP | -50000 | [13 empty] | 0 | -50000
|  | 0 | [13 empty] | 0
Electric Clearinghouse - TUEC | TUEC | -100000 |  |  |  |  | -100000 | [8 empty] | -100000
Enron Power Marketing - TUEC | CPSB | -50000 |  |  |  |  | -50000 | [8 empty] | -50000
LCRA | LCRA | -100000 |  |  |  |  | -100000 | [8 empty] | -100000
LCRA/SRS | HLP | 6000 | [5 empty] | 6000 | [7 empty] | 6000
LCRA/SRS | LCRA | -3000 |  |  |  |  | -3000 | [8 empty] | -3000
STEC | STEC | -30000 |  |  |  |  | -30000 | [8 empty] | -30000
TNP | TNP | -51000 |  |  |  |  | -51000 | [8 empty] | -51000
TUEC | HLP | 150000 | [10 empty] | 150000 |  |  | 150000
|  | 0 | [13 empty] | 0
|  | 0 | [13 empty] | 0
|  | 0 | [13 empty] | 0
|  | 0 | [13 empty] | 0
Totals | HLP | 12565000 | 12793000 | 0 | 0 | 0 | -334000 | 6000 | 0 | 0 | 0 | 0 | 150000 | 0 | 0 | -178000 | -50000
Control Area Adjustments
(For both Control Area loads and Point of Delivery loads)
Control Areas
Transaction | Receiving Utility | Load Responsibility | Control Area Load | COA | CPL | CPSB | HLP | LCRA | PUB | STECMEC | TMPP | TNP | TUEC | WTU | Total Adjustment
|  | (A+B) | (A) | [11 empty] | (B)
|  | 0 | [12 empty] | 0
Control Area Load | HLP | 12565000 | 12565000 | [11 empty] | 0
|  | 0 | [12 empty] | 0
Adjustment from TNP to HLP for Bundled Rate | HLP | 51000 |  |  |  |  | 51000 | [7 empty] | 51000
|  | 0 | [12 empty] | 0
|  | 0 | [12 empty] | 0
|  | 0 | [12 empty] | 0
|  | 0 | [12 empty] | 0
|  | 0 | [12 empty] | 0
Totals | HLP | 12616000 | 12565000 | 0 | 0 | 0 | 51000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 51000
|  |  |  | X,XXX | Control area load is reconciled in the top calculation and transferred to the bottom calculation. This value is zero (0) for point of delivery loads.
|  |  |  | X,XXX | This is the Load Responsibility value that is be used for the postage stamp calculation. Loss adjustments must be applied to determine a load ratio share.

## September 10, 1996 @1800
Control Area Schedules
(For Control Area loads)
Control Areas
Transaction | Receiving Control Area | Control Area Load | Generation | COA | CPL | CPSB | HLP | LCRA | PUB | STECMEC | TMPP | TNP | TUEC | WTU | SPP | Total Purchases | Inadvertent
|  | (A+B+C) | (A) | [12 empty] | (B) | (C)
|  | 0 | [13 empty] | 0
Internal Generation | HLP | 11696000 | 11696000 | [12 empty] | 0
|  | 0 | [13 empty] | 0
Inadvertent | HLP | 6000 | [13 empty] | 0 | 6000
|  | 0 | [13 empty] | 0
Enron Power Marketing - CSW (DCE) | SPP | -285000 |  |  |  |  | -285000 | [8 empty] | -285000
LCRA/SRS | LCRA | -1000 |  |  |  |  | -1000 | [8 empty] | -1000
TMPP | TMPP | -200000 |  |  |  |  | -200000 | [8 empty] | -200000
LCRA/SRS | HLP | 2000 | [5 empty] | 2000 | [7 empty] | 2000
TNP | TNP | -38000 |  |  |  |  | -38000 | [8 empty] | -38000
TUEC | HLP | 200000 | [10 empty] | 200000 |  |  | 200000
|  | 0 | [13 empty] | 0
|  | 0 | [13 empty] | 0
|  | 0 | [13 empty] | 0
|  | 0 | [13 empty] | 0
|  | 0 | [13 empty] | 0
|  | 0 | [13 empty] | 0
Totals | HLP | 11380000 | 11696000 | 0 | 0 | 0 | -524000 | 2000 | 0 | 0 | 0 | 0 | 200000 | 0 | 0 | -322000 | 6000
Control Area Adjustments
(For both Control Area loads and Point of Delivery loads)
Control Areas
Transaction | Receiving Utility | Load Responsibility | Control Area Load | COA | CPL | CPSB | HLP | LCRA | PUB | STECMEC | TMPP | TNP | TUEC | WTU | Total Adjustment
|  | (A+B) | (A) | [11 empty] | (B)
|  | 0 | [12 empty] | 0
Control Area Load | HLP | 11380000 | 11380000 | [11 empty] | 0
|  | 0 | [12 empty] | 0
Adjustment from TNP to HLP for Bundled Rate | HLP | 38000 |  |  |  |  | 38000 | [7 empty] | 38000
|  | 0 | [12 empty] | 0
|  | 0 | [12 empty] | 0
|  | 0 | [12 empty] | 0
|  | 0 | [12 empty] | 0
|  | 0 | [12 empty] | 0
Totals | HLP | 11418000 | 11380000 | 0 | 0 | 0 | 38000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 38000
|  |  |  | X,XXX | Control area load is reconciled in the top calculation and transferred to the bottom calculation. This value is zero (0) for point of delivery loads.
|  |  |  | X,XXX | This is the Load Responsibility value that is be used for the postage stamp calculation. Loss adjustments must be applied to determine a load ratio share.

## A
JUN 19 @ 17:00
Control Area Schedules
(For Control Area loads)
Control Areas
Transaction | Receiving Control Area | Control Area Load | Generation | COA | CPL | CPSB | HLP | LCRA | PUB | STECMEC | TMPP | TNP | TUEC | WTU | SPP | Total Purchases | Inadvertent
|  | (A+B+C) | (A) | [12 empty] | (B) | (C)
|  | 0 | [13 empty] | 0
Internal Generation | HLP | 13062000 | 12040000 | [12 empty] | 1022000
|  | 0 | [13 empty] | 0
Inadvertent | HLP | -15000 | [13 empty] | 0 | -15000
|  | 0 | [13 empty] | 0
COB | PUB | -50000 |  |  |  |  | -50000 | [8 empty] | -50000
CPS | CPSB | -400000 |  |  |  |  | -400000 | [8 empty] | -400000
CSW | CSW | -200000 |  |  |  |  | -200000 | [8 empty] | -200000
Enron Power Marketing - COA | COA | -50000 |  |  |  |  | -50000 | [8 empty] | -50000
Enron Power Marketing - CSW (DCE) | SPP | -77000 |  |  |  |  | -77000 | [8 empty] | -77000
LCRA/SRS | HLP | 1000 |  |  |  |  | 1000 | [8 empty] | 1000
|  | 0 | [13 empty] | 0
|  | 0 | [13 empty] | 0
|  | 0 | [13 empty] | 0
|  | 0 | [13 empty] | 0
|  | 0 | [13 empty] | 0
|  | 0 | [13 empty] | 0
Totals |  | 12271000 | 12040000 | 0 | 0 | 0 | -776000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 246000 | -15000
Note: This is the Load Responsibility value that is to be used for the postage stamp calculation. Loss adjustments must be applied to determine a load ratio share.
Control Area Adjustments
(For both Control Area loads and Point of Delivery loads)
Control Areas
Transaction | Receiving Utility | Load Responsibility | Control Area Load | COA | CPL | CPSB | HLP | LCRA | PUB | STECMEC | TMPP | TNP | TUEC | WTU | Total Adjustment
|  | (A+B) | (A) | [11 empty] | (B)
|  | 0 | [12 empty] | 0
Control Area Load |  | 12271000 | 12271000 | [11 empty] | 0
|  | 0 | [12 empty] | 0
TNP One | TNP | -296676 |  |  |  |  | -296676 | [7 empty] | -296676
Enron - Clear Lake Cogeneration | TNP | -240000 |  |  |  |  | -240000 | [7 empty] | -240000
Destec Power Services | TNP | -89000 |  |  |  |  | -89000 | [7 empty] | -89000
Amoco Oil Cogeneration | TNP | -3000 |  |  |  |  | -3000 | [7 empty] | -3000
UCC Cogeneration | TNP | -1568 |  |  |  |  | -1568 | [7 empty] | -1568
Totals |  | 11640756 | 12271000 | 0 | 0 | 0 | -630244 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -630244
Note: This is the Load Responsibility value that is to be used for the postage stamp calculation. Loss adjustments must be applied to determine a load ratio share.
|  |  |  | X,XXX | Control area load is reconciled in the top calculation and transferred to the bottom calculation. This value is zero (0) for point of delivery loads.
|  |  |  | X,XXX | This is the Load Responsibility value that is be used for the postage stamp calculation. Loss adjustments must be applied to determine a load ratio share.

## B
JUL 22 @ 17:00
Control Area Schedules
(For Control Area loads)
Control Areas
Transaction | Receiving Control Area | Control Area Load | Generation | COA | CPL | CPSB | HLP | LCRA | PUB | STECMEC | TMPP | TNP | TUEC | WTU | SPP | Total Purchases | Inadvertent
|  | (A+B+C) | (A) | [12 empty] | (B) | (C)
|  | 0 | [13 empty] | 0
Internal Generation | HLP | 13023000 | 12028000 | [12 empty] | 995000
|  | 0 | [13 empty] | 0
Inadvertent | HLP | -10000 | [13 empty] | 0 | -10000
|  | 0 | [13 empty] | 0
COA | COA | -300000 |  |  |  |  | -300000 | [8 empty] | -300000
Duke/Louis Dreyfus - HLP * | TNP | -6000 |  |  |  |  | -6000 | [8 empty] | -6000
Electric Clearinghouse - CSW (DCE) | SPP | -100000 |  |  |  |  | -100000 | [8 empty] | -100000
Enron Power Marketing - CSW (DCE) | SPP | -150000 |  |  |  |  | -150000 | [8 empty] | -150000
LCRA / SRS | HLP | 1000 | [5 empty] | 1000 | [7 empty] | 1000
LCRA / SRS | LCRA | -3000 |  |  |  |  | -3000 | [8 empty] | -3000
|  | 0 | [13 empty] | 0
|  | 0 | [13 empty] | 0
|  | 0 | [13 empty] | 0
|  | 0 | [13 empty] | 0
|  | 0 | [13 empty] | 0
|  | 0 | [13 empty] | 0
Totals |  | 12455000 | 12028000 | 0 | 0 | 0 | -559000 | 1000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 437000 | -10000
Note: This is the Load Responsibility value that is to be used for the postage stamp calculation. Loss adjustments must be applied to determine a load ratio share.
Note: The sale from HLP to Duke / Louis Dryfus did not actually leave HLP's control area but ultimately went to TNP
Control Area Adjustments
(For both Control Area loads and Point of Delivery loads)
Control Areas
Transaction | Receiving Utility | Load Responsibility | Control Area Load | COA | CPL | CPSB | HLP | LCRA | PUB | STECMEC | TMPP | TNP | TUEC | WTU | Total Adjustment
|  | (A+B) | (A) | [11 empty] | (B)
|  | 0 | [12 empty] | 0
Control Area Load |  | 12455000 | 12455000 | [11 empty] | 0
|  | 0 | [12 empty] | 0
TNP One | TNP | -138132 |  |  |  |  | -138132 | [7 empty] | -138132
Enron - Clear Lake Cogeneration | TNP | -250000 |  |  |  |  | -250000 | [7 empty] | -250000
Destec Power Services | TNP | -122000 |  |  |  |  | -122000 | [7 empty] | -122000
UCC Cogeneration | TNP | -1008 |  |  |  |  | -1008 | [7 empty] | -1008
|  | 0 | [12 empty] | 0
Totals |  | 11943860 | 12455000 | 0 | 0 | 0 | -511140 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -511140
Note: This is the Load Responsibility value that is to be used for the postage stamp calculation. Loss adjustments must be applied to determine a load ratio share.
|  |  |  | X,XXX | Control area load is reconciled in the top calculation and transferred to the bottom calculation. This value is zero (0) for point of delivery loads.
|  |  |  | X,XXX | This is the Load Responsibility value that is be used for the postage stamp calculation. Loss adjustments must be applied to determine a load ratio share.

## C
AUG 5 @ 17:00
Control Area Schedules
(For Control Area loads)
Control Areas
Transaction | Receiving Control Area | Control Area Load | Generation | COA | CPL | CPSB | HLP | LCRA | PUB | STECMEC | TMPP | TNP | TUEC | WTU | SPP | Total Purchases | Inadvertent
|  | (A+B+C) | (A) | [12 empty] | (B) | (C)
|  | 0 | [13 empty] | 0
Internal Generation | HLP | 12793000 | 11721000 | [12 empty] | 1072000
|  | 0 | [13 empty] | 0
Inadvertent | HLP | -50000 | [13 empty] | 0 | -50000
|  | 0 | [13 empty] | 0
Electric Clearinghouse - TUEC | TUEC | -100000 |  |  |  |  | -100000 | [8 empty] | -100000
Enron Power Marketing - TUEC | CPSB | -50000 |  |  |  |  | -50000 | [8 empty] | -50000
LCRA | LCRA | -100000 |  |  |  |  | -100000 | [8 empty] | -100000
LCRA/SRS | HLP | 6000 | [5 empty] | 6000 | [7 empty] | 6000
LCRA/SRS | LCRA | -3000 |  |  |  |  | -3000 | [8 empty] | -3000
STEC | STEC | -30000 |  |  |  |  | -30000 | [8 empty] | -30000
TNP | TNP | -51000 |  |  |  |  | -51000 | [8 empty] | -51000
TUEC | HLP | 150000 | [10 empty] | 150000 |  |  | 150000
|  | 0 | [13 empty] | 0
|  | 0 | [13 empty] | 0
|  | 0 | [13 empty] | 0
|  | 0 | [13 empty] | 0
Totals |  | 12565000 | 11721000 | 0 | 0 | 0 | -334000 | 6000 | 0 | 0 | 0 | 0 | 150000 | 0 | 0 | 894000 | -50000
Control Area Adjustments
(For both Control Area loads and Point of Delivery loads)
Control Areas
Transaction | Receiving Utility | Load Responsibility | Control Area Load | COA | CPL | CPSB | HLP | LCRA | PUB | STECMEC | TMPP | TNP | TUEC | WTU | Total Adjustment
|  | (A+B) | (A) | [11 empty] | (B)
|  | 0 | [12 empty] | 0
Control Area Load | HLP | 12565000 | 12565000 | [11 empty] | 0
|  | 0 | [12 empty] | 0
Adjustment from TNP to HLP for Bundled Rate | HLP | 51000 | [9 empty] | 51000 |  |  | 51000
|  | 0 | [12 empty] | 0
|  | 0 | [12 empty] | 0
Totals |  | 12616000 | 12565000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 51000 | 0 | 0 | 51000
Note: This is the Load Responsibility value that is to be used for the postage stamp calculation. Loss adjustments must be applied to determine a load ratio share.
|  |  |  | X,XXX | Control area load is reconciled in the top calculation and transferred to the bottom calculation. This value is zero (0) for point of delivery loads.
|  |  |  | X,XXX | This is the Load Responsibility value that is be used for the postage stamp calculation. Loss adjustments must be applied to determine a load ratio share.

## D
SEP 10 @ 18:00
Control Area Schedules
(For Control Area loads)
Control Areas
Transaction | Receiving Control Area | Control Area Load | Generation | COA | CPL | CPSB | HLP | LCRA | PUB | STECMEC | TMPP | TNP | TUEC | WTU | SPP | Total Purchases | Inadvertent
|  | (A+B+C) | (A) | [12 empty] | (B) | (C)
|  | 0 | [13 empty] | 0
Internal Generation | HLP | 11696000 | 10712000 | [12 empty] | 984000
|  | 0 | [13 empty] | 0
Inadvertent | HLP | 6000 | [13 empty] | 0 | 6000
|  | 0 | [13 empty] | 0
Enron Power Marketing - CSW (DCE) | SPP | -285000 |  |  |  |  | -285000 | [8 empty] | -285000
LCRA/SRS | LCRA | -1000 |  |  |  |  | -1000 | [8 empty] | -1000
TMPP | TMPP | -200000 |  |  |  |  | -200000 | [8 empty] | -200000
LCRA/SRS | HLP | 2000 | [5 empty] | 2000 | [7 empty] | 2000
TNP | TNP | -38000 |  |  |  |  | -38000 | [8 empty] | -38000
TUEC | HLP | 200000 | [10 empty] | 200000 |  |  | 200000
|  | 0 | [13 empty] | 0
|  | 0 | [13 empty] | 0
|  | 0 | [13 empty] | 0
|  | 0 | [13 empty] | 0
|  | 0 | [13 empty] | 0
|  | 0 | [13 empty] | 0
Totals |  | 11380000 | 10712000 | 0 | 0 | 0 | -524000 | 2000 | 0 | 0 | 0 | 0 | 200000 | 0 | 0 | 662000 | 6000
Control Area Adjustments
(For both Control Area loads and Point of Delivery loads)
Control Areas
Transaction | Receiving Utility | Load Responsibility | Control Area Load | COA | CPL | CPSB | HLP | LCRA | PUB | STECMEC | TMPP | TNP | TUEC | WTU | Total Adjustment
|  | (A+B) | (A) | [11 empty] | (B)
|  | 0 | [12 empty] | 0
Control Area Load | TNP | 11380000 | 11380000 | [11 empty] | 0
|  | 0 | [12 empty] | 0
Adjustment from TNP to HLP for Bundled Rate | HLP | 38000 | [9 empty] | 38000 |  |  | 38000
|  | 0 | [12 empty] | 0
|  | 0 | [12 empty] | 0
Totals |  | 11418000 | 11380000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 38000 | 0 | 0 | 38000
Note: This is the Load Responsibility value that is to be used for the postage stamp calculation. Loss adjustments must be applied to determine a load ratio share.
|  |  |  | X,XXX | Control area load is reconciled in the top calculation and transferred to the bottom calculation. This value is zero (0) for point of delivery loads.
|  |  |  | X,XXX | This is the Load Responsibility value that is be used for the postage stamp calculation. Loss adjustments must be applied to determine a load ratio share.

## E
Generator Group Name: |  | Group 1
Generator Unit Name | Bus | Available Capability | Nominated Capability
CBY 01 | 4844 | 750 | 750
CBY 02 | 4845 | 750 | 750
CBY 03 | 4846 | 760 | 760
GBY 05 | 4852 | 406 | 406
LIM 01 | 4863 | 720 | 720
LIM 02 | 4864 | 720 | 720
PHR 01 | 4867 | 461 | 461
PHR 02 | 4868 | 461 | 461
PHR 03 | 4869 | 552 | 552
PHR 04 | 4870 | 739 | 739
SRB 01 | 4871 | 174 | 174
SRB 02 | 4872 | 174 | 174
SRB 03 | 4873 | 230 | 230
SRB 04 | 4874 | 230 | 230
THW 02 | 4876 | 229 | 229
THW 03 | 4877 | 104 | 104
THW 04 | 4878 | 104 | 104
THW 31 | 4879 | 57 | 57
THW 32 | 4879 | 57 | 57
THW 33 | 4881 | 57 | 57
THW 34 | 4881 | 57 | 57
THW 41 | 4883 | 57 | 57
THW 42 | 4883 | 57 | 57
THW 43 | 4885 | 57 | 57
THW 44 | 4885 | 57 | 57
WAP 01 | 4893 | 178 | 178
WAP 02 | 4894 | 178 | 178
WAP 03 | 4895 | 278 | 278
WAP 04 | 4896 | 552 | 552
WAP 05 | 4897 | 650 | 650
WAP 06 | 4898 | 650 | 650
WAP 07 | 4899 | 560 | 560
WAP 08 | 4900 | 555 | 555
WEB 03 | 4903 | 374 | 374
SJS 01 | 4904 | 81 | 81
SJS 02 | 4905 | 81 | 81
STP 01 | 5911 | 385.19 | 385.19
STP 02 | 5912 | 385.19 | 385.19
DPW 07 | 4847 | 178 | 0
GBY 73 | 4853 | 54 | 0
GBY 74 | 4853 | 54 | 0
GBY 81 | 4855 | 54 | 0
GBY 82 | 4855 | 64 | 0
GBY 83 | 4857 | 64 | 0
GBY 84 | 4857 | 64 | 0
HOCG 1 | 4859 | 13 | 0
HOCG 2 | 4859 | 13 | 0
HOCG 3 | 4860 | 13 | 0
HOCG 4 | 4860 | 13 | 0
HOCG 5 | 4861 | 13 | 0
HOCG 6 | 4861 | 13 | 0
THW 51 | 4887 | 58 | 0
THW 52 | 4887 | 58 | 0
THW 53 | 4889 | 58 | 0
THW 54 | 4889 | 58 | 0
THW 55 | 4891 | 58 | 0
THW 56 | 4891 | 58 | 0
Total Generation |  | 13885.38 | 12927.38
Generator Group Name: |  | Group 2
Generator Unit Name |  | Available Capability | Nominated Capability
CAP 01 | 4927 | 103 | 13.5526
CAP 02 | 4928 | 103 | 13.5526
CAP 03 | 4929 | 103 | 13.5526
CAP 04 | 4930 | 57 | 7.5
CAP 05 | 4931 | 14 | 1.8421
PWR 07 | 4956 | 72 | 0
PWR 01 | 4957 | 85 | 0
PWR 02 | 4958 | 85 | 0
PWR 03 | 4959 | 85 | 0
PWR 04 | 4960 | 85 | 0
PWR 05 | 4961 | 85 | 0
PWR 06 | 4962 | 130 | 0
AES 01 | 4969 | 150 | 125
BAY 01 | 4970 | 78 | 67.5
BAY 02 | 4971 | 78 | 67.5
BAY 03 | 4972 | 78 | 67.5
BAY 04 | 4973 | 78 | 67.5
Total Generation |  | 1469 | 445

## F
Houston Lighting & Power
Generator Groups
| Forecasted |  | Group 1 | Group 2
| 1997 Firm | Capability-MW | 13885.38 | 1469
Peak Demand
|  | Nominated Reserve | 93.1% | 30.29%
HL&P LOAD | 11587 | 115.4% | 12927.38 | 445 |  | 13372.38
0
0
0
0
0
0
0
| 11587 |  | 12927.38 | 445 |  | 13372.38
|  |  | hlp gens | cogen contracts
| Date | Load | GSU Loss | H S Load
| JUN 19 @ 17:00 | 11640.756 | 38.7864 | 11601.9696
| JUL 22 @ 17:00 | 11943.86 | 43.287 | 11900.573
| AUG 5 @ 17:00 | 12616 | 44.3494 | 12571.6506
| SEP 10 @ 18:00 | 11418 | 39.8879 | 11378.1121 | 115% 4CP
| AVERAGE | 11904.654 | 41.5776 | 11863.0764 | 13642.5378
| 1995 | 11904.654 | 43.8 | 11860.854
| 1996 | 11904.654 | 41.5776 | 11863.0764

## G
1995 GSU Losses |  |  |  | 1996 GSU Losses
| MW | MVAR |  | MW | MVAR
June | 45.4 | 1400 |  | 38.7864 | 1157.7117
July | 45.4 | 1400 |  | 43.287 | 1274.32
August | 44.4 | 1350 |  | 44.3494 | 1337.5895
September | 40 | 1200 |  | 39.8879 | 1166.7403
1996 GSU Losses
MAIN TRANSFORMER LOSSES
|  | 6-8-95 |  | 7-28-95 |  | 8-21-95 |  | 9-5-95
|  | Total Loss in Trf |  | Total Loss in Trf |  | Total Loss in Trf |  | Total Loss in Trf
Plant | Unit | MW | MVAR | MW | MVAR | MW | MVAR | MW | MVAR
Cedar Bayou | 1 | 2.3739 | 59.5154 | 2.8686 | 74.6296 | 2.8646 | 73.4749 | 0.42446 | 0.064791
Cedar Bayou | 2 | 1.0834 | 52.1168 | 0.94945 | 43.6063 | 1.2859 | 64.2115 | 1.0737 | 51.1057
Cedar Bayou | 3 | 1.3967 | 70.4138 | 1.4282 | 72.8702 | 1.4731 | 76.3673 | 1.4288 | 72.9812
Deepwater | 7A | 0.2375 | 4.8945 | 0.24021 | 4.9832 | 0.083594 | 0 | 0.086426 | 0.013051
Deepwater | 7B | 0.24232 | 4.8948 | 0.24517 | 4.9835 | 0.084709 | 0 | 0.087578 | 0.013584
Deepwater | 7C | 0.23637 | 4.8951 | 0.23915 | 4.9838 | 0.08278 | 0 | 0.08557 | 0.013561
Greens Bayou | 5 |  |  | 1.4929 | 34.7156 | 1.6132 | 37.6489 | 1.3992 | 32.202
Greens Bayou | 73 |  |  | 0.36815 | 9.7943
Greens Bayou | 74 |  |  | 0 | 0
Greens Bayou | 81 |  |  | 0.33181 | 6.6998 |  |  | 0.11122 | 0.03258
Greens Bayou | 82 |  |  | 0 | 0 |  |  | 0 | 0
Greens Bayou | 83
Greens Bayou | 84
H O Clarke | G1
H O Clarke | G2
H O Clarke | G3
H O Clarke | G4
H O Clarke | G5
H O Clarke | G6
Limestone | 1 | 1.7155 | 55.8292 | 1.7176 | 55.9321 | 1.7168 | 55.8292 | 1.7111 | 55.6293
Limestone | 2 | 1.7139 | 57.886 | 1.7192 | 58.1507 | 1.6946 | 56.8563 | 1.7328 | 58.8513
P H Robinson | 1 | 1.0241 | 46.6569 | 1.0156 | 46.1372 | 1.0355 | 47.541 | 0.98742 | 44.7134
P H Robinson | 2 | 0.33619 | 0 | 1.5962 | 42.4117 | 1.6342 | 43.9272 | 1.4988 | 39.1944
P H Robinson | 3 | 0.82945 | 25.1376 | 1.3708 | 48.4788 | 1.5073 | 54.6812 | 1.2825 | 45.1426
P H Robinson | 4 | 1.3956 | 68.9275 | 0.69274 | 23.3814 | 1.3867 | 68.2786 | 1.2935 | 62.3924
S R Bertron | 1A | 0.24212 | 4.2183 | 0.27657 | 5.408 | 0.2646 | 5.0516 | 0.11961 | 0
S R Bertron | 1B | 0.24171 | 4.2253 | 0.27629 | 5.4169 | 0.26434 | 5.0599 | 0.11875 | 0
S R Bertron | 1C | 0.24479 | 4.2495 | 0.27924 | 5.448 | 0.26714 | 5.089 | 0.12223 | 0
S R Bertron | 2A | 0.23211 | 4.7002 | 0.23899 | 4.9357 | 0.25326 | 5.414 | 0.22418 | 4.4524
S R Bertron | 2B | 0.23676 | 4.7005 | 0.24381 | 4.936 | 0.25853 | 5.4143 | 0.22869 | 4.4527
S R Bertron | 2C | 0.23093 | 4.7008 | 0.2378 | 4.9362 | 0.25217 | 5.4146 | 0.22308 | 4.453
S R Bertron | 3A | 0.12968 | 0 |  |  | 0.12375 | 0 | 0.27272 | 5.7226
S R Bertron | 3B | 0.1257 | 0 |  |  | 0.11996 | 0 | 0.27135 | 5.723
S R Bertron | 3C | 0.12282 | 0 |  |  | 0.11719 | 0 | 0.26742 | 5.7118
S R Bertron | 4A | 0.33585 | 6.6902 | 0.34592 | 7.0136 | 0.39735 | 8.6071 | 0.3685 | 7.7284
S R Bertron | 4B | 0.33516 | 6.6904 | 0.34524 | 7.0138 | 0.39669 | 8.6072 | 0.36783 | 7.7286
S R Bertron | 4C | 0.33534 | 6.6904 | 0.34541 | 7.0138 | 0.39686 | 8.6072 | 0.368 | 7.7286
S R Bertron | G1
S R Bertron | G2
San Jacinto | G1 | 0.36359 | 4.4434 | 0.36874 | 4.5288 | 0.36959 | 4.5431
San Jacinto | G2 | 0.38884 | 4.8628 | 0.36874 | 4.5288 | 0.36653 | 4.4921 | 0.35583 | 4.3144
South Texas | 1A | 1.1884 | 48.0846 | 1.1877 | 48.0403 | 1.1939 | 48.5838 | 1.1837 | 47.8184
South Texas | 1B | 1.6933 | 49.9505 | 1.6922 | 49.9044 | 1.6991 | 50.4692 | 1.6863 | 49.6739
South Texas | 2A | 1.6897 | 50.4929 | 1.6907 | 50.5324 | 1.6669 | 49.8401 | 1.6907 | 50.5324
South Texas | 2B | 1.6876 | 50.493 | 1.6885 | 50.5325 | 1.6646 | 49.8402 | 1.6885 | 50.5325
T H Wharton | 2A | 1.0275 | 21.2296 | 1.0763 | 22.2963 | 1.0419 | 22.4011 | 0.88887 | 19.1195
T H Wharton | 2B | 0.93615 | 22.8119 | 0.97962 | 23.9582 | 0.95056 | 24.0702 | 0.81485 | 20.5436
T H Wharton | 2C | 0.95525 | 22.9609 | 0.99964 | 24.1147 | 0.97002 | 24.2274 | 0.83146 | 20.6778
T H Wharton | G1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
T H Wharton | 31 | 0.30963 | 5.8304 | 0.30972 | 5.8328 | 0.30669 | 5.7307 | 0.307 | 5.7531
T H Wharton | 32 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
T H Wharton | 33 | 0.20797 | 3.1661 | 0.19486 | 2.8191 | 0.20364 | 3.0595 | 0.1931 | 2.777
T H Wharton | 34 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
T H Wharton | 41 | 0.29971 | 5.7621 | 0.30147 | 5.8099 | 0.29627 | 5.6482 | 0.30257 | 5.8316
T H Wharton | 42 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
T H Wharton | 43 | 0.2201 | 3.8336 | 0.21995 | 3.8289 | 0.33884 | 7.4664 | 0.22127 | 3.8758
T H Wharton | 44 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
T H Wharton | 51
T H Wharton | 52
T H Wharton | 53 |  |  | 0.23135 | 4.8942
T H Wharton | 54 |  |  | 0 | 0
T H Wharton | 55 |  |  | 0.34921 | 10.0977
T H Wharton | 56 |  |  | 0 | 0
T H Wharton | ST3 | 0.39053 | 9.9168 | 0.38688 | 9.7946 | 0.3737 | 9.3055 | 0.37647 | 9.4278
T H Wharton | ST4 | 0.42258 | 10.7281 | 0.39344 | 9.7756 | 0.48072 | 12.5434 | 0.39322 | 9.7483
W A Parish | 1A | 0.12535 | 0 | 0.14321 | 0.17728 | 0.55587 | 12.9922 | 1.1202 | 0
W A Parish | 1B | 0.13836 | 0 | 0.14088 | 0 | 0.54708 | 12.9925 | 0.13214 | 0
W A Parish | 1C | 0.14723 | 0 | 0.14985 | 0 | 0.57149 | 12.9915 | 0.14061 | 0
W A Parish | 2A | 0.49822 | 11.0471 | 0.57202 | 13.3235 | 0.55842 | 12.9308 | 0.49892 | 11.0002
W A Parish | 2B | 0.49397 | 11.0471 | 0.56779 | 13.3235 | 0.55413 | 12.9308 | 0.49486 | 11.0002
W A Parish | 2C | 0.48565 | 11.1397 | 0.55839 | 13.4351 | 0.54492 | 13.0391 | 0.48657 | 11.0924
W A Parish | 3 | 0.67658 | 19.3836 | 0.7669 | 23.2799 | 0.7742 | 23.6259 | 0.67867 | 19.4278
W A Parish | 4 | 1.748 | 53.7858 | 1.7745 | 54.8555 | 1.2781 | 34.8515 | 1.7793 | 54.4472
W A Parish | 5 | 1.758 | 64.0979 | 1.7204 | 62.4256 | 1.7727 | 64.9842 | 1.7404 | 62.4567
W A Parish | 6 | 3.4002 | 58.292 | 3.3067 | 55.4259 | 3.3231 | 57.3417 | 3.3855 | 58.7187
W A Parish | 7 | 1.6784 | 80.5993 | 1.7254 | 83.4465 | 1.7736 | 82.996 | 1.7511 | 83.0927
W A Parish | 8 | 1.6385 | 78.3618 | 1.6155 | 76.9684 | 1.617 | 74.1877 | 1.6066 | 74.7879
W A Parish | G1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Webster | 3 | 0.81065 | 25.5733 | 0.93322 | 30.7016 | 0.96083 | 31.5331 | 0.9727 | 32.0982
Webster | G1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | 40.778 | 1225.9273 | 45.2788 | 1342.5323 | 46.3291 | 1405.6989 | 41.877 | 1234.799
|  | 1.1884 | 48.0846 | 1.1877 | 48.0403 | 1.1939 | 48.5838 | 1.1837 | 47.8184
|  | 1.6897 | 50.4929 | 1.6907 | 50.5324 | 1.6669 | 49.8401 | 1.6907 | 50.5324
Multiplier | 0.692 | 38.7864 | 1157.7117 | 43.287 | 1274.32 | 44.3494 | 1337.5895 | 39.8879 | 1166.7403
|  | MW | MVAR | MW | MVAR | MW | MVAR | MW | MVAR
|  | 6-8-95 |  | 7-28-95 |  | 8-21-95 |  | 9-5-95
|  | 0.93941 | 0 | 0.60992 | 0 | 0.65327 | 0 | 0.6827 | 0
|  | 39.7258 | 1157.7117 | 43.8969 | 1274.32 | 45.0026 | 1337.5895 | 40.5706 | 1166.7403

## H
Houston Lighting & Power Company | [6 empty] | Application for Transmission Service
| Resource Nominations for | 1997 | Planned Transmission Service
15%
[6 empty] | Reserve | Total
|  |  |  | HL&P Forecasted Firm Peak Load (MW) | 11537 | 1730.55 | 13267.55
|  |  |  | TNP Contracted Service | 50 | 7.5 | 57.5
|  |  |  | Other Contracted Service | 0 | 0 | 0
|  |  |  | Total | 11587 | 1738.05 | 13325.05
|  |  |  | HL&P Generation | 11142 | 1738.05 | 12880.05
|  |  |  | HL&P Cogeneration Contracts | 445 | 0 | 445
|  |  |  | Clear Lake Cogeneration | 50
|  |  |  | Lyondell Cogeneration | 0
|  |  |  | AES Deepwater | 125
|  |  |  | Bayou Cogeneration | 270
[6 empty] | Minimum Nomination per PUCT Rules (MW) | 13325.05
[6 empty] | Actual Nomination (MW) | 13372.38
[6 empty] | Actual Reserve (MW) | 1785.38
[6 empty] | Actual Reserve (%) | 15.41%
Bus | Generator | Net Rating | Nomination | Contracts | TNP | HLP | Total
4844 | CBY 01 | 750 | 750 | 0 | 3.3359 | 746.6641 | 750
4845 | CBY 02 | 750 | 750 | 0 | 3.3359 | 746.6641 | 750
4846 | CBY 03 | 760 | 760 | 0 | 3.3804 | 756.6196 | 760
4847 | DPW 07 | 178 | 0 | 0 | 0 | 0 | 0
4852 | GBY 05 | 406 | 406 | 0 | 1.8059 | 404.1941 | 406
4853 | GBY 73 | 54 | 0 | 0 | 0 | 0 | 0
4853 | GBY 74 | 54 | 0 | 0 | 0 | 0 | 0
4855 | GBY 81 | 54 | 0 | 0 | 0 | 0 | 0
4855 | GBY 82 | 64 | 0 | 0 | 0 | 0 | 0
4857 | GBY 83 | 64 | 0 | 0 | 0 | 0 | 0
4857 | GBY 84 | 64 | 0 | 0 | 0 | 0 | 0
4859 | HOCG 1 | 13 | 0 | 0 | 0 | 0 | 0
4859 | HOCG 2 | 13 | 0 | 0 | 0 | 0 | 0
4860 | HOCG 3 | 13 | 0 | 0 | 0 | 0 | 0
4860 | HOCG 4 | 13 | 0 | 0 | 0 | 0 | 0
4861 | HOCG 5 | 13 | 0 | 0 | 0 | 0 | 0
4861 | HOCG 6 | 13 | 0 | 0 | 0 | 0 | 0
4863 | LIM 01 | 720 | 720 | 0 | 3.2025 | 716.7975 | 720
4864 | LIM 02 | 720 | 720 | 0 | 3.2025 | 716.7975 | 720
4867 | PHR 01 | 461 | 461 | 0 | 2.0505 | 458.9495 | 461
4868 | PHR 02 | 461 | 461 | 0 | 2.0505 | 458.9495 | 461
4869 | PHR 03 | 552 | 552 | 0 | 2.4553 | 549.5447 | 552
4870 | PHR 04 | 739 | 739 | 0 | 3.287 | 735.713 | 739
4871 | SRB 01 | 174 | 174 | 0 | 0.77394 | 173.2261 | 174
4872 | SRB 02 | 174 | 174 | 0 | 0.77394 | 173.2261 | 174
4873 | SRB 03 | 230 | 230 | 0 | 1.023 | 228.977 | 230
4874 | SRB 04 | 230 | 230 | 0 | 1.023 | 228.977 | 230
4876 | THW 02 | 229 | 229 | 0 | 1.0186 | 227.9814 | 229
4877 | THW 03 | 104 | 104 | 0 | 0.46258 | 103.5374 | 104
4878 | THW 04 | 104 | 104 | 0 | 0.46258 | 103.5374 | 104
4879 | THW 31 | 57 | 57 | 0 | 0.25353 | 56.7465 | 57
4879 | THW 32 | 57 | 57 | 0 | 0.25353 | 56.7465 | 57
4881 | THW 33 | 57 | 57 | 0 | 0.25353 | 56.7465 | 57
4881 | THW 34 | 57 | 57 | 0 | 0.25353 | 56.7465 | 57
4883 | THW 41 | 57 | 57 | 0 | 0.25353 | 56.7465 | 57
4883 | THW 42 | 57 | 57 | 0 | 0.25353 | 56.7465 | 57
4885 | THW 43 | 57 | 57 | 0 | 0.25353 | 56.7465 | 57
4885 | THW 44 | 57 | 57 | 0 | 0.25353 | 56.7465 | 57
4887 | THW 51 | 58 | 0 | 0 | 0 | 0 | 0
4887 | THW 52 | 58 | 0 | 0 | 0 | 0 | 0
4889 | THW 53 | 58 | 0 | 0 | 0 | 0 | 0
4889 | THW 54 | 58 | 0 | 0 | 0 | 0 | 0
4891 | THW 55 | 58 | 0 | 0 | 0 | 0 | 0
4891 | THW 56 | 58 | 0 | 0 | 0 | 0 | 0
4893 | WAP 01 | 178 | 178 | 0 | 0.79173 | 177.2083 | 178
4894 | WAP 02 | 178 | 178 | 0 | 0.79173 | 177.2083 | 178
4895 | WAP 03 | 278 | 278 | 0 | 1.2365 | 276.7635 | 278
4896 | WAP 04 | 552 | 552 | 0 | 2.4553 | 549.5447 | 552
4897 | WAP 05 | 650 | 650 | 0 | 2.8912 | 647.1088 | 650
4898 | WAP 06 | 650 | 650 | 0 | 2.8912 | 647.1088 | 650
4899 | WAP 07 | 560 | 560 | 0 | 2.4908 | 557.5092 | 560
4900 | WAP 08 | 555 | 555 | 0 | 2.4686 | 552.5314 | 555
4903 | WEB 03 | 374 | 374 | 0 | 1.6635 | 372.3365 | 374
4904 | SJS 01 | 81 | 81 | 0 | 0.36028 | 80.6397 | 81
4905 | SJS 02 | 81 | 81 | 0 | 0.36028 | 80.6397 | 81
|  | 13115 | 12157 | 0 | 54.0734 | 12102.9266 | 12157
5911 | STP 01 | 385.19 | 385.19 | 0 | 1.7133 | 383.4767 | 385.19
5912 | STP 02 | 385.19 | 385.19 | 0 | 1.7133 | 383.4767 | 385.19
|  | 770.38 | 770.38 | 0 | 3.4266 | 766.9534 | 770.38
|  | 13885.38 | 12927.38 | 0 | 57.5 | 12869.88 | 12927.38
4927 | CAP 01 | 103 | 103 |  | 0 | 13.5526
4928 | CAP 02 | 103 | 103 |  | 0 | 13.5526
4929 | CAP 03 | 103 | 103 |  | 0 | 13.5526
4930 | CAP 04 | 57 | 57 |  | 0 | 7.5
4931 | CAP 05 | 14 | 14 |  | 0 | 1.8421
| Clear Lake Cogen | 380 | 380 |  | 0 | 50 | 50
4956 | PWR 07 | 72 | 72 |  | 0 | 0
4957 | PWR 01 | 85 | 85 |  | 0 | 0
4958 | PWR 02 | 85 | 85 |  | 0 | 0
4959 | PWR 03 | 85 | 85 |  | 0 | 0
4960 | PWR 04 | 85 | 85 |  | 0 | 0
4961 | PWR 05 | 85 | 85 |  | 0 | 0
4962 | PWR 06 | 130 | 130 |  | 0 | 0
| Lyondell | 627 | 627 |  | 0 | 0 | 0
4969 | AES 01 | 150 | 150 |  | 0 | 125
| AES Deepwater | 150 | 150 |  | 0 | 125 | 125
4970 | BAY 01 | 78 | 78 |  | 0 | 67.5
4971 | BAY 02 | 78 | 78 |  | 0 | 67.5
4972 | BAY 03 | 78 | 78 |  | 0 | 67.5
4973 | BAY 04 | 78 | 78 |  | 0 | 67.5
| Bayou Cogen | 312 | 312 |  | 0 | 270 | 270
445
[6 empty] | Total Nomination for HL&P | 13372.38
[6 empty] | Required Nomination for HL&P | 13325.05
[6 empty] | Nonimation Difference | 47.33