## 4CP - Finals
2002 Four Coincident Peak Load Calculation
Data to be filed with PUCT (11/22/02)
TDSP CODE | Load Entity Name | DUNS Number | June Load at ERCOT Coincident Peak MW | July Load at ERCOT Coincident Peak MW | August Load at ERCOT Coincident Peak MW | September Load at ERCOT Coincident Peak MW | Average 4CP Load MW | Load Ratio Share
1 | RELIANT ENERGY HL AND P (TDSP) | 957877905 | 12603.144 | 13093.9132 | 12832.7348 | 10615.0292 | 12286.2053 | 22.98%
2 | TXU ELECTRIC CO (TDSP) | 1039940674000 | 20984.3944 | 22396.9852 | 22815.1336 | 22414.1808 | 22152.6735 | 41.43%
4 | TEXAS-NEW MEXICO POWER CO (TDSP) | 007929441 | 1063.24 | 1258.5984 | 1254.3248 | 1061.2748 | 1159.3595 | 2.168%
5 | CPL ENERGY DELIVERY COMPANY (CPL-EDC) (TDSP) | 007924772 | 3658.2484 | 3936.1476 | 4391.37 | 3794.3312 | 3945.0243 | 7.378%
7 | WTU ENERGY DELIVERY COMPANY (WTU-EDC) (TDSP) | 007923311 | 909.5716 | 1001.8472 | 1106.7396 | 929.8588 | 987.0043 | 1.846%
8 | TXU SESCO CO (TDSP) | 0079280964000 | 0.082 | 0.094 | 0 | 0 | 0.044 | 8.229e-05%
18 | BANDERA ELECTRIC CO OP INC (TDSP) | 0089451494000 | 96.7708 | 96.7896 | 100.9908 | 82.226 | 94.1943 | 0.1762%
19 | BARTLETT ELECTRIC CO OP INC | 002781813 | 30.6192 | 31.8896 | 34.7048 | 29.3248 | 31.6346 | 0.05916%
20 | BELFALLS ELECTRIC CO OP INC (TDSP) | 004998399 | 15.512 | 15.6052 | 17.41 | 15.5592 | 16.0216 | 0.02996%
21 | BIG COUNTRY ELECTRIC CO OP INC (TDSP) | 0058630484000 | 23.004 | 24.8912 | 25.8936 | 23.3608 | 24.2874 | 0.04542%
22 | BLUEBONNET ELECTRIC CO OP INC (TDSP) | 0524834354000 | 288.9104 | 296.4876 | 311.358 | 273.232 | 292.497 | 0.547%
23 | BRAZOS ELECTRIC POWER CO OP INC(TDSP) | 0037722904000 | 1.5584 | 0.3508 | 0.1672 | 0.2488 | 0.5813 | 0.001087%
24 | CAP-ROCK ELECTRIC CO OP INC (MCCULLOCH DIVISION) ( | 0079370974000 | 16.9268 | 17.952 | 19.9652 | 16.4524 | 17.8241 | 0.03334%
25 | CENTRAL TEXAS ELECTRIC CO OP INC (TDSP) | 0079302744000 | 81.8392 | 85.6912 | 93.798 | 72.2896 | 83.4045 | 0.156%
26 | CITY OF BASTROP (TDSP) | 0851553724000 | 11.8112 | 11.8944 | 13.4988 | 11.8684 | 12.2682 | 0.02294%
27 | CITY OF BELLVILLE (TDSP) | 0935648704000 | 11.604 | 12.9372 | 12.8792 | 11.4544 | 12.2187 | 0.02285%
28 | CITY OF BOERNE (TDSP) | 0052470694000 | 20.284 | 20.818 | 23.63 | 19.838 | 21.1425 | 0.03954%
29 | CITY OF BRENHAM (TDSP) | 0741649224000 | 57.2016 | 60.678 | 61.0972 | 57.0836 | 59.0151 | 0.1104%
30 | CITY OF BRIDGEPORT MUN ELEC SYS (TDSP) | 0842801714000 | 10.1576 | 11.304 | 11.3464 | 9.9532 | 10.6903 | 0.01999%
31 | CITY OF BURNET (TDSP) | 0746121514000 | 13.856 | 14.7696 | 16.3876 | 13.65 | 14.6658 | 0.02743%
32 | CITY OF CUERO (TDSP) | 0526842144000 | 23.4076 | 23.9996 | 25.5704 | 23.0464 | 24.006 | 0.0449%
33 | CITY OF FLATONIA (TDSP) | 0626890134000 | 4.3684 | 4.722 | 5.1272 | 4.4988 | 4.6791 | 0.008751%
34 | CITY OF FREDERICKSBURG (TDSP) | 0769243074000 | 19.1248 | 20.0404 | 31.1256 | 24.1828 | 23.6184 | 0.04417%
35 | CITY OF GEORGETOWN (TDSP) | 0895923724000 | 76.6744 | 80.3016 | 89.5512 | 75.4472 | 80.4936 | 0.1505%
36 | CITY OF GIDDINGS (TDSP) | 0096899514000 | 11.8156 | 12.5208 | 13.5572 | 12.0416 | 12.4838 | 0.02335%
37 | CITY OF GOLDTHWAITE (TDSP) | 1558252764000 | 4.2968 | 4.7828 | 5.6124 | 4.53 | 4.8055 | 0.008987%
38 | CITY OF GONZALES (TDSP) | 0937385404000 | 15.58 | 16.1016 | 17.7556 | 16.0348 | 16.368 | 0.03061%
39 | CITY OF HALLETTSVILLE (TDSP) | 0090811834000 | 7.6592 | 8.418 | 8.7328 | 7.37 | 8.045 | 0.01505%
40 | CITY OF HEMPSTEAD (TDSP) | 1272175604000 | 11.444 | 12.238 | 12.2836 | 9.4968 | 11.3656 | 0.02126%
41 | CITY OF LA GRANGE (TDSP) | 0607085184000 | 14.308 | 14.9336 | 15.8616 | 13.6076 | 14.6777 | 0.02745%
42 | CITY OF LAMPASAS (TDSP) | 0203311204000 | 19.6664 | 20.6576 | 22.704 | 19.51 | 20.6345 | 0.03859%
43 | CITY OF LEXINGTON (TDSP) | 0081817324000 | 2.5 | 2.7084 | 2.9428 | 2.714 | 2.7163 | 0.00508%
44 | CITY OF LLANO (TDSP) | 0916952054000 | 9.2196 | 9.6052 | 11.4776 | 9.3972 | 9.9249 | 0.01856%
45 | CITY OF LOCKHART (TDSP) | 0746168634000 | 21.1508 | 21.6604 | 24.5356 | 21.0708 | 22.1044 | 0.04134%
46 | CITY OF LULING (TDSP) | 0105539984000 | 10.2892 | 10.3904 | 11.606 | 10.326 | 10.6529 | 0.01992%
47 | CITY OF MASON (TDSP) | 1561267084000 | 4.3432 | 4.7708 | 5.554 | 4.3136 | 4.7454 | 0.008875%
48 | CITY OF MOULTON (TDSP) | 0091871544000 | 2.0228 | 2.0704 | 2.3692 | 2.2108 | 2.1683 | 0.004055%
49 | CITY OF SAN MARCOS (TDSP) | 0694628694000 | 94.268 | 90.5872 | 98.9248 | 89.038 | 93.2045 | 0.1743%
50 | CITY OF SAN SABA (TDSP) | 0248592254000 | 7.918 | 8.1644 | 9.158 | 7.6832 | 8.2309 | 0.01539%
51 | CITY OF SANGER | 058956020 | 10.7696 | 11.712 | 11.632 | 10.0756 | 11.0473 | 0.02066%
52 | CITY OF SCHULENBURG (TDSP) | 0532950364000 | 14.1888 | 10.5756 | 11.7288 | 10.3596 | 11.7132 | 0.02191%
53 | CITY OF SEGUIN (TDSP) | 0862819794000 | 53.6128 | 54.214 | 58.0624 | 51.0012 | 54.2226 | 0.1014%
54 | CITY OF SEYMOUR | 166319145 | 6.9664 | 7.9552 | 8.3672 | 7.4592 | 7.687 | 0.01438%
55 | CITY OF SHINER (TDSP) | 1504533714000 | 8.1524 | 8.4568 | 9.214 | 8.8444 | 8.6669 | 0.01621%
56 | CITY OF SMITHVILLE (TDSP) | 0916978134000 | 9.0516 | 9.5412 | 10.4452 | 8.6908 | 9.4322 | 0.01764%
57 | CITY OF WAELDER (TDSP) | 0541779694000 | 2.9428 | 3.1036 | 3.3052 | 3.2368 | 3.1471 | 0.005886%
58 | CITY OF WEIMAR (TDSP) | 0214974584000 | 6.7876 | 7.182 | 7.2448 | 6.6592 | 6.9684 | 0.01303%
59 | CITY OF WHITESBORO | 134546522 | 7.5328 | 7.9168 | 8.4892 | 7.7912 | 7.9325 | 0.01484%
60 | CITY OF YOAKUM (TDSP) | 0694557724000 | 15.1904 | 16.7232 | 16.662 | 15.27 | 15.9614 | 0.02985%
61 | COLEMAN COUNTY ELECTRIC CO OP INC (TDSP) | 0079246734000 | 18.6436 | 19.0864 | 20.6064 | 20.1312 | 19.6169 | 0.03669%
62 | COMANCHE ELECTRIC CO OP ASSOCIATION | 002889210 | 32.2232 | 33.4092 | 38.65 | 32.706 | 34.2471 | 0.06405%
63 | CONCHO VALLEY ELECTRIC CO OP INC (TDSP) | 0038666624000 | 33.704 | 35.4664 | 37.8512 | 34.182 | 35.3009 | 0.06602%
64 | COOKE COUNTY ELECTRIC CO OP ASSOC INC | 008951808 | 52.4928 | 54.9664 | 58.4548 | 50.4404 | 54.0886 | 0.1012%
66 | DEEP EAST TEXAS ELECTRIC CO OP INC | 047845623 | 10.026 | 13.1284 | 12.4212 | 12.1028 | 11.9196 | 0.02229%
67 | DENTON COUNTY ELEC CO OP DBA COSERVE ELEC | 008947913 | 485.8664 | 571.0748 | 564.682 | 512.2672 | 533.4726 | 0.9977%
69 | FANNIN COUNTY ELECTRIC CO OP INC | 0018220894000 | 19.3368 | 16.4168 | 22.0868 | 21.2616 | 19.7755 | 0.03698%
70 | FARMERS ELECTRIC CO OP INC DBA FEC ELECTRIC | 0098442344000 | 129.4596 | 124.4652 | 149.3364 | 142.21 | 136.3678 | 0.255%
71 | FAYETTE ELECTRIC CO OP INC (TDSP) | 0593309774000 | 39.3092 | 40.808 | 39.7032 | 34.0856 | 38.4765 | 0.07196%
72 | FORT BELKNAP ELECTRIC CO OP INC (TDSP) | 007935299 | 17.5688 | 20.0324 | 20.586 | 18.4784 | 19.1664 | 0.03585%
73 | GRANBURY MUNICIPAL UTILITIES (TDSP) | 0952141694000 | 16.958 | 18.976 | 20.8152 | 18.0512 | 18.7001 | 0.03497%
74 | GRAYSON COLLIN ELECTRIC CO OP INC | 008953812 | 102.256 | 104.4256 | 116.1416 | 109.1492 | 107.9931 | 0.202%
75 | GUADALUPE VALLEY ELECTRIC CO OP INC (TDSP) | 0079305894000 | 219.6776 | 220.9324 | 238.874 | 201.692 | 220.294 | 0.412%
76 | HAMILTON COUNTY ELECTRIC CO OP (BRAZOS) | 008949216 | 13.1056 | 14.6372 | 15.7132 | 13.1756 | 14.1579 | 0.02648%
77 | HILCO ELECTRIC CO OP INC (TDSP) | 008950545 | 104.8924 | 108.4068 | 109.2896 | 96.7568 | 104.8364 | 0.1961%
78 | HOUSTON COUNTY ELEC COOP (TDSP) | 005777206 | 11.5092 | 11.7976 | 10.912 | 11.056 | 11.3187 | 0.02117%
79 | J A C ELECTRIC CO OP INC | 003890795 | 16.244 | 17.6468 | 17.8116 | 16.728 | 17.1076 | 0.032%
80 | JASPER NEWTON ELECTRIC CO OP INC | 007933518 | 1.8652 | 2.0476 | 1.9924 | 1.6652 | 1.8926 | 0.00354%
81 | KERRVILLE PUBLIC UTILITY BOARD (TDSP) | 1248248064000 | 96.1316 | 97.2156 | 104.462 | 86.4844 | 96.0734 | 0.1797%
82 | LAMAR COUNTY ELEC COOP DBA LEC (TDSP) | 0048060974000 | 32.2944 | 24.3812 | 35.91 | 34.4164 | 31.7505 | 0.05938%
83 | LIGHTHOUSE ELECTRIC CO OP (TDSP) | 0028252894000 | 1.8636 | 2.5188 | 2.3484 | 1.7724 | 2.1258 | 0.003976%
85 | LYNTEGAR ELECTRIC CO OP INC (TDSP) | 0079371474000 | 28.656 | 28.6512 | 22.2612 | 21.3856 | 25.2385 | 0.0472%
86 | MAGIC VALLEY ELECTRIC CO OP INC (TDSP) | 008951501 | 217.3576 | 238.6104 | 259.54 | 221.2592 | 234.1918 | 0.438%
87 | MCLENNAN COUNTY ELECTRIC CO OP INC | 007509698 | 57.1736 | 52.8688 | 57.0796 | 49.5828 | 54.1762 | 0.1013%
88 | MID SOUTH ELECTRIC CO OP ASSOC | 061278594 | 19.3208 | 19.4084 | 20.066 | 18.828 | 19.4058 | 0.03629%
89 | NAVARRO COUNTY ELECTRIC CO OP INC | 006770101 | 55.0844 | 59.3732 | 59.9524 | 59.466 | 58.469 | 0.1094%
90 | NAVASOTA VALLEY ELECTRIC CO OP INC | 046299913 | 58.592 | 64.1612 | 62.7248 | 57.3224 | 60.7001 | 0.1135%
91 | NEW BRAUNFELS UTILITIES (TDSP) | 0383461694000 | 175.774 | 177.0608 | 177.9088 | 163.7232 | 173.6167 | 0.3247%
92 | PEDERNALES ELECTRIC CO OP INC (TDSP) | 0079241114000 | 751.9204 | 789.7544 | 866.6716 | 701.2032 | 777.3874 | 1.454%
94 | SAM HOUSTON ELECTRIC CO OP INC (TDSP) | 056267867 | 4.124 | 4.738 | 4.518 | 3.8372 | 4.3043 | 0.00805%
95 | SAN BERNARD ELECTRIC CO OP (TDSP) | 0089453134000 | 81.596 | 94.7444 | 89.6836 | 79.266 | 86.3225 | 0.1614%
96 | SOUTH PLAINS ELECTRIC CO OP INC (TDSP) | 007934185 | 68.3504 | 71.2552 | 69.8676 | 69.9432 | 69.8541 | 0.1306%
97 | SOUTHWEST TEXAS ELECTRIC CO OP INC (TDSP) | 0084158954000 | 22.3464 | 21.0096 | 23.93 | 21.0912 | 22.0943 | 0.04132%
98 | TAYLOR ELECTRIC CO OP INC (TDSP) | 0079344254000 | 7.0704 | 6.956 | 7.5404 | 7.3156 | 7.2206 | 0.0135%
99 | TRI COUNTY ELECTRIC CO OP INC | 008945123 | 287.0008 | 332.3728 | 333.0712 | 297.2124 | 312.4143 | 0.5843%
100 | TRINITY VALLEY ELEC CO OP | 009844564 | 108.5416 | 120.9644 | 123.5176 | 115.3 | 117.0809 | 0.219%
102 | UNITED ELECTRIC CO OP SERVICES INC | 008945826 | 281.6676 | 301.7404 | 313.2268 | 283.632 | 295.0667 | 0.5518%
103 | WISE ELECTRIC CO OP | 041405408 | 58.3964 | 68.1432 | 67.454 | 56.8044 | 62.6995 | 0.1173%
104 | BROWNSVILLE PUBLIC UTILITY BOARD (TDSP) | 6063470374000 | 210.888 | 217.8032 | 225.5764 | 200.742 | 213.7524 | 0.3998%
105 | BRYAN TEXAS UTILITIES (TDSP) | 0793907794000 | 211.9276 | 226.334 | 230.4064 | 215.6264 | 221.0736 | 0.4135%
106 | CAP-ROCK ELECTRIC CO OP INC (HUNT COLLIN DIVISION) | 0079370974100 | 20.3932 | 17.45 | 23.7864 | 22.3048 | 20.9836 | 0.03924%
107 | CHEROKEE COUNTY ELEC CO OP ASSOC | 008862625 | 35.0684 | 47.708 | 46.296 | 43.2852 | 43.0894 | 0.08059%
108 | CITY OF AUSTIN DBA AUSTIN ENERGY (TDSP) | 8008717664000 | 2068.7092 | 2125.348 | 2253.8344 | 1984.7792 | 2108.1677 | 3.943%
110 | CITY OF BOWIE (TDSP) | 8094182964000 | 12.6056 | 14.9768 | 14.1216 | 12.89 | 13.6485 | 0.02553%
111 | CITY OF BRADY (TDSP) | 70804877 | 13.318 | 13.8384 | 14.9712 | 12.4864 | 13.6535 | 0.02554%
113 | CITY OF COLEMAN (TDSP) | 1024920064000 | 5.8032 | 10.5444 | 10.9652 | 9.3264 | 9.1598 | 0.01713%
114 | CITY OF COLLEGE STATION (TDSP) | 0403303004000 | 145.0204 | 167.6948 | 150.584 | 145.6584 | 152.2394 | 0.2847%
117 | CITY OF GARLAND (TDSP) | 6011012564000 | 427.012 | 469.1616 | 453.8424 | 446.402 | 449.1045 | 0.8399%
118 | CITY OF GOLDSMITH (TDSP) | 0888946704000 | 0.4532 | 0.4288 | 2.5132 | 2.4384 | 1.4584 | 0.002728%
119 | CITY OF HEARNE MUNICIPAL ELECTRIC SYSTEM (TDSP) | 0897458894000 | 10.1684 | 6.3816 | 2.5132 | 9.7892 | 7.2131 | 0.01349%
121 | CITY OF ROBSTOWN UTILITY SYSTEM (TDSP) | 9387911424000 | 10.382 | 10.386 | 16.0704 | 13.4408 | 12.5698 | 0.02351%
122 | CITY OF SAN ANTONIO CITY PUBLIC SERVICE (TDSP) | 0079360734000 | 3689.4804 | 3725.848 | 3984.3904 | 3481.3612 | 3720.27 | 6.958%
123 | DENTON MUNICIPAL ELECTRIC (TDSP) | 0003540764000 | 246.0824 | 272.1388 | 265.6656 | 238.0916 | 255.4946 | 0.4778%
125 | GEUS (TDSP) | 8062449354000 | 92.098 | 84.6408 | 98.798 | 97.6868 | 93.3059 | 0.1745%
126 | JACKSON ELECTRICAL CO OP INC | 078423555 | 31.8112 | 36.6188 | 37.7764 | 28.2936 | 33.625 | 0.06289%
127 | KARNES ELECTRIC CO OP INC | 006824106 | 47.9812 | 44.6472 | 48.8984 | 42.05 | 45.8942 | 0.08583%
128 | MEDINA ELECTRIC CO OP INC (TDSP) STEC | 0081378124000 | 82.944 | 70.9488 | 80.2532 | 69.6084 | 75.9386 | 0.142%
129 | NUECES ELECTRIC CO OP INC | 008828857 | 40.1008 | 40.49 | 44.8428 | 37.9908 | 40.8561 | 0.07641%
130 | RIO GRANDE ELECTRIC CO OP (TDSP) | 002781953 | 18.108 | 17.5472 | 19.1024 | 17.7028 | 18.1151 | 0.03388%
131 | SAN MIGUEL ELECTRIC CO OP INC (TDSP) | 0884848524000 | 0 | 0 | 0 | 0 | 0 | 0%
132 | SAN PATRICIO ELECTRIC CO OP (TDSP) | 003864907 | 28.2396 | 27.2504 | 29.7724 | 25.176 | 27.6096 | 0.05164%
133 | SHARYLAND UTILITIES LP (TDSP) | 105262336 | 4.1992 | 13.086 | 7.1008 | 6.3008 | 7.6717 | 0.01435%
134 | SOUTH TEXAS ELECTRIC CO OP INC | 0038663324000 | 0 | 0.1296 | 0.1244 | 0.2828 | 0.1342 | 0.000251%
136 | VICTORIA ELECTRIC CO OP INC | 008953861 | 61.9492 | 66.9556 | 71.8428 | 54.0528 | 63.7001 | 0.1191%
137 | WEATHERFORD MUNICIPAL UTILITY SYSTEM (TDSP) | 0817196274000 | 44.7532 | 66.5904 | 70.0072 | 62.2148 | 60.8914 | 0.1139%
138 | WHARTON COUNTY ELECTRIC CO OP INC | 118487958 | 27.0564 | 27.0464 | 30.088 | 24.0348 | 27.0564 | 0.0506%
139 | RUSK COUNTY ELECTRIC CO OP (TDSP) | 009844440 | 0 | 0 | 0 | 0 | 0 | 0%
141 | CITY OF GARLAND GBCREEK (TDSP) | 6011012564100 | 0 | 0 | 0 | 0 | 0 | 0%
142 | HAMILTON COUNTY ELECTRIC CO OP (LCRA) | 0089492164100 | 22.2604 | 23.5884 | 26.228 | 22.3492 | 23.6065 | 0.04415%
144 | NUECES ELECTRIC CO OP INC AEP (TDSP) | 0088288574100 | 0.3756 | 0.396 | 0.2852 | 0.3056 | 0.3406 | 0.000637%
145 | PEDERNALES ELEC CO OP INC AEP (TDSP) | 0079241114100 | 3.4748 | 3.4824 | 3.7488 | 3.2088 | 3.4787 | 0.006506%
146 | TAYLOR ELECTRIC CO OP INC ABILENE (TDSP) | 0079344254100 | 32.0784 | 33.2672 | 36.7924 | 32.2732 | 33.6028 | 0.06285%
147 | VICTORIA ELECTRIC CO OP INC AEP (TDSP) | 0089538614100 | 0.3828 | 0.3676 | 0.4268 | 0.3636 | 0.3852 | 0.0007204%
148 | RIO GRANDE ELECTRIC CO OP TXU (TDSP) | 27819534100 | 0 | 0.2144 | 0.1428 | 0 | 0.0893 | 0.000167%
151 | TEXAS A&M | 0037722904TAM | 27.5772 | 29.5864 | 28.2024 | 30.9604 | 29.0816 | 0.05439%
153 | WESTERN FARMERS ELECTRIC COOPERATIVE (TDSP) | 0728624074000 | 0.5072 | 0.5796 | 0.6264 | 0.5544 | 0.5669 | 0.00106%
| Total* |  | 51805.5972 | 54812.8252 | 56231.288 | 51027.14 | 53469.2126 | 100%
*Note: Total does not include DC Tie Exports

## 4CP - True-ups
2002 Four Coincident Peak Load Calculation
Data to be filed with PUCT (September 2003)
TDSP CODE | Load Entity Name | DUNS Number | June Load at ERCOT Coincident Peak MW | July Load at ERCOT Coincident Peak MW | August Load at ERCOT Coincident Peak MW | September Load at ERCOT Coincident Peak MW | Average 4CP Load MW | Load Ratio Share
1 | RELIANT ENERGY HL AND P (TDSP) | 957877905 | 12142.2972 | 13063.3768 | 12999.9632 | 11147.346 | 12338.2458 | 23.05%
2 | TXU ELECTRIC CO (TDSP) | 1039940674000 | 21046.0584 | 22563.1948 | 22692.1656 | 21747.8784 | 22012.3243 | 41.13%
4 | TEXAS-NEW MEXICO POWER CO (TDSP) | 007929441 | 1154.206 | 1227.2516 | 1289.562 | 1148.2164 | 1204.809 | 2.251%
5 | CPL ENERGY DELIVERY COMPANY (CPL-EDC) (TDSP) | 007924772 | 4015.3448 | 4000.2068 | 4346.7988 | 3854.5164 | 4054.2167 | 7.575%
7 | WTU ENERGY DELIVERY COMPANY (WTU-EDC) (TDSP) | 007923311 | 926.0712 | 961.4424 | 1084.6768 | 937.1608 | 977.3378 | 1.826%
18 | BANDERA ELECTRIC CO OP INC (TDSP) | 0089451494000 | 93.5832 | 93.6032 | 100.9908 | 82.226 | 92.6008 | 0.173%
19 | BARTLETT ELECTRIC CO OP INC | 002781813 | 30.6192 | 31.8896 | 34.7048 | 29.3248 | 31.6346 | 0.05911%
20 | BELFALLS ELECTRIC CO OP INC (TDSP) | 004998399 | 15.512 | 15.6052 | 17.41 | 15.5592 | 16.0216 | 0.02994%
21 | BIG COUNTRY ELECTRIC CO OP INC (TDSP) | 0058630484000 | 19.8112 | 21.6116 | 23.2256 | 20.7672 | 21.3539 | 0.0399%
22 | BLUEBONNET ELECTRIC CO OP INC (TDSP) | 0524834354000 | 288.9104 | 296.4876 | 311.358 | 273.232 | 292.497 | 0.5465%
23 | BRAZOS ELECTRIC POWER CO OP INC(TDSP) | 0037722904000 | 1.5584 | 0.3508 | 0.1672 | 0.2488 | 0.5813 | 0.001086%
24 | CAP-ROCK ELECTRIC CO OP INC (MCCULLOCH DIVISION) ( | 0079370974000 | 16.9268 | 17.952 | 19.9652 | 16.4524 | 17.8241 | 0.0333%
25 | CENTRAL TEXAS ELECTRIC CO OP INC (TDSP) | 0079302744000 | 81.8392 | 85.6912 | 93.798 | 72.2896 | 83.4045 | 0.1558%
26 | CITY OF BASTROP (TDSP) | 0851553724000 | 11.8112 | 11.8944 | 13.4988 | 11.8684 | 12.2682 | 0.02292%
27 | CITY OF BELLVILLE (TDSP) | 0935648704000 | 11.604 | 12.9372 | 12.8792 | 11.4544 | 12.2187 | 0.02283%
28 | CITY OF BOERNE (TDSP) | 0052470694000 | 20.284 | 20.818 | 23.63 | 19.838 | 21.1425 | 0.0395%
29 | CITY OF BRENHAM (TDSP) | 0741649224000 | 57.2016 | 60.678 | 61.0972 | 57.0836 | 59.0151 | 0.1103%
30 | CITY OF BRIDGEPORT MUN ELEC SYS (TDSP) | 0842801714000 | 10.1576 | 11.304 | 11.3464 | 9.9532 | 10.6903 | 0.01997%
31 | CITY OF BURNET (TDSP) | 0746121514000 | 13.856 | 14.7696 | 16.3876 | 13.65 | 14.6658 | 0.0274%
32 | CITY OF CUERO (TDSP) | 0526842144000 | 23.4076 | 23.9996 | 25.5704 | 23.0464 | 24.006 | 0.04485%
33 | CITY OF FLATONIA (TDSP) | 0626890134000 | 4.3684 | 4.722 | 5.1272 | 4.4988 | 4.6791 | 0.008743%
34 | CITY OF FREDERICKSBURG (TDSP) | 0769243074000 | 26.6652 | 28.1516 | 31.1256 | 24.1828 | 27.5313 | 0.05144%
35 | CITY OF GEORGETOWN (TDSP) | 0895923724000 | 76.6744 | 80.3016 | 89.5512 | 75.4472 | 80.4936 | 0.1504%
36 | CITY OF GIDDINGS (TDSP) | 0096899514000 | 11.8156 | 12.5208 | 13.5572 | 12.0416 | 12.4838 | 0.02333%
37 | CITY OF GOLDTHWAITE (TDSP) | 1558252764000 | 4.2968 | 4.7828 | 5.6124 | 4.53 | 4.8055 | 0.008979%
38 | CITY OF GONZALES (TDSP) | 0937385404000 | 15.58 | 16.1016 | 17.7556 | 16.0348 | 16.368 | 0.03058%
39 | CITY OF HALLETTSVILLE (TDSP) | 0090811834000 | 7.6592 | 8.418 | 8.7328 | 7.37 | 8.045 | 0.01503%
40 | CITY OF HEMPSTEAD (TDSP) | 1272175604000 | 11.444 | 12.238 | 12.2836 | 9.4968 | 11.3656 | 0.02124%
41 | CITY OF LA GRANGE (TDSP) | 0607085184000 | 14.308 | 14.9336 | 15.8616 | 13.6076 | 14.6777 | 0.02742%
42 | CITY OF LAMPASAS (TDSP) | 0203311204000 | 19.6664 | 20.6576 | 22.704 | 19.51 | 20.6345 | 0.03855%
43 | CITY OF LEXINGTON (TDSP) | 0081817324000 | 2.5 | 2.7084 | 2.9428 | 2.714 | 2.7163 | 0.005075%
44 | CITY OF LLANO (TDSP) | 0916952054000 | 9.2196 | 9.6052 | 11.4776 | 9.3972 | 9.9249 | 0.01854%
45 | CITY OF LOCKHART (TDSP) | 0746168634000 | 21.1508 | 21.6604 | 24.5356 | 21.0708 | 22.1044 | 0.0413%
46 | CITY OF LULING (TDSP) | 0105539984000 | 10.2892 | 10.3904 | 11.606 | 10.326 | 10.6529 | 0.0199%
47 | CITY OF MASON (TDSP) | 1561267084000 | 4.3432 | 4.7708 | 5.554 | 4.3136 | 4.7454 | 0.008867%
48 | CITY OF MOULTON (TDSP) | 0091871544000 | 2.0228 | 2.0704 | 2.3692 | 2.2108 | 2.1683 | 0.004051%
49 | CITY OF SAN MARCOS (TDSP) | 0694628694000 | 94.268 | 90.5872 | 98.9248 | 89.038 | 93.2045 | 0.1741%
50 | CITY OF SAN SABA (TDSP) | 0248592254000 | 7.918 | 8.1644 | 9.158 | 7.6832 | 8.2309 | 0.01538%
51 | CITY OF SANGER | 058956020 | 10.7696 | 11.712 | 11.632 | 10.0756 | 11.0473 | 0.02064%
52 | CITY OF SCHULENBURG (TDSP) | 0532950364000 | 11.002 | 11.3692 | 11.7288 | 10.3596 | 11.1149 | 0.02077%
53 | CITY OF SEGUIN (TDSP) | 0862819794000 | 53.6128 | 54.214 | 58.0624 | 51.0012 | 54.2226 | 0.1013%
54 | CITY OF SEYMOUR | 166319145 | 6.9664 | 7.9552 | 8.3672 | 7.4592 | 7.687 | 0.01436%
55 | CITY OF SHINER (TDSP) | 1504533714000 | 8.1524 | 8.4568 | 9.214 | 8.8444 | 8.6669 | 0.01619%
56 | CITY OF SMITHVILLE (TDSP) | 0916978134000 | 9.0516 | 9.5412 | 10.4452 | 8.6908 | 9.4322 | 0.01762%
57 | CITY OF WAELDER (TDSP) | 0541779694000 | 2.9428 | 3.1036 | 3.3052 | 3.2368 | 3.1471 | 0.00588%
58 | CITY OF WEIMAR (TDSP) | 0214974584000 | 6.7876 | 7.182 | 7.2448 | 6.6592 | 6.9684 | 0.01302%
59 | CITY OF WHITESBORO | 134546522 | 7.5328 | 7.9168 | 8.4892 | 7.7912 | 7.9325 | 0.01482%
60 | CITY OF YOAKUM (TDSP) | 0694557724000 | 15.1904 | 16.7232 | 16.662 | 15.27 | 15.9614 | 0.02982%
61 | COLEMAN COUNTY ELECTRIC CO OP INC (TDSP) | 0079246734000 | 18.6436 | 19.0864 | 20.6064 | 20.1312 | 19.6169 | 0.03665%
62 | COMANCHE ELECTRIC CO OP ASSOCIATION | 002889210 | 32.2232 | 33.246 | 36.4284 | 31.3508 | 33.3121 | 0.06224%
63 | CONCHO VALLEY ELECTRIC CO OP INC (TDSP) | 0038666624000 | 33.704 | 35.4664 | 37.8512 | 34.182 | 35.3009 | 0.06596%
64 | COOKE COUNTY ELECTRIC CO OP ASSOC INC | 008951808 | 52.4928 | 54.9664 | 58.4548 | 50.4404 | 54.0886 | 0.1011%
66 | DEEP EAST TEXAS ELECTRIC CO OP INC | 047845623 | 11.546 | 13.1284 | 12.4212 | 12.1028 | 12.2996 | 0.02298%
67 | DENTON COUNTY ELEC CO OP DBA COSERVE ELEC | 008947913 | 490.3128 | 571.0748 | 564.682 | 512.2672 | 534.5842 | 0.9988%
69 | FANNIN COUNTY ELECTRIC CO OP INC | 0018220894000 | 19.3368 | 16.4168 | 22.0868 | 21.2616 | 19.7755 | 0.03695%
70 | FARMERS ELECTRIC CO OP INC DBA FEC ELECTRIC | 0098442344000 | 129.4596 | 124.4652 | 149.3364 | 142.21 | 136.3678 | 0.2548%
71 | FAYETTE ELECTRIC CO OP INC (TDSP) | 0593309774000 | 36.1224 | 38.3596 | 39.7032 | 34.0856 | 37.0677 | 0.06926%
72 | FORT BELKNAP ELECTRIC CO OP INC (TDSP) | 007935299 | 17.5688 | 20.0324 | 20.586 | 18.4784 | 19.1664 | 0.03581%
73 | GRANBURY MUNICIPAL UTILITIES (TDSP) | 0952141694000 | 16.958 | 18.976 | 20.8152 | 18.0512 | 18.7001 | 0.03494%
74 | GRAYSON COLLIN ELECTRIC CO OP INC | 008953812 | 102.256 | 104.4256 | 116.1416 | 109.1492 | 107.9931 | 0.2018%
75 | GUADALUPE VALLEY ELECTRIC CO OP INC (TDSP) | 0079305894000 | 221.8744 | 220.9324 | 238.874 | 201.692 | 220.8432 | 0.4126%
76 | HAMILTON COUNTY ELECTRIC CO OP (BRAZOS) | 008949216 | 13.1056 | 14.6372 | 15.7132 | 13.1756 | 14.1579 | 0.02645%
77 | HILCO ELECTRIC CO OP INC (TDSP) | 008950545 | 106.0528 | 108.382 | 109.2896 | 96.7568 | 105.1203 | 0.1964%
78 | HOUSTON COUNTY ELEC COOP (TDSP) | 005777206 | 11.5388 | 13.2224 | 13.2088 | 11.482 | 12.363 | 0.0231%
79 | J A C ELECTRIC CO OP INC | 003890795 | 16.244 | 17.6468 | 17.8116 | 16.728 | 17.1076 | 0.03196%
80 | JASPER NEWTON ELECTRIC CO OP INC | 007933518 | 1.8652 | 2.0476 | 1.9924 | 1.6652 | 1.8926 | 0.003536%
81 | KERRVILLE PUBLIC UTILITY BOARD (TDSP) | 1248248064000 | 96.1316 | 97.2156 | 104.462 | 86.4844 | 96.0734 | 0.1795%
82 | LAMAR COUNTY ELEC COOP DBA LEC (TDSP) | 0048060974000 | 32.2944 | 24.3812 | 35.91 | 34.4164 | 31.7505 | 0.05932%
83 | LIGHTHOUSE ELECTRIC CO OP (TDSP) | 0028252894000 | 1.8636 | 2.5188 | 2.3484 | 1.7724 | 2.1258 | 0.003972%
85 | LYNTEGAR ELECTRIC CO OP INC (TDSP) | 0079371474000 | 17.924 | 29.6876 | 27.7544 | 23.9808 | 24.8367 | 0.04641%
86 | MAGIC VALLEY ELECTRIC CO OP INC (TDSP) | 008951501 | 226.56 | 238.6464 | 259.3848 | 221.0308 | 236.4055 | 0.4417%
87 | MCLENNAN COUNTY ELECTRIC CO OP INC | 007509698 | 47.9376 | 52.848 | 57.0796 | 49.5828 | 51.862 | 0.0969%
88 | MID SOUTH ELECTRIC CO OP ASSOC | 061278594 | 19.3208 | 19.4084 | 20.066 | 18.828 | 19.4058 | 0.03626%
89 | NAVARRO COUNTY ELECTRIC CO OP INC | 006770101 | 54.5036 | 59.3732 | 59.9524 | 59.466 | 58.3238 | 0.109%
90 | NAVASOTA VALLEY ELECTRIC CO OP INC | 046299913 | 58.592 | 64.1612 | 62.7248 | 57.3224 | 60.7001 | 0.1134%
91 | NEW BRAUNFELS UTILITIES (TDSP) | 0383461694000 | 175.774 | 177.0608 | 177.9088 | 163.7232 | 173.6167 | 0.3244%
92 | PEDERNALES ELECTRIC CO OP INC (TDSP) | 0079241114000 | 751.9204 | 785.5308 | 866.6716 | 701.2032 | 776.3315 | 1.451%
94 | SAM HOUSTON ELECTRIC CO OP INC (TDSP) | 056267867 | 4.124 | 4.738 | 4.518 | 3.8372 | 4.3043 | 0.008042%
95 | SAN BERNARD ELECTRIC CO OP (TDSP) | 0089453134000 | 81.596 | 94.7444 | 89.6836 | 79.266 | 86.3225 | 0.1613%
96 | SOUTH PLAINS ELECTRIC CO OP INC (TDSP) | 007934185 | 68.3404 | 71.2552 | 69.8676 | 69.9436 | 69.8517 | 0.1305%
97 | SOUTHWEST TEXAS ELECTRIC CO OP INC (TDSP) | 0084158954000 | 21.8008 | 20.9284 | 22.2276 | 21.3924 | 21.5873 | 0.04033%
98 | TAYLOR ELECTRIC CO OP INC (TDSP) | 0079344254000 | 5.7836 | 5.796 | 5.8904 | 5.648 | 5.7795 | 0.0108%
99 | TRI COUNTY ELECTRIC CO OP INC | 008945123 | 287.0008 | 332.3728 | 333.0712 | 297.2124 | 312.4143 | 0.5837%
100 | TRINITY VALLEY ELEC CO OP | 009844564 | 108.5416 | 120.9644 | 123.5176 | 115.3 | 117.0809 | 0.2188%
102 | UNITED ELECTRIC CO OP SERVICES INC | 008945826 | 281.6676 | 301.7404 | 313.2268 | 283.632 | 295.0667 | 0.5513%
103 | WISE ELECTRIC CO OP | 041405408 | 58.3964 | 68.1432 | 67.454 | 56.8044 | 62.6995 | 0.1172%
104 | BROWNSVILLE PUBLIC UTILITY BOARD (TDSP) | 6063470374000 | 210.888 | 217.8032 | 225.5764 | 200.742 | 213.7524 | 0.3994%
105 | BRYAN TEXAS UTILITIES (TDSP) | 0793907794000 | 211.9276 | 226.334 | 230.4064 | 215.6264 | 221.0736 | 0.4131%
106 | CAP-ROCK ELECTRIC CO OP INC (HUNT COLLIN DIVISION) | 0079370974100 | 20.3932 | 17.45 | 23.7864 | 22.3048 | 20.9836 | 0.03921%
107 | CHEROKEE COUNTY ELEC CO OP ASSOC | 008862625 | 41.7156 | 47.708 | 46.296 | 43.2852 | 44.7512 | 0.08362%
108 | CITY OF AUSTIN DBA AUSTIN ENERGY (TDSP) | 8008717664000 | 2064.3316 | 2123.2876 | 2250.7164 | 1984.9096 | 2105.8113 | 3.935%
110 | CITY OF BOWIE (TDSP) | 8094182964000 | 12.6056 | 14.9768 | 14.1216 | 12.89 | 13.6485 | 0.0255%
111 | CITY OF BRADY (TDSP) | 70804877 | 13.318 | 13.8384 | 14.9712 | 12.4864 | 13.6535 | 0.02551%
113 | CITY OF COLEMAN (TDSP) | 1024920064000 | 9.3764 | 10.5444 | 10.9652 | 9.3264 | 10.0531 | 0.01878%
114 | CITY OF COLLEGE STATION (TDSP) | 0403303004000 | 139.4864 | 149.7512 | 150.584 | 145.6584 | 146.37 | 0.2735%
117 | CITY OF GARLAND (TDSP) | 6011012564000 | 427.012 | 469.1616 | 453.8424 | 446.402 | 449.1045 | 0.8391%
118 | CITY OF GOLDSMITH (TDSP) | 0888946704000 | 0.4048 | 0.39 | 0.4204 | 0.3872 | 0.4006 | 0.0007485%
119 | CITY OF HEARNE MUNICIPAL ELECTRIC SYSTEM (TDSP) | 0897458894000 | 9.8516 | 10.604 | 11.0372 | 9.7892 | 10.3205 | 0.01928%
121 | CITY OF ROBSTOWN UTILITY SYSTEM (TDSP) | 9387911424000 | 10.8772 | 14.2628 | 16.0704 | 13.4408 | 13.6628 | 0.02553%
122 | CITY OF SAN ANTONIO CITY PUBLIC SERVICE (TDSP) | 0079360734000 | 3689.4804 | 3725.848 | 3984.3904 | 3481.3612 | 3720.27 | 6.951%
123 | DENTON MUNICIPAL ELECTRIC (TDSP) | 0003540764000 | 244.824 | 272.1388 | 265.6656 | 238.0916 | 255.18 | 0.4768%
125 | GEUS (TDSP) | 8062449354000 | 92.098 | 84.6408 | 98.798 | 97.6868 | 93.3059 | 0.1743%
126 | JACKSON ELECTRICAL CO OP INC | 078423555 | 31.8112 | 36.6188 | 37.7764 | 28.2936 | 33.625 | 0.06283%
127 | KARNES ELECTRIC CO OP INC | 006824106 | 47.9812 | 44.6472 | 48.8984 | 42.05 | 45.8942 | 0.08575%
128 | MEDINA ELECTRIC CO OP INC (TDSP) STEC | 0081378124000 | 82.944 | 70.9488 | 80.2532 | 69.6084 | 75.9386 | 0.1419%
129 | NUECES ELECTRIC CO OP INC | 008828857 | 40.1008 | 40.49 | 44.8428 | 37.9908 | 40.8561 | 0.07634%
130 | RIO GRANDE ELECTRIC CO OP (TDSP) | 002781953 | 18.108 | 17.5472 | 19.1024 | 17.7028 | 18.1151 | 0.03385%
131 | SAN MIGUEL ELECTRIC CO OP INC (TDSP) | 0884848524000 | 0 | 0 | 0 | 0 | 0 | 0%
132 | SAN PATRICIO ELECTRIC CO OP (TDSP) | 003864907 | 28.2396 | 27.2504 | 29.7724 | 25.176 | 27.6096 | 0.05159%
133 | SHARYLAND UTILITIES LP (TDSP) | 105262336 | 4.5456 | 5.6748 | 6.0644 | 5.6104 | 5.4738 | 0.01023%
134 | SOUTH TEXAS ELECTRIC CO OP INC | 0038663324000 | 0 | 0.1296 | 0.1244 | 0.2828 | 0.1342 | 0.0002507%
136 | VICTORIA ELECTRIC CO OP INC | 008953861 | 61.9492 | 66.9556 | 71.8428 | 54.0528 | 63.7001 | 0.119%
137 | WEATHERFORD MUNICIPAL UTILITY SYSTEM (TDSP) | 0817196274000 | 59.1064 | 66.5904 | 70.0072 | 62.2148 | 64.4797 | 0.1205%
138 | WHARTON COUNTY ELECTRIC CO OP INC | 118487958 | 27.0564 | 27.0464 | 30.088 | 24.0348 | 27.0564 | 0.05055%
139 | RUSK COUNTY ELECTRIC CO OP (TDSP) | 009844440 | 0 | 0 | 0 | 0 | 0 | 0%
141 | CITY OF GARLAND GBCREEK (TDSP) | 6011012564100 | 0 | 0 | 0 | 0 | 0 | 0%
142 | HAMILTON COUNTY ELECTRIC CO OP (LCRA) | 0089492164100 | 22.2604 | 23.5884 | 26.228 | 22.3492 | 23.6065 | 0.04411%
144 | NUECES ELECTRIC CO OP INC AEP (TDSP) | 0088288574100 | 0.3756 | 0.396 | 0.2852 | 0.3056 | 0.3406 | 0.0006364%
145 | PEDERNALES ELEC CO OP INC AEP (TDSP) | 0079241114100 | 3.4556 | 3.4824 | 3.7488 | 3.2088 | 3.4739 | 0.006491%
146 | TAYLOR ELECTRIC CO OP INC ABILENE (TDSP) | 0079344254100 | 32.0784 | 33.2672 | 36.7924 | 32.2732 | 33.6028 | 0.06278%
147 | VICTORIA ELECTRIC CO OP INC AEP (TDSP) | 0089538614100 | 0.3828 | 0.3676 | 0.4268 | 0.3636 | 0.3852 | 0.0007197%
148 | RIO GRANDE ELECTRIC CO OP TXU (TDSP) | 27819534100 | 0 | 0.2144 | 0.1428 | 0 | 0.0893 | 0.0001669%
151 | TEXAS A&M | 0037722904TAM | 27.5772 | 29.5864 | 28.2024 | 30.9604 | 29.0816 | 0.05434%
153 | WESTERN FARMERS ELECTRIC COOPERATIVE (TDSP) | 0728624074000 | 0.5072 | 0.5796 | 0.6264 | 0.5544 | 0.5669 | 0.001059%
| Total* |  | 51875.706 | 54918.1712 | 56245.8212 | 51042.45 | 53520.5371 | 100%
*Note: Total does not include DC Tie Exports

## Comparison
2002 Four Coincident Peak Load Calculation
Comparison between filings
TDSP CODE | Load Entity Name | DUNS Number | June Load at ERCOT Coincident Peak MW | July Load at ERCOT Coincident Peak MW | August Load at ERCOT Coincident Peak MW | September Load at ERCOT Coincident Peak MW | Average 4CP Load MW | Load Ratio Share
1 | RELIANT ENERGY HL AND P (TDSP) | 957877905 | -460.8468 | -30.5364 | 167.2284 | 532.3168 | 52.0405 | 0.0752%
2 | TXU ELECTRIC CO (TDSP) | 1039940674000 | 61.664 | 166.2096 | -122.968 | -666.3024 | -140.3492 | -0.302%
4 | TEXAS-NEW MEXICO POWER CO (TDSP) | 007929441 | 90.966 | -31.3468 | 35.2372 | 86.9416 | 45.4495 | 0.08284%
5 | CPL ENERGY DELIVERY COMPANY (CPL-EDC) (TDSP) | 007924772 | 357.0964 | 64.0592 | -44.5712 | 60.1852 | 109.1924 | 0.1969%
7 | WTU ENERGY DELIVERY COMPANY (WTU-EDC) (TDSP) | 007923311 | 16.4996 | -40.4048 | -22.0628 | 7.302 | -9.6665 | -0.01983%
18 | BANDERA ELECTRIC CO OP INC (TDSP) | 0089451494000 | -3.1876 | -3.1864 | 0 | 0 | -1.5935 | -0.003146%
19 | BARTLETT ELECTRIC CO OP INC | 002781813 | 0 | 0 | 0 | 0 | 0 | -5.674e-05%
20 | BELFALLS ELECTRIC CO OP INC (TDSP) | 004998399 | 0 | 0 | 0 | 0 | 0 | -2.873e-05%
21 | BIG COUNTRY ELECTRIC CO OP INC (TDSP) | 0058630484000 | -3.1928 | -3.2796 | -2.668 | -2.5936 | -2.9335 | -0.005525%
22 | BLUEBONNET ELECTRIC CO OP INC (TDSP) | 0524834354000 | 0 | 0 | 0 | 0 | 0 | -0.0005246%
23 | BRAZOS ELECTRIC POWER CO OP INC(TDSP) | 0037722904000 | 0 | 0 | 0 | 0 | 0 | -1.043e-06%
24 | CAP-ROCK ELECTRIC CO OP INC (MCCULLOCH DIVISION) ( | 0079370974000 | 0 | 0 | 0 | 0 | 0 | -3.197e-05%
25 | CENTRAL TEXAS ELECTRIC CO OP INC (TDSP) | 0079302744000 | 0 | 0 | 0 | 0 | 0 | -0.0001496%
26 | CITY OF BASTROP (TDSP) | 0851553724000 | 0 | 0 | 0 | 0 | 0 | -2.2e-05%
27 | CITY OF BELLVILLE (TDSP) | 0935648704000 | 0 | 0 | 0 | 0 | 0 | -2.191e-05%
28 | CITY OF BOERNE (TDSP) | 0052470694000 | 0 | 0 | 0 | 0 | 0 | -3.792e-05%
29 | CITY OF BRENHAM (TDSP) | 0741649224000 | 0 | 0 | 0 | 0 | 0 | -0.0001058%
30 | CITY OF BRIDGEPORT MUN ELEC SYS (TDSP) | 0842801714000 | 0 | 0 | 0 | 0 | 0 | -1.917e-05%
31 | CITY OF BURNET (TDSP) | 0746121514000 | 0 | 0 | 0 | 0 | 0 | -2.63e-05%
32 | CITY OF CUERO (TDSP) | 0526842144000 | 0 | 0 | 0 | 0 | 0 | -4.305e-05%
33 | CITY OF FLATONIA (TDSP) | 0626890134000 | 0 | 0 | 0 | 0 | 0 | -8.392e-06%
34 | CITY OF FREDERICKSBURG (TDSP) | 0769243074000 | 7.5404 | 8.1112 | 0 | 0 | 3.9129 | 0.007269%
35 | CITY OF GEORGETOWN (TDSP) | 0895923724000 | 0 | 0 | 0 | 0 | 0 | -0.0001444%
36 | CITY OF GIDDINGS (TDSP) | 0096899514000 | 0 | 0 | 0 | 0 | 0 | -2.239e-05%
37 | CITY OF GOLDTHWAITE (TDSP) | 1558252764000 | 0 | 0 | 0 | 0 | 0 | -8.619e-06%
38 | CITY OF GONZALES (TDSP) | 0937385404000 | 0 | 0 | 0 | 0 | 0 | -2.936e-05%
39 | CITY OF HALLETTSVILLE (TDSP) | 0090811834000 | 0 | 0 | 0 | 0 | 0 | -1.443e-05%
40 | CITY OF HEMPSTEAD (TDSP) | 1272175604000 | 0 | 0 | 0 | 0 | 0 | -2.038e-05%
41 | CITY OF LA GRANGE (TDSP) | 0607085184000 | 0 | 0 | 0 | 0 | 0 | -2.632e-05%
42 | CITY OF LAMPASAS (TDSP) | 0203311204000 | 0 | 0 | 0 | 0 | 0 | -3.701e-05%
43 | CITY OF LEXINGTON (TDSP) | 0081817324000 | 0 | 0 | 0 | 0 | 0 | -4.872e-06%
44 | CITY OF LLANO (TDSP) | 0916952054000 | 0 | 0 | 0 | 0 | 0 | -1.78e-05%
45 | CITY OF LOCKHART (TDSP) | 0746168634000 | 0 | 0 | 0 | 0 | 0 | -3.964e-05%
46 | CITY OF LULING (TDSP) | 0105539984000 | 0 | 0 | 0 | 0 | 0 | -1.911e-05%
47 | CITY OF MASON (TDSP) | 1561267084000 | 0 | 0 | 0 | 0 | 0 | -8.511e-06%
48 | CITY OF MOULTON (TDSP) | 0091871544000 | 0 | 0 | 0 | 0 | 0 | -3.889e-06%
49 | CITY OF SAN MARCOS (TDSP) | 0694628694000 | 0 | 0 | 0 | 0 | 0 | -0.0001672%
50 | CITY OF SAN SABA (TDSP) | 0248592254000 | 0 | 0 | 0 | 0 | 0 | -1.476e-05%
51 | CITY OF SANGER | 058956020 | 0 | 0 | 0 | 0 | 0 | -1.981e-05%
52 | CITY OF SCHULENBURG (TDSP) | 0532950364000 | -3.1868 | 0.7936 | 0 | 0 | -0.5983 | -0.001139%
53 | CITY OF SEGUIN (TDSP) | 0862819794000 | 0 | 0 | 0 | 0 | 0 | -9.725e-05%
54 | CITY OF SEYMOUR | 166319145 | 0 | 0 | 0 | 0 | 0 | -1.379e-05%
55 | CITY OF SHINER (TDSP) | 1504533714000 | 0 | 0 | 0 | 0 | 0 | -1.554e-05%
56 | CITY OF SMITHVILLE (TDSP) | 0916978134000 | 0 | 0 | 0 | 0 | 0 | -1.692e-05%
57 | CITY OF WAELDER (TDSP) | 0541779694000 | 0 | 0 | 0 | 0 | 0 | -5.644e-06%
58 | CITY OF WEIMAR (TDSP) | 0214974584000 | 0 | 0 | 0 | 0 | 0 | -1.25e-05%
59 | CITY OF WHITESBORO | 134546522 | 0 | 0 | 0 | 0 | 0 | -1.423e-05%
60 | CITY OF YOAKUM (TDSP) | 0694557724000 | 0 | 0 | 0 | 0 | 0 | -2.863e-05%
61 | COLEMAN COUNTY ELECTRIC CO OP INC (TDSP) | 0079246734000 | 0 | 0 | 0 | 0 | 0 | -3.518e-05%
62 | COMANCHE ELECTRIC CO OP ASSOCIATION | 002889210 | 0 | -0.1632 | -2.2216 | -1.3552 | -0.935 | -0.001808%
63 | CONCHO VALLEY ELECTRIC CO OP INC (TDSP) | 0038666624000 | 0 | 0 | 0 | 0 | 0 | -6.331e-05%
64 | COOKE COUNTY ELECTRIC CO OP ASSOC INC | 008951808 | 0 | 0 | 0 | 0 | 0 | -9.701e-05%
66 | DEEP EAST TEXAS ELECTRIC CO OP INC | 047845623 | 1.52 | 0 | 0 | 0 | 0.38 | 0.0006886%
67 | DENTON COUNTY ELEC CO OP DBA COSERVE ELEC | 008947913 | 4.4464 | 0 | 0 | 0 | 1.1116 | 0.00112%
69 | FANNIN COUNTY ELECTRIC CO OP INC | 0018220894000 | 0 | 0 | 0 | 0 | 0 | -3.547e-05%
70 | FARMERS ELECTRIC CO OP INC DBA FEC ELECTRIC | 0098442344000 | 0 | 0 | 0 | 0 | 0 | -0.0002446%
71 | FAYETTE ELECTRIC CO OP INC (TDSP) | 0593309774000 | -3.1868 | -2.4484 | 0 | 0 | -1.4088 | -0.002701%
72 | FORT BELKNAP ELECTRIC CO OP INC (TDSP) | 007935299 | 0 | 0 | 0 | 0 | 0 | -3.437e-05%
73 | GRANBURY MUNICIPAL UTILITIES (TDSP) | 0952141694000 | 0 | 0 | 0 | 0 | 0 | -3.354e-05%
74 | GRAYSON COLLIN ELECTRIC CO OP INC | 008953812 | 0 | 0 | 0 | 0 | 0 | -0.0001937%
75 | GUADALUPE VALLEY ELECTRIC CO OP INC (TDSP) | 0079305894000 | 2.1968 | 0 | 0 | 0 | 0.5492 | 0.0006311%
76 | HAMILTON COUNTY ELECTRIC CO OP (BRAZOS) | 008949216 | 0 | 0 | 0 | 0 | 0 | -2.539e-05%
77 | HILCO ELECTRIC CO OP INC (TDSP) | 008950545 | 1.1604 | -0.0248 | 0 | 0 | 0.2839 | 0.0003424%
78 | HOUSTON COUNTY ELEC COOP (TDSP) | 005777206 | 0.0296 | 1.4248 | 2.2968 | 0.426 | 1.0443 | 0.001931%
79 | J A C ELECTRIC CO OP INC | 003890795 | 0 | 0 | 0 | 0 | 0 | -3.068e-05%
80 | JASPER NEWTON ELECTRIC CO OP INC | 007933518 | 0 | 0 | 0 | 0 | 0 | -3.394e-06%
81 | KERRVILLE PUBLIC UTILITY BOARD (TDSP) | 1248248064000 | 0 | 0 | 0 | 0 | 0 | -0.0001723%
82 | LAMAR COUNTY ELEC COOP DBA LEC (TDSP) | 0048060974000 | 0 | 0 | 0 | 0 | 0 | -5.694e-05%
83 | LIGHTHOUSE ELECTRIC CO OP (TDSP) | 0028252894000 | 0 | 0 | 0 | 0 | 0 | -3.813e-06%
85 | LYNTEGAR ELECTRIC CO OP INC (TDSP) | 0079371474000 | -10.732 | 1.0364 | 5.4932 | 2.5952 | -0.4018 | -0.000796%
86 | MAGIC VALLEY ELECTRIC CO OP INC (TDSP) | 008951501 | 9.2024 | 0.036 | -0.1552 | -0.2284 | 2.2137 | 0.003716%
87 | MCLENNAN COUNTY ELECTRIC CO OP INC | 007509698 | -9.236 | -0.0208 | 0 | 0 | -2.3142 | -0.004421%
88 | MID SOUTH ELECTRIC CO OP ASSOC | 061278594 | 0 | 0 | 0 | 0 | 0 | -3.48e-05%
89 | NAVARRO COUNTY ELECTRIC CO OP INC | 006770101 | -0.5808 | 0 | 0 | 0 | -0.1452 | -0.0003762%
90 | NAVASOTA VALLEY ELECTRIC CO OP INC | 046299913 | 0 | 0 | 0 | 0 | 0 | -0.0001089%
91 | NEW BRAUNFELS UTILITIES (TDSP) | 0383461694000 | 0 | 0 | 0 | 0 | 0 | -0.0003114%
92 | PEDERNALES ELECTRIC CO OP INC (TDSP) | 0079241114000 | 0 | -4.2236 | 0 | 0 | -1.0559 | -0.003367%
94 | SAM HOUSTON ELECTRIC CO OP INC (TDSP) | 056267867 | 0 | 0 | 0 | 0 | 0 | -7.72e-06%
95 | SAN BERNARD ELECTRIC CO OP (TDSP) | 0089453134000 | 0 | 0 | 0 | 0 | 0 | -0.0001548%
96 | SOUTH PLAINS ELECTRIC CO OP INC (TDSP) | 007934185 | -0.01 | 0 | 0 | 0.0004 | -0.0024 | -0.0001298%
97 | SOUTHWEST TEXAS ELECTRIC CO OP INC (TDSP) | 0084158954000 | -0.5456 | -0.0812 | -1.7024 | 0.3012 | -0.507 | -0.0009869%
98 | TAYLOR ELECTRIC CO OP INC (TDSP) | 0079344254000 | -1.2868 | -1.16 | -1.65 | -1.6676 | -1.4411 | -0.002706%
99 | TRI COUNTY ELECTRIC CO OP INC | 008945123 | 0 | 0 | 0 | 0 | 0 | -0.0005603%
100 | TRINITY VALLEY ELEC CO OP | 009844564 | 0 | 0 | 0 | 0 | 0 | -0.00021%
102 | UNITED ELECTRIC CO OP SERVICES INC | 008945826 | 0 | 0 | 0 | 0 | 0 | -0.0005292%
103 | WISE ELECTRIC CO OP | 041405408 | 0 | 0 | 0 | 0 | 0 | -0.0001125%
104 | BROWNSVILLE PUBLIC UTILITY BOARD (TDSP) | 6063470374000 | 0 | 0 | 0 | 0 | 0 | -0.0003834%
105 | BRYAN TEXAS UTILITIES (TDSP) | 0793907794000 | 0 | 0 | 0 | 0 | 0 | -0.0003965%
106 | CAP-ROCK ELECTRIC CO OP INC (HUNT COLLIN DIVISION) | 0079370974100 | 0 | 0 | 0 | 0 | 0 | -3.763e-05%
107 | CHEROKEE COUNTY ELEC CO OP ASSOC | 008862625 | 6.6472 | 0 | 0 | 0 | 1.6618 | 0.003028%
108 | CITY OF AUSTIN DBA AUSTIN ENERGY (TDSP) | 8008717664000 | -4.3776 | -2.0604 | -3.118 | 0.1304 | -2.3564 | -0.008184%
110 | CITY OF BOWIE (TDSP) | 8094182964000 | 0 | 0 | 0 | 0 | 0 | -2.448e-05%
111 | CITY OF BRADY (TDSP) | 70804877 | 0 | 0 | 0 | 0 | 0 | -2.449e-05%
113 | CITY OF COLEMAN (TDSP) | 1024920064000 | 3.5732 | 0 | 0 | 0 | 0.8933 | 0.001653%
114 | CITY OF COLLEGE STATION (TDSP) | 0403303004000 | -5.534 | -17.9436 | 0 | 0 | -5.8694 | -0.01124%
117 | CITY OF GARLAND (TDSP) | 6011012564000 | 0 | 0 | 0 | 0 | 0 | -0.0008055%
118 | CITY OF GOLDSMITH (TDSP) | 0888946704000 | -0.0484 | -0.0388 | -2.0928 | -2.0512 | -1.0578 | -0.001979%
119 | CITY OF HEARNE MUNICIPAL ELECTRIC SYSTEM (TDSP) | 0897458894000 | -0.3168 | 4.2224 | 8.524 | 0 | 3.1074 | 0.005793%
121 | CITY OF ROBSTOWN UTILITY SYSTEM (TDSP) | 9387911424000 | 0.4952 | 3.8768 | 0 | 0 | 1.093 | 0.00202%
122 | CITY OF SAN ANTONIO CITY PUBLIC SERVICE (TDSP) | 0079360734000 | 0 | 0 | 0 | 0 | 0 | -0.006672%
123 | DENTON MUNICIPAL ELECTRIC (TDSP) | 0003540764000 | -1.2584 | 0 | 0 | 0 | -0.3146 | -0.001046%
125 | GEUS (TDSP) | 8062449354000 | 0 | 0 | 0 | 0 | 0 | -0.0001673%
126 | JACKSON ELECTRICAL CO OP INC | 078423555 | 0 | 0 | 0 | 0 | 0 | -6.031e-05%
127 | KARNES ELECTRIC CO OP INC | 006824106 | 0 | 0 | 0 | 0 | 0 | -8.231e-05%
128 | MEDINA ELECTRIC CO OP INC (TDSP) STEC | 0081378124000 | 0 | 0 | 0 | 0 | 0 | -0.0001362%
129 | NUECES ELECTRIC CO OP INC | 008828857 | 0 | 0 | 0 | 0 | 0 | -7.328e-05%
130 | RIO GRANDE ELECTRIC CO OP (TDSP) | 002781953 | 0 | 0 | 0 | 0 | 0 | -3.249e-05%
131 | SAN MIGUEL ELECTRIC CO OP INC (TDSP) | 0884848524000 | 0 | 0 | 0 | 0 | 0 | 0%
132 | SAN PATRICIO ELECTRIC CO OP (TDSP) | 003864907 | 0 | 0 | 0 | 0 | 0 | -4.952e-05%
133 | SHARYLAND UTILITIES LP (TDSP) | 105262336 | 0.3464 | -7.4112 | -1.0364 | -0.6904 | -2.1979 | -0.00412%
134 | SOUTH TEXAS ELECTRIC CO OP INC | 0038663324000 | 0 | 0 | 0 | 0 | 0 | -2.407e-07%
136 | VICTORIA ELECTRIC CO OP INC | 008953861 | 0 | 0 | 0 | 0 | 0 | -0.0001142%
137 | WEATHERFORD MUNICIPAL UTILITY SYSTEM (TDSP) | 0817196274000 | 14.3532 | 0 | 0 | 0 | 3.5883 | 0.006595%
138 | WHARTON COUNTY ELECTRIC CO OP INC | 118487958 | 0 | 0 | 0 | 0 | 0 | -4.853e-05%
139 | RUSK COUNTY ELECTRIC CO OP (TDSP) | 009844440 | 0 | 0 | 0 | 0 | 0 | 0%
141 | CITY OF GARLAND GBCREEK (TDSP) | 6011012564100 | 0 | 0 | 0 | 0 | 0 | 0%
142 | HAMILTON COUNTY ELECTRIC CO OP (LCRA) | 0089492164100 | 0 | 0 | 0 | 0 | 0 | -4.234e-05%
144 | NUECES ELECTRIC CO OP INC AEP (TDSP) | 0088288574100 | 0 | 0 | 0 | 0 | 0 | -6.109e-07%
145 | PEDERNALES ELEC CO OP INC AEP (TDSP) | 0079241114100 | -0.0192 | 0 | 0 | 0 | -0.0048 | -1.521e-05%
146 | TAYLOR ELECTRIC CO OP INC ABILENE (TDSP) | 0079344254100 | 0 | 0 | 0 | 0 | 0 | -6.027e-05%
147 | VICTORIA ELECTRIC CO OP INC AEP (TDSP) | 0089538614100 | 0 | 0 | 0 | 0 | 0 | -6.909e-07%
148 | RIO GRANDE ELECTRIC CO OP TXU (TDSP) | 27819534100 | 0 | 0 | 0 | 0 | 0 | -1.602e-07%
151 | TEXAS A&M | 0037722904TAM | 0 | 0 | 0 | 0 | 0 | -5.216e-05%
153 | WESTERN FARMERS ELECTRIC COOPERATIVE (TDSP) | 0728624074000 | 0 | 0 | 0 | 0 | 0 | -1.017e-06%