## 1700 June 19, 1998
REPORT FOR LOAD ENTITY ==> | CPL
LOAD ENTITY IN CONTROL AREA ==> | CSWX
June 19, 1998 Hour Ending 17:00
RECEIVING TRANSACTION INFORMATION
Description | Amount kW | From Control Area | Sending Generation Entity
DYNAMIC (2130) | 52000 | CSWS | WTU
UNPLANNED (4127) | 50000 | HLPTA | HLP
UNPLANNED (4131) | 50000 | AENXA | AEN
UNPLANNED (4691) | 300000 | CSWSA | SWEPCO
STP | 618000 | HLPTA | HLP
Casa Blanca | 7920 | STEC | STEC
George West | 7316 | STEC | STEC
LCRA | 2527 | LCRA | LCRA
Cogeneration | 65000
Subtotal Receiving Transactions (A) | 1152763
SENDING TRANSACTION INFORMATION
Description | Amount kW | To Control Area | Receiving Load Entity
Midfield | 2054 | STEC | STEC
Fannin | 4217 | STEC | STEC
STEC PAYBACK | 8000 | STEC | STEC
DYNAMIC (4686) | 27000 | CSWX | WTU
IBWC SCH PUB | 1000 | PUB | PUB
IBWC SCH STEC | 20000 | STEC | STEC
SHORT-TERM POWER #1 (PB) | 43000 | TUEC | TUEC
SHORT-TERM POWER #2 (PB) | 25000 | TUEC | TUEC
LCRA | 2070 | LCRA | LCRA
Subtotal Sending Transactions (B) | 132341
GENERATION INFORMATION
Generation kW | 3171000
Less Gen Unit Main XFMR Losses kW | 6972.9 | <== Provide Calculations to ISO with Submission
Inadvertent kW | 14000
Subtotal Net Generation (C) | 3150027.1
TOTAL LOAD CALCULATION
Subtotal Receiving Transactions (A) | 1152763
Subtotal Sending Transactions (B) | 132341
Subtotal Net Generation (C) | 3150027.1
Total Load Responsibility (A-B+C) | 4170449.1
LOAD (A+B-C+D+E) | 4168
PLANNED (A) | 3651
WTU>CPL DYNAMIC (B) | 52
PURCHASES (E) | 465
2.4491

## 1700 July 31, 1998
REPORT FOR LOAD ENTITY ==> | CPL
LOAD ENTITY IN CONTROL AREA ==> | CSWX
July 31, 1998 Hour Ending 17:00
RECEIVING TRANSACTION INFORMATION
Description | Amount kW | From Control Area | Sending Generation Entity
N. Edinburg gen | 9000
Casa Blanca | 8168 | STEC | STEC
George West | 7126 | STEC | STEC
STP | 628000 | HLP | HLP
Unplanned (7487) | 25000 | HLP | HLP
DYNAMIC (3537) | 171000 | CSWSA | WTU
DYNAMIC (3541) | 52000 | CSWSA | WTU
LCRA | 2691 | LCRA | LCRA
PB PURCHASE COR & STEC | 4000 | STEC | STEC
UNPLANNED | 37000 | CSWSA | CSWSPP
UNPLANNED | 50000 | CPSB | CPSB
Cogeneration | 52000
Subtotal Receiving Transactions (A) | 1045985
SENDING TRANSACTION INFORMATION
Description | Amount kW | To Control Area | Receiving Load Entity
Midfield | 2028 | STEC | STEC
Fannin | 4407 | STEC | STEC
IBWC | 1 | CSWSA | PUB
STEC | 17000 | CSWSA | STEC
STEC | 8000 | CSWSA | STEC
LCRA | 2233 | LCRA | LCRA
COR | 4000 | CSWSA | COR
Unplanned CPL-SWEPCO | 52000 | CSWSA | CSWSPP
Subtotal Sending Transactions (B) | 89669
GENERATION INFORMATION
Generation kW | 3338000
Less Gen Unit Main XFMR Losses kW | 7825.9 | <== Provide Calculations to ISO with Submission
Inadvertent kW | 8000
Subtotal Net Generation (C) | 3322174.1
TOTAL LOAD CALCULATION
Subtotal Receiving Transactions (A) | 1045985
Subtotal Sending Transactions (B) | 89669
Subtotal Net Generation (C) | 3322174.1
Total Load Responsibility (A-B+C) | 4278490.1
LOAD (A+B-C+D+E) | 4279
PLANNED (A) | 3920
WTU>CPL DYNAMIC (B) | 223
PURCHASES (E) | 136
-0.5099

## 1600 August 03, 1998
REPORT FOR LOAD ENTITY ==> | CPL
LOAD ENTITY IN CONTROL AREA ==> | CSWX
August 03, 1998 Hour Ending 16:00
RECEIVING TRANSACTION INFORMATION
Description | Amount kW | From Control Area | Sending Generation Entity
DYNAMIC (3542) | 52000 | CSWX | WTU
N. Edinburg gen | 11000
UNPLANNED (2768) | 25000 | HLP | HLP
STEC COR | 4000 | STEC | STEC
STP | 622000 | HLP | HLP
Casa Blanca | 8696 | STEC | STEC
George West | 7978 | STEC | STEC
LCRA | 2352 | LCRA | LCRA
Cogeneration | 67000
Subtotal Receiving Transactions (A) | 800026
SENDING TRANSACTION INFORMATION
Description | Amount kW | To Control Area | Receiving Load Entity
DYNAMIC (3650) | 33000 | CSWX | WTU
EMERG PUB (4710) | 10000 | PUB | PUB
IBWC | 1000 | PUB | PUB
STEC | 16000 | STEC | STEC
STEC PB | 8000 | STEC | STEC
COR | 4000 | CSWSA | COR
Midfield | 1409 | STEC | STEC
Fannin | 4402 | STEC | STEC
LCRA | 2173 | LCRA | LCRA
Subtotal Sending Transactions (B) | 79984
GENERATION INFORMATION
Generation kW | 3348000
Less Gen Unit Main XFMR Losses kW | 7961.3 | <== Provide Calculations to ISO with Submission
Inadvertent kW | -4000
Subtotal Net Generation (C) | 3344038.7
TOTAL LOAD CALCULATION
Subtotal Receiving Transactions (A) | 800026
Subtotal Sending Transactions (B) | 79984
Subtotal Net Generation (C) | 3344038.7
Total Load Responsibility (A-B+C) | 4064080.7
LOAD (A+B-C+D+E) | 4063
PLANNED (A) | 3837
WTU>CPL DYNAMIC (B) | 52
PURCHASES (E) | 174
1.0807

## 1700 September 04, 1998
REPORT FOR LOAD ENTITY ==> | CPL
LOAD ENTITY IN CONTROL AREA ==> | CSWX
September 04, 1998 Hour Ending 17:00
RECEIVING TRANSACTION INFORMATION
Description | Amount kW | From Control Area | Sending Generation Entity
N. Edinburg gen | 10000
Casa Blanca | 7816 | STEC | STEC
George West | 6878 | STEC | STEC
STP | 622000 | HLP | HLP
DYNAMIC (9690) | 52000 | CSWSA | WTU
STEC COR | 4000 | STEC | STEC
UNPLANNED (8383) | 25000 | HLP | HLP
LCRA | 2905 | LCRA | LCRA
UNPLANNED (9912) | 100000 | CSWSA | DCE
Cogeneration | 51000
Subtotal Receiving Transactions (A) | 881599
SENDING TRANSACTION INFORMATION
Description | Amount kW | To Control Area | Receiving Load Entity
MIDFIELD | 1320 | STEC | STEC
FANNIN | 4277 | STEC | STEC
EDC CSW DISPATCH | 200000 | CSWSA | SWEPCO
EMERG SALE (0277) | 124000 | HLP | HLP
EMERG SALE (0278) | 10000 | HLP | HLP
EMERG SALE (0253) | 30000 | TNP | TNP
IBWC (9926) | 2000 | PUB | PUB
IBWC | 3000 | STEC | STEC
STEC PB | 8000 | STEC | STEC
LCRA | 1915 | LCRA | LCRA
COR | 4000 | CSWSA | COR
DYNAMIC (9021) | 116000 | CSWSA | WTU
Subtotal Sending Transactions (B) | 504512
GENERATION INFORMATION
Generation kW | 3543000
Less Gen Unit Main XFMR Losses kW | 8362.5 | <== Provide Calculations to ISO with Submission
Inadvertent kW | 4000
Subtotal Net Generation (C) | 3530637.5
TOTAL LOAD CALCULATION
Subtotal Receiving Transactions (A) | 881599
Subtotal Sending Transactions (B) | 504512
Subtotal Net Generation (C) | 3530637.5
Total Load Responsibility (A-B+C) | 3907724.5
LOAD (A+B-C+D+E) | 3911
PLANNED (A) | 3673
WTU>CPL DYNAMIC (B) | 52
PURCHASES (E) | 186
-3.2755