## 2002FOUR CP CALCULATION
2002 Four Coincident Peak Load Calculation
Data to be filed with PUCT (September 15, 2003)
TDSP CODE | Load Entity Name | DUNS Number | June Load at ERCOT Coincident Peak MW | July Load at ERCOT Coincident Peak MW | August Load at ERCOT Coincident Peak MW | September Load at ERCOT Coincident Peak MW | Average 4CP Load MW | Load Ratio Share
1 | RELIANT ENERGY HL AND P (TDSP) | 957877905 | 12142.2972 | 13063.3768 | 12999.9632 | 11147.346 | 12338.2458 | 23.05%
2 | TXU ELECTRIC CO (TDSP) | 1039940674000 | 21046.0584 | 22563.1948 | 22692.1656 | 21747.8784 | 22012.3243 | 41.13%
4 | TEXAS-NEW MEXICO POWER CO (TDSP) | 007929441 | 1154.206 | 1227.2516 | 1289.562 | 1148.2164 | 1204.809 | 2.251%
5 | CPL ENERGY DELIVERY COMPANY (CPL-EDC) (TDSP) | 007924772 | 4015.3448 | 4000.2068 | 4346.7988 | 3854.5164 | 4054.2167 | 7.575%
7 | WTU ENERGY DELIVERY COMPANY (WTU-EDC) (TDSP) | 007923311 | 926.0712 | 961.4424 | 1084.6768 | 937.1608 | 977.3378 | 1.826%
18 | BANDERA ELECTRIC CO OP INC (TDSP) | 0089451494000 | 93.5832 | 93.6032 | 100.9908 | 82.226 | 92.6008 | 0.173%
19 | BARTLETT ELECTRIC CO OP INC | 002781813 | 30.6192 | 31.8896 | 34.7048 | 29.3248 | 31.6346 | 0.05911%
20 | BELFALLS ELECTRIC CO OP INC (TDSP) | 004998399 | 15.512 | 15.6052 | 17.41 | 15.5592 | 16.0216 | 0.02994%
21 | BIG COUNTRY ELECTRIC CO OP INC (TDSP) | 0058630484000 | 19.8112 | 21.6116 | 23.2256 | 20.7672 | 21.3539 | 0.0399%
22 | BLUEBONNET ELECTRIC CO OP INC (TDSP) | 0524834354000 | 288.9104 | 296.4876 | 311.358 | 273.232 | 292.497 | 0.5465%
23 | BRAZOS ELECTRIC POWER CO OP INC(TDSP) | 0037722904000 | 1.5584 | 0.3508 | 0.1672 | 0.2488 | 0.5813 | 0.001086%
24 | CAP-ROCK ELECTRIC CO OP INC (MCCULLOCH DIVISION) ( | 0079370974000 | 16.9268 | 17.952 | 19.9652 | 16.4524 | 17.8241 | 0.0333%
25 | CENTRAL TEXAS ELECTRIC CO OP INC (TDSP) | 0079302744000 | 81.8392 | 85.6912 | 93.798 | 72.2896 | 83.4045 | 0.1558%
26 | CITY OF BASTROP (TDSP) | 0851553724000 | 11.8112 | 11.8944 | 13.4988 | 11.8684 | 12.2682 | 0.02292%
27 | CITY OF BELLVILLE (TDSP) | 0935648704000 | 11.604 | 12.9372 | 12.8792 | 11.4544 | 12.2187 | 0.02283%
28 | CITY OF BOERNE (TDSP) | 0052470694000 | 20.284 | 20.818 | 23.63 | 19.838 | 21.1425 | 0.0395%
29 | CITY OF BRENHAM (TDSP) | 0741649224000 | 57.2016 | 60.678 | 61.0972 | 57.0836 | 59.0151 | 0.1103%
30 | CITY OF BRIDGEPORT MUN ELEC SYS (TDSP) | 0842801714000 | 10.1576 | 11.304 | 11.3464 | 9.9532 | 10.6903 | 0.01997%
31 | CITY OF BURNET (TDSP) | 0746121514000 | 13.856 | 14.7696 | 16.3876 | 13.65 | 14.6658 | 0.0274%
32 | CITY OF CUERO (TDSP) | 0526842144000 | 23.4076 | 23.9996 | 25.5704 | 23.0464 | 24.006 | 0.04485%
33 | CITY OF FLATONIA (TDSP) | 0626890134000 | 4.3684 | 4.722 | 5.1272 | 4.4988 | 4.6791 | 0.008743%
34 | CITY OF FREDERICKSBURG (TDSP) | 0769243074000 | 26.6652 | 28.1516 | 31.1256 | 24.1828 | 27.5313 | 0.05144%
35 | CITY OF GEORGETOWN (TDSP) | 0895923724000 | 76.6744 | 80.3016 | 89.5512 | 75.4472 | 80.4936 | 0.1504%
36 | CITY OF GIDDINGS (TDSP) | 0096899514000 | 11.8156 | 12.5208 | 13.5572 | 12.0416 | 12.4838 | 0.02333%
37 | CITY OF GOLDTHWAITE (TDSP) | 1558252764000 | 4.2968 | 4.7828 | 5.6124 | 4.53 | 4.8055 | 0.008979%
38 | CITY OF GONZALES (TDSP) | 0937385404000 | 15.58 | 16.1016 | 17.7556 | 16.0348 | 16.368 | 0.03058%
39 | CITY OF HALLETTSVILLE (TDSP) | 0090811834000 | 7.6592 | 8.418 | 8.7328 | 7.37 | 8.045 | 0.01503%
40 | CITY OF HEMPSTEAD (TDSP) | 1272175604000 | 11.444 | 12.238 | 12.2836 | 9.4968 | 11.3656 | 0.02124%
41 | CITY OF LA GRANGE (TDSP) | 0607085184000 | 14.308 | 14.9336 | 15.8616 | 13.6076 | 14.6777 | 0.02742%
42 | CITY OF LAMPASAS (TDSP) | 0203311204000 | 19.6664 | 20.6576 | 22.704 | 19.51 | 20.6345 | 0.03855%
43 | CITY OF LEXINGTON (TDSP) | 0081817324000 | 2.5 | 2.7084 | 2.9428 | 2.714 | 2.7163 | 0.005075%
44 | CITY OF LLANO (TDSP) | 0916952054000 | 9.2196 | 9.6052 | 11.4776 | 9.3972 | 9.9249 | 0.01854%
45 | CITY OF LOCKHART (TDSP) | 0746168634000 | 21.1508 | 21.6604 | 24.5356 | 21.0708 | 22.1044 | 0.0413%
46 | CITY OF LULING (TDSP) | 0105539984000 | 10.2892 | 10.3904 | 11.606 | 10.326 | 10.6529 | 0.0199%
47 | CITY OF MASON (TDSP) | 1561267084000 | 4.3432 | 4.7708 | 5.554 | 4.3136 | 4.7454 | 0.008867%
48 | CITY OF MOULTON (TDSP) | 0091871544000 | 2.0228 | 2.0704 | 2.3692 | 2.2108 | 2.1683 | 0.004051%
49 | CITY OF SAN MARCOS (TDSP) | 0694628694000 | 94.268 | 90.5872 | 98.9248 | 89.038 | 93.2045 | 0.1741%
50 | CITY OF SAN SABA (TDSP) | 0248592254000 | 7.918 | 8.1644 | 9.158 | 7.6832 | 8.2309 | 0.01538%
51 | CITY OF SANGER | 058956020 | 10.7696 | 11.712 | 11.632 | 10.0756 | 11.0473 | 0.02064%
52 | CITY OF SCHULENBURG (TDSP) | 0532950364000 | 11.002 | 11.3692 | 11.7288 | 10.3596 | 11.1149 | 0.02077%
53 | CITY OF SEGUIN (TDSP) | 0862819794000 | 53.6128 | 54.214 | 58.0624 | 51.0012 | 54.2226 | 0.1013%
54 | CITY OF SEYMOUR | 166319145 | 6.9664 | 7.9552 | 8.3672 | 7.4592 | 7.687 | 0.01436%
55 | CITY OF SHINER (TDSP) | 1504533714000 | 8.1524 | 8.4568 | 9.214 | 8.8444 | 8.6669 | 0.01619%
56 | CITY OF SMITHVILLE (TDSP) | 0916978134000 | 9.0516 | 9.5412 | 10.4452 | 8.6908 | 9.4322 | 0.01762%
57 | CITY OF WAELDER (TDSP) | 0541779694000 | 2.9428 | 3.1036 | 3.3052 | 3.2368 | 3.1471 | 0.00588%
58 | CITY OF WEIMAR (TDSP) | 0214974584000 | 6.7876 | 7.182 | 7.2448 | 6.6592 | 6.9684 | 0.01302%
59 | CITY OF WHITESBORO | 134546522 | 7.5328 | 7.9168 | 8.4892 | 7.7912 | 7.9325 | 0.01482%
60 | CITY OF YOAKUM (TDSP) | 0694557724000 | 15.1904 | 16.7232 | 16.662 | 15.27 | 15.9614 | 0.02982%
61 | COLEMAN COUNTY ELECTRIC CO OP INC (TDSP) | 0079246734000 | 18.6436 | 19.0864 | 20.6064 | 20.1312 | 19.6169 | 0.03665%
62 | COMANCHE ELECTRIC CO OP ASSOCIATION | 002889210 | 32.2232 | 33.246 | 36.4284 | 31.3508 | 33.3121 | 0.06224%
63 | CONCHO VALLEY ELECTRIC CO OP INC (TDSP) | 0038666624000 | 33.704 | 35.4664 | 37.8512 | 34.182 | 35.3009 | 0.06596%
64 | COOKE COUNTY ELECTRIC CO OP ASSOC INC | 008951808 | 52.4928 | 54.9664 | 58.4548 | 50.4404 | 54.0886 | 0.1011%
66 | DEEP EAST TEXAS ELECTRIC CO OP INC | 047845623 | 11.546 | 13.1284 | 12.4212 | 12.1028 | 12.2996 | 0.02298%
67 | DENTON COUNTY ELEC CO OP DBA COSERVE ELEC | 008947913 | 490.3128 | 571.0748 | 564.682 | 512.2672 | 534.5842 | 0.9988%
69 | FANNIN COUNTY ELECTRIC CO OP INC | 0018220894000 | 19.3368 | 16.4168 | 22.0868 | 21.2616 | 19.7755 | 0.03695%
70 | FARMERS ELECTRIC CO OP INC DBA FEC ELECTRIC | 0098442344000 | 129.4596 | 124.4652 | 149.3364 | 142.21 | 136.3678 | 0.2548%
71 | FAYETTE ELECTRIC CO OP INC (TDSP) | 0593309774000 | 36.1224 | 38.3596 | 39.7032 | 34.0856 | 37.0677 | 0.06926%
72 | FORT BELKNAP ELECTRIC CO OP INC (TDSP) | 007935299 | 17.5688 | 20.0324 | 20.586 | 18.4784 | 19.1664 | 0.03581%
73 | GRANBURY MUNICIPAL UTILITIES (TDSP) | 0952141694000 | 16.958 | 18.976 | 20.8152 | 18.0512 | 18.7001 | 0.03494%
74 | GRAYSON COLLIN ELECTRIC CO OP INC | 008953812 | 102.256 | 104.4256 | 116.1416 | 109.1492 | 107.9931 | 0.2018%
75 | GUADALUPE VALLEY ELECTRIC CO OP INC (TDSP) | 0079305894000 | 221.8744 | 220.9324 | 238.874 | 201.692 | 220.8432 | 0.4126%
76 | HAMILTON COUNTY ELECTRIC CO OP (BRAZOS) | 008949216 | 13.1056 | 14.6372 | 15.7132 | 13.1756 | 14.1579 | 0.02645%
77 | HILCO ELECTRIC CO OP INC (TDSP) | 008950545 | 106.0528 | 108.382 | 109.2896 | 96.7568 | 105.1203 | 0.1964%
78 | HOUSTON COUNTY ELEC COOP (TDSP) | 005777206 | 11.5388 | 13.2224 | 13.2088 | 11.482 | 12.363 | 0.0231%
79 | J A C ELECTRIC CO OP INC | 003890795 | 16.244 | 17.6468 | 17.8116 | 16.728 | 17.1076 | 0.03196%
80 | JASPER NEWTON ELECTRIC CO OP INC | 007933518 | 1.8652 | 2.0476 | 1.9924 | 1.6652 | 1.8926 | 0.003536%
81 | KERRVILLE PUBLIC UTILITY BOARD (TDSP) | 1248248064000 | 96.1316 | 97.2156 | 104.462 | 86.4844 | 96.0734 | 0.1795%
82 | LAMAR COUNTY ELEC COOP DBA LEC (TDSP) | 0048060974000 | 32.2944 | 24.3812 | 35.91 | 34.4164 | 31.7505 | 0.05932%
83 | LIGHTHOUSE ELECTRIC CO OP (TDSP) | 0028252894000 | 1.8636 | 2.5188 | 2.3484 | 1.7724 | 2.1258 | 0.003972%
85 | LYNTEGAR ELECTRIC CO OP INC (TDSP) | 0079371474000 | 17.924 | 29.6876 | 27.7544 | 23.9808 | 24.8367 | 0.04641%
86 | MAGIC VALLEY ELECTRIC CO OP INC (TDSP) | 008951501 | 226.56 | 238.6464 | 259.3848 | 221.0308 | 236.4055 | 0.4417%
87 | MCLENNAN COUNTY ELECTRIC CO OP INC | 007509698 | 47.9376 | 52.848 | 57.0796 | 49.5828 | 51.862 | 0.0969%
88 | MID SOUTH ELECTRIC CO OP ASSOC | 061278594 | 19.3208 | 19.4084 | 20.066 | 18.828 | 19.4058 | 0.03626%
89 | NAVARRO COUNTY ELECTRIC CO OP INC | 006770101 | 54.5036 | 59.3732 | 59.9524 | 59.466 | 58.3238 | 0.109%
90 | NAVASOTA VALLEY ELECTRIC CO OP INC | 046299913 | 58.592 | 64.1612 | 62.7248 | 57.3224 | 60.7001 | 0.1134%
91 | NEW BRAUNFELS UTILITIES (TDSP) | 0383461694000 | 175.774 | 177.0608 | 177.9088 | 163.7232 | 173.6167 | 0.3244%
92 | PEDERNALES ELECTRIC CO OP INC (TDSP) | 0079241114000 | 751.9204 | 785.5308 | 866.6716 | 701.2032 | 776.3315 | 1.451%
94 | SAM HOUSTON ELECTRIC CO OP INC (TDSP) | 056267867 | 4.124 | 4.738 | 4.518 | 3.8372 | 4.3043 | 0.008042%
95 | SAN BERNARD ELECTRIC CO OP (TDSP) | 0089453134000 | 81.596 | 94.7444 | 89.6836 | 79.266 | 86.3225 | 0.1613%
96 | SOUTH PLAINS ELECTRIC CO OP INC (TDSP) | 007934185 | 68.3404 | 71.2552 | 69.8676 | 69.9436 | 69.8517 | 0.1305%
97 | SOUTHWEST TEXAS ELECTRIC CO OP INC (TDSP) | 0084158954000 | 21.8008 | 20.9284 | 22.2276 | 21.3924 | 21.5873 | 0.04033%
98 | TAYLOR ELECTRIC CO OP INC (TDSP) | 0079344254000 | 5.7836 | 5.796 | 5.8904 | 5.648 | 5.7795 | 0.0108%
99 | TRI COUNTY ELECTRIC CO OP INC | 008945123 | 287.0008 | 332.3728 | 333.0712 | 297.2124 | 312.4143 | 0.5837%
100 | TRINITY VALLEY ELEC CO OP | 009844564 | 108.5416 | 120.9644 | 123.5176 | 115.3 | 117.0809 | 0.2188%
102 | UNITED ELECTRIC CO OP SERVICES INC | 008945826 | 281.6676 | 301.7404 | 313.2268 | 283.632 | 295.0667 | 0.5513%
103 | WISE ELECTRIC CO OP | 041405408 | 58.3964 | 68.1432 | 67.454 | 56.8044 | 62.6995 | 0.1172%
104 | BROWNSVILLE PUBLIC UTILITY BOARD (TDSP) | 6063470374000 | 210.888 | 217.8032 | 225.5764 | 200.742 | 213.7524 | 0.3994%
105 | BRYAN TEXAS UTILITIES (TDSP) | 0793907794000 | 211.9276 | 226.334 | 230.4064 | 215.6264 | 221.0736 | 0.4131%
106 | CAP-ROCK ELECTRIC CO OP INC (HUNT COLLIN DIVISION) | 0079370974100 | 20.3932 | 17.45 | 23.7864 | 22.3048 | 20.9836 | 0.03921%
107 | CHEROKEE COUNTY ELEC CO OP ASSOC | 008862625 | 41.7156 | 47.708 | 46.296 | 43.2852 | 44.7512 | 0.08362%
108 | CITY OF AUSTIN DBA AUSTIN ENERGY (TDSP) | 8008717664000 | 2064.3316 | 2123.2876 | 2250.7164 | 1984.9096 | 2105.8113 | 3.935%
110 | CITY OF BOWIE (TDSP) | 8094182964000 | 12.6056 | 14.9768 | 14.1216 | 12.89 | 13.6485 | 0.0255%
111 | CITY OF BRADY (TDSP) | 70804877 | 13.318 | 13.8384 | 14.9712 | 12.4864 | 13.6535 | 0.02551%
113 | CITY OF COLEMAN (TDSP) | 1024920064000 | 9.3764 | 10.5444 | 10.9652 | 9.3264 | 10.0531 | 0.01878%
114 | CITY OF COLLEGE STATION (TDSP) | 0403303004000 | 139.4864 | 149.7512 | 150.584 | 145.6584 | 146.37 | 0.2735%
117 | CITY OF GARLAND (TDSP) | 6011012564000 | 427.012 | 469.1616 | 453.8424 | 446.402 | 449.1045 | 0.8391%
118 | CITY OF GOLDSMITH (TDSP) | 0888946704000 | 0.4048 | 0.39 | 0.4204 | 0.3872 | 0.4006 | 0.0007485%
119 | CITY OF HEARNE MUNICIPAL ELECTRIC SYSTEM (TDSP) | 0897458894000 | 9.8516 | 10.604 | 11.0372 | 9.7892 | 10.3205 | 0.01928%
121 | CITY OF ROBSTOWN UTILITY SYSTEM (TDSP) | 9387911424000 | 10.8772 | 14.2628 | 16.0704 | 13.4408 | 13.6628 | 0.02553%
122 | CITY OF SAN ANTONIO CITY PUBLIC SERVICE (TDSP) | 0079360734000 | 3689.4804 | 3725.848 | 3984.3904 | 3481.3612 | 3720.27 | 6.951%
123 | DENTON MUNICIPAL ELECTRIC (TDSP) | 0003540764000 | 244.824 | 272.1388 | 265.6656 | 238.0916 | 255.18 | 0.4768%
125 | GEUS (TDSP) | 8062449354000 | 92.098 | 84.6408 | 98.798 | 97.6868 | 93.3059 | 0.1743%
126 | JACKSON ELECTRICAL CO OP INC | 078423555 | 31.8112 | 36.6188 | 37.7764 | 28.2936 | 33.625 | 0.06283%
127 | KARNES ELECTRIC CO OP INC | 006824106 | 47.9812 | 44.6472 | 48.8984 | 42.05 | 45.8942 | 0.08575%
128 | MEDINA ELECTRIC CO OP INC (TDSP) STEC | 0081378124000 | 82.944 | 70.9488 | 80.2532 | 69.6084 | 75.9386 | 0.1419%
129 | NUECES ELECTRIC CO OP INC | 008828857 | 40.1008 | 40.49 | 44.8428 | 37.9908 | 40.8561 | 0.07634%
130 | RIO GRANDE ELECTRIC CO OP (TDSP) | 002781953 | 18.108 | 17.5472 | 19.1024 | 17.7028 | 18.1151 | 0.03385%
131 | SAN MIGUEL ELECTRIC CO OP INC (TDSP) | 0884848524000 | 0 | 0 | 0 | 0 | 0 | 0%
132 | SAN PATRICIO ELECTRIC CO OP (TDSP) | 003864907 | 28.2396 | 27.2504 | 29.7724 | 25.176 | 27.6096 | 0.05159%
133 | SHARYLAND UTILITIES LP (TDSP) | 105262336 | 4.5456 | 5.6748 | 6.0644 | 5.6104 | 5.4738 | 0.01023%
134 | SOUTH TEXAS ELECTRIC CO OP INC | 0038663324000 | 0 | 0.1296 | 0.1244 | 0.2828 | 0.1342 | 0.0002507%
136 | VICTORIA ELECTRIC CO OP INC | 008953861 | 61.9492 | 66.9556 | 71.8428 | 54.0528 | 63.7001 | 0.119%
137 | WEATHERFORD MUNICIPAL UTILITY SYSTEM (TDSP) | 0817196274000 | 59.1064 | 66.5904 | 70.0072 | 62.2148 | 64.4797 | 0.1205%
138 | WHARTON COUNTY ELECTRIC CO OP INC | 118487958 | 27.0564 | 27.0464 | 30.088 | 24.0348 | 27.0564 | 0.05055%
139 | RUSK COUNTY ELECTRIC CO OP (TDSP) | 009844440 | 0 | 0 | 0 | 0 | 0 | 0%
141 | CITY OF GARLAND GBCREEK (TDSP) | 6011012564100 | 0 | 0 | 0 | 0 | 0 | 0%
142 | HAMILTON COUNTY ELECTRIC CO OP (LCRA) | 0089492164100 | 22.2604 | 23.5884 | 26.228 | 22.3492 | 23.6065 | 0.04411%
144 | NUECES ELECTRIC CO OP INC AEP (TDSP) | 0088288574100 | 0.3756 | 0.396 | 0.2852 | 0.3056 | 0.3406 | 0.0006364%
145 | PEDERNALES ELEC CO OP INC AEP (TDSP) | 0079241114100 | 3.4556 | 3.4824 | 3.7488 | 3.2088 | 3.4739 | 0.006491%
146 | TAYLOR ELECTRIC CO OP INC ABILENE (TDSP) | 0079344254100 | 32.0784 | 33.2672 | 36.7924 | 32.2732 | 33.6028 | 0.06278%
147 | VICTORIA ELECTRIC CO OP INC AEP (TDSP) | 0089538614100 | 0.3828 | 0.3676 | 0.4268 | 0.3636 | 0.3852 | 0.0007197%
148 | RIO GRANDE ELECTRIC CO OP TXU (TDSP) | 27819534100 | 0 | 0.2144 | 0.1428 | 0 | 0.0893 | 0.0001669%
151 | TEXAS A&M | 0037722904TAM | 27.5772 | 29.5864 | 28.2024 | 30.9604 | 29.0816 | 0.05434%
153 | WESTERN FARMERS ELECTRIC COOPERATIVE (TDSP) | 0728624074000 | 0.5072 | 0.5796 | 0.6264 | 0.5544 | 0.5669 | 0.001059%
| Total* |  | 51875.706 | 54918.1712 | 56245.8212 | 51042.45 | 53520.5371 | 100%
*Note: Total does not include DC Tie Exports

## June
Peak Interval Demand 06/12/2002 17:00 based on "TRUE-UP" settlement run on 7/20/2003 at 00:27
TDSP Code | Load Entity Name | DUNS | 2002 Load Responsibility MW | 2002 Load Responsibility MWh
1 | RELIANT ENERGY HL AND P (TDSP) | 957877905 | 12142.2972 | 3035.5743
2 | TXU ELECTRIC CO (TDSP) | 1039940674000 | 21046.0584 | 5261.5146
4 | TEXAS-NEW MEXICO POWER CO (TDSP) | 007929441 | 1154.206 | 288.5515
5 | CPL ENERGY DELIVERY COMPANY (CPL-EDC) (TDSP) | 007924772 | 4015.3448 | 1003.8362
7 | WTU ENERGY DELIVERY COMPANY (WTU-EDC) (TDSP) | 007923311 | 926.0712 | 231.5178
18 | BANDERA ELECTRIC CO OP INC (TDSP) | 0089451494000 | 93.5832 | 23.3958
19 | BARTLETT ELECTRIC CO OP INC | 002781813 | 30.6192 | 7.6548
20 | BELFALLS ELECTRIC CO OP INC (TDSP) | 004998399 | 15.512 | 3.878
21 | BIG COUNTRY ELECTRIC CO OP INC (TDSP) | 0058630484000 | 19.8112 | 4.9528
22 | BLUEBONNET ELECTRIC CO OP INC (TDSP) | 0524834354000 | 288.9104 | 72.2276
23 | BRAZOS ELECTRIC POWER CO OP INC(TDSP) | 0037722904000 | 1.5584 | 0.3896
24 | CAP-ROCK ELECTRIC CO OP INC (MCCULLOCH DIVISION) ( | 0079370974000 | 16.9268 | 4.2317
25 | CENTRAL TEXAS ELECTRIC CO OP INC (TDSP) | 0079302744000 | 81.8392 | 20.4598
26 | CITY OF BASTROP (TDSP) | 0851553724000 | 11.8112 | 2.9528
27 | CITY OF BELLVILLE (TDSP) | 0935648704000 | 11.604 | 2.901
28 | CITY OF BOERNE (TDSP) | 0052470694000 | 20.284 | 5.071
29 | CITY OF BRENHAM (TDSP) | 0741649224000 | 57.2016 | 14.3004
30 | CITY OF BRIDGEPORT MUN ELEC SYS (TDSP) | 0842801714000 | 10.1576 | 2.5394
31 | CITY OF BURNET (TDSP) | 0746121514000 | 13.856 | 3.464
32 | CITY OF CUERO (TDSP) | 0526842144000 | 23.4076 | 5.8519
33 | CITY OF FLATONIA (TDSP) | 0626890134000 | 4.3684 | 1.0921
34 | CITY OF FREDERICKSBURG (TDSP) | 0769243074000 | 26.6652 | 6.6663
35 | CITY OF GEORGETOWN (TDSP) | 0895923724000 | 76.6744 | 19.1686
36 | CITY OF GIDDINGS (TDSP) | 0096899514000 | 11.8156 | 2.9539
37 | CITY OF GOLDTHWAITE (TDSP) | 1558252764000 | 4.2968 | 1.0742
38 | CITY OF GONZALES (TDSP) | 0937385404000 | 15.58 | 3.895
39 | CITY OF HALLETTSVILLE (TDSP) | 0090811834000 | 7.6592 | 1.9148
40 | CITY OF HEMPSTEAD (TDSP) | 1272175604000 | 11.444 | 2.861
41 | CITY OF LA GRANGE (TDSP) | 0607085184000 | 14.308 | 3.577
42 | CITY OF LAMPASAS (TDSP) | 0203311204000 | 19.6664 | 4.9166
43 | CITY OF LEXINGTON (TDSP) | 0081817324000 | 2.5 | 0.625
44 | CITY OF LLANO (TDSP) | 0916952054000 | 9.2196 | 2.3049
45 | CITY OF LOCKHART (TDSP) | 0746168634000 | 21.1508 | 5.2877
46 | CITY OF LULING (TDSP) | 0105539984000 | 10.2892 | 2.5723
47 | CITY OF MASON (TDSP) | 1561267084000 | 4.3432 | 1.0858
48 | CITY OF MOULTON (TDSP) | 0091871544000 | 2.0228 | 0.5057
49 | CITY OF SAN MARCOS (TDSP) | 0694628694000 | 94.268 | 23.567
50 | CITY OF SAN SABA (TDSP) | 0248592254000 | 7.918 | 1.9795
51 | CITY OF SANGER | 058956020 | 10.7696 | 2.6924
52 | CITY OF SCHULENBURG (TDSP) | 0532950364000 | 11.002 | 2.7505
53 | CITY OF SEGUIN (TDSP) | 0862819794000 | 53.6128 | 13.4032
54 | CITY OF SEYMOUR | 166319145 | 6.9664 | 1.7416
55 | CITY OF SHINER (TDSP) | 1504533714000 | 8.1524 | 2.0381
56 | CITY OF SMITHVILLE (TDSP) | 0916978134000 | 9.0516 | 2.2629
57 | CITY OF WAELDER (TDSP) | 0541779694000 | 2.9428 | 0.7357
58 | CITY OF WEIMAR (TDSP) | 0214974584000 | 6.7876 | 1.6969
59 | CITY OF WHITESBORO | 134546522 | 7.5328 | 1.8832
60 | CITY OF YOAKUM (TDSP) | 0694557724000 | 15.1904 | 3.7976
61 | COLEMAN COUNTY ELECTRIC CO OP INC (TDSP) | 0079246734000 | 18.6436 | 4.6609
62 | COMANCHE ELECTRIC CO OP ASSOCIATION | 002889210 | 32.2232 | 8.0558
63 | CONCHO VALLEY ELECTRIC CO OP INC (TDSP) | 0038666624000 | 33.704 | 8.426
64 | COOKE COUNTY ELECTRIC CO OP ASSOC INC | 008951808 | 52.4928 | 13.1232
66 | DEEP EAST TEXAS ELECTRIC CO OP INC | 047845623 | 11.546 | 2.8865
67 | DENTON COUNTY ELEC CO OP DBA COSERVE ELEC | 008947913 | 490.3128 | 122.5782
69 | FANNIN COUNTY ELECTRIC CO OP INC | 0018220894000 | 19.3368 | 4.8342
70 | FARMERS ELECTRIC CO OP INC DBA FEC ELECTRIC | 0098442344000 | 129.4596 | 32.3649
71 | FAYETTE ELECTRIC CO OP INC (TDSP) | 0593309774000 | 36.1224 | 9.0306
72 | FORT BELKNAP ELECTRIC CO OP INC (TDSP) | 007935299 | 17.5688 | 4.3922
73 | GRANBURY MUNICIPAL UTILITIES (TDSP) | 0952141694000 | 16.958 | 4.2395
74 | GRAYSON COLLIN ELECTRIC CO OP INC | 008953812 | 102.256 | 25.564
75 | GUADALUPE VALLEY ELECTRIC CO OP INC (TDSP) | 0079305894000 | 221.8744 | 55.4686
76 | HAMILTON COUNTY ELECTRIC CO OP (BRAZOS) | 008949216 | 13.1056 | 3.2764
77 | HILCO ELECTRIC CO OP INC (TDSP) | 008950545 | 106.0528 | 26.5132
78 | HOUSTON COUNTY ELEC COOP (TDSP) | 005777206 | 11.5388 | 2.8847
79 | J A C ELECTRIC CO OP INC | 003890795 | 16.244 | 4.061
80 | JASPER NEWTON ELECTRIC CO OP INC | 007933518 | 1.8652 | 0.4663
81 | KERRVILLE PUBLIC UTILITY BOARD (TDSP) | 1248248064000 | 96.1316 | 24.0329
82 | LAMAR COUNTY ELEC COOP DBA LEC (TDSP) | 0048060974000 | 32.2944 | 8.0736
83 | LIGHTHOUSE ELECTRIC CO OP (TDSP) | 0028252894000 | 1.8636 | 0.4659
85 | LYNTEGAR ELECTRIC CO OP INC (TDSP) | 0079371474000 | 17.924 | 4.481
86 | MAGIC VALLEY ELECTRIC CO OP INC (TDSP) | 008951501 | 226.56 | 56.64
87 | MCLENNAN COUNTY ELECTRIC CO OP INC | 007509698 | 47.9376 | 11.9844
88 | MID SOUTH ELECTRIC CO OP ASSOC | 061278594 | 19.3208 | 4.8302
89 | NAVARRO COUNTY ELECTRIC CO OP INC | 006770101 | 54.5036 | 13.6259
90 | NAVASOTA VALLEY ELECTRIC CO OP INC | 046299913 | 58.592 | 14.648
91 | NEW BRAUNFELS UTILITIES (TDSP) | 0383461694000 | 175.774 | 43.9435
92 | PEDERNALES ELECTRIC CO OP INC (TDSP) | 0079241114000 | 751.9204 | 187.9801
94 | SAM HOUSTON ELECTRIC CO OP INC (TDSP) | 056267867 | 4.124 | 1.031
95 | SAN BERNARD ELECTRIC CO OP (TDSP) | 0089453134000 | 81.596 | 20.399
96 | SOUTH PLAINS ELECTRIC CO OP INC (TDSP) | 007934185 | 68.3404 | 17.0851
97 | SOUTHWEST TEXAS ELECTRIC CO OP INC (TDSP) | 0084158954000 | 21.8008 | 5.4502
98 | TAYLOR ELECTRIC CO OP INC (TDSP) | 0079344254000 | 5.7836 | 1.4459
99 | TRI COUNTY ELECTRIC CO OP INC | 008945123 | 287.0008 | 71.7502
100 | TRINITY VALLEY ELEC CO OP | 009844564 | 108.5416 | 27.1354
102 | UNITED ELECTRIC CO OP SERVICES INC | 008945826 | 281.6676 | 70.4169
103 | WISE ELECTRIC CO OP | 041405408 | 58.3964 | 14.5991
104 | BROWNSVILLE PUBLIC UTILITY BOARD (TDSP) | 6063470374000 | 210.888 | 52.722
105 | BRYAN TEXAS UTILITIES (TDSP) | 0793907794000 | 211.9276 | 52.9819
106 | CAP-ROCK ELECTRIC CO OP INC (HUNT COLLIN DIVISION) | 0079370974100 | 20.3932 | 5.0983
107 | CHEROKEE COUNTY ELEC CO OP ASSOC | 008862625 | 41.7156 | 10.4289
108 | CITY OF AUSTIN DBA AUSTIN ENERGY (TDSP) | 8008717664000 | 2064.3316 | 516.0829
110 | CITY OF BOWIE (TDSP) | 8094182964000 | 12.6056 | 3.1514
111 | CITY OF BRADY (TDSP) | 70804877 | 13.318 | 3.3295
113 | CITY OF COLEMAN (TDSP) | 1024920064000 | 9.3764 | 2.3441
114 | CITY OF COLLEGE STATION (TDSP) | 0403303004000 | 139.4864 | 34.8716
117 | CITY OF GARLAND (TDSP) | 6011012564000 | 427.012 | 106.753
118 | CITY OF GOLDSMITH (TDSP) | 0888946704000 | 0.4048 | 0.1012
119 | CITY OF HEARNE MUNICIPAL ELECTRIC SYSTEM (TDSP) | 0897458894000 | 9.8516 | 2.4629
121 | CITY OF ROBSTOWN UTILITY SYSTEM (TDSP) | 9387911424000 | 10.8772 | 2.7193
122 | CITY OF SAN ANTONIO CITY PUBLIC SERVICE (TDSP) | 0079360734000 | 3689.4804 | 922.3701
123 | DENTON MUNICIPAL ELECTRIC (TDSP) | 0003540764000 | 244.824 | 61.206
125 | GEUS (TDSP) | 8062449354000 | 92.098 | 23.0245
126 | JACKSON ELECTRICAL CO OP INC | 078423555 | 31.8112 | 7.9528
127 | KARNES ELECTRIC CO OP INC | 006824106 | 47.9812 | 11.9953
128 | MEDINA ELECTRIC CO OP INC (TDSP) STEC | 0081378124000 | 82.944 | 20.736
129 | NUECES ELECTRIC CO OP INC | 008828857 | 40.1008 | 10.0252
130 | RIO GRANDE ELECTRIC CO OP (TDSP) | 002781953 | 18.108 | 4.527
131 | SAN MIGUEL ELECTRIC CO OP INC (TDSP) | 0884848524000 | 0 | 0
132 | SAN PATRICIO ELECTRIC CO OP (TDSP) | 003864907 | 28.2396 | 7.0599
133 | SHARYLAND UTILITIES LP (TDSP) | 105262336 | 4.5456 | 1.1364
134 | SOUTH TEXAS ELECTRIC CO OP INC | 0038663324000 | 0 | 0
136 | VICTORIA ELECTRIC CO OP INC | 008953861 | 61.9492 | 15.4873
137 | WEATHERFORD MUNICIPAL UTILITY SYSTEM (TDSP) | 0817196274000 | 59.1064 | 14.7766
138 | WHARTON COUNTY ELECTRIC CO OP INC | 118487958 | 27.0564 | 6.7641
139 | RUSK COUNTY ELECTRIC CO OP (TDSP) | 009844440 | 0 | 0
141 | CITY OF GARLAND GBCREEK (TDSP) | 6011012564100 | 0 | 0
142 | HAMILTON COUNTY ELECTRIC CO OP (LCRA) | 0089492164100 | 22.2604 | 5.5651
144 | NUECES ELECTRIC CO OP INC AEP (TDSP) | 0088288574100 | 0.3756 | 0.0939
145 | PEDERNALES ELEC CO OP INC AEP (TDSP) | 0079241114100 | 3.4556 | 0.8639
146 | TAYLOR ELECTRIC CO OP INC ABILENE (TDSP) | 0079344254100 | 32.0784 | 8.0196
147 | VICTORIA ELECTRIC CO OP INC AEP (TDSP) | 0089538614100 | 0.3828 | 0.0957
148 | RIO GRANDE ELECTRIC CO OP TXU (TDSP) | 27819534100 | 0 | 0
151 | TEXAS A&M | 0037722904TAM | 27.5772 | 6.8943
153 | WESTERN FARMERS ELECTRIC COOPERATIVE (TDSP) | 0728624074000 | 0.5072 | 0.1268
Total |  |  | 51875.706 | 12968.9265

## July
Peak Interval Demand 07/24/2002 16:30 based on "TRUE-UP" settlement run on 8/2/03 at 23:41
TDSP Code | Name | DUNS | 2002 Load Responsibility MW | 2002 Load Responsibility MWh
1 | RELIANT ENERGY HL AND P (TDSP) | 957877905 | 13063.3768 | 3265.8442
2 | TXU ELECTRIC CO (TDSP) | 1039940674000 | 22563.1948 | 5640.7987
4 | TEXAS-NEW MEXICO POWER CO (TDSP) | 007929441 | 1227.2516 | 306.8129
5 | CPL ENERGY DELIVERY COMPANY (CPL-EDC) (TDSP) | 007924772 | 4000.2068 | 1000.0517
7 | WTU ENERGY DELIVERY COMPANY (WTU-EDC) (TDSP) | 007923311 | 961.4424 | 240.3606
18 | BANDERA ELECTRIC CO OP INC (TDSP) | 0089451494000 | 93.6032 | 23.4008
19 | BARTLETT ELECTRIC CO OP INC | 002781813 | 31.8896 | 7.9724
20 | BELFALLS ELECTRIC CO OP INC (TDSP) | 004998399 | 15.6052 | 3.9013
21 | BIG COUNTRY ELECTRIC CO OP INC (TDSP) | 0058630484000 | 21.6116 | 5.4029
22 | BLUEBONNET ELECTRIC CO OP INC (TDSP) | 0524834354000 | 296.4876 | 74.1219
23 | BRAZOS ELECTRIC POWER CO OP INC(TDSP) | 0037722904000 | 0.3508 | 0.0877
24 | CAP-ROCK ELECTRIC CO OP INC (MCCULLOCH DIVISION) ( | 0079370974000 | 17.952 | 4.488
25 | CENTRAL TEXAS ELECTRIC CO OP INC (TDSP) | 0079302744000 | 85.6912 | 21.4228
26 | CITY OF BASTROP (TDSP) | 0851553724000 | 11.8944 | 2.9736
27 | CITY OF BELLVILLE (TDSP) | 0935648704000 | 12.9372 | 3.2343
28 | CITY OF BOERNE (TDSP) | 0052470694000 | 20.818 | 5.2045
29 | CITY OF BRENHAM (TDSP) | 0741649224000 | 60.678 | 15.1695
30 | CITY OF BRIDGEPORT MUN ELEC SYS (TDSP) | 0842801714000 | 11.304 | 2.826
31 | CITY OF BURNET (TDSP) | 0746121514000 | 14.7696 | 3.6924
32 | CITY OF CUERO (TDSP) | 0526842144000 | 23.9996 | 5.9999
33 | CITY OF FLATONIA (TDSP) | 0626890134000 | 4.722 | 1.1805
34 | CITY OF FREDERICKSBURG (TDSP) | 0769243074000 | 28.1516 | 7.0379
35 | CITY OF GEORGETOWN (TDSP) | 0895923724000 | 80.3016 | 20.0754
36 | CITY OF GIDDINGS (TDSP) | 0096899514000 | 12.5208 | 3.1302
37 | CITY OF GOLDTHWAITE (TDSP) | 1558252764000 | 4.7828 | 1.1957
38 | CITY OF GONZALES (TDSP) | 0937385404000 | 16.1016 | 4.0254
39 | CITY OF HALLETTSVILLE (TDSP) | 0090811834000 | 8.418 | 2.1045
40 | CITY OF HEMPSTEAD (TDSP) | 1272175604000 | 12.238 | 3.0595
41 | CITY OF LA GRANGE (TDSP) | 0607085184000 | 14.9336 | 3.7334
42 | CITY OF LAMPASAS (TDSP) | 0203311204000 | 20.6576 | 5.1644
43 | CITY OF LEXINGTON (TDSP) | 0081817324000 | 2.7084 | 0.6771
44 | CITY OF LLANO (TDSP) | 0916952054000 | 9.6052 | 2.4013
45 | CITY OF LOCKHART (TDSP) | 0746168634000 | 21.6604 | 5.4151
46 | CITY OF LULING (TDSP) | 0105539984000 | 10.3904 | 2.5976
47 | CITY OF MASON (TDSP) | 1561267084000 | 4.7708 | 1.1927
48 | CITY OF MOULTON (TDSP) | 0091871544000 | 2.0704 | 0.5176
49 | CITY OF SAN MARCOS (TDSP) | 0694628694000 | 90.5872 | 22.6468
50 | CITY OF SAN SABA (TDSP) | 0248592254000 | 8.1644 | 2.0411
51 | CITY OF SANGER | 058956020 | 11.712 | 2.928
52 | CITY OF SCHULENBURG (TDSP) | 0532950364000 | 11.3692 | 2.8423
53 | CITY OF SEGUIN (TDSP) | 0862819794000 | 54.214 | 13.5535
54 | CITY OF SEYMOUR | 166319145 | 7.9552 | 1.9888
55 | CITY OF SHINER (TDSP) | 1504533714000 | 8.4568 | 2.1142
56 | CITY OF SMITHVILLE (TDSP) | 0916978134000 | 9.5412 | 2.3853
57 | CITY OF WAELDER (TDSP) | 0541779694000 | 3.1036 | 0.7759
58 | CITY OF WEIMAR (TDSP) | 0214974584000 | 7.182 | 1.7955
59 | CITY OF WHITESBORO | 134546522 | 7.9168 | 1.9792
60 | CITY OF YOAKUM (TDSP) | 0694557724000 | 16.7232 | 4.1808
61 | COLEMAN COUNTY ELECTRIC CO OP INC (TDSP) | 0079246734000 | 19.0864 | 4.7716
62 | COMANCHE ELECTRIC CO OP ASSOCIATION | 002889210 | 33.246 | 8.3115
63 | CONCHO VALLEY ELECTRIC CO OP INC (TDSP) | 0038666624000 | 35.4664 | 8.8666
64 | COOKE COUNTY ELECTRIC CO OP ASSOC INC | 008951808 | 54.9664 | 13.7416
66 | DEEP EAST TEXAS ELECTRIC CO OP INC | 047845623 | 13.1284 | 3.2821
67 | DENTON COUNTY ELEC CO OP DBA COSERVE ELEC | 008947913 | 571.0748 | 142.7687
69 | FANNIN COUNTY ELECTRIC CO OP INC | 0018220894000 | 16.4168 | 4.1042
70 | FARMERS ELECTRIC CO OP INC DBA FEC ELECTRIC | 0098442344000 | 124.4652 | 31.1163
71 | FAYETTE ELECTRIC CO OP INC (TDSP) | 0593309774000 | 38.3596 | 9.5899
72 | FORT BELKNAP ELECTRIC CO OP INC (TDSP) | 007935299 | 20.0324 | 5.0081
73 | GRANBURY MUNICIPAL UTILITIES (TDSP) | 0952141694000 | 18.976 | 4.744
74 | GRAYSON COLLIN ELECTRIC CO OP INC | 008953812 | 104.4256 | 26.1064
75 | GUADALUPE VALLEY ELECTRIC CO OP INC (TDSP) | 0079305894000 | 220.9324 | 55.2331
76 | HAMILTON COUNTY ELECTRIC CO OP (BRAZOS) | 008949216 | 14.6372 | 3.6593
77 | HILCO ELECTRIC CO OP INC (TDSP) | 008950545 | 108.382 | 27.0955
78 | HOUSTON COUNTY ELEC COOP (TDSP) | 005777206 | 13.2224 | 3.3056
79 | J A C ELECTRIC CO OP INC | 003890795 | 17.6468 | 4.4117
80 | JASPER NEWTON ELECTRIC CO OP INC | 007933518 | 2.0476 | 0.5119
81 | KERRVILLE PUBLIC UTILITY BOARD (TDSP) | 1248248064000 | 97.2156 | 24.3039
82 | LAMAR COUNTY ELEC COOP DBA LEC (TDSP) | 0048060974000 | 24.3812 | 6.0953
83 | LIGHTHOUSE ELECTRIC CO OP (TDSP) | 0028252894000 | 2.5188 | 0.6297
85 | LYNTEGAR ELECTRIC CO OP INC (TDSP) | 0079371474000 | 29.6876 | 7.4219
86 | MAGIC VALLEY ELECTRIC CO OP INC (TDSP) | 008951501 | 238.6464 | 59.6616
87 | MCLENNAN COUNTY ELECTRIC CO OP INC | 007509698 | 52.848 | 13.212
88 | MID SOUTH ELECTRIC CO OP ASSOC | 061278594 | 19.4084 | 4.8521
89 | NAVARRO COUNTY ELECTRIC CO OP INC | 006770101 | 59.3732 | 14.8433
90 | NAVASOTA VALLEY ELECTRIC CO OP INC | 046299913 | 64.1612 | 16.0403
91 | NEW BRAUNFELS UTILITIES (TDSP) | 0383461694000 | 177.0608 | 44.2652
92 | PEDERNALES ELECTRIC CO OP INC (TDSP) | 0079241114000 | 785.5308 | 196.3827
94 | SAM HOUSTON ELECTRIC CO OP INC (TDSP) | 056267867 | 4.738 | 1.1845
95 | SAN BERNARD ELECTRIC CO OP (TDSP) | 0089453134000 | 94.7444 | 23.6861
96 | SOUTH PLAINS ELECTRIC CO OP INC (TDSP) | 007934185 | 71.2552 | 17.8138
97 | SOUTHWEST TEXAS ELECTRIC CO OP INC (TDSP) | 0084158954000 | 20.9284 | 5.2321
98 | TAYLOR ELECTRIC CO OP INC (TDSP) | 0079344254000 | 5.796 | 1.449
99 | TRI COUNTY ELECTRIC CO OP INC | 008945123 | 332.3728 | 83.0932
100 | TRINITY VALLEY ELEC CO OP | 009844564 | 120.9644 | 30.2411
102 | UNITED ELECTRIC CO OP SERVICES INC | 008945826 | 301.7404 | 75.4351
103 | WISE ELECTRIC CO OP | 041405408 | 68.1432 | 17.0358
104 | BROWNSVILLE PUBLIC UTILITY BOARD (TDSP) | 6063470374000 | 217.8032 | 54.4508
105 | BRYAN TEXAS UTILITIES (TDSP) | 0793907794000 | 226.334 | 56.5835
106 | CAP-ROCK ELECTRIC CO OP INC (HUNT COLLIN DIVISION) | 0079370974100 | 17.45 | 4.3625
107 | CHEROKEE COUNTY ELEC CO OP ASSOC | 008862625 | 47.708 | 11.927
108 | CITY OF AUSTIN DBA AUSTIN ENERGY (TDSP) | 8008717664000 | 2123.2876 | 530.8219
110 | CITY OF BOWIE (TDSP) | 8094182964000 | 14.9768 | 3.7442
111 | CITY OF BRADY (TDSP) | 70804877 | 13.8384 | 3.4596
113 | CITY OF COLEMAN (TDSP) | 1024920064000 | 10.5444 | 2.6361
114 | CITY OF COLLEGE STATION (TDSP) | 0403303004000 | 149.7512 | 37.4378
117 | CITY OF GARLAND (TDSP) | 6011012564000 | 469.1616 | 117.2904
118 | CITY OF GOLDSMITH (TDSP) | 0888946704000 | 0.39 | 0.0975
119 | CITY OF HEARNE MUNICIPAL ELECTRIC SYSTEM (TDSP) | 0897458894000 | 10.604 | 2.651
121 | CITY OF ROBSTOWN UTILITY SYSTEM (TDSP) | 9387911424000 | 14.2628 | 3.5657
122 | CITY OF SAN ANTONIO CITY PUBLIC SERVICE (TDSP) | 0079360734000 | 3725.848 | 931.462
123 | DENTON MUNICIPAL ELECTRIC (TDSP) | 0003540764000 | 272.1388 | 68.0347
125 | GEUS (TDSP) | 8062449354000 | 84.6408 | 21.1602
126 | JACKSON ELECTRICAL CO OP INC | 078423555 | 36.6188 | 9.1547
127 | KARNES ELECTRIC CO OP INC | 006824106 | 44.6472 | 11.1618
128 | MEDINA ELECTRIC CO OP INC (TDSP) STEC | 0081378124000 | 70.9488 | 17.7372
129 | NUECES ELECTRIC CO OP INC | 008828857 | 40.49 | 10.1225
130 | RIO GRANDE ELECTRIC CO OP (TDSP) | 002781953 | 17.5472 | 4.3868
131 | SAN MIGUEL ELECTRIC CO OP INC (TDSP) | 0884848524000 | 0 | 0
132 | SAN PATRICIO ELECTRIC CO OP (TDSP) | 003864907 | 27.2504 | 6.8126
133 | SHARYLAND UTILITIES LP (TDSP) | 105262336 | 5.6748 | 1.4187
134 | SOUTH TEXAS ELECTRIC CO OP INC | 0038663324000 | 0.1296 | 0.0324
136 | VICTORIA ELECTRIC CO OP INC | 008953861 | 66.9556 | 16.7389
137 | WEATHERFORD MUNICIPAL UTILITY SYSTEM (TDSP) | 0817196274000 | 66.5904 | 16.6476
138 | WHARTON COUNTY ELECTRIC CO OP INC | 118487958 | 27.0464 | 6.7616
139 | RUSK COUNTY ELECTRIC CO OP (TDSP) | 009844440 | 0 | 0
141 | CITY OF GARLAND GBCREEK (TDSP) | 6011012564100 | 0 | 0
142 | HAMILTON COUNTY ELECTRIC CO OP (LCRA) | 0089492164100 | 23.5884 | 5.8971
144 | NUECES ELECTRIC CO OP INC AEP (TDSP) | 0088288574100 | 0.396 | 0.099
145 | PEDERNALES ELEC CO OP INC AEP (TDSP) | 0079241114100 | 3.4824 | 0.8706
146 | TAYLOR ELECTRIC CO OP INC ABILENE (TDSP) | 0079344254100 | 33.2672 | 8.3168
147 | VICTORIA ELECTRIC CO OP INC AEP (TDSP) | 0089538614100 | 0.3676 | 0.0919
148 | RIO GRANDE ELECTRIC CO OP TXU (TDSP) | 27819534100 | 0.2144 | 0.0536
151 | TEXAS A&M | 0037722904TAM | 29.5864 | 7.3966
153 | WESTERN FARMERS ELECTRIC COOPERATIVE (TDSP) | 0728624074000 | 0.5796 | 0.1449
Total |  |  | 54918.1712 | 13729.5428

## August
Peak Interval Demand 08/26/2002 16:45 based on "TRUE-UP" settlement run on 8/14/03 at 04:03
TDSP Code | Name | DUNS | 2002 Load Responsibility MW | 2002 Load Responsibility MWh
1 | RELIANT ENERGY HL AND P (TDSP) | 957877905 | 12999.9632 | 3249.9908
2 | TXU ELECTRIC CO (TDSP) | 1039940674000 | 22692.1656 | 5673.0414
4 | TEXAS-NEW MEXICO POWER CO (TDSP) | 007929441 | 1289.562 | 322.3905
5 | CPL ENERGY DELIVERY COMPANY (CPL-EDC) (TDSP) | 007924772 | 4346.7988 | 1086.6997
7 | WTU ENERGY DELIVERY COMPANY (WTU-EDC) (TDSP) | 007923311 | 1084.6768 | 271.1692
18 | BANDERA ELECTRIC CO OP INC (TDSP) | 0089451494000 | 100.9908 | 25.2477
19 | BARTLETT ELECTRIC CO OP INC | 002781813 | 34.7048 | 8.6762
20 | BELFALLS ELECTRIC CO OP INC (TDSP) | 004998399 | 17.41 | 4.3525
21 | BIG COUNTRY ELECTRIC CO OP INC (TDSP) | 0058630484000 | 23.2256 | 5.8064
22 | BLUEBONNET ELECTRIC CO OP INC (TDSP) | 0524834354000 | 311.358 | 77.8395
23 | BRAZOS ELECTRIC POWER CO OP INC(TDSP) | 0037722904000 | 0.1672 | 0.0418
24 | CAP-ROCK ELECTRIC CO OP INC (MCCULLOCH DIVISION) ( | 0079370974000 | 19.9652 | 4.9913
25 | CENTRAL TEXAS ELECTRIC CO OP INC (TDSP) | 0079302744000 | 93.798 | 23.4495
26 | CITY OF BASTROP (TDSP) | 0851553724000 | 13.4988 | 3.3747
27 | CITY OF BELLVILLE (TDSP) | 0935648704000 | 12.8792 | 3.2198
28 | CITY OF BOERNE (TDSP) | 0052470694000 | 23.63 | 5.9075
29 | CITY OF BRENHAM (TDSP) | 0741649224000 | 61.0972 | 15.2743
30 | CITY OF BRIDGEPORT MUN ELEC SYS (TDSP) | 0842801714000 | 11.3464 | 2.8366
31 | CITY OF BURNET (TDSP) | 0746121514000 | 16.3876 | 4.0969
32 | CITY OF CUERO (TDSP) | 0526842144000 | 25.5704 | 6.3926
33 | CITY OF FLATONIA (TDSP) | 0626890134000 | 5.1272 | 1.2818
34 | CITY OF FREDERICKSBURG (TDSP) | 0769243074000 | 31.1256 | 7.7814
35 | CITY OF GEORGETOWN (TDSP) | 0895923724000 | 89.5512 | 22.3878
36 | CITY OF GIDDINGS (TDSP) | 0096899514000 | 13.5572 | 3.3893
37 | CITY OF GOLDTHWAITE (TDSP) | 1558252764000 | 5.6124 | 1.4031
38 | CITY OF GONZALES (TDSP) | 0937385404000 | 17.7556 | 4.4389
39 | CITY OF HALLETTSVILLE (TDSP) | 0090811834000 | 8.7328 | 2.1832
40 | CITY OF HEMPSTEAD (TDSP) | 1272175604000 | 12.2836 | 3.0709
41 | CITY OF LA GRANGE (TDSP) | 0607085184000 | 15.8616 | 3.9654
42 | CITY OF LAMPASAS (TDSP) | 0203311204000 | 22.704 | 5.676
43 | CITY OF LEXINGTON (TDSP) | 0081817324000 | 2.9428 | 0.7357
44 | CITY OF LLANO (TDSP) | 0916952054000 | 11.4776 | 2.8694
45 | CITY OF LOCKHART (TDSP) | 0746168634000 | 24.5356 | 6.1339
46 | CITY OF LULING (TDSP) | 0105539984000 | 11.606 | 2.9015
47 | CITY OF MASON (TDSP) | 1561267084000 | 5.554 | 1.3885
48 | CITY OF MOULTON (TDSP) | 0091871544000 | 2.3692 | 0.5923
49 | CITY OF SAN MARCOS (TDSP) | 0694628694000 | 98.9248 | 24.7312
50 | CITY OF SAN SABA (TDSP) | 0248592254000 | 9.158 | 2.2895
51 | CITY OF SANGER | 058956020 | 11.632 | 2.908
52 | CITY OF SCHULENBURG (TDSP) | 0532950364000 | 11.7288 | 2.9322
53 | CITY OF SEGUIN (TDSP) | 0862819794000 | 58.0624 | 14.5156
54 | CITY OF SEYMOUR | 166319145 | 8.3672 | 2.0918
55 | CITY OF SHINER (TDSP) | 1504533714000 | 9.214 | 2.3035
56 | CITY OF SMITHVILLE (TDSP) | 0916978134000 | 10.4452 | 2.6113
57 | CITY OF WAELDER (TDSP) | 0541779694000 | 3.3052 | 0.8263
58 | CITY OF WEIMAR (TDSP) | 0214974584000 | 7.2448 | 1.8112
59 | CITY OF WHITESBORO | 134546522 | 8.4892 | 2.1223
60 | CITY OF YOAKUM (TDSP) | 0694557724000 | 16.662 | 4.1655
61 | COLEMAN COUNTY ELECTRIC CO OP INC (TDSP) | 0079246734000 | 20.6064 | 5.1516
62 | COMANCHE ELECTRIC CO OP ASSOCIATION | 002889210 | 36.4284 | 9.1071
63 | CONCHO VALLEY ELECTRIC CO OP INC (TDSP) | 0038666624000 | 37.8512 | 9.4628
64 | COOKE COUNTY ELECTRIC CO OP ASSOC INC | 008951808 | 58.4548 | 14.6137
66 | DEEP EAST TEXAS ELECTRIC CO OP INC | 047845623 | 12.4212 | 3.1053
67 | DENTON COUNTY ELEC CO OP DBA COSERVE ELEC | 008947913 | 564.682 | 141.1705
69 | FANNIN COUNTY ELECTRIC CO OP INC | 0018220894000 | 22.0868 | 5.5217
70 | FARMERS ELECTRIC CO OP INC DBA FEC ELECTRIC | 0098442344000 | 149.3364 | 37.3341
71 | FAYETTE ELECTRIC CO OP INC (TDSP) | 0593309774000 | 39.7032 | 9.9258
72 | FORT BELKNAP ELECTRIC CO OP INC (TDSP) | 007935299 | 20.586 | 5.1465
73 | GRANBURY MUNICIPAL UTILITIES (TDSP) | 0952141694000 | 20.8152 | 5.2038
74 | GRAYSON COLLIN ELECTRIC CO OP INC | 008953812 | 116.1416 | 29.0354
75 | GUADALUPE VALLEY ELECTRIC CO OP INC (TDSP) | 0079305894000 | 238.874 | 59.7185
76 | HAMILTON COUNTY ELECTRIC CO OP (BRAZOS) | 008949216 | 15.7132 | 3.9283
77 | HILCO ELECTRIC CO OP INC (TDSP) | 008950545 | 109.2896 | 27.3224
78 | HOUSTON COUNTY ELEC COOP (TDSP) | 005777206 | 13.2088 | 3.3022
79 | J A C ELECTRIC CO OP INC | 003890795 | 17.8116 | 4.4529
80 | JASPER NEWTON ELECTRIC CO OP INC | 007933518 | 1.9924 | 0.4981
81 | KERRVILLE PUBLIC UTILITY BOARD (TDSP) | 1248248064000 | 104.462 | 26.1155
82 | LAMAR COUNTY ELEC COOP DBA LEC (TDSP) | 0048060974000 | 35.91 | 8.9775
83 | LIGHTHOUSE ELECTRIC CO OP (TDSP) | 0028252894000 | 2.3484 | 0.5871
85 | LYNTEGAR ELECTRIC CO OP INC (TDSP) | 0079371474000 | 27.7544 | 6.9386
86 | MAGIC VALLEY ELECTRIC CO OP INC (TDSP) | 008951501 | 259.3848 | 64.8462
87 | MCLENNAN COUNTY ELECTRIC CO OP INC | 007509698 | 57.0796 | 14.2699
88 | MID SOUTH ELECTRIC CO OP ASSOC | 061278594 | 20.066 | 5.0165
89 | NAVARRO COUNTY ELECTRIC CO OP INC | 006770101 | 59.9524 | 14.9881
90 | NAVASOTA VALLEY ELECTRIC CO OP INC | 046299913 | 62.7248 | 15.6812
91 | NEW BRAUNFELS UTILITIES (TDSP) | 0383461694000 | 177.9088 | 44.4772
92 | PEDERNALES ELECTRIC CO OP INC (TDSP) | 0079241114000 | 866.6716 | 216.6679
94 | SAM HOUSTON ELECTRIC CO OP INC (TDSP) | 056267867 | 4.518 | 1.1295
95 | SAN BERNARD ELECTRIC CO OP (TDSP) | 0089453134000 | 89.6836 | 22.4209
96 | SOUTH PLAINS ELECTRIC CO OP INC (TDSP) | 007934185 | 69.8676 | 17.4669
97 | SOUTHWEST TEXAS ELECTRIC CO OP INC (TDSP) | 0084158954000 | 22.2276 | 5.5569
98 | TAYLOR ELECTRIC CO OP INC (TDSP) | 0079344254000 | 5.8904 | 1.4726
99 | TRI COUNTY ELECTRIC CO OP INC | 008945123 | 333.0712 | 83.2678
100 | TRINITY VALLEY ELEC CO OP | 009844564 | 123.5176 | 30.8794
102 | UNITED ELECTRIC CO OP SERVICES INC | 008945826 | 313.2268 | 78.3067
103 | WISE ELECTRIC CO OP | 041405408 | 67.454 | 16.8635
104 | BROWNSVILLE PUBLIC UTILITY BOARD (TDSP) | 6063470374000 | 225.5764 | 56.3941
105 | BRYAN TEXAS UTILITIES (TDSP) | 0793907794000 | 230.4064 | 57.6016
106 | CAP-ROCK ELECTRIC CO OP INC (HUNT COLLIN DIVISION) | 0079370974100 | 23.7864 | 5.9466
107 | CHEROKEE COUNTY ELEC CO OP ASSOC | 008862625 | 46.296 | 11.574
108 | CITY OF AUSTIN DBA AUSTIN ENERGY (TDSP) | 8008717664000 | 2250.7164 | 562.6791
110 | CITY OF BOWIE (TDSP) | 8094182964000 | 14.1216 | 3.5304
111 | CITY OF BRADY (TDSP) | 70804877 | 14.9712 | 3.7428
113 | CITY OF COLEMAN (TDSP) | 1024920064000 | 10.9652 | 2.7413
114 | CITY OF COLLEGE STATION (TDSP) | 0403303004000 | 150.584 | 37.646
117 | CITY OF GARLAND (TDSP) | 6011012564000 | 453.8424 | 113.4606
118 | CITY OF GOLDSMITH (TDSP) | 0888946704000 | 0.4204 | 0.1051
119 | CITY OF HEARNE MUNICIPAL ELECTRIC SYSTEM (TDSP) | 0897458894000 | 11.0372 | 2.7593
121 | CITY OF ROBSTOWN UTILITY SYSTEM (TDSP) | 9387911424000 | 16.0704 | 4.0176
122 | CITY OF SAN ANTONIO CITY PUBLIC SERVICE (TDSP) | 0079360734000 | 3984.3904 | 996.0976
123 | DENTON MUNICIPAL ELECTRIC (TDSP) | 0003540764000 | 265.6656 | 66.4164
125 | GEUS (TDSP) | 8062449354000 | 98.798 | 24.6995
126 | JACKSON ELECTRICAL CO OP INC | 078423555 | 37.7764 | 9.4441
127 | KARNES ELECTRIC CO OP INC | 006824106 | 48.8984 | 12.2246
128 | MEDINA ELECTRIC CO OP INC (TDSP) STEC | 0081378124000 | 80.2532 | 20.0633
129 | NUECES ELECTRIC CO OP INC | 008828857 | 44.8428 | 11.2107
130 | RIO GRANDE ELECTRIC CO OP (TDSP) | 002781953 | 19.1024 | 4.7756
131 | SAN MIGUEL ELECTRIC CO OP INC (TDSP) | 0884848524000 | 0 | 0
132 | SAN PATRICIO ELECTRIC CO OP (TDSP) | 003864907 | 29.7724 | 7.4431
133 | SHARYLAND UTILITIES LP (TDSP) | 105262336 | 6.0644 | 1.5161
134 | SOUTH TEXAS ELECTRIC CO OP INC | 0038663324000 | 0.1244 | 0.0311
136 | VICTORIA ELECTRIC CO OP INC | 008953861 | 71.8428 | 17.9607
137 | WEATHERFORD MUNICIPAL UTILITY SYSTEM (TDSP) | 0817196274000 | 70.0072 | 17.5018
138 | WHARTON COUNTY ELECTRIC CO OP INC | 118487958 | 30.088 | 7.522
139 | RUSK COUNTY ELECTRIC CO OP (TDSP) | 009844440 | 0 | 0
141 | CITY OF GARLAND GBCREEK (TDSP) | 6011012564100 | 0 | 0
142 | HAMILTON COUNTY ELECTRIC CO OP (LCRA) | 0089492164100 | 26.228 | 6.557
144 | NUECES ELECTRIC CO OP INC AEP (TDSP) | 0088288574100 | 0.2852 | 0.0713
145 | PEDERNALES ELEC CO OP INC AEP (TDSP) | 0079241114100 | 3.7488 | 0.9372
146 | TAYLOR ELECTRIC CO OP INC ABILENE (TDSP) | 0079344254100 | 36.7924 | 9.1981
147 | VICTORIA ELECTRIC CO OP INC AEP (TDSP) | 0089538614100 | 0.4268 | 0.1067
148 | RIO GRANDE ELECTRIC CO OP TXU (TDSP) | 27819534100 | 0.1428 | 0.0357
151 | TEXAS A&M | 0037722904TAM | 28.2024 | 7.0506
153 | WESTERN FARMERS ELECTRIC COOPERATIVE (TDSP) | 0728624074000 | 0.6264 | 0.1566
Total |  |  | 56245.8212 | 14061.4553

## September
Peak Interval Demand 09/5/2002 16:45 based on "TRUE-UP" settlement run on 08/16/03 at 21:30
TDSP Code | Name | DUNS | 2002 Load Responsibility MW | 2002 Load Responsibility MWh
1 | RELIANT ENERGY HL AND P (TDSP) | 957877905 | 11147.346 | 2786.8365
2 | TXU ELECTRIC CO (TDSP) | 1039940674000 | 21747.8784 | 5436.9696
4 | TEXAS-NEW MEXICO POWER CO (TDSP) | 007929441 | 1148.2164 | 287.0541
5 | CPL ENERGY DELIVERY COMPANY (CPL-EDC) (TDSP) | 007924772 | 3854.5164 | 963.6291
7 | WTU ENERGY DELIVERY COMPANY (WTU-EDC) (TDSP) | 007923311 | 937.1608 | 234.2902
18 | BANDERA ELECTRIC CO OP INC (TDSP) | 0089451494000 | 82.226 | 20.5565
19 | BARTLETT ELECTRIC CO OP INC | 002781813 | 29.3248 | 7.3312
20 | BELFALLS ELECTRIC CO OP INC (TDSP) | 004998399 | 15.5592 | 3.8898
21 | BIG COUNTRY ELECTRIC CO OP INC (TDSP) | 0058630484000 | 20.7672 | 5.1918
22 | BLUEBONNET ELECTRIC CO OP INC (TDSP) | 0524834354000 | 273.232 | 68.308
23 | BRAZOS ELECTRIC POWER CO OP INC(TDSP) | 0037722904000 | 0.2488 | 0.0622
24 | CAP-ROCK ELECTRIC CO OP INC (MCCULLOCH DIVISION) ( | 0079370974000 | 16.4524 | 4.1131
25 | CENTRAL TEXAS ELECTRIC CO OP INC (TDSP) | 0079302744000 | 72.2896 | 18.0724
26 | CITY OF BASTROP (TDSP) | 0851553724000 | 11.8684 | 2.9671
27 | CITY OF BELLVILLE (TDSP) | 0935648704000 | 11.4544 | 2.8636
28 | CITY OF BOERNE (TDSP) | 0052470694000 | 19.838 | 4.9595
29 | CITY OF BRENHAM (TDSP) | 0741649224000 | 57.0836 | 14.2709
30 | CITY OF BRIDGEPORT MUN ELEC SYS (TDSP) | 0842801714000 | 9.9532 | 2.4883
31 | CITY OF BURNET (TDSP) | 0746121514000 | 13.65 | 3.4125
32 | CITY OF CUERO (TDSP) | 0526842144000 | 23.0464 | 5.7616
33 | CITY OF FLATONIA (TDSP) | 0626890134000 | 4.4988 | 1.1247
34 | CITY OF FREDERICKSBURG (TDSP) | 0769243074000 | 24.1828 | 6.0457
35 | CITY OF GEORGETOWN (TDSP) | 0895923724000 | 75.4472 | 18.8618
36 | CITY OF GIDDINGS (TDSP) | 0096899514000 | 12.0416 | 3.0104
37 | CITY OF GOLDTHWAITE (TDSP) | 1558252764000 | 4.53 | 1.1325
38 | CITY OF GONZALES (TDSP) | 0937385404000 | 16.0348 | 4.0087
39 | CITY OF HALLETTSVILLE (TDSP) | 0090811834000 | 7.37 | 1.8425
40 | CITY OF HEMPSTEAD (TDSP) | 1272175604000 | 9.4968 | 2.3742
41 | CITY OF LA GRANGE (TDSP) | 0607085184000 | 13.6076 | 3.4019
42 | CITY OF LAMPASAS (TDSP) | 0203311204000 | 19.51 | 4.8775
43 | CITY OF LEXINGTON (TDSP) | 0081817324000 | 2.714 | 0.6785
44 | CITY OF LLANO (TDSP) | 0916952054000 | 9.3972 | 2.3493
45 | CITY OF LOCKHART (TDSP) | 0746168634000 | 21.0708 | 5.2677
46 | CITY OF LULING (TDSP) | 0105539984000 | 10.326 | 2.5815
47 | CITY OF MASON (TDSP) | 1561267084000 | 4.3136 | 1.0784
48 | CITY OF MOULTON (TDSP) | 0091871544000 | 2.2108 | 0.5527
49 | CITY OF SAN MARCOS (TDSP) | 0694628694000 | 89.038 | 22.2595
50 | CITY OF SAN SABA (TDSP) | 0248592254000 | 7.6832 | 1.9208
51 | CITY OF SANGER | 058956020 | 10.0756 | 2.5189
52 | CITY OF SCHULENBURG (TDSP) | 0532950364000 | 10.3596 | 2.5899
53 | CITY OF SEGUIN (TDSP) | 0862819794000 | 51.0012 | 12.7503
54 | CITY OF SEYMOUR | 166319145 | 7.4592 | 1.8648
55 | CITY OF SHINER (TDSP) | 1504533714000 | 8.8444 | 2.2111
56 | CITY OF SMITHVILLE (TDSP) | 0916978134000 | 8.6908 | 2.1727
57 | CITY OF WAELDER (TDSP) | 0541779694000 | 3.2368 | 0.8092
58 | CITY OF WEIMAR (TDSP) | 0214974584000 | 6.6592 | 1.6648
59 | CITY OF WHITESBORO | 134546522 | 7.7912 | 1.9478
60 | CITY OF YOAKUM (TDSP) | 0694557724000 | 15.27 | 3.8175
61 | COLEMAN COUNTY ELECTRIC CO OP INC (TDSP) | 0079246734000 | 20.1312 | 5.0328
62 | COMANCHE ELECTRIC CO OP ASSOCIATION | 002889210 | 31.3508 | 7.8377
63 | CONCHO VALLEY ELECTRIC CO OP INC (TDSP) | 0038666624000 | 34.182 | 8.5455
64 | COOKE COUNTY ELECTRIC CO OP ASSOC INC | 008951808 | 50.4404 | 12.6101
66 | DEEP EAST TEXAS ELECTRIC CO OP INC | 047845623 | 12.1028 | 3.0257
67 | DENTON COUNTY ELEC CO OP DBA COSERVE ELEC | 008947913 | 512.2672 | 128.0668
69 | FANNIN COUNTY ELECTRIC CO OP INC | 0018220894000 | 21.2616 | 5.3154
70 | FARMERS ELECTRIC CO OP INC DBA FEC ELECTRIC | 0098442344000 | 142.21 | 35.5525
71 | FAYETTE ELECTRIC CO OP INC (TDSP) | 0593309774000 | 34.0856 | 8.5214
72 | FORT BELKNAP ELECTRIC CO OP INC (TDSP) | 007935299 | 18.4784 | 4.6196
73 | GRANBURY MUNICIPAL UTILITIES (TDSP) | 0952141694000 | 18.0512 | 4.5128
74 | GRAYSON COLLIN ELECTRIC CO OP INC | 008953812 | 109.1492 | 27.2873
75 | GUADALUPE VALLEY ELECTRIC CO OP INC (TDSP) | 0079305894000 | 201.692 | 50.423
76 | HAMILTON COUNTY ELECTRIC CO OP (BRAZOS) | 008949216 | 13.1756 | 3.2939
77 | HILCO ELECTRIC CO OP INC (TDSP) | 008950545 | 96.7568 | 24.1892
78 | HOUSTON COUNTY ELEC COOP (TDSP) | 005777206 | 11.482 | 2.8705
79 | J A C ELECTRIC CO OP INC | 003890795 | 16.728 | 4.182
80 | JASPER NEWTON ELECTRIC CO OP INC | 007933518 | 1.6652 | 0.4163
81 | KERRVILLE PUBLIC UTILITY BOARD (TDSP) | 1248248064000 | 86.4844 | 21.6211
82 | LAMAR COUNTY ELEC COOP DBA LEC (TDSP) | 0048060974000 | 34.4164 | 8.6041
83 | LIGHTHOUSE ELECTRIC CO OP (TDSP) | 0028252894000 | 1.7724 | 0.4431
85 | LYNTEGAR ELECTRIC CO OP INC (TDSP) | 0079371474000 | 23.9808 | 5.9952
86 | MAGIC VALLEY ELECTRIC CO OP INC (TDSP) | 008951501 | 221.0308 | 55.2577
87 | MCLENNAN COUNTY ELECTRIC CO OP INC | 007509698 | 49.5828 | 12.3957
88 | MID SOUTH ELECTRIC CO OP ASSOC | 061278594 | 18.828 | 4.707
89 | NAVARRO COUNTY ELECTRIC CO OP INC | 006770101 | 59.466 | 14.8665
90 | NAVASOTA VALLEY ELECTRIC CO OP INC | 046299913 | 57.3224 | 14.3306
91 | NEW BRAUNFELS UTILITIES (TDSP) | 0383461694000 | 163.7232 | 40.9308
92 | PEDERNALES ELECTRIC CO OP INC (TDSP) | 0079241114000 | 701.2032 | 175.3008
94 | SAM HOUSTON ELECTRIC CO OP INC (TDSP) | 056267867 | 3.8372 | 0.9593
95 | SAN BERNARD ELECTRIC CO OP (TDSP) | 0089453134000 | 79.266 | 19.8165
96 | SOUTH PLAINS ELECTRIC CO OP INC (TDSP) | 007934185 | 69.9436 | 17.4859
97 | SOUTHWEST TEXAS ELECTRIC CO OP INC (TDSP) | 0084158954000 | 21.3924 | 5.3481
98 | TAYLOR ELECTRIC CO OP INC (TDSP) | 0079344254000 | 5.648 | 1.412
99 | TRI COUNTY ELECTRIC CO OP INC | 008945123 | 297.2124 | 74.3031
100 | TRINITY VALLEY ELEC CO OP | 009844564 | 115.3 | 28.825
102 | UNITED ELECTRIC CO OP SERVICES INC | 008945826 | 283.632 | 70.908
103 | WISE ELECTRIC CO OP | 041405408 | 56.8044 | 14.2011
104 | BROWNSVILLE PUBLIC UTILITY BOARD (TDSP) | 6063470374000 | 200.742 | 50.1855
105 | BRYAN TEXAS UTILITIES (TDSP) | 0793907794000 | 215.6264 | 53.9066
106 | CAP-ROCK ELECTRIC CO OP INC (HUNT COLLIN DIVISION) | 0079370974100 | 22.3048 | 5.5762
107 | CHEROKEE COUNTY ELEC CO OP ASSOC | 008862625 | 43.2852 | 10.8213
108 | CITY OF AUSTIN DBA AUSTIN ENERGY (TDSP) | 8008717664000 | 1984.9096 | 496.2274
110 | CITY OF BOWIE (TDSP) | 8094182964000 | 12.89 | 3.2225
111 | CITY OF BRADY (TDSP) | 70804877 | 12.4864 | 3.1216
113 | CITY OF COLEMAN (TDSP) | 1024920064000 | 9.3264 | 2.3316
114 | CITY OF COLLEGE STATION (TDSP) | 0403303004000 | 145.6584 | 36.4146
117 | CITY OF GARLAND (TDSP) | 6011012564000 | 446.402 | 111.6005
118 | CITY OF GOLDSMITH (TDSP) | 0888946704000 | 0.3872 | 0.0968
119 | CITY OF HEARNE MUNICIPAL ELECTRIC SYSTEM (TDSP) | 0897458894000 | 9.7892 | 2.4473
121 | CITY OF ROBSTOWN UTILITY SYSTEM (TDSP) | 9387911424000 | 13.4408 | 3.3602
122 | CITY OF SAN ANTONIO CITY PUBLIC SERVICE (TDSP) | 0079360734000 | 3481.3612 | 870.3403
123 | DENTON MUNICIPAL ELECTRIC (TDSP) | 0003540764000 | 238.0916 | 59.5229
125 | GEUS (TDSP) | 8062449354000 | 97.6868 | 24.4217
126 | JACKSON ELECTRICAL CO OP INC | 078423555 | 28.2936 | 7.0734
127 | KARNES ELECTRIC CO OP INC | 006824106 | 42.05 | 10.5125
128 | MEDINA ELECTRIC CO OP INC (TDSP) STEC | 0081378124000 | 69.6084 | 17.4021
129 | NUECES ELECTRIC CO OP INC | 008828857 | 37.9908 | 9.4977
130 | RIO GRANDE ELECTRIC CO OP (TDSP) | 002781953 | 17.7028 | 4.4257
131 | SAN MIGUEL ELECTRIC CO OP INC (TDSP) | 0884848524000 | 0 | 0
132 | SAN PATRICIO ELECTRIC CO OP (TDSP) | 003864907 | 25.176 | 6.294
133 | SHARYLAND UTILITIES LP (TDSP) | 105262336 | 5.6104 | 1.4026
134 | SOUTH TEXAS ELECTRIC CO OP INC | 0038663324000 | 0.2828 | 0.0707
136 | VICTORIA ELECTRIC CO OP INC | 008953861 | 54.0528 | 13.5132
137 | WEATHERFORD MUNICIPAL UTILITY SYSTEM (TDSP) | 0817196274000 | 62.2148 | 15.5537
138 | WHARTON COUNTY ELECTRIC CO OP INC | 118487958 | 24.0348 | 6.0087
139 | RUSK COUNTY ELECTRIC CO OP (TDSP) | 009844440 | 0 | 0
141 | CITY OF GARLAND GBCREEK (TDSP) | 6011012564100 | 0 | 0
142 | HAMILTON COUNTY ELECTRIC CO OP (LCRA) | 0089492164100 | 22.3492 | 5.5873
144 | NUECES ELECTRIC CO OP INC AEP (TDSP) | 0088288574100 | 0.3056 | 0.0764
145 | PEDERNALES ELEC CO OP INC AEP (TDSP) | 0079241114100 | 3.2088 | 0.8022
146 | TAYLOR ELECTRIC CO OP INC ABILENE (TDSP) | 0079344254100 | 32.2732 | 8.0683
147 | VICTORIA ELECTRIC CO OP INC AEP (TDSP) | 0089538614100 | 0.3636 | 0.0909
148 | RIO GRANDE ELECTRIC CO OP TXU (TDSP) | 27819534100 | 0 | 0
151 | TEXAS A&M | 0037722904TAM | 30.9604 | 7.7401
153 | WESTERN FARMERS ELECTRIC COOPERATIVE (TDSP) | 0728624074000 | 0.5544 | 0.1386
Total |  |  | 51042.45 | 12760.6125

## TDSP Code
TDSP
Code | Name | Duns
1 | RELIANT ENERGY HL AND P (TDSP) | 957877905
2 | TXU ELECTRIC CO (TDSP) | 1039940674000
4 | TEXAS-NEW MEXICO POWER CO (TDSP) | 007929441
5 | CPL ENERGY DELIVERY COMPANY (CPL-EDC) (TDSP) | 007924772
6 | SWEPCO ENERGY DELIVERY COMPANY (SWEPCO-EDC) (TDSP) | 26763672
7 | WTU ENERGY DELIVERY COMPANY (WTU-EDC) (TDSP) | 007923311
8 | TXU SESCO CO (TDSP) | 0079280964000
18 | BANDERA ELECTRIC CO OP INC (TDSP) | 0089451494000
19 | BARTLETT ELECTRIC CO OP INC | 002781813
20 | BELFALLS ELECTRIC CO OP INC (TDSP) | 004998399
21 | BIG COUNTRY ELECTRIC CO OP INC (TDSP) | 0058630484000
22 | BLUEBONNET ELECTRIC CO OP INC (TDSP) | 0524834354000
23 | BRAZOS ELECTRIC POWER CO OP INC(TDSP) | 0037722904000
24 | CAP-ROCK ELECTRIC CO OP INC (MCCULLOCH DIVISION) ( | 0079370974000
25 | CENTRAL TEXAS ELECTRIC CO OP INC (TDSP) | 0079302744000
26 | CITY OF BASTROP (TDSP) | 0851553724000
27 | CITY OF BELLVILLE (TDSP) | 0935648704000
28 | CITY OF BOERNE (TDSP) | 0052470694000
29 | CITY OF BRENHAM (TDSP) | 0741649224000
30 | CITY OF BRIDGEPORT MUN ELEC SYS (TDSP) | 0842801714000
31 | CITY OF BURNET (TDSP) | 0746121514000
32 | CITY OF CUERO (TDSP) | 0526842144000
33 | CITY OF FLATONIA (TDSP) | 0626890134000
34 | CITY OF FREDERICKSBURG (TDSP) | 0769243074000
35 | CITY OF GEORGETOWN (TDSP) | 0895923724000
36 | CITY OF GIDDINGS (TDSP) | 0096899514000
37 | CITY OF GOLDTHWAITE (TDSP) | 1558252764000
38 | CITY OF GONZALES (TDSP) | 0937385404000
39 | CITY OF HALLETTSVILLE (TDSP) | 0090811834000
40 | CITY OF HEMPSTEAD (TDSP) | 1272175604000
41 | CITY OF LA GRANGE (TDSP) | 0607085184000
42 | CITY OF LAMPASAS (TDSP) | 0203311204000
43 | CITY OF LEXINGTON (TDSP) | 0081817324000
44 | CITY OF LLANO (TDSP) | 0916952054000
45 | CITY OF LOCKHART (TDSP) | 0746168634000
46 | CITY OF LULING (TDSP) | 0105539984000
47 | CITY OF MASON (TDSP) | 1561267084000
48 | CITY OF MOULTON (TDSP) | 0091871544000
49 | CITY OF SAN MARCOS (TDSP) | 0694628694000
50 | CITY OF SAN SABA (TDSP) | 0248592254000
51 | CITY OF SANGER | 058956020
52 | CITY OF SCHULENBURG (TDSP) | 0532950364000
53 | CITY OF SEGUIN (TDSP) | 0862819794000
54 | CITY OF SEYMOUR | 166319145
55 | CITY OF SHINER (TDSP) | 1504533714000
56 | CITY OF SMITHVILLE (TDSP) | 0916978134000
57 | CITY OF WAELDER (TDSP) | 0541779694000
58 | CITY OF WEIMAR (TDSP) | 0214974584000
59 | CITY OF WHITESBORO | 134546522
60 | CITY OF YOAKUM (TDSP) | 0694557724000
61 | COLEMAN COUNTY ELECTRIC CO OP INC (TDSP) | 0079246734000
62 | COMANCHE ELECTRIC CO OP ASSOCIATION | 002889210
63 | CONCHO VALLEY ELECTRIC CO OP INC (TDSP) | 0038666624000
64 | COOKE COUNTY ELECTRIC CO OP ASSOC INC | 008951808
66 | DEEP EAST TEXAS ELECTRIC CO OP INC | 047845623
67 | DENTON COUNTY ELEC CO OP DBA COSERVE ELEC | 008947913
68 | DEWITT ELECTRIC CO OP INC (TDSP) | 0089461884000
69 | FANNIN COUNTY ELECTRIC CO OP INC | 0018220894000
70 | FARMERS ELECTRIC CO OP INC DBA FEC ELECTRIC | 0098442344000
71 | FAYETTE ELECTRIC CO OP INC (TDSP) | 0593309774000
72 | FORT BELKNAP ELECTRIC CO OP INC (TDSP) | 007935299
73 | GRANBURY MUNICIPAL UTILITIES (TDSP) | 0952141694000
74 | GRAYSON COLLIN ELECTRIC CO OP INC | 008953812
75 | GUADALUPE VALLEY ELECTRIC CO OP INC (TDSP) | 0079305894000
76 | HAMILTON COUNTY ELECTRIC CO OP (BRAZOS) | 008949216
77 | HILCO ELECTRIC CO OP INC (TDSP) | 008950545
78 | HOUSTON COUNTY ELEC COOP (TDSP) | 005777206
79 | J A C ELECTRIC CO OP INC | 003890795
80 | JASPER NEWTON ELECTRIC CO OP INC | 007933518
81 | KERRVILLE PUBLIC UTILITY BOARD (TDSP) | 1248248064000
82 | LAMAR COUNTY ELEC COOP DBA LEC (TDSP) | 0048060974000
83 | LIGHTHOUSE ELECTRIC CO OP (TDSP) | 0028252894000
85 | LYNTEGAR ELECTRIC CO OP INC (TDSP) | 0079371474000
86 | MAGIC VALLEY ELECTRIC CO OP INC (TDSP) | 008951501
87 | MCLENNAN COUNTY ELECTRIC CO OP INC | 007509698
88 | MID SOUTH ELECTRIC CO OP ASSOC | 061278594
89 | NAVARRO COUNTY ELECTRIC CO OP INC | 006770101
90 | NAVASOTA VALLEY ELECTRIC CO OP INC | 046299913
91 | NEW BRAUNFELS UTILITIES (TDSP) | 0383461694000
92 | PEDERNALES ELECTRIC CO OP INC (TDSP) | 0079241114000
94 | SAM HOUSTON ELECTRIC CO OP INC (TDSP) | 056267867
95 | SAN BERNARD ELECTRIC CO OP (TDSP) | 0089453134000
96 | SOUTH PLAINS ELECTRIC CO OP INC (TDSP) | 007934185
97 | SOUTHWEST TEXAS ELECTRIC CO OP INC (TDSP) | 0084158954000
98 | TAYLOR ELECTRIC CO OP INC (TDSP) | 0079344254000
99 | TRI COUNTY ELECTRIC CO OP INC | 008945123
100 | TRINITY VALLEY ELEC CO OP | 009844564
102 | UNITED ELECTRIC CO OP SERVICES INC | 008945826
103 | WISE ELECTRIC CO OP | 041405408
104 | BROWNSVILLE PUBLIC UTILITY BOARD (TDSP) | 6063470374000
105 | BRYAN TEXAS UTILITIES (TDSP) | 0793907794000
106 | CAP-ROCK ELECTRIC CO OP INC (HUNT COLLIN DIVISION) | 0079370974100
107 | CHEROKEE COUNTY ELEC CO OP ASSOC | 008862625
108 | CITY OF AUSTIN DBA AUSTIN ENERGY (TDSP) | 8008717664000
110 | CITY OF BOWIE (TDSP) | 8094182964000
111 | CITY OF BRADY (TDSP) | 70804877
113 | CITY OF COLEMAN (TDSP) | 1024920064000
114 | CITY OF COLLEGE STATION (TDSP) | 0403303004000
117 | CITY OF GARLAND (TDSP) | 6011012564000
118 | CITY OF GOLDSMITH (TDSP) | 0888946704000
119 | CITY OF HEARNE MUNICIPAL ELECTRIC SYSTEM (TDSP) | 0897458894000
121 | CITY OF ROBSTOWN UTILITY SYSTEM (TDSP) | 9387911424000
122 | CITY OF SAN ANTONIO CITY PUBLIC SERVICE (TDSP) | 0079360734000
123 | DENTON MUNICIPAL ELECTRIC (TDSP) | 0003540764000
125 | GEUS (TDSP) | 8062449354000
126 | JACKSON ELECTRICAL CO OP INC | 078423555
127 | KARNES ELECTRIC CO OP INC | 006824106
128 | MEDINA ELECTRIC CO OP INC (TDSP) STEC | 0081378124000
129 | NUECES ELECTRIC CO OP INC | 008828857
130 | RIO GRANDE ELECTRIC CO OP (TDSP) | 002781953
131 | SAN MIGUEL ELECTRIC CO OP INC (TDSP) | 0884848524000
132 | SAN PATRICIO ELECTRIC CO OP (TDSP) | 003864907
133 | SHARYLAND UTILITIES LP (TDSP) | 105262336
134 | SOUTH TEXAS ELECTRIC CO OP INC | 0038663324000
136 | VICTORIA ELECTRIC CO OP INC | 008953861
137 | WEATHERFORD MUNICIPAL UTILITY SYSTEM (TDSP) | 0817196274000
138 | WHARTON COUNTY ELECTRIC CO OP INC | 118487958
139 | RUSK COUNTY ELECTRIC CO OP (TDSP) | 009844440
141 | CITY OF GARLAND GBCREEK (TDSP) | 6011012564100
142 | HAMILTON COUNTY ELECTRIC CO OP (LCRA) | 0089492164100
144 | NUECES ELECTRIC CO OP INC AEP (TDSP) | 0088288574100
145 | PEDERNALES ELEC CO OP INC AEP (TDSP) | 0079241114100
146 | TAYLOR ELECTRIC CO OP INC ABILENE (TDSP) | 0079344254100
147 | VICTORIA ELECTRIC CO OP INC AEP (TDSP) | 0089538614100
148 | RIO GRANDE ELECTRIC CO OP TXU (TDSP) | 27819534100
149 | MEDINA ELECTRIC CO OP INC (TDSP) AEP | 0081378124100
151 | TEXAS A&M | 0037722904TAM
152 | SHARYLAND UTILITIES NOIE (TDSP) | 1052623364100
153 | WESTERN FARMERS ELECTRIC COOPERATIVE (TDSP) | 0728624074000