## CONTACT INFORMATION
Load Entity Information
Load Entity: | City of Garland
Contact Person: | Joe Cherri
Mailing Address Line 1: | Newman Power Plant
Mailing Address Line 2:
City:
State:
Zip Code:
Street Address Line 1: | 525 East Avenue B
Street Address Line 2:
City: | Garland
State: | Texas
Zip Code: | 75040
Company Internal Mail Code: | na
Telephone Number: | (972) 205-3046
Facsimile (FAX) Number: | (972) 205-3004
Internet email address: | joec@ci.garland.tx.us

## 1700 June 19, 1998
REPORT FOR LOAD ENTITY ==> | COGX
LOAD ENTITY IN CONTROL AREA ==> | TMPP
June 19, 1998 Hour Ending 17:00
RECEIVING TRANSACTION INFORMATION
Description | Amount kW | From Control Area | Sending Generation Entity
Subtotal Receiving Transactions (A) | 0
SENDING TRANSACTION INFORMATION
Description | Amount kW | To Control Area | Receiving Load Entity
DGG-LGE Planned G | 78218 | CSWS | LGEX
DGG-STEC Unplanned G | 3000 | STEC | STEC
DGG-HLPG Unplanned G | 12000 | HLPT | HLP
DGG-DGG Unplanned C | 9088 | TMPP | GUES
Subtotal Sending Transactions (B) | 102306
GENERATION INFORMATION
Generation kW | 351000
Less Gen Unit Main XFMR Losses kW | 0 | <== Provide Calculations to ISO with Submission
Inadvertent kW | 1800
Subtotal Net Generation (C) | 349200
TOTAL LOAD CALCULATION
Subtotal Receiving Transactions (A) | 0
Subtotal Sending Transactions (B) | 102306
Subtotal Net Generation (C) | 349200
Total Load Responsibility (A-B+C) | 246894

## 1700 July 31, 1998
REPORT FOR LOAD ENTITY ==> | COGX
LOAD ENTITY IN CONTROL AREA ==> | TMPP
July 31, 1998 Hour Ending 17:00
RECEIVING TRANSACTION INFORMATION
Description | Amount kW | From Control Area | Sending Generation Entity
DGG-DGG Unplanned C | 9167 | TMPP | CODX
Subtotal Receiving Transactions (A) | 9167
SENDING TRANSACTION INFORMATION
Description | Amount kW | To Control Area | Receiving Load Entity
DGG-LGE Planned G | 85020 | CSWS | LGEX
Subtotal Sending Transactions (B) | 85020
GENERATION INFORMATION
Generation kW | 344000
Less Gen Unit Main XFMR Losses kW | 0 | <== Provide Calculations to ISO with Submission
Inadvertent kW | 1200
Subtotal Net Generation (C) | 342800
TOTAL LOAD CALCULATION
Subtotal Receiving Transactions (A) | 9167
Subtotal Sending Transactions (B) | 85020
Subtotal Net Generation (C) | 342800
Total Load Responsibility (A-B+C) | 266947

## 1600 August 3, 1998
REPORT FOR LOAD ENTITY ==> | COGX
LOAD ENTITY IN CONTROL AREA ==> | TMPP
August 3, 1998 Hour Ending 16:00
RECEIVING TRANSACTION INFORMATION
Description | Amount kW | From Control Area | Sending Generation Entity
DGG-DGG Unplanned C | 5249 | TMPP | GUES
DGG-DGG Unplanned C | 9792 | TMPP | CODX
Subtotal Receiving Transactions (A) | 15041
SENDING TRANSACTION INFORMATION
Description | Amount kW | To Control Area | Receiving Load Entity
DGG-LGE Planned G | 85020 | CSWS | LGEX
Subtotal Sending Transactions (B) | 85020
GENERATION INFORMATION
Generation kW | 351000
Less Gen Unit Main XFMR Losses kW | 0 | <== Provide Calculations to ISO with Submission
Inadvertent kW | -600
Subtotal Net Generation (C) | 351600
TOTAL LOAD CALCULATION
Subtotal Receiving Transactions (A) | 15041
Subtotal Sending Transactions (B) | 85020
Subtotal Net Generation (C) | 351600
Total Load Responsibility (A-B+C) | 281621

## 1700 September 4, 1998
REPORT FOR LOAD ENTITY ==> | COGX
LOAD ENTITY IN CONTROL AREA ==> | TMPP
September 4, 1998 Hour Ending 17:00
RECEIVING TRANSACTION INFORMATION
Description | Amount kW | From Control Area | Sending Generation Entity
TU-E to DGG Unplanned G | 52641 | TUET | TUEG
TU-E to DGG Unplanned E | 10456 | TUET | TUEG
Tenaska to DGG Unplanned C | 18028 | TUET | TNSK
STEC to DGG Unplanned G | 5408 | STEC | STEC
LCRA to DGG Unplanned G | 9014 | LCRA | LCRA
Subtotal Receiving Transactions (A) | 95547
SENDING TRANSACTION INFORMATION
Description | Amount kW | To Control Area | Receiving Load Entity
Adjustment due to TMPA unplanned outage | 202570 | TMPP | COGX
Subtotal Sending Transactions (B) | 202570
GENERATION INFORMATION
Generation kW | 384000
Less Gen Unit Main XFMR Losses kW | 0 | <== Provide Calculations to ISO with Submission
Inadvertent kW | 1200
Subtotal Net Generation (C) | 382800
TOTAL LOAD CALCULATION
Subtotal Receiving Transactions (A) | 95547
Subtotal Sending Transactions (B) | 202570
Subtotal Net Generation (C) | 382800
Total Load Responsibility (A-B+C) | 275777