## SUMMARY
LSE ERROR CODES TABLE
Summary
The INTERVAL DATA LSE ACTIVITY REPORT is created as a result of advanced meter transactions attempting to process into ERCOT's Data Aggregation and Settlement system. The report includes information regarding both successful and failed loading attempts along with any error messages associated to the success or failure.
The "LSE ERROR CODES TABLE" tab includes descriptions of the errors produced during AMS transaction processing into ERCOT's Data Aggregation and Settlement system.
The Interval Data LSE File Format Specification document can be found under the retail section at the following url: http://www.ercot.com/services/mdt/userguides/

## LSE ERROR CODES TABLE
LSE ERROR CODES TABLE
| Error Description | Comments
New Error Code |  |  | How MRE should interpret and/or correct this error
F1 | Record count exceeds file limit of 50,000 data records. File has failed to process. | No comment necessary | Record count exceeds file limit of 50,000 data records. File has failed to process. Resend file with 50000 or less data records.
F2 | Mandatory element missing. File has failed to process. | Record # = ‘ ‘, Field = ‘ ’ | Data cannot be loaded because a mandatory data element is missing. Resend data record with correct mandatory elements.
00 | Data loaded successfully. | No comment necessary | Data record completed successfully within ERCOT’s system. No action required.
01 | Mandatory element not a valid value. | Field = ‘ ‘ | Refer to list of valid values for field listed in the LSE File Format Specifications document.
02 | Value has improper format. | Field = ‘ ‘ | Data record contains an element that is incorrectly formatted. Resend data record with correct data format.
03 | Data does not contain a full day. (DST inclusive) | No comment necessary | Data record does not contain a full day’s worth of data. Resend data record with a complete day of data starting 00:00:00 and ending 23:59:00.
04 | Data contains future dated read. | No comment necessary | Data contains a STARTTIME greater than SYSDATE. Resend data record with corrected STARTTIME and/or STOPTIME that is in the past.
05 | File contains more recent read for this ESI ID/RID and timeframe. Load not attempted. | No comment necessary | File contains a more recent read for this ESI ID/RID and timeframe. Load not attempted. No action required.
06 | ESI ID does not exist. | No comment necessary | ESI ID does not exist in ERCOT's system. TDSP sends 814_20 to add ESI ID to ERCOT systems. Resend data record.
07 | Sender is not the owner of the ESI ID/RID. (Incorrect MRE DUNS) | No comment necessary | The ESI ID/RID exists in ERCOT’s system but it is serviced/owned by different MRE entity. No Action required.
08 | ESI ID profile code is invalid for LSE data submitted. | No comment necessary | The ESI ID exists in ERCOT’s system but the channel/recorder does not exist. TDSP sends 814_20 to update the Advance Metering PROFILE CODE. Resend data record.
09 | Generation value for specific period was not expected but submitted. | No comment necessary | ESI ID is not set up to receive generation data. If ESI ID should have generation, TDSP sends 814_20 to update the PROFILE CODE. Resend data record. If ESI ID should not have generation, no action necessary.
10 | Timestamp of data record is less than or equal to the timestamp of loaded data. | No comment necessary | The submitted transaction did not overwrite the loaded data because the timestamp of the submitted data was not greater than the timestamp of the loaded data. No action required.
11 | WARNING: Exceeds Threshold – Bypass Requested | No comment necessary | The transaction submitted has been allowed to bypass validations for threshold only.
12 | Exceeds Threshold for load data. | No comment necessary | At least one 15 minute interval within the transaction has exceeded the threshold set for load.
13 | Exceeds Threshold for generation data. | No comment necessary | At least one 15 minute interval within the transaction has exceeded the threshold set for generation.
14 | RID not designated to receive LSE data. | No comment necessary | RID does not have appropriate flag set to allow LSE file submission at all or for the timeframe specified. Submit appropriate TDSP read generation form and indicate that RID data will be submitted via an LSE file as of a certain date.
15 | RID transaction overlaps a period where an 867 transaction is present. | Prior to AMS flag being set an 867 transaction was loaded that overlaps the LSE submission start date. | Notify ERCOT's data loading team to correct effective date of AMS flag for RID.
16 | Exceeds Threshold for load data with profile type code BUSLRG or BUSLRGDG. | No comment necessary | At least one 15 minute interval within the transaction has exceeded the threshold specifically set for profile codes containing either a BUSLRG or BUSLRGDG profile type code.
17 | Exceeds Threshold for generation data with profile type code BUSLRGDG. | No comment necessary | At least one 15 minute interval within the transaction has exceeded the generation threshold set specifically for profile codes containing the BUSLRGDG profile type code.