## Slide 1
Reporting on Statistics for
EPS Meter Activity
January 27, 2022

## Slide 2: Notices issued January through June 2021
 | January | February | March | April | May | June
Total Notices Issued | 109 | 604 | 215 | 119 | 218 | 374
Total 6 Hours issued | 35 | 73 | 53 | 17 | 20 | 153
Total 12 Hours issued | 34 | 359 | 114 | 47 | 110 | 137
Total 5 days issued | 40 | 172 | 48 | 55 | 88 | 84
Total Notices Issued for IP | 19 | 79 | 75 | 35 | 20 | 68
Total Notices Issued for Phone Line | 90 | 525 | 140 | 84 | 198 | 306
TDSP | % OF METERS ON PHONE LINE | % OF METERS ON TCP/IP | % OF TOTAL NOTICES ISSUED FOR JANUARY | % OF TOTAL NOTICES ISSUED FOR FEBRUARY | % OF TOTAL NOTICES ISSUED FOR MARCH | % OF TOTAL NOTICES ISSUED FOR APRIL | % OF TOTAL NOTICES ISSUED FOR MAY | % OF TOTAL NOTICES ISSUED FOR JUNE
TDSP A | 0% | 100% | 5.50% | 1.49% | 0.00% | 0.00% | 0.00% | 0.00%
TDSP B | 100% | 0% | 0.00% | 0.00% | 0.00% | 0.00% | 0.00% | 0.00%
TDSP E | 0% | 100% | 0.00% | 0.83% | 0.00% | 0.84% | 1.83% | 0.00%
TDSP H | 0% | 100% | 0.00% | 0.99% | 0.00% | 0.00% | 0.00% | 0.00%
TDSP J | 96% | 4% | 9.17% | 1.49% | 3.26% | 10.92% | 0.92% | 0.00%
TDSP K | 100% | 0% | 0.00% | 0.00% | 0.00% | 0.00% | 0.00% | 0.00%
TDSP L | 0% | 100% | 0.00% | 0.00% | 0.00% | 0.84% | 0.46% | 0.00%
TDSP O | 100% | 0% | 0.00% | 0.00% | 0.00% | 0.00% | 0.00% | 0.00%
TDSP Q | 0% | 100% | 0.00% | 0.00% | 0.00% | 0.00% | 0.00% | 0.00%
TDSP R | 0% | 100% | 0.00% | 0.00% | 0.00% | 0.00% | 2.75% | 0.00%
TDSP T | 0% | 100% | 0.00% | 1.99% | 0.00% | 0.00% | 0.00% | 0.00%
TDSP U | 0% | 100% | 0.00% | 0.00% | 0.00% | 0.00% | 0.00% | 0.00%
TDSP M | 17% | 83% | 1.83% | 0.17% | 0.00% | 0.00% | 0.00% | 0.27%
TDSP P | 38% | 62% | 0.00% | 0.00% | 0.47% | 2.52% | 1.38% | 0.27%
TDSP V | 0% | 100% | 0.00% | 0.00% | 0.00% | 0.00% | 0.00% | 0.27%
TDSP W | 100% | 0% | 1.83% | 0.50% | 0.93% | 3.36% | 2.29% | 0.80%
TDSP G | 100% | 0% | 0.00% | 0.00% | 0.00% | 0.00% | 0.00% | 1.60%
TDSP X | 88% | 13% | 4.59% | 17.88% | 2.33% | 1.68% | 1.38% | 1.60%
TDSP D | 42% | 58% | 0.00% | 0.00% | 0.00% | 0.00% | 0.00% | 4.01%
TDSP N | 49% | 51% | 1.83% | 3.48% | 3.72% | 11.76% | 4.13% | 4.28%
TDSP C | 63% | 37% | 14.68% | 11.75% | 8.37% | 11.76% | 11.93% | 6.68%
TDSP F | 100% | 0% | 11.01% | 30.96% | 5.58% | 12.61% | 9.17% | 10.16%
TDSP I | 55% | 45% | 15.60% | 15.89% | 15.35% | 6.72% | 38.07% | 27.27%
TDSP S | 61% | 39% | 33.94% | 12.58% | 60.00% | 36.97% | 25.69% | 42.78%

## Slide 3: Notices issued July through December 2021
 | July | August | September | October | November | December
Total Notices Issued | 396 | 201 | 186 | 134 | 188 | 78
Total 6 Hours issued | 166 | 45 | 57 | 28 | 82 | 22
Total 12 Hours issued | 163 | 112 | 85 | 66 | 50 | 30
Total 5 days issued | 67 | 44 | 44 | 40 | 56 | 26
Total Notices Issued for IP | 78 | 47 | 21 | 14 | 23 | 14
Total Notices Issued for Phone Line | 318 | 154 | 165 | 120 | 165 | 64
TDSP | % OF METERS ON PHONE LINE | % OF METERS ON TCP/IP | % OF TOTAL NOTICES ISSUED FOR JULY | % OF TOTAL NOTICES ISSUED FOR AUGUST | % OF TOTAL NOTICES ISSUED FOR SEPTEMBER | % OF TOTAL NOTICES ISSUED FOR OCTOBER | % OF TOTAL NOTICES ISSUED FOR NOVEMBER | % OF TOTAL NOTICES ISSUED FOR DECEMBER
TDSP A | 0% | 100% | 0.25% | 0.50% | 0.00% | 0.00% | 0.00% | 0.00%
TDSP B | 100% | 0% | 0.00% | 0.00% | 0.00% | 0.00% | 0.00% | 0.00%
TDSP D | 36% | 64% | 0.00% | 0.00% | 0.00% | 0.00% | 3.19% | 0.00%
TDSP G | 0% | 100% | 0.00% | 0.00% | 0.00% | 0.00% | 0.00% | 0.00%
TDSP H | 0% | 100% | 0.00% | 0.00% | 0.00% | 0.75% | 0.00% | 0.00%
TDSP K | 4% | 96% | 0.00% | 0.00% | 0.00% | 0.00% | 0.00% | 0.00%
TDSP L | 0% | 100% | 0.00% | 0.00% | 0.00% | 0.00% | 0.00% | 0.00%
TDSP O | 100% | 0% | 0.00% | 0.00% | 0.00% | 0.00% | 0.00% | 0.00%
TDSP Q | 0% | 100% | 0.00% | 0.00% | 0.00% | 0.00% | 0.00% | 0.00%
TDSP R | 0% | 100% | 0.00% | 0.00% | 0.00% | 0.00% | 0.00% | 0.00%
TDSP T | 0% | 100% | 1.01% | 0.00% | 0.00% | 0.00% | 0.00% | 0.00%
TDSP U | 0% | 100% | 0.00% | 0.00% | 0.00% | 0.00% | 0.00% | 0.00%
TDSP V | 0% | 100% | 0.00% | 0.00% | 0.00% | 0.00% | 0.00% | 0.00%
TDSP W | 0% | 100% | 0.00% | 0.00% | 0.00% | 0.75% | 0.00% | 0.00%
TDSP E | 0% | 100% | 0.51% | 0.00% | 0.54% | 1.49% | 0.00% | 1.28%
TDSP M | 0% | 100% | 0.00% | 1.99% | 0.00% | 0.00% | 1.06% | 1.28%
TDSP N | 29% | 71% | 8.08% | 8.46% | 6.45% | 0.00% | 0.00% | 5.13%
TDSP I | 42% | 58% | 12.12% | 9.45% | 4.30% | 10.45% | 6.38% | 6.41%
TDSP X | 15% | 85% | 2.53% | 4.98% | 2.15% | 10.45% | 6.38% | 6.41%
TDSP J | 21% | 79% | 2.27% | 5.97% | 0.00% | 1.49% | 0.53% | 7.69%
TDSP P | 38% | 62% | 2.02% | 0.00% | 0.00% | 1.49% | 8.51% | 10.26%
TDSP C | 38% | 63% | 3.79% | 2.49% | 9.68% | 15.67% | 10.64% | 14.10%
TDSP F | 95% | 5% | 36.62% | 42.79% | 61.83% | 41.04% | 44.15% | 21.79%
TDSP S | 24% | 76% | 30.81% | 23.38% | 15.05% | 16.42% | 19.15% | 25.64%

## Slide 4: 2021 Notices – Total and Overdue
Overdue timeframes: 6-hour = Open over 12 hours; 12-hour = Open over 24 hours; 5-day = Open over 7 days
 |  | Issued | Overdue | % Overdue
January | 6-hour | 35 | 31 | 88.57%
 | 12-hour | 34 | 9 | 26.47%
 | 5-day | 40 | 5 | 12.50%
 | Total | 109 | 45 | 41.28%
February | 6-hour | 73 | 48 | 65.75%
 | 12-hour | 359 | 161 | 44.85%
 | 5-day | 172 | 8 | 4.65%
 | Total | 604 | 217 | 35.93%
March | 6-hour | 53 | 38 | 71.70%
 | 12-hour | 114 | 33 | 28.95%
 | 5-day | 48 | 8 | 16.67%
 | Total | 215 | 79 | 36.74%
April | 6-hour | 17 | 11 | 64.71%
 | 12-hour | 47 | 10 | 21.28%
 | 5-day | 55 | 6 | 10.91%
 | Total | 119 | 27 | 22.69%
May | 6-hour | 20 | 6 | 30.00%
 | 12-hour | 110 | 35 | 31.82%
 | 5-day | 88 | 2 | 2.27%
 | Total | 218 | 43 | 19.72%
June | 6-hour | 153 | 135 | 88.24%
 | 12-hour | 137 | 53 | 38.69%
 | 5-day | 84 | 12 | 14.29%
 | Total | 374 | 200 | 53.48%
July | 6-hour | 166 | 133 | 80.12%
 | 12-hour | 163 | 85 | 52.15%
 | 5-day | 67 | 8 | 11.94%
 | Total | 396 | 226 | 57.07%
 |  | Issued | Overdue | % Overdue
August | 6-hour | 45 | 31 | 68.89%
 | 12-hour | 112 | 43 | 38.39%
 | 5-day | 44 | 4 | 9.09%
 | Total | 201 | 78 | 38.81%
September | 6-hour | 57 | 48 | 84.21%
 | 12-hour | 85 | 42 | 49.41%
 | 5-day | 44 | 3 | 6.82%
 | Total | 186 | 93 | 50.00%
October | 6-hour | 28 | 16 | 57.14%
 | 12-hour | 66 | 31 | 46.97%
 | 5-day | 40 | 3 | 7.50%
 | Total | 134 | 50 | 37.31%
November | 6-hour | 82 | 69 | 84.15%
 | 12-hour | 50 | 18 | 36.00%
 | 5-day | 56 | 7 | 12.50%
 | Total | 188 | 94 | 50.00%
December | 6-hour | 22 | 17 | 77.27%
 | 12-hour | 30 | 2 | 6.67%
 | 5-day | 26 | 0 | 0.00%
 | Total | 78 | 19 | 24.36%
2021 Totals | 6-hour | 751 | 583 | 77.63%
 | 12-hour | 1307 | 522 | 39.94%
 | 5-day | 764 | 66 | 8.64%
 | Total | 2822 | 1171 | 41.50%

## Slide 5: 2020 and 2021 Monthly Averages – Issued and Overdue
Chart: 
| 6-hour | 12-hour | 5-day | Total | 6-hour | 12-hour | 5-day | Total | 2020 Monthly Average | 2021 Monthly Average
Issued | 78.5 | 108.3333 | 111.0833 | 297.9167 | 62.5833 | 108.9167 | 63.6667 | 235.1667
Overdue | 60.75 | 41.4167 | 11.25 | 113.4167 | 48.5833 | 43.5 | 5.5 | 97.5833

## Slide 6: Field Access - 2021
*Indicates sorted by this column in lowest to highest order
TDSP | # OF 5 DAY NOTIFICAION PERIOD ACCESSES | # OF 10 DAY NOTIFICAION PERIOD ACCESSES | TOTAL ACCESSES | # OF ACCESSES OUTSIDE OF SMOG NOTIFICATION PERIOD REQUIREMENT | % OF ACCESSES OUTSIDE OF SMOG NOTIFICATION PERIOD REQUIREMENT *
TDSP T | 16 | 0 | 16 | 0 | 0%
TDSP G | 16 | 0 | 16 | 0 | 0%
TDSP R | 8 | 0 | 8 | 0 | 0%
TDSP U | 6 | 0 | 6 | 0 | 0%
TDSP K | 54 | 2 | 56 | 2 | 4%
TDSP V | 88 | 0 | 88 | 4 | 5%
TDSP P | 24 | 4 | 28 | 5 | 18%
TDSP X | 253 | 7 | 260 | 47 | 18%
TDSP C | 141 | 35 | 176 | 37 | 21%
TDSP W | 14 | 2 | 16 | 4 | 25%
TDSP M | 40 | 13 | 53 | 16 | 30%
TDSP S | 255 | 166 | 421 | 133 | 32%
TDSP H | 16 | 4 | 20 | 8 | 40%
TDSP D | 52 | 6 | 58 | 24 | 41%
TDSP J | 77 | 9 | 86 | 36 | 42%
TDSP F | 244 | 62 | 306 | 133 | 43%
TDSP Q | 12 | 0 | 12 | 6 | 50%
TDSP A | 60 | 26 | 86 | 47 | 55%
TDSP N | 18 | 0 | 18 | 10 | 56%
TDSP I | 226 | 14 | 240 | 146 | 61%
TDSP E | 58 | 0 | 58 | 42 | 72%
TDSP L | 15 | 4 | 19 | 17 | 89%
TDSP O | 2 | 0 | 2 | 2 | 100%
TDSP B | 2 | 0 | 2 | 2 | 100%
Total | 1697 | 354 | 2051 | 721 | 35%

## Slide 7: Temporary Exemptions Received 2015 through 2021
Count of Average Exemption Duration from problem identified through resolution (months) |  |  |  |  |  |  |  |  |  |  |  |  |  |  | 
 | 2015-2019 Average |  |  |  |  | 2020 |  |  |  |  | 2021 |  |  |  | 
TDSP | 0-3 | 3-6 | 6-9 | 9-12 | >12 | 0-3 | 3-6 | 6-9 | 9-12 | >12 | 0-3 | 3-6 | 6-9 | 9-12 | >12*
TDSP M | 7.6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
TDSP O | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
TDSP R | 1.8 | 0 | 0.2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
TDSP T | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
TDSP V | 12.6 | 1.4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
TDSP Q | 1.2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
TDSP U | 2.2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
TDSP K | 4.4 | 0 | 0 | 0 | 0 | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
TDSP X | 1.6 | 2 | 0 | 0 | 1.2 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0
TDSP B | 0.2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0
TDSP D | 10 | 6.4 | 0.2 | 0 | 0.8 | 1 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0
TDSP H | 1.4 | 1.4 | 0 | 0 | 0 | 5 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0
TDSP P | 1 | 0 | 0 | 0 | 0.4 | 0 | 0 | 0 | 0 | 0 | 2 | 0 | 0 | 0 | 0
TDSP W | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3 | 0 | 0 | 0 | 0
TDSP L | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4 | 0 | 0 | 0 | 0
TDSP I | 5 | 5.2 | 1.2 | 1.4 | 10.8 | 5 | 0 | 1 | 0 | 0 | 4 | 0 | 0 | 0 | 0
TDSP E | 2 | 0 | 0 | 0 | 0.2 | 4 | 0 | 0 | 0 | 0 | 5 | 0 | 0 | 0 | 0
TDSP A | 4.4 | 0 | 0 | 0.4 | 0 | 1 | 4 | 0 | 0 | 0 | 7 | 0 | 0 | 0 | 0
TDSP S | 10.4 | 2.2 | 0.4 | 1 | 0.8 | 10 | 1 | 0 | 0 | 0 | 8 | 0 | 0 | 0 | 0
TDSP F | 12.2 | 8.4 | 1.6 | 0 | 0.2 | 6 | 0 | 0 | 0 | 0 | 10 | 0 | 0 | 0 | 0
TDSP J | 2.6 | 0.8 | 2 | 1.8 | 1.8 | 8 | 14 | 0 | 0 | 0 | 12 | 0 | 0 | 0 | 0
TDSP N | 4 | 0 | 0.6 | 0.2 | 5.2 | 13 | 0 | 0 | 0 | 1 | 5 | 1 | 0 | 0 | 0
TDSP G | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 13 | 1 | 0 | 0 | 0
TDSP C | 12.6 | 1.4 | 0.2 | 0 | 0 | 5 | 0 | 0 | 0 | 1 | 2 | 0 | 2 | 0 | 0
Totals | 97.2 | 29.2 | 6.4 | 4.8 | 21.4 | 60 | 19 | 1 | 0 | 2 | 79 | 2 | 2 | 0 | 0
*Indicates sorted by this column in lowest to highest order
(Counts do not include exemptions for delayed cutovers)
Table indicates when a temporary exemption was received and the length of time it was open. Duration was as of 1/18/2022 therefore counts can move to the right in future tables.
Temporary exemptions required due to modeling cutovers prior to EPS installations and agreed in service dates are not included in these counts.

## Slide 8: Temporary Exemption Currently Open as of 1/18/2022
Duration count of currently open Temporary Exemptions (months) |  |  |  |  |  | 
TDSP | 0-3 | 3-6 | 6-9 | 9-12 | 12-24 | 24+*
TDSP I | 0 | 0 | 0 | 0 | 0 | 0
TDSP A | 0 | 0 | 0 | 0 | 0 | 0
TDSP M | 0 | 0 | 0 | 0 | 0 | 0
TDSP O | 0 | 0 | 0 | 0 | 0 | 0
TDSP K | 0 | 0 | 0 | 0 | 0 | 0
TDSP F | 0 | 0 | 0 | 0 | 0 | 0
TDSP P | 0 | 0 | 0 | 0 | 0 | 0
TDSP X | 0 | 0 | 0 | 0 | 0 | 0
TDSP T | 0 | 0 | 0 | 0 | 0 | 0
TDSP V | 0 | 0 | 0 | 0 | 0 | 0
TDSP E | 0 | 0 | 0 | 0 | 0 | 0
TDSP Q | 0 | 0 | 0 | 0 | 0 | 0
TDSP S | 0 | 0 | 0 | 0 | 0 | 0
TDSP L | 0 | 0 | 0 | 0 | 0 | 0
TDSP B | 0 | 0 | 0 | 0 | 0 | 0
TDSP D | 0 | 0 | 0 | 0 | 0 | 0
TDSP U | 0 | 0 | 0 | 0 | 0 | 0
TDSP J | 0 | 0 | 0 | 0 | 0 | 0
TDSP H | 0 | 0 | 0 | 0 | 0 | 0
TDSP R | 1 | 0 | 0 | 0 | 0 | 0
TDSP W | 1 | 0 | 0 | 0 | 0 | 0
TDSP N | 0 | 1 | 0 | 0 | 0 | 0
TDSP G | 0 | 1 | 0 | 0 | 0 | 0
TDSP C | 1 | 0 | 2 | 0 | 0 | 0
Totals | 3 | 2 | 2 | 0 | 0 | 0
*Indicates sorted by this column in lowest to highest order
Current Totals versus Previous Totals |  |  |  |  |  | 
 | 0-3 | 3-6 | 6-9 | 9-12 | 12-24 | 24+
Current 1/18/22 | 3 | 2 | 2 | 0 | 0 | 0
Previous 3/19/21 | 3 | 1 | 0 | 0 | 1 | 0
Temporary exemptions required due to modeling cutovers prior to EPS installations and agreed in service dates are not included in these counts.

## Slide 9: Annual Meter Test/Meter Reprogram – Initial Submittals
Average Days to Receive |  |  |  | Percentage of documents submitted within protocol timeline |  |  |  |  | 
 |  |  |  | 2015-2019 Average |  | 2020 |  | 2021 | 
TDSP | 2015-2019 Average | 2020 | 2021 | ≤ 14 Days | > 14 Days | ≤ 14 Days | > 14 Days | ≤ 14 Days | > 14 Days*
TDSP G | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
TDSP L | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
TDSP W | N/A | 5 | 9 | N/A | N/A | 100.0% | 0.0% | 100.0% | 0.0%
TDSP O | 1 | 5 | 9 | 100.0% | 0.0% | 100.0% | 0.0% | 100.0% | 0.0%
TDSP R | 4 | 2 | 2 | 100.0% | 0.0% | 100.0% | 0.0% | 100.0% | 0.0%
TDSP B | 3 | 6 | 3 | 100.0% | 0.0% | 100.0% | 0.0% | 100.0% | 0.0%
TDSP T | 18 | 9 | 1 | 82.4% | 17.6% | 100.0% | 0.0% | 100.0% | 0.0%
TDSP P | 25 | 1 | 1 | 35.2% | 64.8% | 100.0% | 0.0% | 100.0% | 0.0%
TDSP N | 9 | 6 | 4 | 92.0% | 8.0% | 93.5% | 6.5% | 100.0% | 0.0%
TDSP M | 10 | 4 | 3 | 82.4% | 17.6% | 91.7% | 8.3% | 100.0% | 0.0%
TDSP U | 27 | 21 | 6 | 51.2% | 48.8% | 75.0% | 25.0% | 100.0% | 0.0%
TDSP Q | 12 | 20 | 6 | 63.3% | 36.7% | 0.0% | 100.0% | 100.0% | 0.0%
TDSP S | 13 | 5 | 5 | 70.2% | 29.8% | 99.3% | 0.7% | 97.5% | 2.5%
Average | 12 | 10 | 6 | 76.9% | 23.1% | 81.6% | 18.4% | 95.1% | 4.9%
TDSP X | 9 | 9 | 7 | 84.5% | 15.5% | 83.8% | 16.2% | 94.0% | 6.0%
TDSP V | 4 | 3 | 3 | 90.2% | 9.8% | 100.0% | 0.0% | 93.2% | 6.8%
TDSP K | 2 | 1 | 4 | 98.2% | 1.8% | 100.0% | 0.0% | 92.3% | 7.7%
TDSP A | 4 | 6 | 9 | 93.7% | 6.3% | 95.1% | 4.9% | 92.1% | 7.9%
TDSP E | 16 | 17 | 8 | 69.2% | 30.8% | 47.8% | 52.2% | 90.0% | 10.0%
TDSP C | 9 | 8 | 7 | 92.1% | 7.9% | 87.5% | 12.5% | 89.5% | 10.5%
TDSP I | 3 | 24 | 11 | 97.7% | 2.3% | 93.9% | 6.1% | 88.8% | 11.2%
TDSP F | 24 | 24 | 10 | 28.2% | 71.8% | 34.7% | 65.3% | 85.1% | 14.9%
TDSP J | 28 | 8 | 7 | 22.0% | 78.0% | 87.5% | 12.5% | 83.3% | 16.7%
TDSP D | 30 | 27 | 11 | 29.7% | 70.3% | 29.4% | 70.6% | 80.0% | 20.0%
TDSP H | 1 | 16 | 17 | 100.0% | 0.0% | 60.0% | 40.0% | 14.3% | 85.7%
*Indicates sorted by this column in lowest to highest order

## Slide 10: Annual Meter Test/Meter Reprogram – Resubmittals
Average Days to Receive |  |  |  | Percentage of documents submitted within protocol timeline |  |  |  |  | 
 |  |  |  | 2015-2019 Average |  | 2020 |  | 2021 | 
TDSP | 2015-2019 Average | 2020 | 2021 | ≤ 14 Days | > 14 Days | ≤ 14 Days | > 14 Days | ≤ 14 Days | > 14 Days*
TDSP W | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
TDSP G | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
TDSP L | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
TDSP T | 1 | N/A | N/A | 100.0% | 0.0% | N/A | N/A | N/A | N/A
TDSP Q | 4 | N/A | N/A | 100.0% | 0.0% | N/A | N/A | N/A | N/A
TDSP M | 23 | N/A | N/A | 73.9% | 26.1% | N/A | N/A | N/A | N/A
TDSP O | 9 | N/A | N/A | 50.0% | 50.0% | N/A | N/A | N/A | N/A
TDSP X | 13 | 3 | N/A | 88.9% | 11.1% | 100.0% | 0.0% | N/A | N/A
TDSP R | 9 | 1 | N/A | 87.5% | 12.5% | 100.0% | 0.0% | N/A | N/A
TDSP N | 80 | 33 | N/A | 29.6% | 70.4% | 36.4% | 63.6% | N/A | N/A
TDSP P | 1 | 1 | 4 | 100.0% | 0.0% | 100.0% | 0.0% | 100.0% | 0.0%
TDSP J | 37 | 4 | 0 | 38.5% | 61.5% | 100.0% | 0.0% | 100.0% | 0.0%
TDSP U | 47 | 21 | 8 | 45.5% | 54.5% | 50.0% | 50.0% | 100.0% | 0.0%
TDSP V | 10 | 12 | 7 | 81.8% | 18.2% | 75.0% | 25.0% | 90.0% | 10.0%
TDSP C | 28 | 30 | 13 | 70.8% | 29.2% | 63.6% | 36.4% | 80.0% | 20.0%
TDSP E | 44 | 35 | 9 | 63.0% | 37.0% | 40.0% | 60.0% | 75.0% | 25.0%
TDSP F | 43 | 47 | 17 | 23.1% | 76.9% | 20.7% | 79.3% | 71.4% | 28.6%
TDSP K | 16 | N/A | 14 | 91.7% | 8.3% | N/A | N/A | 66.7% | 33.3%
TDSP S | 20 | 20 | 24 | 63.6% | 36.4% | 66.7% | 33.3% | 61.5% | 38.5%
Average | 25 | 35 | 25 | 71.6% | 28.4% | 59.2% | 40.8% | 59.3% | 40.7%
TDSP I | 25 | 70 | 101 | 71.4% | 28.6% | 16.7% | 83.3% | 33.3% | 66.7%
TDSP A | 59 | 184 | 15 | 75.0% | 25.0% | 0.0% | 100.0% | 33.3% | 66.7%
TDSP B | 5 | N/A | 42 | 100.0% | 0.0% | N/A | N/A | 0.0% | 100.0%
TDSP D | 42 | 3 | 45 | 45.5% | 54.5% | 100.0% | 0.0% | 0.0% | 100.0%
TDSP H | 16 | 8 | 72 | 0.0% | 100.0% | 100.0% | 0.0% | 0.0% | 100.0%
*Indicates sorted by this column in lowest to highest order

## Slide 11: Site Certifications – Initial Submittals
Average Days to Receive |  |  |  | Percentage of documents submitted within protocol timeline |  |  |  |  | 
 |  |  |  | 2015-2019 Average |  | 2020 |  | 2021 | 
TDSP | 2015-2019 Average | 2020 | 2021 | ≤ 60 Days | > 60 Days | ≤ 60 Days | > 60 Days | ≤ 60 Days | > 60 Days*
TDSP Q | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
TDSP O | 6 | N/A | N/A | 100.0% | 0.0% | N/A | N/A | N/A | N/A
TDSP T | 27 | N/A | N/A | 80.0% | 20.0% | N/A | N/A | N/A | N/A
TDSP B | 105 | N/A | N/A | 0.0% | 100.0% | N/A | N/A | N/A | N/A
TDSP R | 14 | 0 | N/A | 91.7% | 8.3% | 100.0% | 0.0% | N/A | N/A
TDSP V | 36 | 39 | N/A | 69.2% | 30.8% | 60.0% | 40.0% | N/A | N/A
TDSP U | 36 | 61 | N/A | 71.4% | 28.6% | 0.0% | 100.0% | N/A | N/A
TDSP L | N/A | 44 | 21 | N/A | N/A | 100.0% | 0.0% | 100.0% | 0.0%
TDSP W | 1 | 2 | 5 | 100.0% | 0.0% | 100.0% | 0.0% | 100.0% | 0.0%
TDSP A | 21 | 14 | 20 | 93.0% | 7.0% | 100.0% | 0.0% | 100.0% | 0.0%
TDSP K | 16 | 1 | 18 | 90.6% | 9.4% | 100.0% | 0.0% | 100.0% | 0.0%
TDSP M | 24 | 9 | 4 | 90.2% | 9.8% | 100.0% | 0.0% | 100.0% | 0.0%
TDSP X | 30 | 24 | 24 | 85.9% | 14.1% | 93.3% | 6.7% | 100.0% | 0.0%
TDSP H | 14 | 42 | 11 | 100.0% | 0.0% | 83.3% | 16.7% | 100.0% | 0.0%
TDSP P | 107 | 45 | 1 | 57.1% | 42.9% | 57.1% | 42.9% | 100.0% | 0.0%
TDSP F | 36 | 24 | 18 | 88.0% | 12.0% | 94.2% | 5.8% | 93.8% | 6.3%
TDSP S | 44 | 76 | 21 | 78.1% | 21.9% | 70.0% | 30.0% | 92.9% | 7.1%
TDSP J | 60 | 49 | 24 | 67.4% | 32.6% | 82.4% | 17.6% | 90.9% | 9.1%
Average | 44 | 47 | 41 | 76.6% | 23.4% | 74.6% | 25.4% | 74.6% | 25.4%
TDSP C | 66 | 55 | 44 | 74.4% | 25.6% | 55.6% | 44.4% | 66.7% | 33.3%
TDSP D | 33 | 14 | 48 | 79.5% | 20.5% | 100.0% | 0.0% | 50.0% | 50.0%
TDSP G | N/A | N/A | 62 | N/A | N/A | N/A | N/A | 33.3% | 66.7%
TDSP I | 70 | 141 | 145 | 61.4% | 38.6% | 68.8% | 31.3% | 21.4% | 78.6%
TDSP N | 113 | 126 | 129 | 51.9% | 48.1% | 28.6% | 71.4% | 20.0% | 80.0%
TDSP E | 72 | 131 | 97 | 78.6% | 21.4% | 25.0% | 75.0% | 0.0% | 100.0%
*Indicates sorted by this column in lowest to highest order

## Slide 12: Site Certifications – Resubmittals
Average Days to Receive |  |  |  | Percentage of documents submitted within protocol timeline |  |  |  |  | 
 |  |  |  | 2015-2019 Average |  | 2020 |  | 2021 | 
TDSP | 2015-2019 Average | 2020 | 2021 | ≤ 60 Days | > 60 Days | ≤ 60 Days | > 60 Days | ≤ 60 Days | > 60 Days*
TDSP O | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
TDSP Q | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
TDSP T | 12 | N/A | N/A | 100.0% | 0.0% | N/A | N/A | N/A | N/A
TDSP B | 40 | N/A | N/A | 100.0% | 0.0% | N/A | N/A | N/A | N/A
TDSP R | 13 | 13 | N/A | 94.4% | 5.6% | 100.0% | 0.0% | N/A | N/A
TDSP P | 23 | 16 | N/A | 84.6% | 15.4% | 100.0% | 0.0% | N/A | N/A
TDSP U | 86 | 41 | N/A | 50.0% | 50.0% | 66.7% | 33.3% | N/A | N/A
TDSP V | 34 | 37 | N/A | 85.1% | 14.9% | 62.5% | 37.5% | N/A | N/A
TDSP G | N/A | N/A | 4 | N/A | N/A | N/A | N/A | 100.0% | 0.0%
TDSP W | 8 | 2 | 10 | 100.0% | 0.0% | 100.0% | 0.0% | 100.0% | 0.0%
TDSP M | 14 | 3 | 0 | 95.0% | 5.0% | 100.0% | 0.0% | 100.0% | 0.0%
TDSP A | 14 | 0 | 13 | 94.3% | 5.7% | 100.0% | 0.0% | 100.0% | 0.0%
TDSP I | 27 | 9 | 2 | 89.1% | 10.9% | 100.0% | 0.0% | 100.0% | 0.0%
TDSP K | 16 | 22 | 2 | 89.3% | 10.7% | 92.3% | 7.7% | 100.0% | 0.0%
TDSP S | 30 | 17 | 5 | 91.0% | 9.0% | 90.9% | 9.1% | 100.0% | 0.0%
TDSP J | 66 | 39 | 13 | 58.6% | 41.4% | 68.8% | 31.3% | 100.0% | 0.0%
TDSP X | 26 | 32 | 5 | 88.5% | 11.5% | 66.7% | 33.3% | 100.0% | 0.0%
TDSP D | 28 | 26 | 24 | 82.1% | 17.9% | 66.7% | 33.3% | 100.0% | 0.0%
TDSP N | 128 | 119 | 3 | 53.7% | 46.3% | 66.7% | 33.3% | 100.0% | 0.0%
TDSP E | 41 | 67 | 54 | 72.0% | 28.0% | 65.0% | 35.0% | 100.0% | 0.0%
TDSP C | 44 | 40 | 22 | 76.7% | 23.3% | 85.7% | 14.3% | 96.0% | 4.0%
Average | 37 | 33 | 23 | 83.3% | 16.7% | 81.3% | 18.7% | 89.7% | 10.3%
TDSP F | 53 | 62 | 34 | 73.4% | 26.6% | 60.9% | 39.1% | 88.9% | 11.1%
TDSP H | 30 | 24 | 79 | 88.9% | 11.1% | 84.6% | 15.4% | 50.0% | 50.0%
TDSP L | N/A | 55 | 106 | N/A | N/A | 66.7% | 33.3% | 0.0% | 100.0%
*Indicates sorted by this column in lowest to highest order

## Slide 13: Follow-up Count Averages
Site Certification Follow-up Count Averages |  |  | 
TDSP | 2015-2019 Average | 2020 | 2021*
TDSP O | 0 | 0 | 0
TDSP Q | 0 | 0 | 0
TDSP B | 0 | 0 | 0
TDSP R | 0.04 | 0 | 0
TDSP M | 0.07 | 0 | 0
TDSP A | 0.11 | 0 | 0
TDSP T | 0.11 | 0 | 0
TDSP X | 0.07 | 0.13 | 0
TDSP V | 0.27 | 0.47 | 0
TDSP U | 1.29 | 1.5 | 0
TDSP I | 0.25 | 0.49 | 0.03
TDSP W | 0 | 0 | 0.14
TDSP P | 0.54 | 0 | 0.2
TDSP S | 0.16 | 0.33 | 0.22
Average | 0.25 | 0.5 | 0.31
TDSP C | 0.13 | 0.18 | 0.34
TDSP F | 0.33 | 0.56 | 0.36
TDSP H | 0.42 | 0.14 | 0.38
TDSP K | 0.18 | 0.2 | 0.4
TDSP J | 0.26 | 0.48 | 0.44
TDSP G | 0 | 0 | 0.6
TDSP N | 1.41 | 4.44 | 0.64
TDSP E | 0 | 2 | 0.73
TDSP D | 0.29 | 0 | 0.88
TDSP L | 0 | 1 | 2
*Indicates sorted by this column in lowest to highest order
Annual Test/Reprogram Follow-up Count Averages |  |  | 
TDSP | 2015-2019 Average | 2020 | 2021*
TDSP O | 0 | 0 | 0
TDSP P | 0 | 0 | 0
TDSP T | 0 | 0 | 0
TDSP Q | 0 | 0 | 0
TDSP W | 0 | 0 | 0
TDSP G | 0 | 0 | 0
TDSP L | 0 | 0 | 0
TDSP X | 0.01 | 0 | 0
TDSP R | 0.05 | 0 | 0
TDSP M | 0.08 | 0 | 0
TDSP U | 0.31 | 0.67 | 0
TDSP V | 0.05 | 0.02 | 0.02
TDSP F | 0.11 | 0.19 | 0.02
TDSP S | 0.01 | 0.01 | 0.03
TDSP K | 0.03 | 0 | 0.04
TDSP D | 0.16 | 0 | 0.06
TDSP C | 0.06 | 0.04 | 0.08
TDSP A | 0.06 | 0 | 0.1
TDSP E | 0.09 | 0.04 | 0.12
TDSP I | 0.03 | 0.1 | 0.14
TDSP J | 0.13 | 1.11 | 0.14
TDSP H | 0.05 | 0 | 0.22
Average | 0.06 | 0.2 | 0.28
TDSP B | 0 | 0 | 0.5
TDSP N | 0.31 | 2.62 | 5.22