## Slide 1
Meter Working Group
January 27, 2022

## Slide 2: Anti-Trust Admonition
  Antitrust Admonition
  To avoid raising concerns about antitrust liability, participants in ERCOT activities should refrain from proposing any action or measure that would exceed ERCOT’s authority under federal or state law. For additional information, stakeholders should consult the Statement of Position on Antitrust Issues for Members of ERCOT Committees, Subcommittees, and Working Groups, which is posted on the ERCOT website. http://www.ercot.com/about/governance/index.html
Disclaimer
All presentations and materials submitted by Market Participants or any other Entity to ERCOT staff for this meeting are received and posted with the acknowledgement that the information will
be considered public in accordance with the ERCOT Websites Content Management Operating Procedure.

## Slide 3: Attendance Roll-call and Introductions
  Brief review of WebEx attendees and meeting format
  Selection/Confirmation of Chair/Vice Chair

## Slide 4: NPRR 1100 Discussions
  Discussion on impacts to metering for NPRR 1100
  Telsa presentation from NPRR workshop
    https://www.ercot.com/files/docs/2021/11/10/Tesla_Presentation_to_NPRR_Workshop_10.20.2021_CORRECTED.pptx

## Slide 5: EPS Metering Document Exchange Options
  ERCOT has established a secure share site that can be used to transfer documents instead of email
  Current system is only practical on a small scale
  Is there a market need to pursue a more widespread approach?
    Any TDSP expecting to face restrictions on sending documents (design proposal, one- and three-line drawings, site certification, etc.) over email?

## Slide 6: Line Loss Compensation Language Changes Status
  Meter Working Group discussed and agreed on language for loss compensation update in Protocol and SMOG during the 11/18/20 MWG.
  Had been waiting for NPRR1005 to be approved and implemented
    Approved 8/19/21 and Protocol language go live 2/1/2022
    https://www.ercot.com/services/comm/mkt_notices/detail?id=8325cfc8-1ac3-4456-825d-50776c231dc8
  Update on NPRR and SMOGRR submittal with MWG consensus language on 11/18/20.
    https://www.ercot.com/mktrules/issues/NPRR1117#keydocs
    https://www.ercot.com/mktrules/issues/SMOGRR025#keydocs
  If approved, Design Proposal 3.1 will be published to the ERCOT website which contains updates on how to document the scenario on the design proposal (revisions had consensus from MWG on 11/18/20).
    See key document 5 – Design Proposal 3.1 Redline

## Slide 7: Design Proposal Requirements for Non-Aux Load Netting Configurations

## Slide 8: Design Proposal Requirements for Non-Aux Load Netting Configurations
  The EPS Metering Design Proposal must be updated to add the additional load to document the netting scheme.
    Load value should be updated in boxes A7 for the facility
    Changes to the netting arrangement should be noted in box A15 including a reference to the new load type
      It is allowed for fixed percentage load split amongst more than one ESIID
    Other comments should be added to box A16 to clarify the installation for the settlement purposes as it applies to the whole facility
    B27 should also be updated to the new load value and to include the new load type

## Slide 9: Design Proposal Requirements for Non-Aux Load Netting Configurations
  The EPS Metering Design Proposal reflecting the new load must be approved before the Resource Entity can have the new load placed in the network model and energized
  If only adding a new load there are no changes needed to existing site certification documentation.

## Slide 10: Design Proposal Requirements for Non-Aux Load Netting Configurations
  Current design proposal box A15 states that one-line drawings need to include load circuits.
    One-line drawing requirement are listed under Part C instructions.
      “A one line drawing should be of sufficient detail to allow verification of the accurate settlement metering of Resources and Loads at EPS Metering Facilities. The drawing should allow the design philosophy, instrument transformer locations, netting scheme, compensation scheme and any breakers isolating loads from generation to be understood.”
  Is there value to TDSPs of having the circuit to the load(s) be a requirement of the one-lines?
    If not, the language should be updated
      Design proposal can be updated as part of the 3.1 change to modify this language (see example below)

## Slide 11: Metering Configurations Being Proposed for Use of Existing Infrastructure to Connects Loads and Generation with No Netting
  See key document 7. Metering Configuration Discussion – Single POI No Netting

## Slide 12: Final Update on Voltage Throw-Over Schemes Related to Black Start
  Discussions have been held with TDSPs identified as having potential issues as seen during the black start testing instance
  Future design proposals will consider possible system configuration impacts to throw over VT configurations during ERCOT review
  If metering issues from throw over VTs occur again and there is a need, this issue may be brought back to the MWG

## Slide 13: Reports on EPS Activities
  See key document 9. Report on EPS Activities Jan2022

## Slide 14: Progress Report on NPRR949 Implementation
  NPRR949 was approved 8/13/2019 and Protocol 10.12.1 will be updated effective 1/1/2023 requiring IP EPS meter communication
  See key document 10. Progress Report on NPRR949 Jan2022

## Slide 15: New or Other Business Items
  Request for any new or other business items

## Slide 16: Meeting Summary and Closing Remarks
  Thank you for your attendance and participation.
  Notes from this meeting will be posted on the ERCOT website under the key documents for this meeting.
    https://www.ercot.com/calendar/event?id=1639180926783