## Slide 1
ROS Report – January 31, 2022
Chase Smith
Technical Advisory Committee (TAC) Meeting
ERCOT Public

## Slide 2: Voting Items
NOGRR234, Related to NPRR1098, DC Tie Reactive Power Capability Requirements
NOGRR235, Combining Greyboxes and Other Corrections
PGRR099, Revise GIM Process to Ensure Compliance with the Lone Star Infrastructure Protection Act

## Slide 3: Recent ROS Actions
NPRR1096, Require Sustained Six Hour Capability for ECRS and Non-Spin – endorsed as revised by ROS
NPRR1099, Managing Network Operations Model Resource Nodes - endorsed
NPRR1111, Related to SCR819, Improving IRR Control to Manage GTC Stability Limits - endorsed
PGRR095, Establish Minimum Deliverability Criteria – recommended approval
PGRR100, Steady-State Case Building Timeline Update – recommended approval
SCR819, Improving IRR Control to Manage GTC Stability Limits – endorsed
SCR820, Operator Real-Time Messaging During Emergency – endorsed
Approved creation of the Inverter-Based Resources Task Force
Elected 2022 ROS Leadership (Chair: Chase Smith; Vice Chair: Katie Rich)

## Slide 4: ROS WG Assignments
NPRR1070, Planning Criteria for GTC Exit Solutions (OWG, PLWG)
NPRR1084, Improvements to Reporting of Resource Outages and Derates (OWG)
NPRR1085, Ensuring Continuous Validity of PRC and Dispatch through Timely Changes to Resource Telemetry and COPs (OWG, PDCWG)
NPRR1100, Emergency Switching Solutions for Energy Storage Resources (OWG)
NPRR1110, Black Start Requirements Update (BSWG)
NOGRR215, Limit Use of Remedial Action Schemes (OWG)
NOGRR226, Revision to 5% Transmission Operator Load Shedding Relay Set Point (PDCWG, OWG, DWG)
NOGRR230, WAN Participant Security
PGRR073, Related to NPRR956, Designation of Providers of Transmission Additions
PGRR095, Establish Minimum Deliverability Criteria (PLWG)
PGRR096, Achieve Consistent Representation of Distributed Generation in Steady-State Models (PLWG, SSWG)
PGRR097, Related to NPRR1098, DC Tie Reactive Power Capability Requirements (PLWG) - withdrawn
PGRR098, Consideration of Load Shed in Transmission Planning Criteria (PLWG)
PGRR100, Steady-State Case Building Timeline Update

## Slide 5: Recent ROS Discussion Items
ROS Emergency Conditions List Finalized
  Close out action item
New Action Item relating to voltage reduction
Action Item relating to OBDRR031
  Close out action item

## Slide 6: Future Meetings
ROS
  Next Regularly Scheduled Meeting – February 3rd