## Slide 1
Item 9: PRS Report
Martha Henson
PRS Chair
Technical Advisory Committee (TAC) Meeting
ERCOT Public
January 31, 2022

## Slide 2: Summary of PRS Update
2022 PRS Leadership
Chair: Martha Henson, Oncor
Vice Chair: Melissa Trevino, Occidental Chemical
Revision Request(s) Recommended for Approval by PRS – Unopposed and No Impact (Vote):
NPRR1099, Managing Network Operations Model Resource Nodes [ERCOT]*
NPRR1102, ERCOT Discretion for Adjusting Non-Interval Data Recorder (NIDR) Backcasted Load Profiles [ERCOT]*
NPRR1111, Related to SCR819, Improving IRR Control to Manage GTC Stability Limits – URGENT [ERCOT]*
(* denotes no impact)

## Slide 3: Summary of PRS Update
Revision Requests Recommended for Approval by PRS – Unopposed with Impacts (Vote):
NPRR1095, Texas SET V5.0 Changes [TX SET]
  IA: Between $1M and $1.5M Priority 2023; Rank 3700
NPRR1098, Direct Current Tie (DC Tie) Reactive Power Capability Requirements [ERCOT]
  IA: Between $10k and $20k Priority 2022; Rank 2530
NPRR1113, Clarification of Regulation-Up Schedule for Controllable Load Resources in Ancillary Service Imbalance – URGENT [ERCOT]
  IA: Less than $10k (O&M) Priority N/A; Rank N/A
NPRR1114, Securitization – PURA Subchapter N Uplift Charges – URGENT [ERCOT]
  IA: Between $1.8M and $2.4M Priority 2022; Rank 320

## Slide 4: Summary of PRS Update
Revision Requests Recommended for Approval by PRS – Unopposed with Impacts (Vote):
SCR816, CRR Auction Bid Credit Enhancement [DC Energy]
  IA: Between $50k and $80k Priority 2022; Rank 2855
SCR817, Related to NPRR1095, MarkeTrak Validation Revisions Aligning with Texas SET V5.0 [TDTMS]
  IA: Between $400k and $600k Priority 2023; Rank 3700
SCR819, Improving IRR Control to Manage GTC Stability Limits [ERCOT]
  IA: Between $40k and $60k Priority 2022; Rank 3570

## Slide 5: Appendix

## Slide 6: NPRR1095, Texas SET V5.0 Changes [TX SET]
Proposed Effective Date: Upon system implementation – Priority 2023; Rank 3700
ERCOT Impact Analysis: Between $1M and $1.5M; no impacts to ERCOT staffing; impacts to CRM & Registration Systems, Retail Systems, Integration Systems, and Data Management & Analytic Systems; ERCOT business processes will be updated; no impacts to ERCOT grid operations and practices.
Revision Description: This NPRR contains revisions that the Texas Standard Electronic Transaction (Texas SET) Working Group has determined are necessary in support of the Texas SET V5.0 enhancement list.
PRS Decision: On 10/14/21, PRS unanimously voted via roll call to recommend approval of NPRR1095 as submitted. On 12/14/21, PRS unanimously voted via roll call to endorse and forward to TAC the 11/10/21 PRS Report and Impact Analysis for NPRR1095 with a recommended priority of 2023 and rank of 3700.

## Slide 7: NPRR1098, Direct Current Tie (DC Tie) Reactive Power Capability Requirements [ERCOT]
Proposed Effective Date: Upon system implementation – Priority 2022; Rank 2530
ERCOT Impact Analysis: Between $10k and $20k; no impacts to ERCOT staffing; impacts to Grid Decision Support Systems; no impacts to ERCOT business processes; ERCOT grid operations and practices will be updated. (budgetary costs borne by Southern Cross)
Revision Description: This NPRR establishes Reactive Power capability requirements for new Direct Current Ties (DC Ties) interconnecting to the ERCOT System and existing DC Ties replaced after January 1, 2021.
PRS Decision: On 10/14/21, PRS voted via roll call to recommend approval of NPRR1098 as submitted. There were three abstentions from the Consumer (Occidental), and Independent Retail Electric Provider (IREP) (2) (Reliant, Just Energy) Market Segments. On 12/14/21, PRS unanimously voted via roll call to endorse and forward to TAC the 11/10/21 PRS Report as amended by the 11/29/21 ERCOT comments and the Impact Analysis for NPRR1098 with a recommended priority of 2022 and rank of 2530.

## Slide 8: NPRR1099, Managing Network Operations Model Resource Nodes [ERCOT]
Proposed Effective Date: April 1, 2022
ERCOT Impact Analysis: No budgetary impact; no impacts to ERCOT staffing; no impacts to ERCOT computer systems; no impacts to ERCOT business processes; no impacts to ERCOT grid operations and practices.
Revision Description: This NPRR grants ERCOT greater authority to move a Resource Node in the Network Operations Model when deemed necessary to properly reflect Point of Interconnection (POI) changes or Resource retirements.
PRS Decision: On 12/14/21, PRS unanimously voted via roll call to recommend approval of NPRR1099 as amended by the 11/24/21 ERCOT comments. On 1/13/22, PRS unanimously voted via roll call to endorse and forward to TAC the 12/14/21 PRS Report and Impact Analysis for NPRR1099.

## Slide 9: NPRR1102, ERCOT Discretion for Adjusting Non-Interval Data Recorder (NIDR) Backcasted Load Profiles [ERCOT]
Proposed Effective Date: April 1, 2022
ERCOT Impact Analysis: No budgetary impact; no impacts to ERCOT staffing; no impacts to ERCOT computer systems; ERCOT business processes will be updated; no impacts to ERCOT grid operations and practices.
Revision Description: This NPRR grants ERCOT the authority to make adjustments to backcasted Non-Interval Data Recorder (NIDR) Load Profiles.
PRS Decision: On 12/14/21, PRS unanimously voted via roll call to recommend approval of NPRR1102 as submitted. On 1/13/22, PRS unanimously voted via roll call to endorse and forward to TAC the 12/14/21 PRS Report as revised by PRS and Impact Analysis for NPRR1102.

## Slide 10: NPRR1111, Related to SCR819, Improving IRR Control to Manage GTC Stability Limits – URGENT [ERCOT]
Proposed Effective Date: Upon system implementation of SCR819
ERCOT Impact Analysis: No budgetary impact; no impacts to ERCOT staffing; no impacts to ERCOT computer systems; no impacts to ERCOT business processes; no impacts to ERCOT grid operations and practices.
Revision Description: This NPRR expands the use of the Security-Constrained Economic Dispatch (SCED) Base Point Below High Dispatch Limit (“SBBH”) flag to signify that ERCOT has instructed an Intermittent Renewable Resource (IRR) or Direct Current (DC)-Coupled Resources not to exceed its Base Point. These changes improve the control of IRRs in order to more efficiently manage Generic Transmission Constraint (GTC) stability limits. Additionally, the Base Point Deviation Charge threshold for IRRs is adjusted to encourage better SCED Base Point control.
PRS Decision: On 1/13/22, PRS unanimously voted via roll call to recommend approval of NPRR1111 as submitted and to forward to TAC NPRR1111 and the Impact Analysis.

## Slide 11: NPRR1113, Clarification of Regulation-Up Schedule for Controllable Load Resources in Ancillary Service Imbalance – URGENT [ERCOT]
Proposed Effective Date: Upon system implementation
ERCOT Impact Analysis: Less than $10k (O&M); no impacts to ERCOT staffing; impacts to Credit, Settlements & Billing Systems; no impacts to ERCOT business processes; no impacts to ERCOT grid operations and practices.
Revision Description: This NPRR adjusts the definitions in Section 6.7.5, Real-Time Ancillary Service Imbalance Payment or Charge, to prohibit double-counting of the Regulation-Up (Reg-Up) Ancillary Service Schedule when calculating capacity in the Ancillary Service Imbalance Settlement for Controllable Load Resources available to SCED.
PRS Decision: On 1/13/22, PRS unanimously voted via roll call to grant NPRR1113 Urgent status; to recommend approval of NPRR1113 as amended by the 1/6/22 ERCOT comments; and to forward to TAC NPRR1113 and the Impact Analysis.

## Slide 12: NPRR1114, Securitization – PURA Subchapter N Uplift Charges – URGENT [ERCOT]
Proposed Effective Date: Upon system implementation – Priority 2022; Rank 320
ERCOT Impact Analysis: Between $1.8M and $2.4M; no impacts to ERCOT staffing; impacts to Credit Management Systems (CMM), Credit, Settlement & Billing Systems, Data Management & Analytics Systems, Financial Management Systems, Integration Systems, CRM & Registration Systems, and ERCOT Website and MIS Systems; ERCOT business processes will be updated; no impacts to ERCOT grid operations and practices. (budgetary costs borne by Securitization funding)
Revision Description: This NPRR establishes processes to assess and collect Securitization Uplift Charges to Qualified Scheduling Entities (QSEs) representing Load Serving Entities (LSEs) pursuant to the Debt Obligation Order (DOO) issued in PUCT Docket No. 52322.
PRS Decision: On 1/13/22, PRS unanimously voted via roll call to grant NPRR1114 Urgent status; to recommend approval of NPRR1114 as amended by the 1/12/22 TEAM comments as revised by PRS; and to forward to TAC NPRR1114 and the Impact Analysis with a recommended priority of 2022 and rank of 320
Credit WG Review: See 1/19/22 Credit WG Comments

## Slide 13: SCR816, CRR Auction Bid Credit Enhancement [DC Energy]
Proposed Effective Date: Upon system implementation – Priority 2022; Rank 2855
ERCOT Impact Analysis: Between $50k and $80k; no impacts to ERCOT staffing; impacts to Congestion Revenue Rights (CRR); no impacts to ERCOT business processes; no impacts to ERCOT grid operations and practices.
Revision Description: This SCR unlocks Congestion Revenue Right (CRR) bid credit on the same day that CRR Auction results are posted.
PRS Decision: On 10/14/21, PRS unanimously voted via roll call to recommend approval of SCR816 as submitted. On 12/14/21, PRS unanimously voted via roll call to endorse and forward to TAC the 11/10/21 PRS Report and Impact Analysis for SCR816 with a recommended priority of 2022 and rank of 2855.

## Slide 14: SCR817, Related to NPRR1095, MarkeTrak Validation Revisions Aligning with Texas SET V5.0 [TDTMS]
Proposed Effective Date: Upon system implementation – Priority 2023; Rank 3700
ERCOT Impact Analysis: Between $400k and $600k; no impacts to ERCOT staffing; impacts to Retail Systems, CRM & Registration Systems, and Integration Systems; ERCOT business processes will be updated; no impacts to ERCOT grid operations and practices.
Revision Description: This SCR adds validations/requirements to existing MarkeTrak subtypes, revises existing workflows, and suggests new subtypes to align with current market practices for more efficient issue resolution.
PRS Decision: On 10/14/21, PRS unanimously voted via roll call to recommend approval of SCR817 as submitted. On 12/14/21, PRS unanimously voted via roll call to endorse and forward to TAC the 11/10/21 PRS Report and Impact Analysis for SCR817 with a recommended priority of 2023 and rank of 3700.

## Slide 15: SCR819, Improving IRR Control to Manage GTC Stability Limits [ERCOT]
Proposed Effective Date: Upon system implementation – Priority 2022; Rank 3570
ERCOT Impact Analysis: Between $40k and $60k; no impacts to ERCOT staffing; impacts to Energy Management Systems and Market Operation Systems, and Integration Systems; no impacts to ERCOT business processes; ERCOT grid operations and practices will be updated.
Revision Description: This SCR improves the dispatch of Base Points to Resources to account for the ramping of uncurtailed IRRs and reduces the chance of violating Generic Transmission Limits (GTLs).
PRS Decision: On 1/13/22, PRS unanimously voted via roll call to recommend approval of SCR819 as submitted and to forward to TAC SCR819 and the Impact Analysis with a recommended priority of 2022 and rank of 3570.

## Slide 16: 2021 Release Targets – Board Approved NPRRs / SCRs / xGRRs
Go-live dates can differ from Protocol effective dates – Please refer to market notices for more details
Release targets are subject to change
APPENDIX
Red Text: New additions and target release changes
Strike-Through Text: Previous target release
(a), (b), etc.: Multiple phase release
February 2/2 – 2/4 | April 3/30 – 4/1 | May 5/25 – 5/27 | July 7/27 – 7/29 | October 10/5 – 10/7 | December 12/7 – 12/9
NPRR902(a) NOGRR195 NPRR1055 OBDRR023(a) NPRR1020 SCR804 | NPRR971 NPRR986 NPRR998 NPRR1024 NPRR1043 NOGRR213 VCMRR027 PGRR070 NPRR1060 | NPRR974 NPRR978(c) NPRR1048 NPRR1051 SCR811 ECMS ECMS NPRR1080 OBDRR030 NPRR1081(a) | NPRR902(b) NPRR905 SCR789 NPRR1062 RMGRR164 NPRR1031 RRGRR026 NPRR867 NPRR1081(b) | None NPRR984 OBDRR023(b) | None SCR781
Project Status Codes
NS = Not Started
I = Initiation
P = Planning
E = Execution
H = On Hold
R1
R2
R3
R4
R5
R6
NPRR902(a) – ECEII Market Participant MPIM role
NPRR902(b) – MIS links updated for ECEII reports
NPRR978(c) – Forecast Zone scope
NPRR1081(a) – Manual implementation
NPRR1081(b) – Automated solution
OBDRR023(a) – ERS Expenditure Limit
OBDRR023(b) – 4 Standard Contract Terms/Year
TBD Items | NPRRs: 484, 825(b), 826, 829, 841, 857, 879, 885, 904, 918, 930, 935(b), 936, 941, 945, 962, 965, 1004, 1006, 1019, 1023, 1030, 1032, 1034, 1040, 1057 SCRs: 799, 805, 809, 812 Market Guides: PGRR066, PGRR076 Other Binding Docs: OBDRR009
E
Replace NoticeBuilder
ECMS
11/17 – 11/20
New navigation
1/1
ü
ü
ü
2/1
10/1
5/1
3/15
ü
ü
ü
ü
ü
ü
ü
ü
ü
4/22
ü
6/1
ü
RIOO – 12/20
Interconnection requests of less than 10MWs and DGRs
6/25
ü
ü
ü
ü
ü
ü
ü
ü
ü
ü
New public version of ERCOT.com homepage
ü
7/1
7/14
7/23
8/1
ü
ü
ü
ü
ü
ü
September
Various Dates
ü
ü
ü
ü
ü
ü

## Slide 17: 2022 Release Targets – Board Approved NPRRs / SCRs / xGRRs
Go-live dates can differ from Protocol effective dates – Please refer to market notices for more details
Release targets are subject to change
APPENDIX
Red Text: New additions and target release changes
Strike-Through Text: Previous target release
(a), (b), etc.: Multiple phase release
February 2/1 – 2/3 | March 3/29 – 3/31 | May 5/24 – 5/26 | July 7/26 – 7/28 | October 10/4 – 10/6 | December 12/6 – 12/8
LPGRR068 NPRR1054(a) NPRR1005 NPRR917 NPRR1016 NPRR1052 NPRR1065 NOGRR212 PGRR082 NPRR1073 NPRR1016 PGRR082 NOGRR212 | SCR800 SCR809 SCR814 | NPRR939 NPRR1093 NPRR1101 SCR800 SCR809 | TBD | FFR Advancement (NPRR863 FFR) | TBD
Project Status Codes
NS = Not Started
I = Initiation
P = Planning
E = Execution
H = On Hold
R1
R2
R3
R4
R5
R6
P
P
P
P
P
E
E
E
E
E
E
Securitization Subchapter N March Go-Live
ECRS project starts in 1/2022 with a go-live target prior to the EMS Freeze
1/1
P
EMS Freeze
Mid-2023 – Mid-2024
E
ü
ü
ü
ü
DGR/DESR
NPRR1054(a) – Portion of gray box