Date:	January 31, 2022

To:	Technical Advisory Committee (TAC) Representatives

From:	Martha Henson, Protocol Revision Subcommittee (PRS) Chair

Subject: Nodal Protocol Revision Requests (NPRRs) and System Change Requests (SCRs)

##### Issue: ##### Consideration of the following NPRRs and SCRs recommended for approval by PRS: - NPRR1095, Texas SET V5.0 Changes [TX SET] - NPRR1098, Direct Current Tie (DC Tie) Reactive Power Capability Requirements [ERCOT] - NPRR1099, Managing Network Operations Model Resource Nodes [ERCOT] - NPRR1102, ERCOT Discretion for Adjusting Non-Interval Data Recorder (NIDR) Backcasted Load Profiles [ERCOT] - NPRR1111, Related to SCR819, Improving IRR Control to Manage GTC Stability Limits – URGENT [ERCOT] - NPRR1113, Clarification of Regulation-Up Schedule for Controllable Load Resources in Ancillary Service Imbalance – URGENT [ERCOT] - NPRR1114, Securitization – PURA Subchapter N Uplift Charges – URGENT [ERCOT] - SCR816, CRR Auction Bid Credit Enhancement [DC Energy] - SCR817, Related to NPRR1095, MarkeTrak Validation Revisions Aligning with Texas SET V5.0 [TDTMS] - SCR819, Improving IRR Control to Manage GTC Stability Limits – URGENT [ERCOT]

##### Background/History: Unless otherwise noted: (i) all Market Segments participated in each vote and (ii) For NPRRs, ERCOT Credit Staff and the Credit Work Group (Credit WG) have reviewed the NPRR and do not believe it requires changes to credit monitoring activity or the calculation of liability. Revision Requests Recommended for Approval - NPRR1095, Texas SET V5.0 Changes [TX SET] Proposed Effective Date: Upon system implementation – Priority 2023; Rank 3700 ERCOT Impact Analysis: Between $1M and $1.5M; no impacts to ERCOT staffing; impacts to CRM & Registration Systems, Retail Systems, Integration Systems, and Data Management & Analytic Systems; ERCOT business processes will be updated; no impacts to ERCOT grid operations and practices. Revision Description: This NPRR contains revisions that the Texas Standard Electronic Transaction (Texas SET) Working Group has determined are necessary in support of the Texas SET V5.0 enhancement list. PRS Decision: On 10/14/21, PRS unanimously voted via roll call to recommend approval of NPRR1095 as submitted. On 12/14/21, PRS unanimously voted via roll call to endorse and forward to TAC the 11/10/21 PRS Report and Impact Analysis for NPRR1095 with a recommended priority of 2023 and rank of 3700. - NPRR1098, Direct Current Tie (DC Tie) Reactive Power Capability Requirements [ERCOT] Proposed Effective Date: Upon system implementation – Priority 2022; Rank 2530 ERCOT Impact Analysis: Between $10k and $20k; no impacts to ERCOT staffing; impacts to Grid Decision Support Systems; no impacts to ERCOT business processes; ERCOT grid operations and practices will be updated. (budgetary costs borne by Southern Cross) Revision Description: This NPRR establishes Reactive Power capability requirements for new Direct Current Ties (DC Ties) interconnecting to the ERCOT System and existing DC Ties replaced after January 1, 2021. PRS Decision: On 10/14/21, PRS voted via roll call to recommend approval of NPRR1098 as submitted. There were three abstentions from the Consumer (Occidental), and Independent Retail Electric Provider (IREP) (2) (Reliant, Just Energy) Market Segments. On 12/14/21, PRS unanimously voted via roll call to endorse and forward to TAC the 11/10/21 PRS Report as amended by the 11/29/21 ERCOT comments and the Impact Analysis for NPRR1098 with a recommended priority of 2022 and rank of 2530. - NPRR1099, Managing Network Operations Model Resource Nodes [ERCOT] Proposed Effective Date: April 1, 2022 ERCOT Impact Analysis: No budgetary impact; no impacts to ERCOT staffing; no impacts to ERCOT computer systems; no impacts to ERCOT business processes; no impacts to ERCOT grid operations and practices. Revision Description: This NPRR grants ERCOT greater authority to move a Resource Node in the Network Operations Model when deemed necessary to properly reflect Point of Interconnection (POI) changes or Resource retirements. PRS Decision: On 12/14/21, PRS unanimously voted via roll call to recommend approval of NPRR1099 as amended by the 11/24/21 ERCOT comments. On 1/13/22, PRS unanimously voted via roll call to endorse and forward to TAC the 12/14/21 PRS Report and Impact Analysis for NPRR1099. - NPRR1102, ERCOT Discretion for Adjusting Non-Interval Data Recorder (NIDR) Backcasted Load Profiles [ERCOT] Proposed Effective Date: April 1, 2022 ERCOT Impact Analysis: No budgetary impact; no impacts to ERCOT staffing; no impacts to ERCOT computer systems; ERCOT business processes will be updated; no impacts to ERCOT grid operations and practices. Revision Description: This NPRR grants ERCOT the authority to make adjustments to backcasted Non-Interval Data Recorder (NIDR) Load Profiles. PRS Decision: On 12/14/21, PRS unanimously voted via roll call to recommend approval of NPRR1102 as submitted. On 1/13/22, PRS unanimously voted via roll call to endorse and forward to TAC the 12/14/21 PRS Report as revised by PRS and Impact Analysis for NPRR1102. - NPRR1111, Related to SCR819, Improving IRR Control to Manage GTC Stability Limits – URGENT [ERCOT] Proposed Effective Date: Upon system implementation of SCR819 ERCOT Impact Analysis: No budgetary impact; no impacts to ERCOT staffing; no impacts to ERCOT computer systems; no impacts to ERCOT business processes; no impacts to ERCOT grid operations and practices. Revision Description: This NPRR expands the use of the Security-Constrained Economic Dispatch (SCED) Base Point Below High Dispatch Limit (“SBBH”) flag to signify that ERCOT has instructed an Intermittent Renewable Resource (IRR) or Direct Current (DC)-Coupled Resources not to exceed its Base Point. These changes improve the control of IRRs in order to more efficiently manage Generic Transmission Constraint (GTC) stability limits. Additionally, the Base Point Deviation Charge threshold for IRRs is adjusted to encourage better SCED Base Point control. PRS Decision: On 1/13/22, PRS unanimously voted via roll call to recommend approval of NPRR1111 as submitted and to forward to TAC NPRR1111 and the Impact Analysis. - NPRR1113, Clarification of Regulation-Up Schedule for Controllable Load Resources in Ancillary Service Imbalance – URGENT [ERCOT] Proposed Effective Date: Upon system implementation ERCOT Impact Analysis: Less than $10k (O&M); no impacts to ERCOT staffing; impacts to Credit, Settlements & Billing Systems; no impacts to ERCOT business processes; no impacts to ERCOT grid operations and practices. Revision Description: This NPRR adjusts the definitions in Section 6.7.5, Real-Time Ancillary Service Imbalance Payment or Charge, to prohibit double-counting of the Regulation-Up (Reg-Up) Ancillary Service Schedule when calculating capacity in the Ancillary Service Imbalance Settlement for Controllable Load Resources available to SCED. PRS Decision: On 1/13/22, PRS unanimously voted via roll call to grant NPRR1113 Urgent status; to recommend approval of NPRR1113 as amended by the 1/6/22 ERCOT comments; and to forward to TAC NPRR1113 and the Impact Analysis. - NPRR1114, Securitization – PURA Subchapter N Uplift Charges – URGENT [ERCOT] Proposed Effective Date: Upon system implementation – Priority 2022; Rank 320 ERCOT Impact Analysis: Between $1.8M and $2.4M; no impacts to ERCOT staffing; impacts to Credit Management Systems (CMM), Credit, Settlement & Billing Systems, Data Management & Analytics Systems, Financial Management Systems, Integration Systems, CRM & Registration Systems, and ERCOT Website and MIS Systems; ERCOT business processes will be updated; no impacts to ERCOT grid operations and practices. (budgetary costs borne by securitization funding) Revision Description: This NPRR establishes processes to assess and collect Securitization Uplift Charges to Qualified Scheduling Entities (QSEs) representing Load Serving Entities (LSEs) pursuant to the Debt Obligation Order (DOO) issued in PUCT Docket No. 52322. PRS Decision: On 1/13/22, PRS unanimously voted via roll call to grant NPRR1114 Urgent status; to recommend approval of NPRR1114 as amended by the 1/12/22 TEAM comments as revised by PRS; and to forward to TAC NPRR1114 and the Impact Analysis with a recommended priority of 2022 and rank of 320 Credit WG Review: See 1/19/22 Credit WG Comments - SCR816, CRR Auction Bid Credit Enhancement [DC Energy] Proposed Effective Date: Upon system implementation – Priority 2022; Rank 2855 ERCOT Impact Analysis: Between $50k and $80k; no impacts to ERCOT staffing; impacts to Congestion Revenue Rights (CRR); no impacts to ERCOT business processes; no impacts to ERCOT grid operations and practices. Revision Description: This SCR unlocks Congestion Revenue Right (CRR) bid credit on the same day that CRR Auction results are posted. PRS Decision: On 10/14/21, PRS unanimously voted via roll call to recommend approval of SCR816 as submitted. On 12/14/21, PRS unanimously voted via roll call to endorse and forward to TAC the 11/10/21 PRS Report and Impact Analysis for SCR816 with a recommended priority of 2022 and rank of 2855. - SCR817, Related to NPRR1095, MarkeTrak Validation Revisions Aligning with Texas SET V5.0 [TDTMS] Proposed Effective Date: Upon system implementation – Priority 2023; Rank 3700 ERCOT Impact Analysis: Between $400k and $600k; no impacts to ERCOT staffing; impacts to Retail Systems, CRM & Registration Systems, and Integration Systems; ERCOT business processes will be updated; no impacts to ERCOT grid operations and practices. Revision Description: This SCR adds validations/requirements to existing MarkeTrak subtypes, revises existing workflows, and suggests new subtypes to align with current market practices for more efficient issue resolution. PRS Decision: On 10/14/21, PRS unanimously voted via roll call to recommend approval of SCR817 as submitted. On 12/14/21, PRS unanimously voted via roll call to endorse and forward to TAC the 11/10/21 PRS Report and Impact Analysis for SCR817 with a recommended priority of 2023 and rank of 3700. - SCR819, Improving IRR Control to Manage GTC Stability Limits [ERCOT] Proposed Effective Date: Upon system implementation – Priority 2022; Rank 3570 ERCOT Impact Analysis: Between $40k and $60k; no impacts to ERCOT staffing; impacts to Energy Management Systems and Market Operation Systems, and Integration Systems; no impacts to ERCOT business processes; ERCOT grid operations and practices will be updated. Revision Description: This SCR improves the dispatch of Base Points to Resources to account for the ramping of uncurtailed IRRs and reduces the chance of violating Generic Transmission Limits (GTLs). PRS Decision: On 1/13/22, PRS unanimously voted via roll call to recommend approval of SCR819 as submitted and to forward to TAC SCR819 and the Impact Analysis with a recommended priority of 2022 and rank of 3570. Revision Requests Rejected None Revision Requests Withdrawn None Status of Pending Revision Requests (For Information Purposes Only): Revision Requests Scheduled for Impact Analysis Review and Priority Assignment (if applicable) at PRS - NPRR1092, Reduce RUC Offer Floor and Remove RUC Opt-Out Provision [IMM] - SCR818, Changes to Incorporate GIC Modeling Data into Existing Modeling Applications [CenterPoint] - SCR820, Operator Real-Time Messaging During Emergency [AEP/CenterPoint] Revision Requests Deferred or Tabled and/or Pending Input from Another Subcommittee - NPRR956, Designation of Providers of Transmission Additions [ERCOT] - NPRR981, Day-Ahead Market Price Correction Process [Luminant] - NPRR1058, Resource Offer Modernization for Real-Time Co-Optimization [Reliant, Luminant, STEC, LCRA, Calpine] - NPRR1067, Market Entry Qualifications, Continued Participation Requirements, and Credit Risk Assessment [ERCOT] - NPRR1070, Planning Criteria for GTC Exit Solutions [EDF Renewables / Pattern Energy] - NPRR1084, Improvements to Reporting of Resource Outages and Derates [ERCOT] - NPRR1085, Ensuring Continuous Validity of Physical Responsive Capability (PRC) and Dispatch through Timely Changes to Resource Telemetry and Current Operating Plans (COPs) [ERCOT] - NPRR1088, Applying Forward Adjustment Factors to Forward Market Positions and Un-applying Forward Adjustment Factors to Prior Market Positions [Grand Oak Capital Partners] - NPRR1089, Requiring Highest-Ranking Representative, Official, or Officer of a Resource Entity to Execute Weatherization and Natural Gas Declarations [ERCOT] - NPRR1096, Require Sustained Six Hour Capability for ECRS and Non-Spin [ERCOT] - NPRR1097, Create Resource Forced Outage Report – URGENT [ERCOT] - NPRR1100, Emergency Switching Solutions for Energy Storage Resources [Tesla] - NPRR1108, ERCOT Shall Approve or Deny All Resource Outage Requests – URGENT [ERCOT] - NPRR1110, Black Start Requirements Update [ERCOT] - NPRR1112, Elimination of Unsecured Credit Limits [ERCOT] New Revision Requests Scheduled for Consideration at PRS - NPRR1116, Remove Obsolete Reference to Market Information System (MIS) [ERCOT] - NPRR1117, Related to SMOGRR025, Modifications to Line Loss Compensation Requirement for EPS Metering [ERCOT] - NPRR1118, Clarifications to the OSA Process [ERCOT] These Revision Requests and supporting materials are posted on the ERCOT website at the following links: http://www.ercot.com/mktrules/issues/nprr http://www.ercot.com/mktrules/issues/scr