## Slide 1: Wholesale Market Working Group Report to WMS
David Detelich
Murali Sithuraj
February 2, 2022
From January 28 WMWG Meeting

## Slide 2: NPRR1084 Improvements to Reporting of Resource Outages and Derates
ERCOT and stakeholders have had discussions about the concerns this NPRR raises
  Labor requirements
  Combined Cycle temperature ratings
  Real time reporting compared to GADS report
Revised language has not been put forth for review
Questions concerning the use for this information
  ERCOT states it is for studies that could highlight congestion issues if plants can’t reach full capabilities
  Is the outage scheduler the right source for ERCOT real time information versus telemetry or the COP
Stakeholders still plan to issue comments
Stays Tabled at WMWG

## Slide 3: RMR concepts - RE-owned Transmission Equipment
ERCOT Transmission Planning reviewed the discussion that was held at the PLWG meeting
  ERCOT plans to submit an NPRR to add a field to the NSO form to help RE indicate any RE-owned transmission facilities that will be deactivated or removed from service as part of the NSO
  The purpose is to accurately model any change to the transmission network connections in developing study cases used in the RMR reliability studies
  Should the studies show the need for the transmission equipment to remain in service, what is the mechanism including compensation?
Feedback from stakeholders
  RMR of the whole facility could be utilized
  Note if the NSO is due to forced outage, studies are not run
  RMR is not for transmission equipment
  Would RE owned equipment transfer to the TDSP?
ERCOT (Legal) and stakeholders should determine proper tools and processes to “RMR” RE owned transmission equipment

## Slide 4: Exceptional Fuel Cost notices
ERCOT informational presentation on the background and use of the Exceptional Fuel Costs process
  Approved with NPRR 847 in August 2018
  The purpose of EFCs is to allow QSEs to reflect exceptional fuel costs in their energy offers when their Resources are mitigated in Real-Time
As of 1/26/2022, ERCOT has received EFC submissions on 52 Operating Days since 12/1/2021
All of these have been from a single market participant

## Slide 5: NPRR1100 Emergency Switching Solutions for Energy Storage Resources
ERCOT reviewed market issues and policy questions raised by this NPRR
  When to go into Microgrid island mode (MIM)
  How to represent Load and Gen
  No ERCOT settlements
  How to handle WSL – add a charge for the energy used to charge the battery that was discharged in MIM?
NPRR author and ERCOT to issue comments
Note that Operational issues were reviewed at OWG and settlement issues were reviewed at MWG
Item remains tabled to review the ERCOT comments

## Slide 6: NPRR11096 Require Sustained Six Hour Capability for ECRS and Non-Spin
ROS has endorsed the NPRR with change to two- hour capability for ECRS and Non-Spin
  ERCOT may issue comments to make four-hour sustained capability for Non-Spin
  These requirements would apply even if resource only sold the service for one hour
  WMWG stakeholders expressed concerns over this NPRR with any duration more than one hour
ERCOT states need to manage the risks associated with ESR’s providing AS for durations that the SOC may not allow
  Currently QSE’s manage the risks to their portfolio of resources
  Limiting one type of resource appears discriminatory
  ERCOT does not have the tools or resources to manage SOC on ESRs
  Stakeholders point out ERCOT has enforcement tools including penalties for nonperformance

## Slide 7: NPRR1096 Require Sustained Six Hour Capability for ECRS and Non-Spin - continued
RTC fixes this issue
  Issues addressed by this NPRR should change with implementation or Real-time Co-optimization
  However, that implementation is a way off
No other solutions presented
Can ERCOT limit the quantity of the services that can be provided by ESRs until RTC is implemented or other tools are developed?
WMWG needs input on how to proceed

## Slide 8: NPRR1108 ERCOT Shall Approve or Deny All Resource Outage Requests
ERCOT presented the calculations and assumptions for the Maximum Daily Resource Planned Outage Capacity (MDRPOC)
  MDRPOC will be updated seasonally for each day of the next 60 months on a rolling daily basis
  MDRPOC and the aggregate MW of approved Resource Planned Outages will be posted daily on the ERCOT website
Stakeholders provided feedback
  Frequency of the MDRPOC studies
  ERCOT assured that approved outages will not be canceled except through the AAN process
ERCOT to issue comments to clarify the process
Item remains tabled to review the ERCOT comments

## Slide 9: CLR, NCLR, and nonmarket loads settlement related to fast ramp of large loads
WMWG reviewed two presentations
  Settlement issues with 15 min load energy settlement
  Changes in Load influencing System Frequency
Issues presented to be addressed by a Task Force
This is not expected to be reviewed at WMWG any further

## Slide 10: Next meeting
February 18, 2022
Thank you and congratulations to the new leadership
Any questions?