| VCMRR Number | 032 | VCMRR Title | Calculation of Average Running Hours per Start when Determining the Variable O&M for QSGRs |
| --- | --- | --- | --- |
| Date of Decision |  | January 31, 2022 |  |
| Action |  | Recommended Approval |  |
| Timeline |  | Normal |  |
| Proposed Effective Date |  | March 1, 2022 |  |
| Priority and Rank Assigned |  | Not Applicable |  |
| Verifiable Cost Manual Sections Requiring Revision |  | Appendix 7: Calculation of the Variable O&M Value and Incremental Heat Rate used in Real Time Mitigation for Quick Start Generation Resources (QSGRs) |  |
| Related Documents Requiring Revision/Related Revision Requests |  | None |  |
| Revision Description |  | This Verifiable Cost Manual Revision Request (VCMRR) clarifies that the average run time per start is calculated by dividing the total running hours by the total number of starts during the 20 consecutive day period, and ensures that at a minimum, one start will be used in the calculation of the average run time per start when the Resource is operating on the first interval of the first day of the 20 consecutive day period. |  |
| Reason for Revision |  | Addresses current operational issues. Meets Strategic goals (tied to the ERCOT Strategic Plan or directed by the ERCOT Board). Market efficiencies or enhancements Administrative Regulatory requirements Other: (explain) (please select all that apply) |  |
| Business Case |  | This VCMRR provides clarification on the calculation of the average run time per start for Quick Start Generation Resources (QSGRs). Specifically, Appendix 7 provides a definition of the calculated average run time per start but is not clear that this should be calculated by dividing the total running hours by the total number of starts during the 20 consecutive day period as described in the Verifiable Cost Manual. Furthermore, this VCMRR proposes a change in the calculation of the number of starts for the 20 day period. ERCOT proposes that one additional start should be calculated when the Resource is operating during the first interval of the first day of the 20 consecutive day period. This will ensure that the total number of running hours will be divided by at least one start when the Resource is running continuously over the 20 consecutive day period or when the Resource did not start during the 20 consecutive day period but was running at the beginning of this period. |  |
| WMS Decision |  | On 11/3/21, WMS voted unanimously via roll call to recommend approval of VCMRR032 as submitted. All Market Segments participated in the vote. On 12/1/21, WMS voted unanimously via roll call to endorse and forward to TAC the 11/3/21 WMS Report and Impact Analysis for VCMRR032. All Market Segments participated in the vote. |  |
| Summary of WMS Discussion |  | On 11/3/21, there was no discussion. On 12/1/21, participants reviewed the Impact Analysis for VCMRR032. |  |
| TAC Decision |  | On 1/31/22, TAC voted unanimously via roll call to recommend approval of VCMRR032 as recommended by WMS in the 12/1/21 WMS Report. All Market Segments participated in the vote. |  |
| Summary of TAC Discussion |  | On 1/31/22, TAC reviewed the ERCOT Opinion and ERCOT Market Impact Statement for VCMRR032. |  |
| ERCOT Opinion |  | ERCOT supports approval of VCMRR032. |  |
| ERCOT Market Impact Statement |  | ERCOT Staff has reviewed VCMRR032 and believes the market impact for VCMRR032 will be to address current operational issues by clarification of the calculation of the average run time per start for QSGRs. |  |

| Sponsor |  |
| --- | --- |
| Name | Ino Gonzalez; Marcelo Magarinos; Joshua McGuire |
| E-mail Address | Ino.Gozalez@ercot.com; Marcelo.Magarinos@ercot.com; Joshua.McGuire@ercot.com |
| Company | ERCOT |
| Phone Number | 512-248-3954; 512-248-6724; 512-248-3971 |
| Cell Number |  |
| Market Segment | Not Applicable |

| Market Rules Staff Contact |  |
| --- | --- |
| Name | Brittney Albracht |
| E-Mail Address | Brittney.Albracht@ercot.com |
| Phone Number | 512-225-7027 |

| Comments Received |  |
| --- | --- |
| Comment Author | Comment Summary |
| None |  |

Market Rules Notes

None

Proposed Verifiable Cost Manual Language Revision

- Appendix 7:  Calculation of the Variable O&M Value and Incremental Heat Rate used in Real Time Mitigation for Quick Start Generation Resources (QSGRs)

Variable O&M rate ($/MWh) = Variable O&M (above LSL) + Startup Costs ($) / G (MWh)

Where

Variable O&M (above LSL) = approved Variable O&M above LSL if filed in a resources verifiable costs filing or 0 if not filed.

Startup Costs = Startup O&M Cost + Startup Fuel Cost

Startup O&M Cost = Approved Startup O&M Costs in a cold start position (Verified (QSGR mode) or Standard) or Resource Specific Generic Startup O&M Costs

Startup Fuel Cost = 90% of the approved fuel rate in a cold start position times the sum of the average fuel price for the first 15 days of the previous month and the fuel adder.

G = average generation during Minimum up time (MWh)

Where

G (MWh) = 75% * HSL (MW) * L (Hr)

and

HSL (MW) = average of the seasonal HSL in the Resource Registration data

L = Max {Resource Registration Min Up Time, Average number of running hours per start in period, or 2} (hr)

Where:

Average number of running hours per start in period = average run time per start over the 20 consecutive day period for electrical and physically similar QSGRs at the same plant site.  The average run time per start shall be determined by dividing the total running hours by the total number of starts during the 20 consecutive day period.  For Resources operating on the first interval of the first day of the 20 consecutive day period, an additional start shall be considered in the calculation of the average run time.

The equation for calculating Variable O&M rate for QSGR in the MOC is as follows:

Variable O&M rate ($/MWh) = Variable O&M (above LSL) + Startup Costs ($) / {75% * HSL (MW) * L (HR)}

Adj. Incremental Heat Ratep (MMBtu/MWh) = (Incremental Heat ratep + Minimum Energy Component)

Where

Incremental Heat ratep (IHRp) = approved incremental heat rate (IHR) points file in the resource verifiable cost filing or the generic IHR in the Protocols

Where:

p = number of incremental heat rate point pairs (i.e. MW and IHR) used to describe the cost of the next MW of generation

Minimum Energy Component (MEC) = the difference between the Average Heat Rate (AHR) and the Incremental Heat Rate (IHR) at the Midpoint of the QSGR Dispatch Range.  These heat rate values shall be based on the values provided in the resource verifiable cost filing or 0 if the resource has not filed for verifiable costs.

Where:

Midpoint of QSGR Dispatch Range (MDR) = HSL - (HSL – LSL) * 50%

MEC = AHR@MDR – IHR@MDR

The equation for calculating Adj. Incremental Heat Rate for QSGR used in the MOC calculations is as follows:

Adj. Incremental Heat Ratep (MMBtu/MWh) = IHRp + MEC

Sample Calculation

	HSL = 70 MW

	Start O&M = $1,505/Start

	Start Fuel = 100 MMBtu

	Variable O&M (above LSL) = $1.5/MWh

	Resource Registration Min Up Time = 1 hour

	Actual Run Time = 1 hour

	Fuel Index Price (FIP) = $5/MMBtu

	Resource fuel adder = $0.50/MMBtu

	IHR = 10 MMBtu/MWh

	MEC = 2.5 MMBtu/MWh

	Fuel Adder = $0.50/MMBtu

Start Fuel adjusted for energy produced during startup = Start Fuel * 90%

Therefore to determine Variable O&M rate:

Variable O&M rate ($/MWh) = Variable O&M (above LSL) + Startup Costs ($) / {75% * HSL (MW) * L (Hr)}

	Startup costs = $1,505 + (100 MMBtu + (100 MMBtu* 0.1)) * 90% * $5/MMBtu

=$1,505 + (110 MMBtu) * 90% * $5/MMBtu

=$1,505 + $495 = $2,000

	L = Max {Resource Registration Min Up Time, Average number of running hours in period, or 2} (hr)

= Max{1, 1, 2} = 2

	Variable O&M rate ($/MWh) = $1.50/MWh + $2,000 / (75% * 70 * 2)

= $ 20.55/MWh

And to calculate Incremental Heat Rate for one point:

Adj. Incremental Heat Ratep (MMBtu/MWh) = IHRp + MEC

	IHRp1 = 10 MMBtu/MWh + 2.5 MMBtu/MWh

= 12.5 MMBtu/MWh

Therefore the Mitigated Offer Cap (MOC) calculations are as follows:

MOC ($/MWh) = (IHRp * (FIP + FA) + Variable O&M rate) * W

Where

	W = Capacity Factor Multiplier (range of multipliers defined in Protocol Section 4.4.9.4.1, Mitigated Offer Cap) = 1.40

	MOC = (12.5 MMBtu/MWh * ($5/MMBtu + $0.50) + $20.55/MWh) * 1.4

= ($68.75/MWh + $20.55/MWh) * 1.4

= ($89.30) * 1.4 = $125.02/MWh