## Slide 1: PGDTF Update to ROS
02/03/2022
Jorge Canamar (Chair)
Jianhui Zhang (Vice Chair)

## Slide 2: PGDTF Scope
Review and comment to any proposed changes to the ERCOT binding documents needed to meet the requirements of NERC TPL-007-4.
  Binding document changes have been completed for TPL-007-4. Future revisions may require further updates
Update individual and joint responsibilities of ERCOT, Transmission Planners, TSPs and Resource Entities in compliance with R1
  Responsibilities for R1 of TPL-007 have been determined and assigned via ERCOT Planning Guides 6.11
Update the GIC System models and establish the frequency of updating the models.
  First model development was completed by xx/2018
  An updated model was developed due to several updates on the SSWG case and was completed by 06/2019
  Models are to be built every five years (next model build will be in 2024)
Communicate all updates to the GIC system models during model builds via the PGDTF listserv(s).
  The listserves has been used throughout the whole process.
Identify the appropriate sources for the required data and tools to perform GMD Vulnerability Assessments through research and participation in the NERC GMDTF and technical conferences.
  The necessary processes and tools are in place to gather data and perform the GMDVA all of which are included in the PGDTF manual and methodology
Notes: 2nd bullet – responsibilities associated with maintaining models, performing studies to complete benchmark and supplemental GMD vulnerability assessments, and implementing process(es) to obtain GMD measurement data for the ERCOT region in compliance with R1
Second model build was due to the first SSWG case used on the first build had been outdated based on several updates. A newer more updated case was available from SSWG and it was decided to use this.

## Slide 3: PGDTF Scope
Develop the acceptable steady state voltage performance criteria during the benchmark and supplemental GMD Events as described in Attachment 1 of the TPL-007-4 standard.
  ERCOT developed steady state voltage performance criteria which was approved by TAC in 10/2021
Support the GMD Vulnerability Assessments
  First GMDVA was completed in 12/2021
  All necessary processes and tools are in place to perform future assessments
Develop guidelines for CAP alternatives to meet the performance requirements of TPL-007-4, aligned with the industry’s knowledge and experience with GMD
  CAPs have not been required so far based on the results obtained (12/2021)
Refine a process for approving CAPs developed as a result of a GMD Vulnerability Assessment.
  ERCOT has defined processes to approve CAPs which was reiterated in PG Section 3.1.8(6).
Review and provide feedback on ERCOT’s method of collecting and aggregating the data from the applicable various stakeholders and owners of the data, after it is developed.
  PGDTF developed a process for building GIC models and performing GIC studies with stakeholder feedback
Notes: 2nd bullet CAPs include but not limited to Operating Procedures, Transmission Improvement, and Generation redispatch or recommitment

## Slide 4: PGDTF Scope
Review and update the PGDTF Procedure Manual, GIC Modelling Expectations, and Methodology for Assessing GMD Impacts on ERCOT Power System as needed.
  All documents were updated prior to and after the GIC model build and vulnerability assessment
Review and provide feedback on ERCOT process to obtain GMD measurement data from at least one GIC monitor, and one magnetometer located in ERCOT in accordance with NERC TPL-007-4 Requirements R12 and R13.
  ERCOT has developed a process per Operating Guide 6.1.5.1 to collect GIC monitor and magnetometer data
Monitor GMD-related activities at FERC, IEEE, NERC, and EPRI, discuss these activities at PGDTF, and discuss potential impacts of ERCOT and need for comments.
  These have been continually monitored by ERCOT and the Task Force
  Ongoing task to be maintained

## Slide 5: Future Responsibilities
Maintain GIC Data
  Assist in implementing modeling systems such as in SCR 818 (if approved)
Build GIC Models
  Model build will take 4-6 months not including preparatory workshops
  Once every five years (Next model builds are in 2024 and 2029)
  Once the GIC data is collected and validated ERCOT would create the model and perform the Vulnerability Assessment
    Monitor FERC, NERC, IEEE, EPRI for GMD related activities including future regulatory developments
  Ongoing task – can be done on a quarterly basis
    Maintain listservs communication and GIC System Model Procedure manual
  Communication would be an ongoing task on an as needed basis
  The manual should be revisited and reviewed at least every 5 years as needed

## Slide 6: Other PGDTF Responsibilities
PGDTF was responsible for developing the process for the GMDVA studies
Any future changes to the study processes and future study results will be handled through PLWG

## Slide 7: PGDTF Recommendation
PGDTF has completed all the items in its scope
The modeling, maintenance of data and studies of GMD events needs to transition to being normal business practices
PGDTF has identified SSWG as the best suited group to assume the ongoing and future responsibilities
  PGDTF recommends modeling responsibilities be inherited by ERCOT and SSWG
  Planning, study processes and future studies results are to be done by ERCOT and PLWG
Notes: The second option is still to convert the PGDTF into a working group itself
  The biggest issue with this is the limited scope for the WG in between model builds and assessments

## Slide 8: Questions or Comments?
Jorge canamar – jcanamar@huntutility.com
Jianhui zhang – jianhui.zhang@austinenergy.com

## Slide 9: PGDTF Timeline – last 3 years
Benchmark GMD Vulnerability Assessment
Completed by 12/31/2020
Supplemental GMD Vulnerability Assessment
Completed by 12/31/2021
Develop CAPs if necessary
(No CAPs were required)
Completed by 12/31/2021
Model Development
Completed by
06/11/2019
GIC Flows for Thermal Assessments (Benchmark)
Completed by
10/29/2018
Updated by
12/15/2019
Determine Steady State Voltage Criteria for System Performance
Approved by
11/29/2021
Supplemental Impact Thermal Assessment for Xfrmrs ≥ 85 A GIC
Completed by 06/15/2021
Identify individual and joint responsibilities
Completed by
06/11/2019
Benchmark Impact Thermal Assessment for Xfrmrs ≥ 75 A GIC
Completed by 4/29/2020
GIC Flows for Thermal Assessments (Supplemental)
Completed by
10/29/2018
Updated by
12/15/2019