## Slide 1: Operations Working Group
Chair- Rickey Floyd
Vice-Chair- Shawn McCreary
HITE List Sub-Chair – Pushkar Chhajed
02/03/2022

## Slide 2: NOGRR215 – Limited Use of RAS
Tabled pending new comments from ERCOT

## Slide 3: NOGRR226 - Revision to 5% Transmission Operator (TO) Load Shedding Relay Set Point
ERCOT continues to assess framework for studies needed before changes to Stage 1 UFLS can be considered
Tabled

## Slide 4: NPRR1084
Improvements to Reporting of Resource Outages and Derates.
  ERCOT comments were reviewed that included comments from Centerpoint
    ERCOT was supportive of comments submitted by CenterPoint and is planning submitting additional comments before the next OWG
    MPs would like to continue to work with ERCOT on changes to comments
  NPRR1084 was Tabled

## Slide 5: NPRR1085
Ensuring Continuous Validity of Physical Responsive Capability (PRC) and Dispatch through Timely Changes to Resource Telemetry and Current Operating Plans (COPs)
  Concerns raised on personnel being able to provide accurate information to ERCOT as required in the comments
  Concerns were discussed about keeping COP updated and compliance risk if information was wrong
  Recommendations were reiterated on adding an “ON-HOLD” option when a units is experiencing issues for a long term solution and possibly locking the HSL or using “ONTEST” as a interim solution
  ERCOT is still evaluating latest comments from MPs
  NPRR1085 remains tabled

## Slide 6: NPRR1100 - Emergency Switching Solutions for Energy Storage Resources
ERCOT gave a presentation on items that need to be discussed and considered in the NPRR
Presentation can be found on OWG site
Discussions will continue at the next OWG

## Slide 7: TAC Assignment: Following the 12/16/21 PUCT approval of NPRR1105
Option to Deploy Distribution Voltage Reduction Measures Prior to Energy Emergency Alert (EEA), review and evaluate the effectiveness and criteria to use when deploying voltage reduction before EEA
  ERCOT is reviewing RFIs sent to T.O. on deployment and effectiveness
  OWG would like to see more information on the benefits of VR
  ERCOT to will provide more data