## Slide 1: Planning Working Group Update
To
Reliability and Operations Subcommittee
February 3, 2022

## Slide 2: ROS Voting Items
NPRR 1070 – Planning Criteria for GTC Exit Solutions
  Remain tabled at PLWG pending PUCT rule making related to economic project evaluation.
PGRR 096 – Achieve Consistent Representation of DG in Steady-State Models
  Consensus to recommend approval per CNP Comments filed on January 14, 2022.
PGRR 098 - Consideration of Load Shed in Transmission Planning Criteria
  Consensus to recommend approval per CNP Comments filed on January 21, 2022

## Slide 3: Other items discussed
KTC- 15-6 RMR and MRA Services analysis for Batteries
  ERCOT Working to prepare a NPRR submission in Q1 2022
    Concepts include
      Minimum RMR Capacity threshold; possibly 20 MW.
      Updates to Attachment E: Notification of Suspension of Operations to allow impacts to transmission facilities owned by the RE.
      Change RMR timeline to business day basis instead of calendar day.
  ERCOT tentatively expects to have draft NPRR language related to the consideration of ESR and MRA Services ready for stakeholder review by the end of February. The NPRR will include considerations beyond the scope of PLWG.
  Discussion on RMR and MRA Services for ESR at PLWG can follow the draft NPRR being shared.

## Slide 4: Planning Criteria for DC Ties
Shams Siddiqi presented background and concepts for developing a scope for PLWG to address.
PLWG identified the following areas
  Review and report ERCOT data on transfers across the DC Ties during the February 2021 event.
  Review and report current ERCOT and TSP planning practices with respect to DC Ties
  Background material also includes:
    ERCOT presentation from June 2021 to PLWG
  Some issues may belong in other working groups (OWG or BSWG):
    Responsive reserve capabilities
    Black Start support

## Slide 5: Questions?