## Contents
Table of Contents
Tab | Notes
Disclaimer | Please read
Demand | Monthly peak demand data for this year and last year
Energy | Monthly energy data for this year and last year
Load Zones | Monthly peak demand and energy data for this year by load zone
Weather Zones | Monthly peak demand and energy data for this year by weather zone
Energy by Fuel Type | Actual energy and percentages by fuel type
Energy by Fuel Chart | Stacked chart of MWh by fuel type by month
Energy Comparisons | Bar graphs comparing this year's energy with last year's and with forecasted
Demand Comparisons | Graphs comparing this year's monthly peaks with last year's and with forecasted
2023-03-07 | 9:27

## Disclaimer
DEMAND AND ENERGY REPORT
For Planning Purposes Only
This ERCOT Working Paper has been prepared for specific ERCOT and market participant purposes and has been
developed from data provided through the settlement process. The data may contain errors or become obsolete
and thereby affect the conclusions and opinions of the Working Paper. ERCOT MAKES NO WARRANTY, EXPRESS
OR IMPLIED,INCLUDING ANY WARRANTY OF MERCHANTABILITY OR FITNESS FOR ANY PARTICULAR PURPOSE,
AND DISCLAIMS ANY AND ALL LIABILITY WITH RESPECT TO THE ACCURACY OF SAME OR THE FITNESS OR
APPROPRIATENESS OF SAME FOR ANY PARTICULAR USE. THIS ERCOT WORKING PAPER IS SUPPLIED WITH
ALL FAULTS.
ERCOT publishes the values in this report based on the Initial Settlement occurring approximately five days after
the Operating Day. These values are updated to reflect Final Settlements (occurring 55 days after each Operating
Day of the month), lagged by two months after the end of the month. On each tab of this spreadshet there is a
column titled "Settlement Type" indicating whether the values are based on the Initial or Final Settlement for the month.
In instances where a generator is capable of using multiple fuels, the primary fuel is used in this report.

## Demand
Demand for 2022
Net System Maximum Hourly Demand
Description | Jan* | Feb* | Mar* | Apr* | May* | Jun* | Jul* | Aug* | Sep* | Oct* | Nov* | Dec* | Annual
2022 Demand, MW | 63541.3851 | 68967.6626 | 56463.4752 | 58419.0763 | 71645.1167 | 76717.626 | 80147.8488 | 78505.2303 | 71075.4408 | 66152.7382 | 53335.8125 | 74524.9021 | 80147.8488
Date | 01/21/2022 | 02/04/2022 | 03/12/2022 | 04/05/2022 | 05/31/2022 | 06/23/2022 | 07/20/2022 | 08/02/2022 | 09/20/2022 | 10/12/2022 | 11/09/2022 | 12/23/2022
Hour ending | 08:00 | 10:00 | 08:00 | 18:00 | 17:00 | 17:00 | 17:00 | 17:00 | 17:00 | 17:00 | 16:00 | 08:00
Day of the week | Friday | Friday | Saturday | Tuesday | Tuesday | Thursday | Wednesday | Tuesday | Tuesday | Wednesday | Wednesday | Friday
Forecasted Demand, MW | 59218.2463 | 59429.0543 | 53274.9173 | 57492.5825 | 65858.0206 | 72355.8863 | 74983.618 | 77578.832 | 71902.3423 | 64650.4185 | 55240.4405 | 58666.6473 | 77578.832
Difference, percent | 7.3% | 16.05% | 5.985% | 1.612% | 8.787% | 6.028% | 6.887% | 1.194% | -1.15% | 2.324% | -3.448% | 27.03% | 3.311%
2021 Demand, MW | 58606.3472 | 69811.9544 | 45380.1922 | 52813.692 | 62831.9688 | 70257.3057 | 73145.1529 | 73687.1049 | 72370.1996 | 62475.6705 | 48983.4476 | 49191.6878 | 73687.1049
Date | 01/12/2021 | 02/14/2021 | 03/27/2021 | 04/09/2021 | 05/26/2021 | 06/23/2021 | 07/26/2021 | 08/24/2021 | 09/01/2021 | 10/08/2021 | 11/17/2021 | 12/10/2021
Hour ending | 08:00 | 20:00 | 18:00 | 17:00 | 17:00 | 17:00 | 17:00 | 17:00 | 17:00 | 17:00 | 16:00 | 16:00
Day of the week | Tuesday | Sunday | Saturday | Friday | Wednesday | Wednesday | Monday | Tuesday | Wednesday | Friday | Wednesday | Friday
Increase, MW | 4935.038 | -844.2918 | 11083.2829 | 5605.3844 | 8813.1479 | 6460.3202 | 7002.696 | 4818.1254 | -1294.7588 | 3677.0678 | 4352.3649 | 25333.2143
Increase, percent | 8.421% | -1.209% | 24.42% | 10.61% | 14.03% | 9.195% | 9.574% | 6.539% | -1.789% | 5.886% | 8.885% | 51.5%
Max All Time, MW | 65914.6978 | 69811.9544 | 60756.4143 | 58419.0763 | 71645.1167 | 76717.626 | 80147.8488 | 78505.2303 | 72370.1996 | 66152.7382 | 56446.4369 | 74524.9021
Date | 01/17/2018 at 08:00 | 02/14/2021 at 20:00 | 03/05/2019 at 08:00 | 04/05/2022 at 18:00 | 05/31/2022 at 17:00 | 06/23/2022 at 17:00 | 07/20/2022 at 17:00 | 08/02/2022 at 17:00 | 09/01/2021 at 17:00 | 10/12/2022 at 17:00 | 11/12/2019 at 08:00 | 12/23/2022 at 08:00
Net System Maximum Demand based on 15-Minute Intervals
Description | Jan* | Feb* | Mar* | Apr* | May* | Jun* | Jul* | Aug* | Sep* | Oct* | Nov* | Dec* | Annual
2022 Demand, MW | 63654.7702 | 69091.4898 | 56740.8123 | 58488.648 | 71777.2862 | 76803.4583 | 80233.2293 | 78669.1383 | 71149.6056 | 66233.3655 | 53385.1063 | 74628.9366 | 80233.2293
Date | 01/21/2022 | 02/04/2022 | 03/12/2022 | 04/05/2022 | 05/31/2022 | 06/23/2022 | 07/20/2022 | 08/02/2022 | 09/20/2022 | 10/12/2022 | 11/09/2022 | 12/23/2022
Interval ending | 07:30 | 09:30 | 07:15 | 17:30 | 17:00 | 17:00 | 16:45 | 17:00 | 17:00 | 16:30 | 16:00 | 08:00
Day of the week | Friday | Friday | Saturday | Tuesday | Tuesday | Thursday | Wednesday | Tuesday | Tuesday | Wednesday | Wednesday | Friday
Max All Time, MW | 66068.475 | 69993.566 | 61563.6014 | 58488.648 | 71777.2862 | 76803.4583 | 80233.2293 | 78669.1383 | 72440.5196 | 66233.3655 | 57039.3063 | 74628.9366
Date | 01/17/2018 at 07:15 | 02/14/2021 at 19:00 | 03/05/2019 at 07:15 | 04/05/2022 at 17:30 | 05/31/2022 at 17:00 | 06/23/2022 at 17:00 | 07/20/2022 at 16:45 | 08/02/2022 at 17:00 | 09/01/2021 at 17:00 | 10/12/2022 at 16:30 | 11/14/2018 at 07:00 | 12/23/2022 at 08:00
Net System Minimum Demand
Description | Jan* | Feb* | Mar* | Apr* | May* | Jun* | Jul* | Aug* | Sep* | Oct* | Nov* | Dec*
2022 Demand, MW | 32933.6514 | 32789.1848 | 32115.149 | 31749.4501 | 33685.4306 | 37990.3834 | 43382.2021 | 41994.9649 | 35063.4613 | 32381.7537 | 33347.3671 | 33409.1084
Date | 01/19/2022 | 02/17/2022 | 03/26/2022 | 04/07/2022 | 05/26/2022 | 06/04/2022 | 07/15/2022 | 08/25/2022 | 09/30/2022 | 10/30/2022 | 11/01/2022 | 12/29/2022
Interval ending | 02:45 | 03:30 | 03:45 | 03:45 | 04:00 | 05:00 | 05:00 | 04:00 | 04:00 | 03:00 | 04:00 | 04:00
Day of the week | Wednesday | Thursday | Saturday | Thursday | Thursday | Saturday | Friday | Thursday | Friday | Sunday | Tuesday | Thursday
* Information for this month has been updated based on final settlements.
Totals may not match the ERCOT values because of rounding and subsequent settlements.

## Energy
Energy for 2022
Net Energy for Load
Description | Jan* | Feb* | Mar* | Apr* | May* | Jun* | Jul* | Aug* | Sep* | Oct* | Nov* | Dec* | Annual
2022 Energy, MWh | 33399762.9035 | 31278988.4493 | 30456521.8381 | 30789882.1661 | 38535174.6783 | 42039495.9473 | 45986058.8171 | 43001721.907 | 37422407.8828 | 32178969.0296 | 31208957.0267 | 33785715.7249 | 430083656.3707
2022 YTD Energy, MWh | 33399762.9035 | 64678751.3528 | 95135273.1909 | 125925155.357 | 164460330.0352 | 206499825.9826 | 252485884.7996 | 295487606.7066 | 332910014.5894 | 365088983.619 | 396297940.6458 | 430083656.3707
Forecasted Energy, MWh | 33434286.014 | 29318271.625 | 30811374.454 | 30794640.01 | 35460197.173 | 39832000.692 | 42870876.388 | 43830180.396 | 37740895.299 | 34123473.193 | 31125399.232 | 33991440.898 | 423333035.374
Difference, percent | -0.1033% | 6.688% | -1.152% | -0.0155% | 8.672% | 5.542% | 7.266% | -1.89% | -0.8439% | -5.698% | 0.2685% | -0.6052% | 1.595%
YTD Forecasted Energy, MWh | 33434286.014 | 62752557.639 | 93563932.093 | 124358572.103 | 159818769.276 | 199650769.968 | 242521646.356 | 286351826.752 | 324092722.051 | 358216195.244 | 389341594.476 | 423333035.374
YTD Difference, percent | -0.1033% | 3.07% | 1.679% | 1.26% | 2.904% | 3.431% | 4.109% | 3.19% | 2.721% | 1.919% | 1.787% | 1.595%
2021 Energy, MWh | 30821915.4736 | 29095558.0072 | 27328258.808 | 28089569.6067 | 31785102.3989 | 37345561.2128 | 39576928.5792 | 41395541.0817 | 36555303.1682 | 32670091.5275 | 27996249.0358 | 30187899.6556 | 392847978.5551
Increase, MWh | 2577847.43 | 2183430.4421 | 3128263.03 | 2700312.5594 | 6750072.2794 | 4693934.7345 | 6409130.2378 | 1606180.8253 | 867104.7146 | -491122.4979 | 3212707.991 | 3597816.0693 | 37235677.8155
Increase, percent | 8.364% | 7.504% | 11.45% | 9.613% | 21.24% | 12.57% | 16.19% | 3.88% | 2.372% | -1.503% | 11.48% | 11.92% | 9.478%
2021 YTD Energy, MWh | 30821915.4736 | 59917473.4808 | 87245732.2888 | 115335301.8955 | 147120404.2944 | 184465965.5072 | 224042894.0864 | 265438435.1681 | 301993738.3363 | 334663829.8637 | 362660078.8995 | 392847978.5551
Increase, MWh | 2577847.43 | 4761277.8721 | 7889540.9021 | 10589853.4615 | 17339925.7409 | 22033860.4754 | 28442990.7132 | 30049171.5386 | 30916276.2532 | 30425153.7553 | 33637861.7462 | 37235677.8155
Increase, percent | 8.364% | 7.946% | 9.043% | 9.182% | 11.79% | 11.94% | 12.7% | 11.32% | 10.24% | 9.091% | 9.275% | 9.478%
Net System Load Factors based on Hourly Demand
Description | Jan* | Feb* | Mar* | Apr* | May* | Jun* | Jul* | Aug* | Sep* | Oct* | Nov* | Dec* | Annual
Demand Factors 2022 | 70.65% | 67.49% | 72.6% | 73.2% | 72.29% | 76.11% | 77.12% | 73.62% | 73.13% | 65.38% | 81.16% | 60.93% | 61.26%
Demand Factors 2021 | 70.69% | 62.02% | 81.05% | 73.87% | 67.99% | 73.83% | 72.72% | 75.51% | 70.15% | 70.29% | 79.27% | 82.48% | 60.86%
Net System Load Factors based on 15-Minute Demand
Description | Jan* | Feb* | Mar* | Apr* | May* | Jun* | Jul* | Aug* | Sep* | Oct* | Nov* | Dec* | Annual
Demand Factors 2022 | 70.52% | 67.37% | 72.24% | 73.11% | 72.16% | 76.02% | 77.04% | 73.47% | 73.05% | 65.3% | 81.08% | 60.85% | 61.19%
* Information for this month has been updated based on final settlements.

## Load Zones
Demand and Energy by Load Settlement Zone for 2022
Based on 15-minute Intervals
Net Zone Demand Coincident with ERCOT System Peak, MW
Settlement Zone | Jan* | Feb* | Mar* | Apr* | May* | Jun* | Jul* | Aug* | Sep* | Oct* | Nov* | Dec*
LZ_AEN | 2134.2739 | 2388.6458 | 1837.308 | 2219.3318 | 2525.9073 | 2741.4143 | 2849.0462 | 2781.2131 | 2592.0829 | 2412.4967 | 1791.8469 | 2571.357
LZ_CPS | 3928.7048 | 4736.4178 | 3597.4494 | 4091.2348 | 4870.3036 | 5031.5446 | 5239.0979 | 5239.7677 | 4772.3496 | 4487.7384 | 3283.5296 | 5230.8887
LZ_HOUSTON | 14144.0057 | 16132.1352 | 12797.9832 | 15613.0232 | 19193.3631 | 19967.4948 | 20031.7067 | 20106.2925 | 18416.4095 | 17623.9034 | 14433.7746 | 15208.5488
LZ_LCRA | 2859.7407 | 3495.0364 | 2591.3968 | 2245.3803 | 2699.9767 | 3091.6815 | 3213.2599 | 3093.8823 | 2766.1901 | 2538.9767 | 1697.1666 | 3991.3901
LZ_NORTH | 23347.6236 | 24209.0122 | 20225.8022 | 18803.1694 | 24111.2937 | 27500.7866 | 29760.9775 | 28291.9355 | 25301.9723 | 22383.7953 | 16823.519 | 28397.7045
LZ_RAYBN | 1161.2915 | 1261.9595 | 1045.5627 | 654.1465 | 929.8327 | 1166.1613 | 1278.5077 | 1185.7142 | 1030.7049 | 848.36 | 568.62 | 1627.0072
LZ_SOUTH | 8992.2538 | 10479.6226 | 7902.9809 | 8327.4014 | 9634.1438 | 9577.7107 | 9888.2348 | 9894.3187 | 8653.3293 | 9103.2936 | 7652.3847 | 10389.0945
LZ_WEST | 7086.8763 | 6388.6603 | 6742.3291 | 6534.9606 | 7812.4653 | 7726.6647 | 7972.3985 | 8076.0143 | 7616.567 | 6834.8014 | 7134.265 | 7212.9457
Net Zone Non-Coincident Peak Demand, MW
Settlement Zone | Jan* | Feb* | Mar* | Apr* | May* | Jun* | Jul* | Aug* | Sep* | Oct* | Nov* | Dec*
LZ_AEN | 2152.1722 | 2391.0991 | 1860.046 | 2220.7241 | 2529.2627 | 2780.074 | 2973.3755 | 2863.1285 | 2612.6368 | 2425.3075 | 1949.2051 | 2571.357
Date and Time | 21 @ 08:00 | 4 @ 09:45 | 11 @ 19:00 | 5 @ 18:00 | 31 @ 18:00 | 23 @ 18:00 | 12 @ 18:00 | 10 @ 17:00 | 20 @ 17:45 | 12 @ 17:00 | 4 @ 17:30 | 23 @ 08:00
LZ_CPS | 4164.9472 | 4740.9018 | 3602.102 | 4110.4918 | 4879.8751 | 5290.0282 | 5488.8442 | 5358.4829 | 4841.5188 | 4555.1982 | 3687.5124 | 5230.8887
Date and Time | 20 @ 18:30 | 4 @ 09:15 | 12 @ 07:30 | 5 @ 17:00 | 31 @ 17:30 | 6 @ 18:15 | 11 @ 16:00 | 3 @ 18:30 | 20 @ 18:00 | 12 @ 17:30 | 4 @ 17:00 | 23 @ 08:00
LZ_HOUSTON | 14543.574 | 16373.627 | 13746.3024 | 16016.6306 | 19616.6572 | 20584.0764 | 20504.5368 | 20326.3012 | 19067.4398 | 17623.9034 | 15494.0513 | 15532.2312
Date and Time | 21 @ 10:30 | 4 @ 11:15 | 29 @ 15:30 | 30 @ 16:00 | 16 @ 17:00 | 20 @ 15:30 | 12 @ 16:00 | 10 @ 16:30 | 23 @ 15:00 | 12 @ 16:30 | 7 @ 15:30 | 23 @ 09:45
LZ_LCRA | 2872.5637 | 3503.9565 | 2591.3968 | 2257.0144 | 2714.3262 | 3095.6394 | 3247.106 | 3162.4016 | 2783.4589 | 2551.5509 | 2198.7149 | 3992.3517
Date and Time | 21 @ 08:00 | 4 @ 09:15 | 12 @ 07:15 | 5 @ 18:00 | 31 @ 17:45 | 23 @ 17:45 | 13 @ 17:00 | 4 @ 17:00 | 21 @ 17:30 | 12 @ 17:00 | 19 @ 18:15 | 23 @ 07:45
LZ_NORTH | 23347.6236 | 24757.834 | 20225.8022 | 18992.1161 | 24111.2937 | 27752.1898 | 29763.5681 | 28679.1319 | 25301.9723 | 22394.2851 | 18360.0482 | 29382.6901
Date and Time | 21 @ 07:30 | 3 @ 18:45 | 12 @ 07:15 | 5 @ 18:00 | 31 @ 17:00 | 24 @ 17:00 | 20 @ 17:00 | 5 @ 16:15 | 20 @ 17:00 | 12 @ 17:00 | 17 @ 07:15 | 22 @ 21:00
LZ_RAYBN | 1169.3799 | 1266.6456 | 1045.5627 | 675.5091 | 966.8086 | 1184.7052 | 1301.7687 | 1237.8172 | 1038.6196 | 869.7051 | 955.2054 | 1667.6188
Date and Time | 2 @ 09:30 | 4 @ 09:15 | 12 @ 07:15 | 5 @ 18:45 | 15 @ 17:45 | 26 @ 18:00 | 20 @ 17:45 | 5 @ 17:30 | 21 @ 17:30 | 12 @ 17:30 | 20 @ 07:45 | 22 @ 20:30
LZ_SOUTH | 9083.3361 | 10479.6226 | 7961.7743 | 8830.6587 | 9893.6128 | 10052.6799 | 10532.7468 | 10246.1685 | 9360.0373 | 9158.7197 | 8410.5202 | 10618.5642
Date and Time | 21 @ 08:45 | 4 @ 09:30 | 1 @ 07:15 | 13 @ 17:15 | 21 @ 17:00 | 30 @ 16:30 | 26 @ 18:00 | 10 @ 16:45 | 13 @ 17:15 | 13 @ 16:00 | 4 @ 16:15 | 23 @ 10:00
LZ_WEST | 7086.8763 | 7259.4539 | 7003.9914 | 7313.147 | 8059.7163 | 7994.0325 | 8263.8103 | 8303.396 | 7898.6716 | 7432.0815 | 7626.0902 | 8435.4851
Date and Time | 21 @ 07:30 | 24 @ 07:30 | 11 @ 09:00 | 21 @ 17:00 | 19 @ 16:30 | 25 @ 18:00 | 19 @ 14:45 | 5 @ 16:30 | 24 @ 17:30 | 1 @ 17:15 | 18 @ 07:30 | 22 @ 19:15
Net Energy for Load, MWh
Settlement Zone | Jan* | Feb* | Mar* | Apr* | May* | Jun* | Jul* | Aug* | Sep* | Oct* | Nov* | Dec*
LZ_AEN | 1111219.9607 | 1061331.8586 | 1021275.2188 | 1072478.5377 | 1359942.5043 | 1487170.3365 | 1636286.3232 | 1543143.6912 | 1347556.0351 | 1128731.9657 | 1042877.2108 | 1154355.1088
LZ_CPS | 1943484.3539 | 1866288.4275 | 1747108.6543 | 1888947.2286 | 2473043.8236 | 2724431.07 | 2942814.8845 | 2770392.9529 | 2422429.3696 | 1982001.41 | 1825004.69 | 2033903.599
LZ_HOUSTON | 8365582.6182 | 7735944.0465 | 8056375.5787 | 8408139.5671 | 10821691.9663 | 11170594.1317 | 11477190.8366 | 10921723.3769 | 9698200.6291 | 8318384.4599 | 7656807.4668 | 7910761.339
LZ_LCRA | 1192518.3032 | 1190118.1978 | 967242.9265 | 962035.4818 | 1313490.7132 | 1500255.6468 | 1678202.8212 | 1537127.546 | 1302935.0987 | 1033448.4899 | 1033489.3901 | 1228922.8311
LZ_NORTH | 11377779.8778 | 10682056.2957 | 9730240.26 | 9327093.0249 | 11911369.2481 | 14046022.5787 | 16163402.0059 | 14658191.477 | 12126827.1809 | 9899712.4629 | 9891030.3975 | 11101386.8116
LZ_RAYBN | 486444.0098 | 458198.2384 | 363821.689 | 304102.2654 | 407430.8004 | 521363.4238 | 639090.2372 | 558221.7165 | 439694.4411 | 333700.8143 | 380433.7279 | 477937.7352
LZ_SOUTH | 4401334.5758 | 4193720.3101 | 4139726.3708 | 4453386.0885 | 5375986.6522 | 5648867.2292 | 6071042.7902 | 5759040.8608 | 5156133.6856 | 4675550.8539 | 4455641.3929 | 4734073.2027
LZ_WEST | 4521399.2041 | 4091331.0747 | 4430731.14 | 4373699.9722 | 4872218.9702 | 4940791.5306 | 5378028.9183 | 5253880.2857 | 4928631.4426 | 4807438.5731 | 4923672.7506 | 5144375.0976
* Information for this month has been updated based on final settlements.
Totals may not match the ERCOT values because of rounding and subsequent settlements.

## Weather Zones
Demand and Energy by Weather Zone for 2022
Based on 15-minute Intervals
Net Zone Demand Coincident with ERCOT System Peak, MW
Weather Zone | Jan* | Feb* | Mar* | Apr* | May* | Jun* | Jul* | Aug* | Sep* | Oct* | Nov* | Dec*
COAST | 15125.9568 | 17286.9911 | 13745.2913 | 16471.9766 | 20221.2651 | 20993.2056 | 21044.8521 | 21173.0067 | 19359.8244 | 18654.8032 | 15274.5141 | 16424.4543
EAST | 2719.5574 | 2910.0338 | 2419.2796 | 2072.0605 | 2667.1197 | 2834.0674 | 3024.3184 | 2914.8558 | 2641.8358 | 2460.2444 | 1878.5277 | 3434.9544
FWEST | 4639.4184 | 3942.1325 | 4567.9455 | 4647.5927 | 5260.2603 | 5008.0443 | 5149.7849 | 5248.0735 | 5119.5151 | 4842.9084 | 5317.8431 | 4506.5353
NCENT | 21441.5781 | 22263.551 | 18567.2912 | 17138.611 | 22036.8266 | 25445.7761 | 27556.4859 | 26127.1079 | 23277.1535 | 20439.8856 | 15284.0777 | 26154.348
NORTH | 1591.5377 | 1576.343 | 1364.0469 | 1163.9119 | 1639.1855 | 1813.6057 | 1960.2728 | 1904.7333 | 1689.5104 | 1304.0631 | 1165.0692 | 1818.24
SCENT | 10978.663 | 12813.5247 | 9936.018 | 10328.7623 | 12378.4014 | 12835.042 | 13346.9512 | 13130.0971 | 11943.0053 | 11538.6382 | 8676.2576 | 14010.0922
SOUTH | 5259.648 | 6291.6833 | 4402.2038 | 5212.0471 | 5743.1433 | 5912.1147 | 6098.5336 | 6137.9013 | 5322.5915 | 5441.7445 | 4528.9089 | 5989.8802
WEST | 1898.4108 | 2007.2304 | 1738.7358 | 1453.6858 | 1831.0842 | 1961.6024 | 2052.0304 | 2033.3627 | 1796.1696 | 1551.0781 | 1259.9082 | 2290.4323
Net Zone Non-Coincident Peak Demand, MW
Weather Zone | Jan* | Feb* | Mar* | Apr* | May* | Jun* | Jul* | Aug* | Sep* | Oct* | Nov* | Dec*
COAST | 15520.5469 | 17498.3345 | 14488.6376 | 16871.6946 | 20685.2391 | 21645.32 | 21533.3425 | 21480.0308 | 20054.6252 | 18654.8032 | 16383.1306 | 16760.8462
Date and Time | 21 @ 10:15 | 4 @ 11:15 | 29 @ 15:30 | 30 @ 16:15 | 16 @ 17:00 | 20 @ 16:00 | 12 @ 16:00 | 10 @ 16:30 | 23 @ 15:00 | 12 @ 16:30 | 7 @ 15:30 | 23 @ 09:45
EAST | 2719.5574 | 2924.6781 | 2456.7435 | 2117.1354 | 2671.9803 | 2961.0962 | 3071.2461 | 3005.7578 | 2745.9222 | 2465.2701 | 2236.0388 | 3434.9544
Date and Time | 21 @ 07:30 | 5 @ 07:45 | 12 @ 07:30 | 5 @ 17:15 | 31 @ 16:30 | 20 @ 15:00 | 12 @ 18:00 | 8 @ 16:45 | 21 @ 16:00 | 12 @ 17:00 | 20 @ 08:00 | 23 @ 08:00
FWEST | 4752.4119 | 4745.364 | 4863.833 | 5003.0322 | 5364.5057 | 5265.4121 | 5497.3656 | 5472.9021 | 5474.9187 | 5502.3596 | 5582.554 | 5699.2384
Date and Time | 20 @ 19:30 | 24 @ 07:30 | 29 @ 17:00 | 28 @ 18:00 | 19 @ 16:30 | 19 @ 18:00 | 22 @ 16:00 | 14 @ 16:45 | 24 @ 17:15 | 22 @ 17:30 | 18 @ 10:15 | 22 @ 08:15
NCENT | 21457.567 | 22919.7653 | 18875.759 | 17331.8686 | 22036.8266 | 25669.3595 | 27597.4243 | 26492.8763 | 23277.1535 | 20512.6956 | 16876.1665 | 27259.1828
Date and Time | 21 @ 07:45 | 3 @ 18:45 | 11 @ 13:30 | 5 @ 18:00 | 31 @ 17:00 | 24 @ 17:00 | 19 @ 17:00 | 5 @ 17:00 | 20 @ 17:00 | 12 @ 16:45 | 17 @ 07:15 | 22 @ 21:00
NORTH | 1591.5377 | 1621.6661 | 1442.7419 | 1360.8998 | 1693.8294 | 1848.288 | 2015.5745 | 1962.2995 | 1717.0052 | 1313.8348 | 1362.3938 | 1892.1102
Date and Time | 21 @ 07:30 | 3 @ 18:45 | 11 @ 10:15 | 21 @ 17:00 | 19 @ 17:00 | 24 @ 16:30 | 19 @ 16:30 | 3 @ 16:15 | 21 @ 17:00 | 6 @ 17:00 | 17 @ 07:15 | 22 @ 19:45
SCENT | 11206.3101 | 12813.5247 | 9936.018 | 10328.7623 | 12401.8802 | 13312.3503 | 13946.2132 | 13570.3158 | 12227.6678 | 11624.7562 | 9526.8298 | 14010.0922
Date and Time | 20 @ 18:30 | 4 @ 09:30 | 12 @ 07:15 | 5 @ 17:30 | 31 @ 17:30 | 21 @ 18:00 | 12 @ 18:00 | 3 @ 18:30 | 20 @ 18:15 | 12 @ 17:30 | 4 @ 17:30 | 23 @ 08:00
SOUTH | 5460.3759 | 6291.6833 | 4727.8311 | 5700.0944 | 6093.3583 | 6164.1049 | 6274.5806 | 6245.8217 | 5688.7576 | 5613.9616 | 5102.6865 | 6362.0023
Date and Time | 21 @ 10:15 | 4 @ 09:30 | 1 @ 07:15 | 13 @ 17:15 | 21 @ 17:00 | 11 @ 16:30 | 29 @ 16:00 | 2 @ 15:15 | 12 @ 17:00 | 13 @ 16:00 | 4 @ 16:15 | 23 @ 10:30
WEST | 1898.4108 | 2043.4288 | 1742.9865 | 1615.1995 | 1952.5072 | 1989.3835 | 2083.6353 | 2095.0065 | 1853.7993 | 1554.5411 | 1539.0743 | 2293.632
Date and Time | 21 @ 07:30 | 4 @ 07:45 | 12 @ 07:00 | 12 @ 18:00 | 19 @ 17:00 | 12 @ 17:45 | 8 @ 16:00 | 4 @ 17:00 | 21 @ 16:30 | 12 @ 16:45 | 15 @ 07:00 | 23 @ 07:45
Net Zone Energy, MWh
Weather Zone | Jan* | Feb* | Mar* | Apr* | May* | Jun* | Jul* | Aug* | Sep* | Oct* | Nov* | Dec*
COAST | 8906453.9917 | 8231458.2905 | 8538436.8039 | 8905687.6237 | 11445149.3142 | 11812127.4958 | 12151195.7066 | 11566379.8232 | 10281383.6613 | 8855336.3703 | 8160968.0548 | 8449975.6902
EAST | 1299867.4247 | 1239143.335 | 1104461.8431 | 1042412.7889 | 1309696.5781 | 1506636.454 | 1682164.1001 | 1544480.0777 | 1301530.8518 | 1112182.2619 | 1130994.7534 | 1267079.8324
FWEST | 3207206.8456 | 2888983.4521 | 3267221.5068 | 3229034.8168 | 3502594.7767 | 3460760.4549 | 3716903.4734 | 3718234.9727 | 3585244.5768 | 3656661.6948 | 3708306.1907 | 3839117.3106
NCENT | 10395088.7381 | 9748073.1532 | 8849229.316 | 8459312.0922 | 10852338.0143 | 12873154.7541 | 14886955.0162 | 13456641.0326 | 11090371.7817 | 8982674.6971 | 9000527.8714 | 10153574.4081
NORTH | 827850.1449 | 757894.8973 | 712199.4386 | 656761.4427 | 815787.1783 | 930180.0844 | 1084162.1112 | 981170.5082 | 837983.2758 | 686339.0982 | 757329.5106 | 827683.6258
SCENT | 5313808.3228 | 5138885.8968 | 4763526.9143 | 4962322.9007 | 6400969.8907 | 7059911.0628 | 7698345.7027 | 7217248.2251 | 6330418.4527 | 5326323.9235 | 5079314.7442 | 5670677.5933
SOUTH | 2492609.2507 | 2392867.7709 | 2404320.9224 | 2697725.4726 | 3209391.5872 | 3327068.0257 | 3583791.8299 | 3420317.2027 | 3043123.2687 | 2733418.9446 | 2527967.9624 | 2645826.1043
WEST | 956878.1851 | 881681.6536 | 817125.093 | 836625.0285 | 999247.3387 | 1069657.6157 | 1182540.8769 | 1097250.065 | 952352.0139 | 826032.0392 | 843547.9393 | 931781.1602
* Information for this month has been updated based on final settlements.
Totals may not match the ERCOT values because of rounding and subsequent settlements.

## Energy by Fuel Type
Energy by Fuel Type for 2022
Energy by Fuel Type, MWh
Fuel Types | Jan* | Feb* | Mar* | Apr* | May* | Jun* | Jul* | Aug* | Sep* | Oct* | Nov* | Dec* | YTD/Annual
Biomass | 60399.8988 | 59159.779 | 17224.4929 | 21972.8261 | 64459.6265 | 68783.8472 | 72180.4726 | 71117.1635 | 67966.2253 | 61390.3762 | 12210.3534 | 48506.9098 | 625371.9712
Coal | 6564283.3668 | 5999793.6554 | 5170550.273 | 5096000.8198 | 5116756.07 | 6669642.1063 | 7088596.5593 | 6828898.5792 | 6328103.3127 | 5634144.0365 | 5518183.0377 | 5485952.7279 | 71500904.5445
Gas | 1363763.7098 | 1408661.1571 | 1199135.9527 | 1401332.7081 | 2631901.0286 | 3404785.7205 | 5101058.0785 | 4466890.9325 | 2789412.8546 | 1848272.5287 | 1982789.9067 | 2028929.4626 | 29626934.0403
Gas-CC | 11759779.5645 | 10576100.8273 | 7386322.1005 | 7566589.6706 | 12389134.7565 | 15530470.3355 | 17865968.8801 | 18878810.6532 | 16398245.7907 | 12212139.5469 | 10115450.7382 | 12679454.084 | 153358466.948
Hydro | 12949.3436 | 13118.0771 | 23874.4439 | 35373.4779 | 50056.2699 | 66895.7142 | 57041.511 | 25931.8147 | 16648.0007 | 14905.3531 | 12237.4797 | 14730.8035 | 343762.2891
Net DC/BLT | 37943.8137 | 84313.1048 | 79254.0762 | 50520.5226 | 208548.2217 | 319310.2912 | 365242.7997 | 345061.5877 | 167870.1187 | 14337.4493 | -33330.2121 | -30531.3156 | 1608540.4577
Nuclear | 3802658.7406 | 3437085.8053 | 3777574.0784 | 3041888.6138 | 3236668.2784 | 3592504.5072 | 3692039.0527 | 3696727.2672 | 3341723.5091 | 2953189.8155 | 3292053.1942 | 3793442.9447 | 41657555.807
Other | 28624.1541 | 30544.9773 | 36375.6537 | 42721.7417 | 54839.3645 | 50028.1698 | 55528.9188 | 50932.3872 | 52364.9861 | 59969.7144 | 57367.9188 | 50798.4441 | 570096.4306
Solar | 1368117.8436 | 1459666.0714 | 1821430.4454 | 1861239.8646 | 2391129.8546 | 2729496.0754 | 2996769.9473 | 2425182.2781 | 2569264.9583 | 2073494.0537 | 1303374.091 | 1193868.4082 | 24193033.8917
WSL | -33088.0724 | -34229.6321 | -40817.2884 | -48237.5694 | -62321.5944 | -59565.6597 | -62877.5487 | -63202.0432 | -63721.0889 | -68160.2618 | -67652.1318 | -61486.7169 | -665359.6078
Wind | 8434330.5405 | 8244774.6267 | 10985597.6098 | 11720479.4901 | 12454002.802 | 9667144.8399 | 8754510.1459 | 6275371.2871 | 5754529.2155 | 7375286.417 | 9016272.651 | 8582049.9728 | 107264349.5983
Total | 33399762.9035 | 31278988.4493 | 30456521.8381 | 30789882.1661 | 38535174.6783 | 42039495.9473 | 45986058.8171 | 43001721.907 | 37422407.8828 | 32178969.0296 | 31208957.0267 | 33785715.7249 | 430083656.3707
Energy by Fuel Type, Percent
Fuel Types | Jan* | Feb* | Mar* | Apr* | May* | Jun* | Jul* | Aug* | Sep* | Oct* | Nov* | Dec* | YTD/Annual
Biomass | 0.1808% | 0.1891% | 0.0566% | 0.0714% | 0.1673% | 0.1636% | 0.157% | 0.1654% | 0.1816% | 0.1908% | 0.0391% | 0.1436% | 0.1454%
Coal | 19.65% | 19.18% | 16.98% | 16.55% | 13.28% | 15.87% | 15.41% | 15.88% | 16.91% | 17.51% | 17.68% | 16.24% | 16.62%
Gas | 4.083% | 4.503% | 3.937% | 4.551% | 6.83% | 8.099% | 11.09% | 10.39% | 7.454% | 5.744% | 6.353% | 6.005% | 6.889%
Gas-CC | 35.21% | 33.81% | 24.25% | 24.57% | 32.15% | 36.94% | 38.85% | 43.9% | 43.82% | 37.95% | 32.41% | 37.53% | 35.66%
Hydro | 0.0388% | 0.0419% | 0.0784% | 0.1149% | 0.1299% | 0.1591% | 0.124% | 0.0603% | 0.0445% | 0.0463% | 0.0392% | 0.0436% | 0.0799%
Net DC/BLT | 0.1136% | 0.2696% | 0.2602% | 0.1641% | 0.5412% | 0.7595% | 0.7942% | 0.8024% | 0.4486% | 0.0446% | -0.1068% | -0.0904% | 0.374%
Nuclear | 11.39% | 10.99% | 12.4% | 9.88% | 8.399% | 8.546% | 8.029% | 8.597% | 8.93% | 9.177% | 10.55% | 11.23% | 9.686%
Other | 0.0857% | 0.0977% | 0.1194% | 0.1388% | 0.1423% | 0.119% | 0.1208% | 0.1184% | 0.1399% | 0.1864% | 0.1838% | 0.1504% | 0.1326%
Solar | 4.096% | 4.667% | 5.98% | 6.045% | 6.205% | 6.493% | 6.517% | 5.64% | 6.866% | 6.444% | 4.176% | 3.534% | 5.625%
WSL | -0.0991% | -0.1094% | -0.134% | -0.1567% | -0.1617% | -0.1417% | -0.1367% | -0.147% | -0.1703% | -0.2118% | -0.2168% | -0.182% | -0.1547%
Wind | 25.25% | 26.36% | 36.07% | 38.07% | 32.32% | 23% | 19.04% | 14.59% | 15.38% | 22.92% | 28.89% | 25.4% | 24.94%
Total | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100%
* Information for this month has been updated based on final settlements.
Companies are not required to notify ERCOT when their dual fuel units are using secondary fuel. Therefore, values shown here are calculated based on primary fuel type and may not exactly reflect the fuels being used by dual
fuel units. Dual fuel units are included in the category of their primary fuel.
A positive value in the 'Net DC/BLT' row indicates import of power, negative indicates export.
Other includes petroleum coke, distillate fuel oil, and any other or unknown fuel.

## Energy by Fuel Chart
Fuel Types | Jan* | Feb* | Mar* | Apr* | May* | Jun* | Jul* | Aug* | Sep* | Oct* | Nov* | Dec*
Biomass | 60.3999 | 59.1598 | 17.2245 | 21.9728 | 64.4596 | 68.7838 | 72.1805 | 71.1172 | 67.9662 | 61.3904 | 12.2104 | 48.5069
Coal | 6564.2834 | 5999.7937 | 5170.5503 | 5096.0008 | 5116.7561 | 6669.6421 | 7088.5966 | 6828.8986 | 6328.1033 | 5634.144 | 5518.183 | 5485.9527
Gas | 1363.7637 | 1408.6612 | 1199.136 | 1401.3327 | 2631.901 | 3404.7857 | 5101.0581 | 4466.8909 | 2789.4129 | 1848.2725 | 1982.7899 | 2028.9295
Gas-CC | 11759.7796 | 10576.1008 | 7386.3221 | 7566.5897 | 12389.1348 | 15530.4703 | 17865.9689 | 18878.8107 | 16398.2458 | 12212.1395 | 10115.4507 | 12679.4541
Hydro | 12.9493 | 13.1181 | 23.8744 | 35.3735 | 50.0563 | 66.8957 | 57.0415 | 25.9318 | 16.648 | 14.9054 | 12.2375 | 14.7308
Net DC/BLT | 37.9438 | 84.3131 | 79.2541 | 50.5205 | 208.5482 | 319.3103 | 365.2428 | 345.0616 | 167.8701 | 14.3374 | -33.3302 | -30.5313
Nuclear | 3802.6587 | 3437.0858 | 3777.5741 | 3041.8886 | 3236.6683 | 3592.5045 | 3692.0391 | 3696.7273 | 3341.7235 | 2953.1898 | 3292.0532 | 3793.4429
Other | 28.6242 | 30.545 | 36.3757 | 42.7217 | 54.8394 | 50.0282 | 55.5289 | 50.9324 | 52.365 | 59.9697 | 57.3679 | 50.7984
Solar | 1368.1178 | 1459.6661 | 1821.4304 | 1861.2399 | 2391.1299 | 2729.4961 | 2996.7699 | 2425.1823 | 2569.265 | 2073.4941 | 1303.3741 | 1193.8684
WSL | -33.0881 | -34.2296 | -40.8173 | -48.2376 | -62.3216 | -59.5657 | -62.8775 | -63.202 | -63.7211 | -68.1603 | -67.6521 | -61.4867
Wind | 8434.3305 | 8244.7746 | 10985.5976 | 11720.4795 | 12454.0028 | 9667.1448 | 8754.5101 | 6275.3713 | 5754.5292 | 7375.2864 | 9016.2727 | 8582.05
* Information for this month has been updated based on final settlements.
* Chart excludes Wholesale Storage Load and Net DC/BLT because these resource categories can have negative values.

## data_Energy by Fuel Chart_1 (hidden)
| Nuclear | Coal | Wind | Solar | Hydro | Biomass | Other | Gas-CC | Gas
Jan* | 3803 | 6564 | 8434 | 1368 | 13 | 60 | 29 | 11760 | 1364
Feb* | 3437 | 6000 | 8245 | 1460 | 13 | 59 | 31 | 10576 | 1409
Mar* | 3778 | 5171 | 10986 | 1821 | 24 | 17 | 36 | 7386 | 1199
Apr* | 3042 | 5096 | 11720 | 1861 | 35 | 22 | 43 | 7567 | 1401
May* | 3237 | 5117 | 12454 | 2391 | 50 | 64 | 55 | 12389 | 2632
Jun* | 3593 | 6670 | 9667 | 2729 | 67 | 69 | 50 | 15530 | 3405
Jul* | 3692 | 7089 | 8755 | 2997 | 57 | 72 | 56 | 17866 | 5101
Aug* | 3697 | 6829 | 6275 | 2425 | 26 | 71 | 51 | 18879 | 4467
Sep* | 3342 | 6328 | 5755 | 2569 | 17 | 68 | 52 | 16398 | 2789
Oct* | 2953 | 5634 | 7375 | 2073 | 15 | 61 | 60 | 12212 | 1848
Nov* | 3292 | 5518 | 9016 | 1303 | 12 | 12 | 57 | 10115 | 1983
Dec* | 3793 | 5486 | 8582 | 1194 | 15 | 49 | 51 | 12679 | 2029

## Energy Comparisons
* Information for this month has been updated based on final settlements.
* Information for this month has been updated based on final settlements.

## data_Energy Comparisons_1 (hidden)
| 2021 Actual | 2022 Actual
Jan* | 30822 | 33400
Feb* | 29096 | 31279
Mar* | 27328 | 30457
Apr* | 28090 | 30790
May* | 31785 | 38535
Jun* | 37346 | 42039
Jul* | 39577 | 45986
Aug* | 41396 | 43002
Sep* | 36555 | 37422
Oct* | 32670 | 32179
Nov* | 27996 | 31209
Dec* | 30188 | 33786

## data_Energy Comparisons_2 (hidden)
| 2022 Forecast | 2022 Actual
Jan* | 33434 | 33400
Feb* | 29318 | 31279
Mar* | 30811 | 30457
Apr* | 30795 | 30790
May* | 35460 | 38535
Jun* | 39832 | 42039
Jul* | 42871 | 45986
Aug* | 43830 | 43002
Sep* | 37741 | 37422
Oct* | 34123 | 32179
Nov* | 31125 | 31209
Dec* | 33991 | 33786

## Demand Comparisons
* Information for this month has been updated based on final settlements.
Information is based on Hourly Intervals.
* Information for this month has been updated based on final settlements.
Information is based on Hourly Intervals.

## data_Demand Comparisons_1 (hidden)
| 2021 Actual | 2022 Actual
Jan* | 58606 | 63541
Feb* | 69812 | 68968
Mar* | 45380 | 56463
Apr* | 52814 | 58419
May* | 62832 | 71645
Jun* | 70257 | 76718
Jul* | 73145 | 80148
Aug* | 73687 | 78505
Sep* | 72370 | 71075
Oct* | 62476 | 66153
Nov* | 48983 | 53336
Dec* | 49192 | 74525

## data_Demand Comparisons_2 (hidden)
| 2022 Forecast | 2022 Actual
Jan* | 59218 | 63541
Feb* | 59429 | 68968
Mar* | 53275 | 56463
Apr* | 57493 | 58419
May* | 65858 | 71645
Jun* | 72356 | 76718
Jul* | 74984 | 80148
Aug* | 77579 | 78505
Sep* | 71902 | 71075
Oct* | 64650 | 66153
Nov* | 55240 | 53336
Dec* | 58667 | 74525