## Slide 1
NPRR-1120 Create Firm Fuel Service Workshop
February 9, 2022
Sandip Sharma
ERCOT

## Slide 2: Overview
This NPRR introduces a new reliability product, Firm Fuel Supply Service (FFSS), intended to assist in the maintenance of system reliability in the event of a natural gas curtailment or other fuel supply disruption.
By necessity this NPRR focuses on components that require accommodation in the Settlement and Billing system, since those components require the longest lead time to design.
In the interest of timely implementation by Winter 2022-23, this NPRR defines the FFFSS and creates a Settlement framework that allows ERCOT to build Settlement systems to meet the Winter 2022-23 timeline.
ERCOT intends to provide more details in the RFP and may also subsequently file one or more additional NPRRs to memorialize the pertinent details in the Protocols as ERCOT receives further guidance from the Commission.

## Slide 3: Timeline and Key Features
ERCOT issues an RFP for Firm Fuel Supply Service (FFSS) annually by Aug 1st
A QSE will submit offer bids for one or more Generation Resources to provide FFSS by September 1st
  As currently written, QSEs can submit bids for Nov 15, 2022 to March 15, 2023 and Nov 15, 2023 to March 15, 2024 or just for Nov 15, 2023 to March 15, 2024
ERCOT reviews the offers and awards FFSS to the Resources by September 30
Each QSE operating an FFSSR must annually complete the test or successfully deploy and inform ERCOT by November 1 of each year

## Slide 4: Timeline and Key Features
FFSSR providing Black Start Service (BSS) must reserve FFSS capability in addition to the contracted BSS obligation. Any remaining fuel reserve in addition to FFSS and BSS capability can be used at the QSE’s discretion.
Duration for FFSS to be provided in the RFP
Duration for restocking fuel reserve following deployment to be defined in the RFP
Performance - Failure to come online due to fuel related issues versus non-fuel related issues