## Slide 1: NPRR 1120 Create Firm Fuel Supply Service
PRS Meeting – February 16, 2022
Floyd J. Trefny
ERCOT Steel Companies

## Slide 2: Comments
At least initially, we agree that ERCOT should provide FFSS from individual Generation Resources through an RFP which would obtain an amount of FFSS for specified FFSSRs.
  Actual Deployment of FFSS should be revised.
  We suggest that ERCOT specify a minimum LSL for the FFSSRs providing FFSS which would assure the deployment of a specific amount of service not otherwise guaranteed using typical SCED dispatch using offer curves set by QSEs.
  ERCOT should be able to allocate only a portion of the total amount of FFSS procured from an individual FFSSR at any given time and adjust such amounts as system conditions change, conserving procured FFSS for later or increasing FFSS if needed.

## Slide 3: Setting LSL - Example
In this example, if the amount of FFSS awarded is 500 MW for 48 hours is equivalent to 2100 Mwh of alternate fuel consumption.
However, these Mwh could also be burned over 96 hours giving more flexibility to ERCOT
Accomplished by ERCOT specifying the LSL
SCED Dispatch Range
750 MW
500 MW
HSL
LSL

## Slide 4: Setting LSL - Example
In this example, if the amount of FFSS awarded is 500 MW for 48 hours is equivalent to 2100 Mwh of alternate fuel consumption.
However, these Mwh could also be burned over 96 hours giving more flexibility to ERCOT
Accomplished by ERCOT specifying the LSL
Allows for conservation of FFSS if system needs are unknown
Assures a specific amount of FFSS is used
SCED Dispatch Range
750 MW
250 MW
HSL
LSL

## Slide 5: Setting the LSLs
ERCOT should be responsible for determining the desired rate at which to actually deploy FFSS
  ERCOT should have discussions with the Railroad Commission, gas companies, other generation plants, the PUCT, weather forecasters, and a host of other sources of information
  ERCOT cannot rely on the FFSS Generation Resource provider to set an offer curve for SCED to dispatch all the generation.
    Such an offer curve may not consume the amount of oil needed for ERCOT to optimally manage the fuel shortage event, too much or too little.
  Adds flexibility to the dispatch of FFSS and spreads the risk of unit trips over more units
    Putting all FFSS in only a few units causes serious issues if one unit fails
    Places a huge burden on the remaining units that already may be short of gas
ERCOT’s practices must use FFSS conservatively.
  No one knows what the future will be

## Slide 6: Redness to Deploy
FFSS providers need to have as much warning of impending need as possible.
We suggest adding language to Section 6.5.9.3.2, Advisory
  If an Advisory for Cold Weather is issued, ERCOT will notify all QSEs with FFSSRs to :
    Begin circulation of alternate fuel to its burning facilities,
    If applicable, heat fuel oil to appropriate temperatures
    Call out additional personnel as necessary

## Slide 7: Performance Requirements
We suggest that event performance availability percentages be set higher than 90%
Availability measured over a long period when temperatures are moderate taints the value of an “availability” measurement.
  Hours where air temperatures are moderate are not much of a concern.
  Hours where temperatures are below 20 degrees is when we are much more likely to need FFSS and unit availability must be measured.
We suggest additional discussion regarding the purpose of an “availability” measurement.

## Slide 8: Restocking of Oil & Pay as Bid
All providers of used FFSS will be trying to restock at the same time
  Likely there is simply not enough trucks if everyone is trying to do so at the same time
Initial procurements of FFSS in the first few years should use “pay as bid” proposals
  FFSS product is highly variable between potential providers,
    Newer generation plants and plants over 60 years old
    ERCOT should have the flexibility to fit into its budget the best of all proposals responding to the RFP
  Goal would be to move to a full clearing price auction in the longer term

## Slide 9: Discussion