## sheet 1
[17 empty] | Reference |  |  |  |  | Option 1 | [7 empty] | Option 2-ONLY works for single POI
Co-Located Scenario
No Losses
Resource output perfectly follows SCED Base Point
SCED runs/completes on each 5 minute wall clock interval
[15 empty] | 5 min settlmnt. over 3 consecutive intrvl=15 min |  |  | Option 1: Nodal Settlement of co-located site with GR and CLR over 15 min settlmnt interval. | [7 empty] | Option 2: Nodal Settlement of co-located site with GR and CLR over 15 min settlmnt interval.
[6 empty] | 1st 5 min interval: xx:00 |  |  | 2nd 5 min Interval: xx:05 |  |  | 3rd 5 min Interval: xx:10
GR LSL | GR HSL | GR EOC | CLR LPC | CLR MPC | CLR BTB | LMP1 | GR BP1 | CLR BP1 | LMP2 | GR BP2 | CLR BP2 | LMP3 | GR BP3 | CLR BP3 | 5 min Settlmnt over 15 min GR | 5 min Settlmnt over 15 min CLR | Net site 5 min settlmnt over 15 min | 15 min energy MWh m3 Gen Channel | 15 min energy MWh m3 Ld Channel | 15 min energy MWh m4 Ld Channel | 15 min price $/MWh m3 GR BP weighted | 15 min price $/MWh m4 CLR BP Weighted | $ 15 min GR Settlmnt | $ 15 min CLR Settlmnt | $ Site 15 min Settlmnt Tot. Site | 15 min energy MWh m5 Gen Channel | 15 min energy MWh m5 Ld Channel | 15 min price $/MWh m5 gen Channel | 15 min price $/MWh m5 Ld Channel | net Settlmnt based on netting $ amounts= genCh*genPr-LdCh*LdPr | $ 15 min m5 gen channel Settlmnt | $ 15 min m5 ld channel Settlmnt
20 | 100 | 40 | 0 | 50 | 5 | 100 | 100 | 0 | 1 | 0 | 50 | 2 | 0 | 50 | -833.3333 | 12.5 | -820.8333 | 8.3333 | 8.3333 | 8.3333 | 100 | 1.5 | -833.3333 | 12.5 | -820.8333 | 8.3333 | 8.3333 | 100 | 1.5 | -820.8333 | -833.3333 | 12.5
20 | 100 | 40 | 0 | 50 | 40 | 40 | 65 | 50 | 40 | 50 | 50 | 40 | 25 | 50 | -466.6667 | 500 | 33.3333 | 1.25 | 2.0833 | 12.5 | 40 | 40 | -466.6667 | 500 | 33.3333 | 1.25 | 2.0833 | 40 | 40 | 33.3333 | -50 | 83.3333
20 | 100 | 40 | 0 | 50 | 200 | 40 | 75 | 50 | 125 | 100 | 50 | 80 | 0 | 50 | -1291.6667 | 1020.8333 | -270.8333 | 6.25 | 4.1667 | 12.5 | 88.5714 | 81.6667 | -1291.6667 | 1020.8333 | -270.8333 | 6.25 | 4.1667 | 96.6667 | 80 | -270.8333 | -604.1667 | 333.3333
20 | 100 | 40 | 0 | 50 | 200 | 40 | 60 | 50 | -5 | 20 | 50 | 60 | 100 | 50 | -691.6667 | 395.8333 | -295.8333 | 5 | 2.5 | 12.5 | 46.1111 | 31.6667 | -691.6667 | 395.8333 | -295.8333 | 5 | 2.5 | 56.6667 | -5 | -295.8333 | -283.3333 | -12.5
20 | 100 | 40 | 0 | 50 | 5 | 30 | 0 | 50 | 40 | 50 | 50 | 5 | 50 | 35 | -187.5 | 306.25 | 118.75 | 1.25 | 4.1667 | 11.25 | 22.5 | 27.2222 | -187.5 | 306.25 | 118.75 | 1.25 | 4.1667 | 5 | 30 | 118.75 | -6.25 | 125
20 | 100 | 40 | 0 | 50 | 5 | -1 | 44 | 50 | 0.4 | 32 | 50 | 4 | 20 | 50 | -4.0667 | 14.1667 | 10.1 | 0 | 4.5 | 12.5 | 0.50833 | 1.1333 | -4.0667 | 14.1667 | 10.1 | 0 | 4.5 | 0 | 2.2444 | 10.1 | 0 | 10.1
[6 empty] | 40 | 50 | 20 | 55 | 50 | 20 | 65 | 50 | 20 | -666.6667 | 266.6667 | -400 | 7.5 | 0 | 5 | 53.3333 | 53.3333 | -666.6667 | 266.6667 | -400 | 7.5 | 0 | 53.3333 | 0 | -400 | -400 | 0
M2
GR
CLR
M1
M3
GR
CLR
POI meter
m4
M5
Other GR
CLR 2
POI meter
ERCOT only settles m5 gen channel and m5 load channet
CLR meter