## Slide 1
Generation Resource Energy and Regulation Deployment Performance Report for January 2022

## Slide 2: Non-IRR GREDP < 85% – January 2022
Unit | Total Intervals Passed | Total Intervals Scored | Std. Dev. (ATG - Exp MW) | GREDP Monthly Score
Unit 237 | 297 | 482 | 2.80 | 61.62
Unit 241 | 293 | 435 | 2.84 | 67.36
Unit 262 | 173 | 245 | 1.98 | 70.61
Unit 319 | 28 | 39 | 2.57 | 71.79
Unit 326 | 23 | 29 | 7.72 | 79.31

## Slide 3: IRR Summary – January 2022
IRR | Fleet | < 95% | > 100 INT, < 95%
GREDP Average (%) | 87.81 | 72.85 | 79.61
GREDP Median (%) | 96.47 | 84.00 | 89.35
Average MW Error | 4.14 | 4.24 | 4.09
Median MW Error | 3.77 | 4.01 | 3.48
Total Intervals Scored | 75,399 | 24,490 | 23,689
100+ Intervals Scored | 104 | 174 | 38
Total Intervals Scored Average | 270.25 | 318.05 | 623.39

## Slide 4: IRR ≥ 95%, ≥ 100 Scored Intervals – Jan. 2022
Unit | Total Intervals Passed | Total Intervals Scored | Std. Dev. (ATG - Exp MW) | GREDP Monthly Score
Unit 1 | 2,033 | 2,119 | 3.24 | 95.94
Unit 4 | 1,768 | 1,782 | 2.33 | 99.21
Unit 5 | 1,705 | 1,707 | 2.39 | 99.88
Unit 6 | 1,695 | 1,700 | 2.71 | 99.71
Unit 7 | 1,677 | 1,697 | 3.63 | 98.82
Unit 8 | 1,653 | 1,677 | 3.63 | 98.57
Unit 10 | 1,449 | 1,521 | 4.74 | 95.27
Unit 11 | 1,451 | 1,518 | 2.70 | 95.59
Unit 12 | 1,449 | 1,513 | 1.25 | 95.77
Unit 15 | 1,448 | 1,455 | 8.14 | 99.52
Unit 16 | 1,420 | 1,428 | 2.82 | 99.44
Unit 17 | 1,356 | 1,391 | 3.56 | 97.48
Unit 18 | 1,313 | 1,352 | 1.58 | 97.12
Unit 19 | 1,300 | 1,322 | 5.82 | 98.34
Unit 20 | 1,278 | 1,311 | 1.63 | 97.48
Unit 22 | 1,225 | 1,281 | 1.55 | 95.63
Unit 23 | 1,139 | 1,157 | 2.07 | 98.44
Unit 24 | 1,012 | 1,044 | 6.26 | 96.93
Unit 25 | 974 | 1,017 | 2.60 | 95.77
Unit 27 | 954 | 980 | 2.00 | 97.35

## Slide 5: IRR ≥ 95%, ≥ 100 Scored Intervals – Jan. 2022
Unit | Total Intervals Passed | Total Intervals Scored | Std. Dev. (ATG - Exp MW) | GREDP Monthly Score
Unit 28 | 961 | 970 | 11.21 | 99.07
Unit 30 | 873 | 918 | 8.57 | 95.10
Unit 31 | 821 | 834 | 3.96 | 98.44
Unit 32 | 779 | 794 | 3.45 | 98.11
Unit 33 | 771 | 787 | 3.68 | 97.97
Unit 34 | 738 | 767 | 4.93 | 96.22
Unit 35 | 722 | 742 | 7.71 | 97.30
Unit 37 | 707 | 709 | 4.87 | 99.72
Unit 40 | 652 | 664 | 3.72 | 98.19
Unit 41 | 633 | 659 | 6.33 | 96.05
Unit 44 | 621 | 626 | 0.93 | 99.20
Unit 46 | 602 | 615 | 5.63 | 97.89
Unit 47 | 602 | 603 | 4.95 | 99.83
Unit 48 | 584 | 599 | 8.28 | 97.50
Unit 53 | 516 | 535 | 8.07 | 96.45
Unit 54 | 515 | 522 | 5.72 | 98.66
Unit 55 | 499 | 506 | 5.01 | 98.62
Unit 56 | 492 | 506 | 3.80 | 97.23
Unit 58 | 495 | 501 | 5.05 | 98.80
Unit 59 | 479 | 499 | 7.48 | 95.99

## Slide 6: IRR ≥ 95%, ≥ 100 Scored Intervals – Jan. 2022
Unit | Total Intervals Passed | Total Intervals Scored | Std. Dev. (ATG - Exp MW) | GREDP Monthly Score
Unit 61 | 475 | 479 | 1.06 | 99.16
Unit 62 | 456 | 472 | 1.15 | 96.61
Unit 64 | 441 | 462 | 2.84 | 95.45
Unit 66 | 437 | 455 | 1.43 | 96.04
Unit 67 | 451 | 455 | 4.34 | 99.12
Unit 71 | 384 | 398 | 5.17 | 96.48
Unit 72 | 361 | 380 | 3.19 | 95.00
Unit 73 | 375 | 376 | 3.75 | 99.73
Unit 75 | 358 | 374 | 6.40 | 95.72
Unit 76 | 344 | 351 | 7.49 | 98.01
Unit 79 | 319 | 319 | 4.92 | 100.00
Unit 80 | 314 | 314 | 4.40 | 100.00
Unit 81 | 295 | 301 | 2.87 | 98.01
Unit 82 | 288 | 288 | 2.63 | 100.00
Unit 83 | 288 | 288 | 2.81 | 100.00
Unit 84 | 255 | 264 | 1.45 | 96.59
Unit 86 | 257 | 259 | 4.51 | 99.23
Unit 87 | 258 | 258 | 4.28 | 100.00
Unit 88 | 238 | 240 | 3.00 | 99.17
Unit 89 | 232 | 237 | 3.63 | 97.89

## Slide 7: IRR ≥ 95%, ≥ 100 Scored Intervals – Jan. 2022
Unit | Total Intervals Passed | Total Intervals Scored | Std. Dev. (ATG - Exp MW) | GREDP Monthly Score
Unit 92 | 161 | 167 | 1.33 | 96.41
Unit 93 | 152 | 156 | 6.38 | 97.44
Unit 96 | 131 | 131 | 3.32 | 100.00
Unit 99 | 119 | 125 | 1.77 | 95.20
Unit 103 | 104 | 108 | 3.18 | 96.30
Unit 104 | 104 | 106 | 2.72 | 98.11

## Slide 8: IRR < 95%, ≥ 100 Scored Intervals – Jan. 2022
Unit | Total Intervals Passed | Total Intervals Scored | Std. Dev. (ATG - Exp MW) | GREDP Monthly Score
Unit 2 | 1,839 | 2,030 | 3.20 | 90.59
Unit 3 | 1,655 | 1,812 | 8.00 | 91.34
Unit 9 | 1,533 | 1,619 | 2.19 | 94.69
Unit 13 | 1,357 | 1,504 | 2.54 | 90.23
Unit 14 | 1,416 | 1,502 | 1.52 | 94.27
Unit 21 | 1,045 | 1,285 | 6.57 | 81.32
Unit 26 | 823 | 1,007 | 5.66 | 81.73
Unit 29 | 832 | 923 | 3.25 | 90.14
Unit 36 | 684 | 722 | 3.57 | 94.74
Unit 38 | 655 | 695 | 5.76 | 94.24
Unit 39 | 614 | 670 | 6.16 | 91.64
Unit 42 | 600 | 642 | 1.54 | 93.46
Unit 43 | 444 | 632 | 4.01 | 70.25
Unit 45 | 526 | 616 | 5.89 | 85.39
Unit 49 | 481 | 571 | 2.75 | 84.24
Unit 50 | 150 | 570 | 2.56 | 26.32
Unit 51 | 507 | 569 | 2.94 | 89.10
Unit 52 | 382 | 537 | 5.90 | 71.14
Unit 57 | 471 | 502 | 3.51 | 93.82
Unit 60 | 458 | 496 | 2.56 | 92.34

## Slide 9: IRR < 95%, ≥ 100 Scored Intervals – Jan. 2022
Unit | Total Intervals Passed | Total Intervals Scored | Std. Dev. (ATG - Exp MW) | GREDP Monthly Score
Unit 63 | 385 | 468 | 4.13 | 82.26
Unit 65 | 431 | 459 | 4.79 | 93.90
Unit 68 | 368 | 451 | 4.91 | 81.60
Unit 69 | 220 | 415 | 2.75 | 53.01
Unit 70 | 280 | 410 | 6.14 | 68.29
Unit 74 | 336 | 375 | 1.07 | 89.60
Unit 77 | 305 | 348 | 1.29 | 87.64
Unit 78 | 124 | 322 | 4.83 | 38.51
Unit 85 | 243 | 262 | 4.19 | 92.75
Unit 90 | 182 | 200 | 3.46 | 91.00
Unit 91 | 56 | 180 | 7.48 | 31.11
Unit 94 | 129 | 141 | 2.22 | 91.49
Unit 95 | 37 | 133 | 3.10 | 27.82
Unit 97 | 119 | 131 | 2.06 | 90.84
Unit 98 | 72 | 130 | 6.31 | 55.38
Unit 100 | 105 | 125 | 2.15 | 84.00
Unit 101 | 93 | 124 | 13.03 | 75.00
Unit 102 | 100 | 111 | 1.39 | 90.09