## Slide 1: Congestion Management Working Group
March 2, 2021
Katie Rich, Chair
Andy Nguyen, Vice Chair

## Slide 2: Nodal Settlement of Controllable Load Resources (CLRs)
Based on the direction from WMS, CMWG continued reviewing the various issues associated with settlement using nodal pricing for CLRs
ERCOT provided an overview document covering pricing formation, congestion management, and the requirement to settle CLRs at a nodal price
Tasks that need to be completed include:
  Defining eligibility for single site Flexible Loads
  Registering Flexible Loads as CLRs
  Setting ramp requirements
  Data aggregation and settlement calculations
We also reviewed scenarios for nodal settlement for single site CLRs and those collocated with Generation Resources

## Slide 3: Nodal Settlement of Controllable Load Resources (CLRs)
Next Steps
  ERCOT will be developing an NPRR
    This will cover appropriate configurations for CLRs (stand alone and netted)
  Additional discussions about Flexible Load will be continued once the Task Force to address Load Resource issues is formed

## Slide 4: Panhandle GTLs
ERCOT explained that a GTC limit is determined as the lower of:
  Calculated static voltage stability limit from VSAT, or
  Table-based dynamic voltage stability limit under various outages
When the VSAT calculation for the voltage stability is completed, it increases the wind resources in the Panhandle area until the system reaches voltage instability
Depending on the transmission conditions and wind resource availability, it may not reach the instability even with all wind dispatched
This results in a “dispatch limit” rather than a “stability limit”
Next month we will be discussing whether there should also be changes in the CRR market

## Slide 5: Next Meeting: March 21
Review of NPRR 1111 and SCR 819 Impacts to GTCs
Panhandle GTLs

## Slide 6: Questions?