**PWG Meeting Notes** – January 12, 2022

Via WebEx 9:30 AM

Attendees:

To be Added

* **2022 PWG leadership elections:**
	+ **Chair: Sam Pak, Oncor**
	+ **Vice Chair: Sheri Wiegand, Vistra Energy**
* A revised version of meeting notes for Nov 11th were reviewed and approved
	+ This will replace the version posted
* **2021 Weather Sensitivity Progress**
	+ ERCOT provided an update as of January 2nd on the progress of Weather Sensitivity changes
	+ Process ongoing for changes with a target completion by Jan 31 2022
	+ ERCOT to provide additional update via PWG listserv in early Feb 2022



* **Transition status of LPGRR068, Add BUSLRG and BUSLRGDG Profile Types**
	+ **Transition Plans for BUSLRG profiles:**
		- Oncor stated plans were for mid February for 814\_20 profile changes. Will provide further updates at February’s PWG meeting.
		- CNP may provide further update around 2nd Qtr on their transition plans
		- AEP timeline for transition around April 2022
		- TNMP transition timeline has been delayed; will provide further updates at PWG in future meetings
	+ **Data Accessibility:**
		- All TDSPs plan to have interval data available via CRIP/REP DESK tools
		- Oncor’s CRIP tool for interval data is currently in development with expectations of a mid 2022 rollout
	+ **ERCOT’s Proposals for additional Error Codes on respective TDSP’s *867\_03 Activity Report* and *Interval Data LSE Activity Report* have been agreed upon**
		- Threshold kWh/KW amounts may be subject to change with possible individual values by TDSP as a possible option in future iterations
* **Reviewed 2021 Goals/Accomplishments & 2022 Goals**
* **Parking Lot Item for future discussion:**
	+ Converting Appendix D, Profile Decision Tree, in Load Profiling Guide from Excel to Word Format
* **Future Meeting Dates:**
	+ **Cancelled Feb 9th and rescheduling for Feb 24th**
	+ **Cancelled Mar 16th and rescheduling for Mar 22nd**