## Slide 1: Wholesale Market Working Group Report to WMS
Bryan Sams
Murali Sithuraj
March 2, 2022
From February 24 WMWG Meeting

## Slide 2: Recap of 2/24/2022 WMWG Meeting
No Voting Items
Monthly RUC Reporting
Discussion of Load Forecast Variability/Non Spin Procurement Process
Discussion of pending NPRRs:
  NPRR 1100, Emergency Switching Solutions for Energy Storage Resources
  NPRR 1108, ERCOT Shall Approve or Deny All Resource Outages Requests
  NPRR 1110, Black Start Requirements

## Slide 3: NPRR1100, Emergency Switching Solutions for Energy Storage Resources
Tesla filed comments on 2/14 and flagged there would be additional discussion with ERCOT staff.

## Slide 4: NPRR1108 ERCOT Shall Approve or Deny All Resource Outage Requests
ERCOT filed additional comments on 2/22/22 to further clarify the process.
ERCOT proposes to approve outages on a first-come, first-service basis while ensuring the total amount of daily outages is below the Maximum Daily Planned Resource Outage Capacity threshold.
Proposes a single project to implement NPRR 1108.
ERCOT plans to post the outage schedule twice per day and include the maximum limit of outages that ERCOT can approve to maintain their required reserves as well as the number of outages that have been approved.
ERCOT added additional clarifying language with respect to ERCOT timelines for responses to outage requests
NPRR was requested to stay tabled to allow for additional consideration at WMWG and data to be posted.

## Slide 5: NPRR1110, Black Start Requirements
ERCOT flagged additional comments are pending based on BSWG discussion.
Joint WMWG/BSWG workshop possible.

## Slide 6: Pending Assignments
NPRR 981, Day-Ahead Market Price Correction Process
NPRR 1058, Resource Offer Modernization for Real-Time Co-Optimization
NPRR 1084, Improvements to Reporting of Resource Outages and Derates
NPRR 1108, ERCOT Shall Approve of Deny All Resource Outage Requests
NPRR 1110, Black Start Requirements Update
AS Methodology
  Additional analysis for NSRS quantities
  Definition of conservative operations
Addressing cost and compensation for using voltage reduction for grid reliability
Weatherization Inspections fees (2nd Quarter)

## Slide 7: Next meeting
3/25, Expect Agenda to be posted by 3/17.
Any questions?