## Slide 1
ERCOT Staff Update
DSWG
February 28, 2022

## Slide 2: Impact of Critical Loads on pro-ration of LR Offers
Conditions:
1) The Load Resource is not located behind an Electric Service Identifier (ESI ID), including a non-settlement ESI ID, that corresponds to a Critical Load.
2) The Load Resource is located behind an ESI ID, including a non-settlement ESI ID, that corresponds to a Critical Load, but the Load Resource is not a Critical Load and does not include a Critical Load.
3) The Load Resource is located behind an ESI ID, including a non-settlement ESI ID, that corresponds to a Critical Load, but electric service from the ERCOT System is not required for the provision of the critical service due to the availability of back-up generation or other technologies at the site.
4) None of the above apply to this Load Resource.
Note: All resources attesting to condition 4 have had their A/S qualification status revoked
Summary of Load Resource Attestations as required under protocol section 3.6.1.(7) & (8), (NPRR 1087)

## Slide 3: Impact of Critical Loads on pro-ration of LR Offers

## Slide 4: NPRR 1093 and 1101
Allow Interruptible Load Resources to provide Non-Spin
Dispatched with the Off-line GRs (mixed groups of GRs and NCLRs of about 500 MW)
Initial requirements have been completed and project is proceeding to execution
Training for ERCOT Operators to start 3/14/22
Evaluating market participant training needs
Market readiness activities scheduled for 4/19 to 5/23
Currently expected to be part of Release 3 - 5/24/22-5/26/22