## Slide 1
Highlights: 2021 Analysis of REP and NOIE Demand Response
Carl L Raish
Principal Load Profiling and Modeling
Wholesale Market Subcommittee – March 2, 2022

## Slide 2: Load Reductions by Category/System Level
HE 17:00 MW Reductions
Table Limited to days for which Total System DR > 1,500 MW
Total System DR: Amount of reduction with no double counting:
1. For an ESIID participating in more than one category
2. For a NOIE classified as responding to both price and 4CP

## Slide 3: Load Reductions by Category/System Level
HE 17:00 MW Reductions
Table Limited to days for which Total System DR > 1,500 MW
Total System DR: Amount of reduction with no double counting:
1. For an ESIID participating in more than one category
2. For a NOIE classified as responding to both price and 4CP

## Slide 4: ESIIDs/NOIEs by Category/System Level
HE 17:00 ESIIDs/NOIEs with Reductions
Table Limited to days for which Total System DR > 1,500 MW
Total System DR: Amount of ESIIDs/NOIEs with no double counting:
1. For an ESIID participating in more than one category
2. For a NOIE classified as responding to both price and 4CP

## Slide 5: Responding ESIIDs and Reductions

## Slide 6: Responding NOIEs and Reductions

## Slide 7: Total Competitive and NOIE Demand Response

## Slide 8: 4CP Response Trend
Red Arrows: HE17 Price > $1,000 Black Arrows: HE17 Price > $500

## Slide 9: 4CP Response Trend

## Slide 10: Residential PV – Competitive ERCOT
76 Reps with 1 or more PV ESIIDs
Reps have 73%
10 Reps have 90%
46 Reps have less than 100 PV ESIIDs
82 PV ESIIDs currently de-energized
13 ESIIDs with NIDR meter (active)

## Slide 11: Residential PV – High 2021 PV Output Day
5.5 KW of PV output per ESIID

## Slide 12: Questions?
ON
OFF
craish@ercot.com 512/248-3876