## Slide 1
Generation Resource Energy and Regulation Deployment Performance Report for February 2022

## Slide 2: Non-IRR GREDP < 85% – February 2022
Unit | Total Intervals Passed | Total Intervals Scored | Std. Dev. (ATG - Exp MW) | GREDP Monthly Score
Unit 371 | 78 | 97 | 0.86 | 80.41
Unit 416 | 168 | 205 | 1.01 | 81.95
Unit 116 | 551 | 671 | 1.93 | 82.12
Unit 308 | 23 | 28 | 0.93 | 82.14
Unit 245 | 5 | 6 | 0.44 | 83.33

## Slide 3: IRR Summary – February 2022
IRR | Fleet | < 95% | > 100 INT, < 95%
GREDP Average (%) | 88.76 | 77.15 | 81.92
GREDP Median (%) | 95.72 | 85.71 | 88.66
Average MW Error | 4.55 | 4.54 | 4.63
Median MW Error | 4.01 | 3.79 | 3.79
Total Intervals Scored | 112,287 | 46,415 | 45,405
100+ Intervals Scored | 139 | 144 | 65
Total Intervals Scored Average | 392.61 | 488.58 | 698.54

## Slide 4: IRR ≥ 95%, ≥ 100 Scored Intervals – Feb. 2022
Unit | Total Intervals Passed | Total Intervals Scored | Std. Dev. (ATG - Exp MW) | GREDP Monthly Score
Unit 2 | 2,383 | 2,402 | 2.53 | 99.21
Unit 3 | 2,291 | 2,346 | 8.36 | 97.66
Unit 4 | 2,256 | 2,279 | 2.52 | 98.99
Unit 7 | 2,108 | 2,126 | 3.37 | 99.15
Unit 8 | 2,081 | 2,110 | 4.45 | 98.63
Unit 9 | 2,083 | 2,107 | 2.54 | 98.86
Unit 11 | 1,930 | 2,007 | 4.32 | 96.16
Unit 12 | 1,893 | 1,983 | 0.88 | 95.46
Unit 17 | 1,731 | 1,758 | 5.64 | 98.46
Unit 19 | 1,747 | 1,753 | 2.37 | 99.66
Unit 20 | 1,632 | 1,705 | 1.82 | 95.72
Unit 21 | 1,668 | 1,700 | 1.62 | 98.12
Unit 22 | 1,636 | 1,665 | 1.61 | 98.26
Unit 23 | 1,636 | 1,661 | 4.15 | 98.49
Unit 25 | 1,609 | 1,628 | 9.16 | 98.83
Unit 28 | 1,388 | 1,389 | 5.04 | 99.93
Unit 29 | 1,345 | 1,364 | 1.58 | 98.61
Unit 30 | 1,263 | 1,324 | 3.06 | 95.39
Unit 31 | 1,086 | 1,109 | 3.01 | 97.93
Unit 32 | 1,087 | 1,108 | 4.19 | 98.10

## Slide 5: IRR ≥ 95%, ≥ 100 Scored Intervals – Feb. 2022
Unit | Total Intervals Passed | Total Intervals Scored | Std. Dev. (ATG - Exp MW) | GREDP Monthly Score
Unit 33 | 1,074 | 1,085 | 1.87 | 98.99
Unit 34 | 1,049 | 1,081 | 5.25 | 97.04
Unit 36 | 960 | 999 | 2.81 | 96.10
Unit 37 | 956 | 985 | 5.18 | 97.06
Unit 39 | 921 | 922 | 5.66 | 99.89
Unit 40 | 914 | 922 | 5.64 | 99.13
Unit 41 | 914 | 915 | 6.66 | 99.89
Unit 43 | 894 | 896 | 0.94 | 99.78
Unit 44 | 875 | 895 | 3.97 | 97.77
Unit 48 | 840 | 864 | 3.07 | 97.22
Unit 51 | 772 | 798 | 4.58 | 96.74
Unit 53 | 776 | 778 | 6.92 | 99.74
Unit 55 | 709 | 728 | 4.06 | 97.39
Unit 57 | 696 | 719 | 7.35 | 96.80
Unit 58 | 710 | 718 | 13.72 | 98.89
Unit 59 | 666 | 701 | 4.19 | 95.01
Unit 60 | 669 | 690 | 5.74 | 96.96
Unit 64 | 629 | 643 | 10.22 | 97.82
Unit 66 | 617 | 631 | 5.00 | 97.78
Unit 69 | 589 | 619 | 6.30 | 95.15

## Slide 6: IRR ≥ 95%, ≥ 100 Scored Intervals – Feb. 2022
Unit | Total Intervals Passed | Total Intervals Scored | Std. Dev. (ATG - Exp MW) | GREDP Monthly Score
Unit 71 | 598 | 614 | 4.39 | 97.39
Unit 73 | 595 | 609 | 7.91 | 97.70
Unit 75 | 594 | 600 | 1.13 | 99.00
Unit 76 | 562 | 562 | 4.28 | 100.00
Unit 77 | 525 | 545 | 3.87 | 96.33
Unit 78 | 533 | 544 | 0.87 | 97.98
Unit 79 | 535 | 536 | 4.96 | 99.81
Unit 80 | 506 | 521 | 5.39 | 97.12
Unit 81 | 468 | 490 | 3.75 | 95.51
Unit 82 | 484 | 489 | 9.44 | 98.98
Unit 83 | 473 | 488 | 2.88 | 96.93
Unit 84 | 478 | 484 | 5.70 | 98.76
Unit 85 | 472 | 477 | 0.84 | 98.95
Unit 86 | 467 | 475 | 1.09 | 98.32
Unit 87 | 471 | 474 | 6.44 | 99.37
Unit 88 | 456 | 459 | 8.16 | 99.35
Unit 91 | 399 | 400 | 3.05 | 99.75
Unit 92 | 386 | 395 | 6.29 | 97.72
Unit 94 | 358 | 366 | 5.81 | 97.81
Unit 95 | 350 | 353 | 2.71 | 99.15

## Slide 7: IRR ≥ 95%, ≥ 100 Scored Intervals – Feb. 2022
Unit | Total Intervals Passed | Total Intervals Scored | Std. Dev. (ATG - Exp MW) | GREDP Monthly Score
Unit 99 | 328 | 336 | 4.22 | 97.62
Unit 100 | 328 | 330 | 3.06 | 99.39
Unit 104 | 268 | 273 | 4.73 | 98.17
Unit 109 | 251 | 257 | 2.53 | 97.67
Unit 110 | 240 | 245 | 1.75 | 97.96
Unit 111 | 228 | 236 | 6.31 | 96.61
Unit 114 | 214 | 216 | 4.77 | 99.07
Unit 116 | 182 | 185 | 3.50 | 98.38
Unit 118 | 177 | 178 | 3.28 | 99.44
Unit 121 | 165 | 171 | 13.73 | 96.49
Unit 129 | 144 | 145 | 10.28 | 99.31
Unit 132 | 122 | 126 | 7.28 | 96.83
Unit 134 | 120 | 120 | 4.92 | 100.00
Unit 135 | 112 | 112 | 4.01 | 100.00

## Slide 8: IRR < 95%, ≥ 100 Scored Intervals – Feb. 2022
Unit | Total Intervals Passed | Total Intervals Scored | Std. Dev. (ATG - Exp MW) | GREDP Monthly Score
Unit 1 | 2,550 | 2,756 | 3.24 | 92.53
Unit 5 | 2,066 | 2,179 | 2.36 | 94.81
Unit 6 | 1,983 | 2,148 | 2.00 | 92.32
Unit 10 | 1,975 | 2,091 | 2.26 | 94.45
Unit 13 | 1,821 | 1,939 | 3.15 | 93.91
Unit 14 | 1,784 | 1,902 | 2.58 | 93.80
Unit 15 | 1,726 | 1,843 | 1.98 | 93.65
Unit 16 | 1,590 | 1,838 | 6.82 | 86.51
Unit 18 | 1,556 | 1,755 | 5.12 | 88.66
Unit 24 | 1,317 | 1,638 | 3.26 | 80.40
Unit 26 | 1,339 | 1,476 | 1.12 | 90.72
Unit 27 | 1,173 | 1,399 | 5.55 | 83.85
Unit 35 | 929 | 1,000 | 1.71 | 92.90
Unit 38 | 717 | 923 | 8.42 | 77.68
Unit 42 | 792 | 902 | 3.19 | 87.80
Unit 45 | 817 | 874 | 2.75 | 93.48
Unit 46 | 478 | 871 | 2.99 | 54.88
Unit 47 | 330 | 867 | 3.03 | 38.06
Unit 49 | 788 | 833 | 3.79 | 94.60
Unit 50 | 724 | 821 | 3.67 | 88.19

## Slide 9: IRR < 95%, ≥ 100 Scored Intervals – Feb. 2022
Unit | Total Intervals Passed | Total Intervals Scored | Std. Dev. (ATG - Exp MW) | GREDP Monthly Score
Unit 52 | 661 | 783 | 6.34 | 84.42
Unit 54 | 675 | 765 | 5.76 | 88.24
Unit 56 | 603 | 727 | 9.22 | 82.94
Unit 61 | 238 | 687 | 3.85 | 34.64
Unit 62 | 613 | 678 | 8.29 | 90.41
Unit 63 | 593 | 645 | 5.57 | 91.94
Unit 65 | 587 | 631 | 8.52 | 93.03
Unit 67 | 277 | 625 | 5.49 | 44.32
Unit 68 | 543 | 620 | 5.58 | 87.58
Unit 70 | 560 | 617 | 4.93 | 90.76
Unit 72 | 573 | 609 | 5.44 | 94.09
Unit 74 | 534 | 602 | 4.88 | 88.70
Unit 89 | 360 | 409 | 3.79 | 88.02
Unit 90 | 108 | 404 | 0.97 | 26.73
Unit 93 | 299 | 369 | 17.29 | 81.03
Unit 96 | 321 | 352 | 2.79 | 91.19
Unit 97 | 328 | 352 | 1.81 | 93.18
Unit 98 | 321 | 348 | 1.29 | 92.24
Unit 101 | 304 | 329 | 1.48 | 92.40
Unit 102 | 288 | 324 | 3.85 | 88.89

## Slide 10: IRR < 95%, ≥ 100 Scored Intervals – Feb. 2022
Unit | Total Intervals Passed | Total Intervals Scored | Std. Dev. (ATG - Exp MW) | GREDP Monthly Score
Unit 103 | 268 | 295 | 3.73 | 90.85
Unit 105 | 252 | 272 | 5.48 | 92.65
Unit 106 | 231 | 269 | 3.81 | 85.87
Unit 107 | 212 | 261 | 3.53 | 81.23
Unit 108 | 226 | 260 | 3.51 | 86.92
Unit 112 | 204 | 225 | 2.37 | 90.67
Unit 113 | 160 | 222 | 2.57 | 72.07
Unit 115 | 172 | 207 | 3.24 | 83.09
Unit 117 | 54 | 185 | 7.88 | 29.19
Unit 119 | 66 | 175 | 5.95 | 37.71
Unit 120 | 160 | 173 | 7.90 | 92.49
Unit 122 | 111 | 170 | 3.69 | 65.29
Unit 123 | 152 | 167 | 3.09 | 91.02
Unit 124 | 113 | 167 | 13.58 | 67.66
Unit 125 | 106 | 166 | 10.62 | 63.86
Unit 126 | 104 | 158 | 5.81 | 65.82
Unit 127 | 143 | 154 | 5.01 | 92.86
Unit 128 | 137 | 145 | 0.99 | 94.48
Unit 130 | 120 | 127 | 3.35 | 94.49
Unit 131 | 114 | 127 | 1.41 | 89.76

## Slide 11: IRR < 95%, ≥ 100 Scored Intervals – Feb. 2022
Unit | Total Intervals Passed | Total Intervals Scored | Std. Dev. (ATG - Exp MW) | GREDP Monthly Score
Unit 133 | 104 | 121 | 9.28 | 85.95
Unit 136 | 105 | 111 | 2.60 | 94.59
Unit 137 | 97 | 111 | 5.29 | 87.39
Unit 138 | 67 | 104 | 5.24 | 64.42
Unit 139 | 88 | 102 | 4.57 | 86.27