## Slide 1
Residential PV Analysis and Profile Assignment/Validation Considerations
Carl L Raish
Principal Load Profiling and Modeling
PWG – March 22, 2022

## Slide 2: Residential PV – Analysis Methodology
Find matching non-pv ESIIDs
  Same Weather Zone, Profile Type
  Stationcode, Zip Code
  Similar usage prior to PV installation
  Closest 5 with greater use and closest 5 with lower use
  Baseline load for non-match Esiids profiled based on ESIIDs in same Weather Zone
Baseline load for PV ESIIDs is average of the load for the matching ESIIDs
PV output = Export + Load Offset (Baseline – Actual Load)
  Export and Actual metered interval data
  Baseline from matching ESIIDs
ESIIDs with obvious non-pv export
  Initially excluded ESIIDs with more than 5 days of non-pv export.
  Updated analysis results with those ESIIDs included

## Slide 3: Residential PV – Competitive ERCOT
76 Reps with 1 or more PV ESIIDs
Reps have 73%
10 Reps have 90%
46 Reps have less than 100 PV ESIIDs
82 PV ESIIDs currently de-energized
13 ESIIDs with NIDR meter (active)

## Slide 4: Residential PV – Competitive ERCOT
~200 MW of increased PV output from summer 2020 to summer 2021

## Slide 5: Residential PV – High 2021 PV Output Day
5.9 KW of PV output per ESIID

## Slide 6: Residential PV – High 2020 PV Output Day
5.5 KW of PV output per ESIID

## Slide 7: Residential PV – Month High PV Output - 2021

## Slide 8: Residential PV – Month High PV Output - 2020

## Slide 9: Residential PV – Non-PV Export – 2020/2021
Non-PV Export:
Sum of intervals 1 – 30
+ intervals 80 – 96 > 1 KWH

## Slide 10: Residential PV – ESIIDs and PV Output - 2021

## Slide 11: Residential PV – ESIIDs and PV Output - 2020

## Slide 12: Residential PV Analysis – Next Steps
Investigate ESIIDs with Non-PV Export.
  Possible recommendation to PWG on profile type validation based on export pattern.
  No validation necessary – aggregate load predominately PV
Run analysis for prior years to quantify growth in PV output.
Completed for 2020 – will run for a few more prior years
Look at PV output by vintage … output of newer vs older installs.
Investigate whether there is an increase in PV native load consumption based on low/zero cost of energy.
Add a solar buy-back category to annual DR Survey … does buy-back affect load/export patterns? … RMS feedback requested.

## Slide 13: Questions?
ON
OFF
craish@ercot.com 512/248-3876