## Slide 1
ROS Report – March 30, 2022
Chase Smith
Technical Advisory Committee (TAC) Meeting
ERCOT Public

## Slide 2: Voting Items
Minimum Duration Threshold for ESRs (Related to PGRR095)
  Endorsed minimum duration threshold for ESRs of 2 hours; lower duration resources would be prorated to their continuous Real Power capability for 2 hours
PGRR096, Achieve Consistent Representation of Distributed Generation in Steady-State Models
PGRR098, Consideration of Load Shed in Transmission Planning Criteria
2022 ROS Goals

## Slide 3: Recent ROS Actions
NOGRR239, WAN Data Protection Responsibilities – recommended approval
Southern Cross Directive #6 Planning Studies for Transmission Upgrades Whitepaper – endorsed
Southern Cross Directive #8 Frequency Response and Voltage Support Whitepaper – endorsed
Minimum Capacity Required from SCED Dispatchable Resources to Provide Non-Spin (Related to NPRR1093)
  Endorsed Most Severe Single Contingency as minimum amount of Non-Spin procured from SCED dispatchable resources
Approved 2022 Black Start Working Group Leadership

## Slide 4: ROS WG Assignments
NPRR1070, Planning Criteria for GTC Exit Solutions (OWG, PLWG)
NPRR1084, Improvements to Reporting of Resource Outages and Derates (OWG)
NPRR1085, Ensuring Continuous Validity of PRC and Dispatch through Timely Changes to Resource Telemetry and COPs (OWG, PDCWG)
NPRR1100, Emergency Switching Solutions for Energy Storage Resources (OWG)
NPRR1110, Black Start Requirements Update (BSWG)
NPRR1118, Clarifications to the OSA Process
NOGRR215, Limit Use of Remedial Action Schemes (OWG)
NOGRR226, Revision to 5% Transmission Operator Load Shedding Relay Set Point (PDCWG, OWG, DWG)
NOGRR230, WAN Participant Security
NOGRR239, WAN Data Protection Responsibilities
NOGRR240, DC Tie Ride-Through Requirements
PGRR073, Related to NPRR956, Designation of Providers of Transmission Additions
PGRR100, Steady-State Case Building Timeline Update

## Slide 5: Recent ROS Discussion Items
Winter Storm Landon discussion
Discussion relating to existing load interconnection requirements
Spring Resource Planned Outage status update

## Slide 6: Future Meetings
ROS
  Next Regularly Scheduled Meeting – April 7th