APPROVED

Minutes of the Reliability Operations Subcommittee (ROS) Meeting

Webex Only

Thursday, January 6, 2022 – 9:30 a.m.

| Attendance |  |  |
| --- | --- | --- |
| Members: |  |  |
| Ayers-Brasher, Jennifer | RWE Renewables |  |
| Borkar, Sandeep | Lower Colorado River Authority | Alt. Rep. for Daniel Marr |
| Bowen, Kenneth | CPS Energy |  |
| Boyd, Phillip | City of Lewisville |  |
| Bunch, Kevin | EDF Trading North America |  |
| Camet, Brooke | OPUC |  |
| Cochran, Adam | Tenaska Power Services |  |
| Ebrahimian, Reza | Austin Energy |  |
| Evans, Doug | South Texas Electric Cooperative |  |
| Greer, Clayton | Morgan Stanley |  |
| Hudson, Tony | Texas-New Mexico Power |  |
| Kremling, Barry | Guadalupe Valley Electric Cooperative |  |
| Kunkel, Dennis | AEP Service Corporation |  |
| Lee, Billy | Garland Power and Light |  |
| Lutrick, Chris | Denton Municipal Electric |  |
| Matt, Kevin | Reliant |  |
| Nashawati, Eithar | Oncor |  |
| Reed, Cyrus | Sierra Club |  |
| Reid, Mike | Air Liquide |  |
| Rich, Katie | Golden Spread Electric Cooperative |  |
| Simpson, Lori | Exelon |  |
| Smith, Chase | Southern Power Co |  |
| Surendran, Resmi | Shell Energy |  |
| Valagura, Bill | Calpine Corporation |  |
| Woitt, Wes | CenterPoint Energy |  |

| - Guests: |  |  |  |
| --- | --- | --- | --- |
| Ahn, Sirius | Oncor |  |  |
| Alford, Anthony | CenterPoint Energy |  |  |
| Anderson, Connor | AB Power Advisors |  |  |
| Bailey, Robert | NRG |  |  |
| Barnes, Bill | NRG |  |  |
| Blackburn, Don | Hunt Energy Network Power |  |  |
| Bruce, Mark | Cratylus Advisors |  |  |
| Calcagni, Anthony | DC Energy |  |  |
| Canamar, Jorge | Sharyland |  |  |
| Chatlani, Varsha | BETM |  |  |
| Chilton, Tamme | CenterPoint Energy |  |  |
| Cloninger, Ross | Texas New Mexico Power |  |  |
| Cochran, Seth | DC Energy |  |  |
| Coleman, Diana | CPS Energy |  |  |
| Coultas, Ann | Enel Green Power NA |  |  |
| DeRidder, Chris | nFront Consulting |  |  |
| Detelich, David | CPS Energy |  |  |
| Dewitt, Charles | PEC |  |  |
| Donohoo, Kenneth | EPE |  |  |
| Downey, Marty |  |  |  |
| Floyd, Rickey | Oncor |  |  |
| Gaytan, Jose | Denton Municipal Electric |  |  |
| Gross, Blake | AEPSC |  |  |
| Haley, Ian | Luminant Generation |  |  |
| Henry, Mark | Texas Reliability Entity |  |  |
| Henson, Martha | Oncor |  |  |
| Hinds, David | Lower Colorado River Authority |  |  |
| Huynh, Thuy | Potomac Economics |  |  |
| Jablonski, Edward | CenterPoint Energy |  |  |
| Jackson, Jimmy | CPS Energy |  |  |
| Jamar, Ben | Orsted |  |  |
| Johnson, Anthony | CenterPoint Energy |  |  |
| Jolly, Emily | Lower Colorado River Authority |  |  |
| Jowlabar, Nicholas | RWE |  |  |
| Jung, Sam | Oncor |  |  |
| Kee, David | CPS Energy |  |  |
| Khayat, Maribel | CenterPoint Energy |  |  |
| Kilroy, Taylor | TPPA |  |  |
| Koenig, Chris | Golden Spread Electric Cooperative |  |  |
| Kroskey, Tony | Brazos Electric Cooperative |  |  |
| Lasher, Warren | Lasher Energy Consulting |  |  |
| Lotter, Eric | GridMonitor |  |  |
| Loving, Alicia | Austin Energy |  |  |
| Martinez, Javier | TNMP |  |  |
| Miller, Alexandra | EDFR |  |  |
| Morris, Sandy | Customized Energy Solutions |  |  |
| Mulholland, Chad | NRG |  |  |
| Nguyen, Andy | Lower Colorado River Authority |  |  |
| Oberski, Nicholas | Lower Colorado River Authority |  |  |
| Okenfuss, James | Savion |  |  |
| Pappu, Ajay | Invenergy |  |  |
| Petajasoja, Ida | inBalance |  |  |
| Pokharel, Nabaraj | PUCT |  |  |
| Powell, Christian | Pedernales Electric Cooperative |  |  |
| Preas, Dylan | Lower Colorado River Authority |  |  |
| Pyka, Greg | Schneider Engineering |  |  |
| Rainwater, Kim | Lower Colorado River Authority |  |  |
| Ramaswamy, Ramya | PUCT |  |  |
| Reid, Walter | Advanced Power Alliance |  |  |
| Ritch, John | Gexa Energy |  |  |
| Rivers, Joshua | PEC |  |  |
| Sams, Bryan | Calpine |  |  |
| Santos, Juan | GLP/TMPA |  |  |
| Sharma Frank, Arushi | Tesla |  |  |
| Siddiqi, Shams | Crescent Power Consulting |  |  |
| Smith, Caitlin | Jupiter Power |  |  |
| Turner, Lucas | South Texas Electric Cooperative |  |  |
| Uy, Manny | Hunt Energy |  |  |
| Varnell, John | Tenaska Power Services |  |  |
| Velasquez, Ivan | Oncor |  |  |
| Walcavich, Colin | National Grid Renewables |  |  |
| Walke, Pranil | Calpine |  |  |
| Whisler, Samuel | CenterPoint Energy |  |  |
| White, Lauri | AEP |  |  |
| Williams, Wes | Bryan Texas Utilities |  |  |
| Wittmeyer, Bob | Longhorn Power |  |  |
| Woods, Brad | Texas Reliability Entity |  |  |
| Zhang, Yang | WETT |  |  |
| ERCOT Staff: |  |  |  |
| Albracht, Brittney |  |  |  |
| Anderson, Troy |  |  |  |
| Balderas, Raul |  |  |  |
| Bernecker, John |  |  |  |
| Billo, Jeff |  |  |  |
| Boren, Ann |  |  |  |
| Bracy, Phil |  |  |  |
| Cheng, Yong |  |  |  |
| Cheng, Yunzhi |  |  |  |
| Clifton, Suzy |  |  |  |
| Daryabak, Mehdi |  |  |  |
| Du, Pengwei |  |  |  |
| Flint, Alison |  |  |  |
| Flores, Isabel |  |  |  |
| Garcia, Freddy |  |  |  |
| Gnanam, Prabhu |  |  |  |
| Haesler, Jameson |  |  |  |
| Hartmann, Jimmy |  |  |  |
| Huang, Fred |  |  |  |
| Jasper, Madeline |  |  |  |
| Jenkins, Darrell |  |  |  |
| Kang, Sun Wook |  |  |  |
| Lee, Alex |  |  |  |
| Lee, Raymund |  |  |  |
| Mago, Nitika |  |  |  |
| Matlock, Robert |  |  |  |
| Mohanadha, Thinesh Devadhas |  |  |  |
| Nikouei, Farhad |  |  |  |
| Pedigo, Jake |  |  |  |
| Phillips, Cory |  |  |  |
| Ragsdale, Kenneth |  |  |  |
| Sanchez, Daniel |  |  |  |
| Schmall, John |  |  |  |
| Sharma, Sandip |  |  |  |
| Sheets, Jarod |  |  |  |
| Stice, Clayton |  |  |  |
| Troublefield, Jordan |  |  |  |
| Thuerwaechter, Kashia |  |  |  |
| Wolf, Craig |  |  |  |
| Woodfin, Dan |  |  |  |
| Xiao, Hong |  |  |  |
| Yan, Ping |  |  |  |

Unless otherwise indicated, all Market Segments were participating in the votes.

Suzy Clifton called the January 6, 2022 ROS meeting to order at 9:30 a.m.

Antitrust Admonition

Ms. Clifton directed attention to the Antitrust Admonition, which was displayed.

- Election of 2022 ROS Chair and Vice Chair

Ms. Clifton reviewed the leadership election process codified in the Technical Advisory Committee Procedures and opened the floor for nominations.

Kevin Bunch nominated Chase Smith for 2022 ROS Chair.  Mr. Smith accepted the nomination.  Mr. Smith was named 2022 ROS Chair by acclamation.

Mr. Bunch nominated Katie Rich for 2022 ROS Vice Chair.  Ms. Rich accepted the nomination.  Ms. Rich was named 2022 ROS Vice Chair by acclamation.

Agenda Review

There were no changes to the agenda.

- Approval of Meeting Minutes (see Key Documents)

- November 4, 2021

- December 2, 2021

Market Participants reviewed the November 4 and December 2, 2021 ROS Meeting Minutes.  Mr. Smith noted these items could be considered for inclusion in the Combined Ballot.

- ERCOT Reports (See Key Documents)

- Operations Report

- Freddy Garcia reviewed the November 2021 Operations Report.

- System Planning Report

- Ping Yan presented the November 2021 System Planning Report.

Transient Security Assessment Tool (TSAT) Model Update

Mehdi Daryabak provided an update on the TSAT data requirements, presented model statuses, noted that on November 3, 2021 ERCOT began reporting Resource Entities not in compliance with the TSAT model submission requirements to the PUCT, and reviewed the implementation timeline.

Inverter Based Resources Task Force (IBR TF)

Mr. Garcia announced the January 10, 2022 IBR TF meeting and requested input from interested parties, including Inverter Based Resource Owners, Vendors, and Subject Matter Experts to further develop the IBR TF Scope.  Mr. Smith encouraged Market Participants to consider IBR TF Leadership opportunities.

New Protocol Revision Subcommittee (PRS) Referrals (See Key Documents)

Nodal Protocol Revision Request (NPRR) 1110 Black Start Requirements Update

Isabel Flores summarized NPRR1110 and discussion at the December 15, 2021 Black Start Working Group (BSWG) meeting and stated that ERCOT anticipates additional clarifications.  Market Participants discussed the issued and requested further review by the BSWG.

NPRR1111, Related to SCR819, Improving IRR Control to Manage GTC Stability Limits – Urgent

System Change Request (SCR) 819, Improving IRR Control to Manage GTC Stability Limits - Urgent

Mr. Garcia summarized NPRR1111 and SCR819.  Mr. Smith noted these items could be considered for inclusion in the Combined Ballot.

SCR820, Operator Real-Time Messaging During Emergency (See Key Documents)

Dennis Kunkel summarized SCR820 and noted the concepts were discussed at the November 18, 2021 Operations Working Group (OWG) meeting.  Mr. Smith noted this item could be considered for inclusion in the Combined Ballot.

ROS Revision Requests (See Key Documents)

Impact Analyses Review

Planning Guide Revision Request (PGRR) 099, Revise GIM Process to Ensure Compliance with the Lone Star Infrastructure Protection Act

Market Participants reviewed the Impact Analysis and recommended a priority and rank for the automation of PGRR099.  Mr. Smith noted this item could be considered for inclusion in the Combined Ballot.

Nodal Operating Guide Revision Request (NOGRR) 234, Related to NPRR1098, Direct Current Tie (DC Tie) Reactive Power Capability Requirements

Market Participant reviewed the Impact Analysis for NOGRR234.  Mr. Smith noted this item could be considered for inclusion in the Combined Ballot.

Language Review

PGRR100, Steady-State Case Building Timeline Update

Samuel Whisler summarized PGRR100.  Charlie DeWitt summarized discussion at the December 15, 2021 Planning Working Group (PLWG) Meeting and noted that there was consensus to support a ROS recommendation for approval of PGRR100.  Mr. Smith noted this item could be considered for inclusion in the Combined Ballot.

Revision Requests Tabled at ROS (see Key Documents)

PGRR073, Related to NPRR956, Designation of Providers of Transmission Additions

NOGRR230, WAN Participant Security

ROS took no action on these items.

PLWG (see Key Documents)

Mr. DeWitt reviewed PLWG activities.

NPRR1070, Planning Criteria for GTC Exit Solutions

PGRR096, Achieve Consistent Representation of Distributed Generation in Steady-State Models

PGRR098 Consideration of Load Shed in Transmission Planning Criteria

ROS took no action on these items.

PGGR095, Establish Minimum Deliverability Criteria

Mr. DeWitt summarized discussions at previous PLWG meetings, reviewed the 12/16/21 PLWG comments and noted that there was consensus to support a ROS recommendation for approval of PGRR095 as amended by the 12/16/21 PLWG comments.  Market Participants discussed the issues and made clarifying revisions to the types of technology referenced in section 4.1.1.7	Minimum Deliverability Criteria, paragraph (3)(a).  Mr. Smith noted this item could be considered for inclusion in the Combined Ballot.

Steady State Working Group (SSWG) (see Key Documents)

SSWG Procedure Manual

Ross Cloninger reviewed SSWG activities and presented the updated SSWG manual.  Mr. Smith noted this item could be considered for inclusion in the Combined Ballot.

OWG (see Key Documents)

Rickey Floyd reviewed OWG activities.

NPRR1084, Improvements to Reporting of Resource Outages and Derates

NPRR1085, Ensuring Continuous Validity of Physical Responsive Capability (PRC) and Dispatch through Timely Changes to Resource Telemetry and Current Operating Plans (COPs)

NOGRR215, Limit Use of Remedial Action Schemes

NOGRR226, Revision to 5% Transmission Operator (TO) Load Shedding Relay Point

ROS took no action on these items.

Performance Disturbance Compliance Working Group (PDCWG) (see Key Documents)

Chad Mulholland reviewed PDCWG activities.

NPRR1096, Require Sustained Six Hour Capability for ECRS and Non-Spin

Nitika Mago summarized NPRR1096, the 11/3/21 ERCOT comments, and discussion at the December 2, 2021 ROS meeting, and presented analysis and system impacts to support the ERCOT solutions and solutions proposed in the 11/10/21 HEN comments as requested by Market Participants.  Ms. Mago reminded Market Participants that the original concepts in NPRR1096 were narrow in scope and allowed ERCOT to mitigate risks, and that the potential complex solutions being offered should be considered in a separate effort. Market Participants discussed the issues and duration requirements and offered clarifications to NPRR1096.

Clayton Greer moved to endorse NPRR1096 as amended by the 11/3/21 ERCOT comments as revised by ROS.  Cyrus Reed seconded the motion.  The motion carried via roll call vote with one objection from the Cooperative (STEC) Market Segment and nine abstentions from the Consumer (Air Liquide), Cooperative (LCRA), Independent Generator (Exelon), Independent Power Marketer (IPM) (2) (Shell, EDF Trading North America), Investor Owned Utility (IOU) (3) (TNMP, Oncor, CenterPoint), and Municipal (Garland) Market Segments.  (Please see ballot posted with Key Documents.)

Dynamics Working Group (DWG) (see Key Documents)

Sam Jung reviewed DWG activities.

Combined Ballot

Mr. Kunkel moved to approve the Combined Ballot as follows:

- To approve the November 4 and December 2, 2021 ROS Meeting Minutes as submitted

- To request PRS continue to table NPRR1110 for review by BSWG

- To endorse NPRR1111 as submitted

- To endorse SCR819 as submitted

- To endorse SCR820 as submitted

- To endorse and forward to TAC the 12/2/21 ROS Report as amended by the 12/17/21 ERCOT comments and the Impact Analysis for PGRR099 with a suggested priority of 2022 and rank of 310

- To endorse and forward to TAC the 12/2/21 ROS Report and the Impact Analysis for NOGRR234

- To recommend approval of PGRR100 as submitted

- To recommend approval of PGRR095 as amended by the 12/16/21 PLWG comments as revised by ROS

- To approve as presented

Mr. Greer seconded the motion.  The motion carried unanimously via roll call vote.  (Please see ballot posted with Key Documents.)

BSWG (see Key Documents)

Tony Kroskey reviewed BSWG activities.

Operations Training Working Group (OTWG)

Tamme Chilton reviewed OTWG activities.

Notice of Withdrawal

PGRR097, Related to NPRR1098, Direct Current Tie (DC Tie) Reactive Power Capability Requirements

Mr. Smith noted the withdrawal of PGRR097.

Other Business

2022 ROS Goals

Mr. Smith encouraged Market Participants to offer revisions for the 2022 Goals for consideration at the February 3, 2022 ROS meeting

2022 Working Group and Task Force Leadership

Mr. Smith encouraged Market Participants to consider leadership opportunities and stated that ROS Working Group and Task Force leadership will be considered at the February 3, 2022 ROS meeting

Review Open Action Items List

Market Participants reviewed items from the Emergency Conditions list and added the remaining open item, #124 to the ROS Open Action Items list:

- Summer Assessment Item: Non-Frequency Responsive Capacity (NFRC) versus Physical   Responsive Capability (PRC) reserves when Generation Responsive Reserve (RRS) is released.

No Report

- Network Data Support Working Group (NDSWG)

- Planning Geomagnetic Disturbance Task Force (PGDTF)

- Voltage Profile Working Group (VPWG)

- System Protection Working Group (SPWG)

Adjournment

Mr. Smith adjourned January 6, 2022 ROS meeting 2:00 p.m.

- Key Documents referenced in these minutes may be accessed on the ERCOT website at:

- https://www.ercot.com/calendar/event?id=1623086798737