## Sheet1
CLR Issues List
Category | Issue | Lead Committee | Due
Price Impact
Dispatch | Nodal vs Load Zone Dispatch | CMWG
Reporting | NCLR/CLR not present in the CDR | SAWG
Passive DR | Current DR survey (or other processes) methodology does not quantify mining load (potential LSE reporting opportunity) | DSWG
Active DR | Competitive Constraint Test | WMS
Ancillary Services | Single Site limit to provision of Ancillary Services | WMWG, ROS
RUC | RUC, Reliability Deployment Price Adders, deployment of load resources for constraint management with or without an ancillary service obligation may not have parallel rule sets when compared to traditional resources. | WMWG, ROS, VCWG, WMS
Planning | New transmission for controllable loads or no? How can CLRs be acounted for in transmission planning in a different way than other loads, if at all? Should they be? | ROS, PLWG, RPG
Dispatch | CLR/NCLR impacts on operations: Can NCLR/CLRs be required to consume or not consume by ERCOT or a TDSP? (eg. system frequency, congestion, EEA operations, ramp rate limitations, UFLS obligation impacts) | ROS, WMWG, WMS, OWG
Profiling | Would it benefit the market for crypto loads to have separate profiles? | RMS/PWG