## Slide 1
Revamping the SARA Report
Pete Warnken
Resource Adequacy Dept.
April 4, 2022

## Slide 2: Strategic Goals
Increase release frequency for more timely resource updates and fine-tuning of capacity forecasts and scenario assumptions for seasonal peak demand hours
  Discussing rolling monthly reporting with the PUCT; for example, a January-only report would be released 10 weeks prior (Sept. 15), a February report would be released 10 weeks prior (Oct. 15), etc.
Incorporate probabilistic risk assessment metrics
Report multi-hour capacity reserve information to acknowledge net load risks
Implement online interactive dashboard with data visualization tools

## Slide 3: Implementation Considerations and Challenges
Revamping the SARA will need to be done in phases, starting this year and extending through 2023
Data query and processing tools require revisions; also need to align them with other system changes
A production version of the probabilistic SARA model is needed to support more frequent updates
Certain “early release” monthly reports will need to be provided to NERC for their summer/winter reliability assessments
Select a software platform for development and maintenance of the online dashboard

## Slide 4: Implementation Considerations and Challenges
PUCT Project 53191, Reorganization of §25.505
Linkages to the Capacity, Demand and Reserves report and CDR capacity accounting methodology changes